## Sheet1
Sr. No. | Dept | Equipment Name | Equip. ID (20 DIG CODE) | Equip. model | Serial Number | Date of Instal. | STATUS (A-C-B-W) | Contract From | Contract To | Contract Value | Company Name | Vendor | PMS done | PMS Due | Calibration done date | Calibration due date | Remarks | Eq. Cost (Rupees)Eq. Cost (Rupees) | Acesories
1 | CAS | Defibrillator | BBR-BME-0907-AC-ERC-CCE-01 | Heart Start XL | US00455950 |  | CMC | 2015-01-04 | 31/03/2016 | 16124 | Philips Electronics | [6 empty] | 175000 | ECG cable,External paddle,powewr cable
2 | CAS | ECG machine | BBR-BME-0907-AC-ERC-CCR-01 | Trim I | US80715446 | 2007-09-23 | CMC | 2015-01-04 | 31/03/2016 |  | Philips Electronics | [6 empty] | 50000 | Power cable,ECG cable,PIM
3 | CAS | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-ERC-CCE-02 | Mindray Mec 2000 | CV78100009 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
4 | CAS | monitors(ECG, SPO2, NIBP, TEMP | BBR-BME-0907-AC-ERC-CCE-03 | Mindray Mec 2000 | CV78100010 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
5 | CAS | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-ERC-CCE-04 | Mindray Mec 2000 | CV78100002 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
6 | CAS | monitors(ECG,SPO2,NIBP,TEMP) | BBR-BME-1107-AC-ERC-CCE-05 | Mindray Mec 2000 | CV7A100104 | 2007-11-01 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
7 | CAS | syringe pumps | BBR-BME-0907-AC-ERC-CCE-07 | Injectomat Agilia | 018090/19867720 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
8 | CAS | syringe pumps | BBR-BME-0907-AC-ERC-CCE-09 | Injectomat Agilia | 018090/19868051 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
9 | CAS | syringe pumps | BBR-BME-0907-AC-ERC-CCE-10 | Injectomat Agilia | 018090/19867701 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
10 | CAS | syringe pumps | BBR-BME-0907-AC-ERC-CCE-11 | Injectomat Agilia | 018090/19867731 | [5 empty] | Fresinius | [6 empty] | 21965 | Power cable
11 | CAS | Opthalmoscope | BBR-BME-0907-AC-ERC-DIA-01 | Beta-200 | USPAT.4.963.014 | 2008-06-06 |  |  |  |  | HEINE(Germany) | [6 empty] | 11960
12 | CAS | Otoscope with tuning fork(2) | BBR-BME-0907-AC-ERC-DIA-02 | MINI-3000 |  | 2008-06-06 |  |  |  |  | HEINE(Germany) | [6 empty] | 3848
13 | CAS | monitors(ECG, SPO2, NIBP, TEMP | BBR-BME-0311-AC-ERC-DIA-04 | Mindray Mec 1000 | AQ12149517 | 2011-03-29 |  |  |  |  | Emergent Meditech | [6 empty] | 65000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
14 | CAS | syringe pump | BBR-BME-0311-AC-ERC-DIA-05 | Perfusion compact | 161638 | 2011-07-25 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 30170 | Power cable
15 | CAS | ECG Machine | BBR-BME-0912-AC-ERC-CCE-12 | CARDIOVIT-AT-2C | 2013261 | 2012-09-19 |  |  |  |  | Schiller Healthcare Pvt. Ltd. | [6 empty] | 92500 | With All acessories
16 | CAS | BIPAP | BBR-BME-0714-AC-ERC-CCE-13 | Harmony | 6027652 | 2014-07-12 | Warranty 3 yr |  |  |  | Philips Electronics | [6 empty] | 80000 | POWER CABLE WITH ADOPTER,HOSE PIPE,FULL FACE MASK,CARRYBAG
17 | CAS | Syringe Pump | BBR-BME-1014-AC-GWG-CCE-01 | Perfusor Compact | 204348 | 2014-10-14 | warrant 3 yr + 4yr AMC |  |  |  | B Braun | [6 empty] | 31000 | Power cord,Clamp,Battery
18 | ICU | monitors(ECG,SPO2,NIBP,TEMP) | BBR-BME-1107-AC-ICU-CCE-01 | Mindray, Mec 2000 | CV78100004 | 2007-11-01 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
19 | ICU | monitors(ECG,SPO2,NIBP,TEMP) | BBR-BME-1107-AC-ICU-CCE-02 | Mindray, Mec 2000 | CV78100011 | 2007-11-01 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
20 | ICU | monitors(ECG,SPO2,NIBP,TEMP) | BBR-BME-0907-AC-ICU-CCE-03 | Mindray, Mec 2000 | CV7A100105 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
21 | ICU | monitors(ECG,SPO2,NIBP,TEMP) | BBR-BME-0907-AC-ICU-CCE-04 | Mindray, Mec 2000 | CV78100106 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
22 | ICU | monitors(ECG,SPO2,NIBP,TEMP,IBP) | BBR-BME-0907-AC-ICU-CCE-06 | Mindray, Mec 2000 | CV78100023 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
23 | ICU | monitors(ECG,SPO2,NIBP,TEMP,IBP) | BBR-BME-0907-AC-ICU-CCE-07 | Mindray, Mec 2000 | CV78100020 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
24 | ICU | monitors(ECG,SPO2,NIBP,TEMP,IBP) | BBR-BME-0907-AC-ICU-CCE-08 | Mindray, Mec 2000 | CV78100026 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
25 | ICU | Defibrillator with pacer | BBR-BME-0907-AC-ICU-CCE-09 | Heart Start XL | US00455954 | 2007-09-22 | CMC | 2015-04-01 | 2016-03-31 | 16124 | Philips Electronics | [6 empty] | 250000 | ECG cable,External paddle,powewr cable
26 | ICU | Patient Warmer | BBR-BME-0907-AC-ICU-CCE-10 | Bair Hugger, Sys 505 | 76572 | 2007-09-26 |  |  |  |  | BL Life Sciences | [6 empty] | 74880 | Power cable,Warmer pipe
27 | ICU | ventilator | BBR-BME-0907-AC-ICU-CCE-11 | Servo S | 6060 | 2007-09-23 | CMC | 2015-11-15 | 2016-11-14 | 49765 | Maquet Medical India Pvt Ltd | [6 empty] | 542975 | Respiratory kit,Test lung,Expiratory casset-2nos,Trolly,Moisture trap,Test tube,Patient circuit,Power cable
28 | ICU | ventilator | BBR-BME-0907-AC-ICU-CCE-12 | Servo S | 6059 | 2007-09-23 | CMC | 2015-11-15 | 2016-11-14 | 49765 | Maquet Medical India Pvt Ltd | [6 empty] | 542975 | Respiratory kit,Test lung,Expiratory casset-2nos,Trolly,Moisture trap,Test tube,Patient circuit,Power cable
29 | ICU | syringe pumps | BBR-BME-0907-AC-ICU-CCE-13 | Agilia | 018090/19868049 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
30 | ICU | syringe pumps | BBR-BME-0907-AC-ICU-CCE-14 | Agilia | 018090/19867712 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
31 | ICU | syringe pumps | BBR-BME-0907-AC-ICU-CCE-15 | Agilia | 018090/19867694 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
32 | ICU | syringe pumps | BBR-BME-0907-AC-ICU-CCE-16 | Agilia | 018090/19868050 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
33 | ICU | syringe pumps | BBR-BME-0907-AC-ICU-CCE-17 | Agilia | 018090/19867707 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
34 | ICU | syringe pumps | BBR-BME-0907-AC-ICU-CCE-18 | Agilia | 018090/19867724 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
35 | ICU | syringe pumps | BBR-BME-0907-AC-ICU-CCE-19 | Agilia | 018090/19868047 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
36 | ICU | ECG M/C | BBR-BME-0907-AC-ICU-CCE-25 | Page writter | US80715447 | 2007-09-23 | CMC | 2015-04-01 | 2016-03-31 | 19637 | Philips Electronics | [6 empty] | 50000 | Power cable,ECG cable
37 | ICU | monitors(ECG,SPO2,NIBP,TEMP) | BBR-BME-0907-AC-ICU-CCE-26 | Mindray, Mec 2000 | CV78100008 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
38 | ICU | BIPAP | BBR-BME-0109-AC-ICU-CCE-27 | Vipap-3ST | 20080002146 | 2009-01-05 |  |  |  |  | Resmed India Pvt. Ltd. | [6 empty] | 127500 | POWER CABLE
39 | ICU | BIPAP | BBR-BME-0109-AC-ICU-CCE-28 | Vipap -3 ST | 2090982686 | 2010-04-15 |  |  |  |  | Resmed India Pvt. Ltd. | [6 empty] | 127500 | Power cable
40 | ICU | ventilator | BBR-BME-0109-AC-ICU-CCE-29 | Servo-s | 2359 | 2010-02-25 | CMC | 2015-11-15 | 2016-11-14 | 49765 | Maquet Medical India Pvt Ltd | [5 empty] | It has come from VijoywadaCARE hospital | 542975 | Respiratory kit,Test lung,Expiratory casset-2nos,Trolly,Moisture trap,Test tube,Patient circuit,Power cable
41 | ICU | BIPAP | BBR-BME-0109-AC-ICU-CCE-30 | S9 V-PAP ST | 22112402356 | 2012-01-18 |  |  |  |  | Resmed India Pvt. Ltd. | [6 empty] | 96720 | POWER CABLE WITH ADOPTER,HOSE PIPE,FULL FACE MASK,CARRYBAG
42 | ICU | Defibrilator | BBR-BME-1012-AC-ICU-CCE-31 | Heart Start XL | US00598947 | 2012-10-31 |  |  |  | 10002 | Philips Electronics | [6 empty] | 175000 | ECG cable,External paddle,powewr cable
43 | ICU | ACT Machine | BBR-BME-0114-AC-ICU-CCE-32 | ACT MINI II 65755001 | 641321702 | 2014-08-01 |  |  |  |  | Helna | [6 empty] | 156000
44 | ICU | ECG M/C | BBR-BME-0315-AC-ICU-CCE-33 | TC20 | CN11506310 | 2015-03-10 |  |  |  |  | Philips Electronics | [6 empty] | 145000 | Electrode set,power cord ,battery
45 | NIU | EEG+ Nicvue Software | BBR-BME-0109-AC-NIU-DIA-01 | Nicolet one 432 | 80701 | 2009-01-31 | AMC Type (Lab/Comp) | 2014-06-01 | 2015-05-30 | 22292 | NICOLET/Alliance Biomedical pvt.ltd | [6 empty] | 2185050 | 1.Computer 2.Cannon printer 3.V32 AMPLIFIER(SL NO-08331337)4.HEAD BOX (HB3-08430919) 5.STIMULATOR(427070)6.PHOTIC STAND 7.TROLLY 8.ISOLATION TRANSFORMER,AMPLIFIER CORD,12V ADOPTER,CAMERA POWER CORD,ADOPTER,POWER CORD-6NOS,EEG STARTER KIT,SKIN PREPARATION GEL-3 BOXES,REFERENCE MANUAL,ADDITIONAL MANUAL CD'S,EEG SOFTWARE CD,COMPUTERDRIVER CD,LOGISTIC COMPUTER SPEAKER,EEG LICENCE DONGLE
46 | NIU | EMNG | BBR-BME-0109-AC-NIU-DIA-02 | VIKING QUEST | OL081793 | 2009-01-31 | AMC Type (Lab/Comp) | 2013-06-01 | 2014-05-30 | 22292 | NICOLET/Alliance Biomedical pvt.ltd | [7 empty] | ENMG/EP BASE UNIT,AMPLIFIER,STIMULATOR,COMPUTER,CANNON PRINTOR,ISOLATION TRANSFORMER,FOOT SWITCH,TDA-59-P HEADPHONE,EMG STARTER KIT,EMG NEEDLE HOLDER,BAR ELECTRODES,JUMPER,GROUND STRAP ELECTRODES,DISPOSABLE NEEDLE-ONE BOX,DISPOSABLE CONE NEEDLE TRIAL PACK,STAINLESS STEEL PISC ELECTRODE,DEYTAL STIM ELECTRODE,DISPOSABLE CONCENTRIC NEEDLE HOLDER,EEG CUP ELECTRODE-THREE PACK,VIVO SONIC VEP MONITOR,TROLLY,VIKING DUST REFERENCE MANUAL-19NOS,SOFTWARE CD-1,REFERENCE CD-1,ADITIONAL INFORMATION CD-1
47 | MIU | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-MIU-CCE-01 | Mindray Mec 2000 | CV7C100279 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
48 | MIU | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-MIU-CCE-02 | Mindray Mec 2000 | CV7A100103 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
49 | MIU | monitors(ECG, SPO2, NIBP, TEMP& IBP) | BBR-BME-0907-AC-MIU-CCE-03 | Mindray Mec 2000 | CV78100024 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
50 | MIU | monitors(ECG, SPO2, NIBP, TEMP | BBR-BME-0907-AC-MIU-CCE-04 | Mindray Mec 2000 | CV78100003 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
51 | MIU | Ventillator | BBR-BME-0907-AC-MIU-CCE-05 | Servo S | 6063 | 2007-09-23 | CMC | 2015-11-15 | 2016-11-14 | 49765 | Maquet Medical India Pvt Ltd | [6 empty] | 542975 | Respiratory kit,Test lung,Expiratory casset-2nos,Trolly,Moisture trap,Test tube,Patient circuit,Power cable
52 | MIU | Ventillator | BBR-BME-0907-AC-MIU-CCE-06 | Servo S | 6062 | 2007-09-23 | CMC | 2015-11-15 | 2016-11-14 | 49765 | Maquet Medical India Pvt Ltd | [6 empty] | 542975 | Respiratory kit,Test lung,Expiratory casset-2nos,Trolly,Moisture trap,Test tube,Patient circuit,Power cable
53 | MIU | Syringe pump | BBR-BME-0907-AC-MIU-CCE-08 | Injectomat Agilia | 018090/19868052 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
54 | MIU | Syringe pump | BBR-BME-0907-AC-MIU-CCE-09 | Injectomat Agilia | 018090/19867722 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
55 | MIU | Syringe pump | BBR-BME-0907-AC-MIU-CCE-10 | Injectomat Agilia | 018090/19867705 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
56 | MIU | Syringe pump | BBR-BME-0907-AC-MIU-CCE-12 | Injectomat Agilia | 018090/19867711 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
57 | MIU | Syringe pump | BBR-BME-0907-AC-MIU-CCE-13 | Injectomat Agilia | 018090/19867702 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
58 | MIU | Syringe pump | BBR-BME-0907-AC-MIU-CCE-14 | Injectomat Agilia | 018090/19867703 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
59 | MIU | Syringe pump | BBR-BME-0907-AC-MIU-CCE-15 | Injectomat Agilia | 018090/19867730 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
60 | MIU | Syringe pump | BBR-BME-0907-AC-MIU-CCE-16 | Injectomat Agilia | 018090/19867692 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
61 | MIU | Defibrillator with Pacer | BBR-BME-0907-AC-MIU-CCE-17 | Heart Start XL | US00455955 | 2007-09-22 | CMC | 2015-04-01 | 2016-03-31 | 16124 | Philips Electronics | [6 empty] | 250000 | Power cable,ECG CABLE
62 | MIU | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-MIU-CCE-18 | Mindray Mec 2000 | CV78100007 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
63 | MIU | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-MIU-CCE-19 | Mindray Mec 2000 | CV78100015 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
64 | MIU | monitors(ECG, SPO2, NIBP, TEMP, IBP) | BBR-BME-0907-AC-MIU-CCE-20 | Mindray Mec 2000 | CV78100022 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
65 | MIU | BIPAP | BBR-BME-0907-AC-MIU-CCE-21 | V-PAP III ST | 20090504993 | 2009-06-09 |  |  |  |  | Resmed India Pvt. Ltd. | [6 empty] | 127500 | Power cord & patient mask
66 | MIU | Ventillator | BBR-BME-0907-AC-MIU-CCE-22 | Servo S | 2358 | 2010-02-25 | CMC | 2015-11-15 | 2016-11-14 | 49765 | Maquet Medical India Pvt Ltd | [5 empty] | It has come from Vijoywada | 542975 | Respiratory kit,Test lung,Expiratory casset-2nos,Trolly,Moisture trap,Test tube,Patient circuit,Power cable
67 | MIU | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-ABU-CCE-02 | Mindray Mec 2000 | CV78100013 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
68 | MIU | BIPAP | BBR-BME-0112-AC-ABU-CCE-03 | S9V PAP ST | 22112402355 | 2012-01-18 |  |  |  |  | Resmed India Pvt. Ltd. | [6 empty] | 96720 | POWER CORD WITH ADOPTER,HOSE PIPE,FULLFACE MASK,CARRY BAG
69 | CTU | monitors(ECG,SPO2,NIBP,TEMP) | BBR-BME-0907-AC-CTU-CCE-01 | Mindray, Mec 2000 | CV78100014 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
70 | CTU | monitors(ECG,SPO2,NIBP,TEMP,IBP) | BBR-BME-0907-AC-CTU-CCE-02 | Mindray, Mec 2000 | CV78100025 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
71 | CTU | monitors(ECG,SPO2,NIBP,TEMP,IBP) | BBR-BME-0907-AC-CTU-CCE-03 | Mindray, Mec 2000 | CV78100019 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
72 | CTU | monitors(ECG,SPO2,NIBP,TEMP,IBP) | BBR-BME-0907-AC-CTU-CCE-04 | Mindray, Mec 2000 | CV78100017 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
73 | CTU | monitors(ECG,SPO2,NIBP,TEMP,IBP) | BBR-BME-0907-AC-CTU-CCE-05 | Mindray, Mec 2000 | CV78100021 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
74 | CTU | monitors(ECG,SPO2,NIBP,TEMP,IBP) | BBR-BME-0907-AC-CTU-CCE-06 | Mindray, Mec 2000 | CV78100018 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 89450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
75 | CTU | ventilators | BBR-BME-0907-AC-CTU-CCE-07 | Servo S | 6061 | 2007-09-23 | CMC | 2015-11-15 | 2016-11-14 | 49765 | Maquet Medical India Pvt Ltd | [6 empty] | 542975 | Respiratory kit,Test lung,Expiratory casset-2nos,Trolly,Moisture trap,Test tube,Patient circuit,Power cable
76 | CTU | ventilators | BBR-BME-0907-AC-CTU-CCE-08 | Servo S | 6058 | 2007-09-23 | CMC | 2015-11-15 | 2016-11-14 | 49765 | Maquet Medical India Pvt Ltd | [6 empty] | 542975 | Respiratory kit,Test lung,Expiratory casset-2nos,Trolly,Moisture trap,Test tube,Patient circuit,Power cable
77 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-09 | Injectomat Agilia | 018090/19867717 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
78 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-10 | Injectomat Agilia | 018090/19867710 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
79 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-11 | Injectomat Agilia | 018090/19867697 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
80 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-12 | Injectomat Agilia | 018090/19868054 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
81 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-13 | Injectomat Agilia | 018090/19867715 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
82 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-14 | Injectomat Agilia | 018090/19867695 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
83 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-16 | Injectomat Agilia | 018090/19867698 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
84 | CTU | Syringe pumps | BBR-BME-0907-AC-CTU-CCE-18 | Injectomat Agilia | 018090/19868046 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
85 | CTU | warm touch (PATIENT WARMER) | BBR-BME-0907-AC-CTU-CCE-19 | Bair Hugger, Sys 505 | 76397 | 2007-09-26 |  |  |  |  | BL Life Sciences | [6 empty] | 74880 | Power cable
86 | CTU | Defibrillator | BBR-BME-0907-AC-CTU-CCE-20 | Heart Start XL | US00455953 | 2007-09-22 | CMC | 2015-04-01 | 2016-03-31 | 16124 | Philips Electronics | [6 empty] | 175000 | ECG cable,External paddle,powewr cable
87 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-22 | Injectomat Agilia | 018090/19868043 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
88 | CTU | syringe pumps | BBR-BME-0907-AC-CTU-CCE-24 | Injectomat Agilia | 018090/19867718 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
89 | CTU | ECG machine | BBR-BME-0711-AC-CTU-CCE-26 | Cardiat 9108 | DUTAIA-1099 | 2011-07-26 |  |  |  |  | BPL | [6 empty] | 75000 | 1) Power supply cord,clamp & electrode set-one,Paper -2pkt,Gel-
90 | CTU | BIPAP | BBR-BME-0711-AC-CTU-CCE-28 | FLOTON ST 20 | 35210000A137 | 2012-01-20 |  |  |  |  | PNEUMOCARE | [6 empty] | 98800 | POWER CORD,HOSE PIPE,FULL FACE MASK,CARRY BAG
91 | CTU | Temperary Pacemaker | BBR-BME-0612-AC-CTU-CCE-29 | 5388x | PFG145366R | 2012-05-22 |  |  |  |  | India Medtronic (endolap technics) | [6 empty] | 185000 | pacing cable-2no,battery-2
92 | CTU | Syringe pumps | BBR-BME-0711-AC-CTU-CCE-30 | Perfusion compact | 161717 | 2011-07-25 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 30170 | POWER CORD
93 | CTU | Syringe pumps | BBR-BME-1112-AC-CTU-CCE-31 | Perfusion compact | 171507 | 2012-11-14 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | POWER CORD
94 | CTU | Syringe pumps | BBR-BME-1112-AC-CTU-CCE-32 | Perfusion compact | 171542 | 2012-11-14 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | POWER CORD
95 | CTU | Syringe Pump | BBR-BME-1112-AC-CTU-CCE-43 | Perfusor Compact | 171511 | 2012-11-17 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | POWER CORD
96 | CTU | Syringe pumps | BBR-BME-1112-AC-CTU-CCE-33 | Perfusion compact | 171573 | 2012-11-14 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | POWER CORD
97 | CTU | Syringe pumps | BBR-BME-1112-AC-CTU-CCE-34 | Perfusion compact | 171619 | 2012-11-14 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | POWER CORD
98 | CTU | Syringe pumps | BBR-BME-1112-AC-CTU-CCE-35 | Perfusion compact | 171689 | 2012-11-14 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | POWER CORD
99 | CTU | Syringe pumps | BBR-BME-0113-AC-CTU-CCE-36 | Perfusion compact | 174740 | 2013-01-28 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | Syringe pumps
100 | CTU | Syringe pumps | BBR-BME-0113-AC-CTU-CCE-37 | Perfusion compact | 171490 | 2013-01-28 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | POWER CORD
101 | CTU | Syringe pumps | BBR-BME-0113-AC-CTU-CCE-38 | Perfusion compact | 171616 | 2013-01-28 |  |  |  |  | B Brown (Biomed health care) | [6 empty] | 31500 | POWER CORD
102 | CTU | IABP | BBR-BME0213-AC-CTU-CCE-39 | CS-100 | SA217417-12 | 2013-02-05 | AMC Type (Lab/Comp) | 2015-06-01 | 31/5/2016 | 38300 | Maquet Medical India Pvt Ltd | [6 empty] | 1700000 | ECG cable,SAFETY DISC,TRANSDUCER CABLE,MONITORING KIT,HELIUM CYLINDER
103 | CTU | Chest Vibrator | BBR-BME-0813-AC-CTU-CCE-40 | VM24TT | ODUBC4321 | 30/Aug/13 | WARRANTY Two YEAR |  |  |  | Ultimate Biocare G% | [6 empty] | 254100 | With all Acessories
104 | CTU | Syringe pumps | BBR-BME-01114AC-CTU-CCE-41 | Perfusion compact | 204371 | 2014-10-14 | warrant 3 yr + 4yr AMC |  |  |  | B Brown (Biomed health care) | [6 empty] | 31000 | POWER CORD
105 | CTU | Syringe pumps | BBR-BME-01114AC-CTU-CCE-42 | Perfusion compact | 204360 | 2014-10-14 | warrant 3 yr + 4yr AMC |  |  |  | B Brown (Biomed health care) | [6 empty] | 31000 | POWER CORD
106 | CSD | Sterlizer single Door | BBR-BME--AC-CSD-SUP-01 | 20HB/E | 1012 |  | AMC | 2016-01-01 | 2016-12-31 | 15286 | NAT Steel equipment pvt. Ltd | [6 empty] | 103000
107 | CSD | ETO Sterlizer | BBR-BME-1007-AC-CSD-SUP-03 | SAE-8CF | 56/0708 | 2007-10-30 | AMC | 2015-10-01 | 2016-09-30 | 32000 | Pest Control India | [6 empty] | 900000
108 | CSD | Sealing m/c | BBR-BME-1207-AC-CSD-SUP-05 | [7 empty] | medivation | [6 empty] | 10000
109 | CSD | ETO Detector | BBR-BME-0715-AC-CSD-SUP-06 | DZEO |  | 2015-07-22 | Warranty 2 yrs |  |  |  | Medovation,ZEOSS | [6 empty] | 143125
110 | CSD | Sealing m/c | BBR-BME-0616-AC-CSD-SUP-07 | HD 650 |  | 2016-06-04 | 1 Yr warranty |  |  |  | medivation Products | [6 empty] | 143875
111 | GOT | Monitor(ECG,Spo2,NiBP,IBP | BBR-BME-0607-AC-GOT-CCE-02 | Spectra slim5P | 7712061044 | [5 empty] | clarity | [6 empty] | 156500 | 1) ECG electrode probe 2) SpO2 finger sensor 3) NIBP probe with adult cuff 4) CO2 probe 5) Power supply cord
112 | GOT | Syringe pump | BBR-BME-0907-AC-GOT-CCE-04 | Injectomat angilia | 018090/19867723 | 2007-09-22 |  |  |  |  | FresceniousK | [6 empty] | 21964 | 1)Power cable 2)Clamp set-2nos
113 | GOT | Syringe pump | BBR-BME-0907-AC-GOT-CCE-05 | Injectomat angilia | 018090/19867691 | 2007-09-22 |  |  |  |  | FresceniousK | [6 empty] | 21964 | 1)Power cable 2)Clamp set-2nos
114 | GOT | OT Monitor | BBR-BME-1107-AC-GOT-CCE-06 | MP-20 | DE 72831026 | 2007-11-30 | CMC | 2015-04-01 | 2016-03-31 | 19637 | Philips Electronics | [6 empty] | 260000 | 1)ECG Cable 2)NIBP Cable 3)SPO2 sencor 4)Adult BP CUFF 5)Power cable 6)Temperature probe
115 | GOT | OT table with ortho attchments | BBR-BME-0405-AC-GOT-OTE-01 | HT666 |  | 2005-04-01 |  |  |  |  | Hammelton | [6 empty] | 107000 | 1) Mattress 2) Support arm 3) Chest support 4) Stomach support 5) Leging 6) Leg support 7) Adjustable handle 8) Head rest
116 | GOT | OT light single Dome | BBR-BME-0607-AC-GOT-OTE-03 | HospilitVENUSSINGLE | 6040068 | [5 empty] | Hospitech | [6 empty] | 76000 | 1) Handle
117 | GOT | Ot light single Dome (Mobile) | BBR-BME-0607-AC-GOT-OTE-04 |  | NIL | [5 empty] | Hospilite 5004 | [5 empty] | Old Eqpt from Aditya Hospital ,It is under Biomedical | 38000 | 1) Mobile unit 2) Power supply Cord 3) Handle 4) Four O.T. lamp
118 | GOT | Cautery | BBR-BME-0906-AC-GOT-OTE-06 | Electrotech-402 | 61 | 2006-09-09 |  |  |  |  | Hi-tech surgiquip p ltd | [5 empty] | Old Eqpt from Aditya Hospital ,It is under Biomedical | 57200 | 1) Patient plate 2) Foot switch ( CUT, COAG) 3) Biopolar probe 4) Monopolar probe 5) Power supply cord 6) Earthing cable
119 | GOT | Diathermy | BBR-BME-1007-AC-GOT-OTE-08 | Marin, ME Mb 2 | MEMB2m0000070819 | 2007-10-01 |  |  |  |  | Martin | [6 empty] | 295680 | 1)Power cable,2(foot switch,3)Surgy pen electric handle,2FG.SW,Coax, 4m 4) Rubber plate-1NO,rubber band perf-50cm,5)Bipolar forcep with cable
120 | GOT | Anesthesia Machine | BBR-BME-1007-AC-GOT-OTE-09 | Aestiva Compact 7100 | AMVL00385 | 2007-10-01 | CMC | 2015-04-01 | 2016-03-31 | 41559 | Wipro GE | [6 empty] | 710000 | vaporiser ventillator
121 | GOT | OT LIGHT | BBR-BME-0209-AC-GOT-OTE-10 | SCLH7+SCLH4 |  | 2009-02-14 |  |  |  |  | COGNET | [6 empty] | 130000 | light (7+4),transformer-2nos
122 | GOT | TOURNIQUET | BBR-BME-0309-AC-GOT-OTE-11 | C3215 | 810010000-630 | 2009-03-20 |  |  |  |  | MEDICAL DEVELOPMENT & ENGINEERING | [6 empty] | 93944 | POWER CORD & CUFF
123 | GOT | MANMAN DRILL | BBR-BME-0409-AC-GOT-OTE-12 |  | F282,F-265 | 2009-04-13 |  |  |  |  | MANMAN | [6 empty] | 91520 | Power cable with accesseries
124 | GOT | Vertical Sterlizer | BBR-BME-1007-AC-GOT-OTE-13 | Portable steam stericlave-800 | [12 empty] | Old Eqpt from Aditya Hospital | 10000 | 1) Power supply cord 2) Pressure guage
125 | GOT | OT TABLE | BBR-BME-0809-AC-GOT-OTE-14 | Paradise | 1177 | 2009-08-10 |  |  |  |  | Stan Biomed eng./Supplied by Rabindra surgical | [6 empty] | 250000 | All the Artho attachment & Euro attachment
126 | GOT | C ARM | BBR-BME-0113-AC-GOT-OTE-15 | MM5C | 31037 | 2013-09-01 | Warranty up to 08/1/2016 |  |  |  | Siemens ltd | [6 empty] | 1370000 | Cassete holder-1 no,Monitor-(2 nos)-031038,031039,Monitor trolly-031078,sterile cloth 9'' with 5 nos clamp & 3 sets of cloth
127 | GOT | Medical grade monitor | BBR-BME-0809-AC-GOT-URO-07 |  |  | 2009-10-05 |  |  |  |  | Front line Electromedical ltd | [6 empty] | 180000 | Medical grade monitor
128 | GOT | OT Monitor | BBR-BME-0313-AC-GOT-OTE-16 | MP 20 | DE72873334 | 2013-03-22 |  |  |  |  | Philips Electronics | [6 empty] | 210000 | With ETCO2 & all acessories
129 | GOT | Anesthesia machine | BBR-BME-0907-AC-COT-OTE-03 | Astiva 7100 | AMVH00563 |  | CMC | 2015-04-01 | 2016-03-31 | 41559 | Wipro GE | [6 empty] | 710000 | with all accesseries
130 | GOT | Diathermy | BBR-BME-0615-AC-GOT-OTE-17 | VIO300S | 11391696 | 2015-06-01 | WARRANTY UPTO 2 YR |  |  |  | ERBE | [6 empty] | 45000 | WITH ALL ACCESSORIES
131 | GOT | Camera console | BBR-BME-1115-AC-GOT-OTE-18 | 1288C.C.U | 15F008974/15D054154 | 2015-12-11 | Warranty up to 11/11/2018 |  |  |  | Stryker India | [6 empty] | 771523 | Camera head
132 | GOT | Xenon light source | BBR-BME-1115-AC-GOT-OTE-19 | X800 | 15F034414/115668 | 2015-12-11 | Warranty up to 11/11/2018 |  |  |  | Stryker India | [6 empty] | 281516 | fiber optic cable
133 | GOT | Medical grade moniter | BBR-BME-1115-AC-GOT-OTE-20 | 26"LED | VPD265F0594 | 2015-12-11 | Warranty up to 11/11/2018 |  |  |  | Stryker India | [6 empty] | 223467 | Power cable with accesseries
134 | GOT | Nerve stimulator | BBR-BME-0716-AC-GOT-OTE-21 | HNX 12 | 26.0981 | 2016-07-31 | WARRENTY UP TO 31/07/2017 |  |  |  | B.BRAUN | [6 empty] | 105000 | acessories
135 | COT | Heart Lung Machine WITH HEATER COOLER UNIT | BBR-BME-0907-AC-COT-OTE-01 | Jostra Hlm-Hl 20 | 101063 | 2007-10-12 | CMC | 2015-09-01 | 2016-08-31 | 319390 | Maquet Medical India Pvt Ltd | [6 empty] | 3306000 | 100330,101294,101316,101319,103322,55303,100734,
136 | COT | OT table | BBR-BME-0907-AC-COT-OTE-02 | ET19CA | NILL | 2007-09-27 |  |  |  |  | Colloq Marketing Pvt.Ltd | [6 empty] | 236808 | power cable
137 | COT | OT light | BBR-BME-1007-AC-COT-OTE-03 | Hanulux H5H3H3 | AR010561,AR010560,AR010692 | 2007-10-18 |  |  |  |  | Maquet Medical India Pvt Ltd | [6 empty] | 769500 | AR010561,AR010560,AR010692
138 | COT | Anesthesia machine | BBR-BME-1007-AC-COT-OTE-05 | Aestiva Comapct 7100 | AMVL00396 | 01.10.07 | CMC | 2015-04-01 | 2016-03-31 | 41559 | Wipro GE | [6 empty] | 710000 | with all accesseries
139 | COT | OT monitor | BBR-BME-0907-AC-COT-OTE-06 | Mp 20 | DE72830678 | 2007-09-22 | CMC | 2015-04-01 | 2016-03-01 | 19637 | Philips Electronics | [6 empty] | 350000 | spo2 probe,nibo cuff(adult),ECG cable,power cord,pressure cable-2nos,PICCO module with cable
140 | COT | Fibrillator | BBR-BME-1007-AC-COT-OTE-07 |  |  | 2007-10-18 |  |  |  |  | Unique Health Care | [6 empty] | 13500 | power cable
141 | COT | ACT | BBR-BME-0907-AC-COT-OTE-08 | Helena Laboratories, Mini | 640722604 | 2007-09-26 |  |  |  |  | BL Life Sciences | [6 empty] | 98800 | power cable
142 | COT | Defibrillator with pacer | BBR-BME-0907-AC-COT-OTE-09 | Heart Start XL | US00455956 | 2007-09-22 | CMC | 2015-04-01 | 2016-03-01 | 16124 | Philips Electronics | [6 empty] | 250000 | ECG cable,External paddle,powewr cable
143 | COT | Sternal Saw | BBR-BME-1007-AC-COT-OTE-10 | Sarns, 3 M, Sternal Saw II | 15495, 1880 | 2007-10-11 | . |  |  |  | J. Mitra & Bros.., | [6 empty] | 243294 | 1884,188H
144 | COT | Manman saw | BBR-BME-1007-AC-COT-OTE-11 | Redo Saw | E151 | 2007-10-18 |  |  |  |  | Manman | [6 empty] | 43734 | with all accesseries
145 | COT | Blood warmer | BBR-BME-0907-AC-COT-OTE-12 | Ranger | 30150 | 2007-09-26 |  |  |  |  | BL Life Sciences | [6 empty] | 83200 | power cable
146 | COT | Head light | BBR-BME-0807-AC-COT-OTE-13 | Welch Align | N344 | 2007-08-23 |  |  |  |  | Coolque marketing | [6 empty] | 170000 | Light source,fiberoptic cable,head gear,gown clips,joy stick for head gear
147 | COT | Ultrasonic cleaner | BBR-BME-0708-AC-COT-OTE-14 |  |  | 2008-07-08 |  |  |  |  | HOSPITECH | [6 empty] | 70200 | power cable
148 | COT | Diathermy | BBR-BME-0708-AC-COT-OTE-15 | Force FX C | FOH66456A | 2011-09-30 |  |  |  |  | VALLYLAB (Asian Biomedical) | [6 empty] | 459500 | monopolar foot switch & Bipolar foot switch
149 | COT | Sternal saw &Shaft assembly(without motor) | BBR-BME-0708-AC-COT-OTE-16 | sternal saw 11 |  | 2011-11-18 |  |  |  |  | J. Mitra & Bros.., | [6 empty] | 189975 | powercable,
150 | COT | Diathermy | BBR-BME-1112-AC-COT-OTE-17 | Force FX | FIG685244X | 2012-11-08 |  |  |  |  | VALLYLAB (Asian Biomedical) | [6 empty] | 459500 | Bipolar foot switch
151 | COT | Tble top sterilizer | BBR-BME-0213-AC-COT-OTE-18 |  | 431 | 2013-02-18 |  |  |  |  | CISTRON SYSTEMS | [6 empty] | 115000
152 | COT | OT TABLE | BBR-BME-0213-AC-COT-OTE-19 | EIFFEL 8000 | 760213 | 2013-02-28 |  |  |  |  | Magnatek Enterprises | [6 empty] | 550000 | WIth all accesseries
153 | COT | OT Monitor | BBR-BME-0313-AC-COT-OTE-20 | MP 60With G5&X2 | DE84320787,ASDL-0172,DE83750687 | 2013-03-22 |  | 2015-04-01 | 2016-03-31 | 40130 | Philips Electronics | [6 empty] | 750000 | With G5 Module,Intelvuee X@ with all acessories
154 | COT | Hemotherm dual Reserviour | BBR-BME-1116-AC-COT-OTE-21 | 400CE | 162-10423CE | 2016-11-12 | Warranty | 2016-11-12 | 2018-11-11 |  | J. Mitra & Bros.., | [6 empty] | 1685000
155 | COT | OT Lights | BBR-BME-1007-AC-COT-OTE-01 | Hanulux H5H3 |  | 2007-10-18 |  |  |  |  | Maquet Medical India Pvt Ltd | [6 empty] | 581400
156 | COT | OT Table | BBR-BME-0907-AC-COT-OTE-02 | ET19GS |  | 2007-09-27 |  |  |  |  | Colloq Marketing Pvt.Ltd | [5 empty] | Deployment done with CTOT-1 | 223704
157 | COT | Heart lung machine | BBR-BME-0907-AC-COT-OTE-04 | JOSTRA HCU-30 | 100102 | [5 empty] | Maquet Medical India Pvt Ltd | [6 empty] | 3306000
158 | COT | Anesthesia machine | BBR-BME-0413-AC-COT-OTE-21 | Astiva 7100 | AMXS00869 | 06/APR/13 |  | 2015-04-01 | 2016-03-31 | 37695 | Wipro GE | [6 empty] | 750000 | with all accesseries
159 | COT | Head light source | BBR-BME-0713-AC-COT-OTE-22 | XSP9300 | XSPT0963 | 30/Jul/13 | warrant 2 yrs |  |  |  | Luxtec | [6 empty] | 322400 | Fiber optic cable,head band set
160 | COT | Sternal Saw | BBR-BME-1213-AC-COT-OTE-23 | Saw II | 55901566570847000 | 2013-12-16 | Under warranty |  |  |  | Srans | [6 empty] | 472500 | Sternal Saw Handle,Shaft Cable & Motor Unit with foot switch
161 | NEF | Dialysis machine | BBR-BME-1207-AC-NEF-THE-01 | DAILOG | 31463 | 2007-12-31 | AMC | 2015-12-01 | 2016-11-30 | 19663 | B Braun | [6 empty] | 461250
162 | NEF | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-NEF-THE-04 | Mindray Mec 2000 | CV78100006 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
163 | NEF | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0907-AC-NEF-THE-05 | Mindray Mec 2000 | CV78100012 | 2007-09-19 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
164 | NEF | Dialysis machine | BBR-BME-1108-AC-NEF-THE-06 | 4008S | 8UCAKT84 | 2008-11-27 | AMC | 2015-12-01 | 2016-11-30 | 18320 | Fresinius | [6 empty] | 556875 | Power cord with acces.& 60 nos dailyser free SUPPLY
165 | NEF | SYRINGE PUMP | BBR-BME-0907-AC-NEF-CCE-11 | Injectomat Agilia | 018090/19867699 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
166 | NEF | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0909-AC-NEF-CCE-12 | Planet-30 | C09N0039 | 2009-10-08 | CMC | 15/Jul/13 | 14/Jul/14 |  | L & T | [6 empty] | 67600 | Power cable
167 | NEF | monitors(ECG, SPO2, NIBP, TEMP) | BBR-BME-0909-AC-NEF-CCE-13 | Planet-30 | C09N0040 | 2009-10-08 | CMC | 15/Jul/13 | 14/Jul/14 |  | L & T | [6 empty] | 67600 | Power cable
168 | NEF | Dialysis machine | BBR-BME-1209-AC-NEF-THE-15 | 4008S | M30529(8VCALC81) | 2010-02-26 | AMC | 2015-12-01 | 2016-11-30 | 18320 | Fresinius | [6 empty] | 556875 | Power cable
169 | NEF | monitors ECG, SPO2, NIBP | BBR-BME-1209-AC-NEF-THE-16 | Planet-30 | C09N0333 | 2010-08-18 | cmc | 15/Jul/13 | 14/Jul/14 |  | L & T | [6 empty] | 66000 | Adult BP cuff,NIBP cable,ECG cable,SPO2 probe,Power cable
170 | NEF | Dialysis machine | BBR-BME-1209-AC-NEF-THE-17 | 4008S | OVCASV14 | 2010-09-14 | AMC | 2015-12-01 | 2016-11-30 | 18320 | Fresinius | [6 empty] | 556875 | Power cord with acces.& 60 nos dailyser free SUPPLY
171 | NEF | Syringe pump | BBR-BME-0711-AC-NEF-THE-18 | Perfusion compact | 161645 | 2011-07-25 |  |  |  |  | B Brown(Biomed health care) | [6 empty] | 30170 | Power cable
172 | NEF | Dialysis machine | BBR-BME-0612-AC-NEF-THE-19 | DAILOG | 101499 | 2012-07-31 | AMC | 2015-12-01 | 2016-11-30 | 19663 | B Braun | [6 empty] | 545000
173 | NEF | Dialysis machine | BBR-BME-0213-AC-NEF-THE-19 | DAILOG | 106334 | 2013-02-27 | Warranty 3 YRS | 2015-12-01 | 2016-11-30 | 19663 | B Braun | [6 empty] | 545000
174 | GOT | Monitor(ECG,Spo2,NiBP,IBP | BBR-BME-0607-AC-GOT-CCE-02 | Spectra slim5P | 7712061044 | [5 empty] | clarity | [6 empty] | 156500 | 1) ECG electrode probe 2) SpO2 finger sensor 3) NIBP probe with adult cuff 4) CO2 probe 5) Power supply cord
175 | GOT | Dialysis machine | BBR-BME-0213-AC-NEF-THE-20 | 4008S v10 | 3SXAG413 | 2013-06-15 | Warranty 3 YRS |  |  |  | Fresinius | [6 empty] | 546000
176 | GOT | Syringe Pump | BBR-BME-1014-AC-NEF-THE-21 | Perfusor Compact | 204383 | 2014-10-14 | warrant 3 yr + 4yr AMC |  |  |  | B Braun | [6 empty] | 31000 | Power cord
177 | GOT | Dialysis machine | BBR-BME-1214-AC-NEF-THE-22 | 4008S NG | 4sxav395 | 2014-12-13 | Warranty 3 YRS |  |  |  | Fresinius | [6 empty] | 560000 | Power cord,inlet outlet tube
178 | GOT | Monitor | BBR-BME-0415-AC-NEF-THE-23 | Goldway G30 | CN42715501 | 2014-03-10 |  |  |  |  | Philips Electronics | [6 empty] | 80000 | ECG,Spo2,powercord
179 | GOT | Dialysis machine (Sleed) | BBR-BME-1215-AC-NEF-THE-24 | 5008S | 5VSAV654 | 2015-12-17 | 3 yr warranty |  |  |  | Fresinius | [6 empty] | 1120000 | Power cord,inlet outlet tube
180 | GSE | Endoscope | BBR-BME-1207-AC-GSE-RED-01 | EPX-201H | 2V376A828 | 2008-12-18 |  |  |  |  | FUSINON RFCL | [6 empty] | 1600000 | VIdeo processor/2V376A828 VIDEOGASTROSCOPE/3G229A303 VIDEO COLONOSCOPE/2C323A002 VIDEO BRONCHOSCOPE/2B048A213 MONITOR/3310884 WATER TANK AIR LEAKAGE TEST Vediocard(Scopydoc)
181 | GSE | Endoscope | BBR-BME-0315-AC-GSE-RED-02 | EPK-290P | G125863 | 2015-03-22 |  |  |  |  | Pentax Medical | [6 empty] | 978000 | Video processor,UGI scope,Xenon lamp,Monitor,Power cord,Trolly,Scopy DOC software
182 | GSE | Patient Monitor | BBR-BME-0315-AC-GSE-CCE-03 | GOLDWAY G-30 | CN42715500 | 2015-03-10 | 2 YR WARRANTY |  |  |  | Philips Electronics | [6 empty] | 80000 | Spo2,nibp,ECG
183 | GSE | Ultrasound therapy -709 | BBR-BME-1108-AC-PHY-THE-01 | 709 | 642 | [5 empty] | EDUMEDICS | [6 empty] | 18000 | Power cord
184 | GSE | Muscle stimulator | BBR-BME-1108-AC-PHY-THE-02 |  | TD550 | [5 empty] | EDUMEDICS | [6 empty] | 6500 | Power cord
185 | GSE | Inter Ferencial Therapy unit | BBR-BME-1108-AC-PHY-THE-03 |  | 2510 | [5 empty] | EDUMEDICS | [6 empty] | 29000 | Power cord
186 | GSE | Continuous pacing motion(CPM) | BBR-BME-1108-AC-PHY-THE-04 |  | C399 | [5 empty] | EDUMEDICS | [6 empty] | 35000 | Power cord
187 | GSE | Ankel excerciser | BBR-BME-1108-AC-PHY-THE-05 | [7 empty] | EDUMEDICS | [6 empty] | 2850
188 | GSE | Universal traction bed | BBR-BME-0908-AC-PHY-THE-06 |  | 3178A | [5 empty] | EDUMEDICS | [6 empty] | 23218 | Power cord
189 | GSE | Parafin wax bath | BBR-BME-0908-AC-PHY-THE-07 | [7 empty] | EDUMEDICS | [6 empty] | 4149.6 | Power cord
190 | GSE | Solder wheel | BBR-BME-0908-AC-PHY-THE-08 | [7 empty] | EDUMEDICS | [6 empty] | 2618
191 | GSE | MICRO STIM GENIUS | BBR-BME-1108-AC-PHY-THE-09 |  | TG776 | [5 empty] | EDUMEDICS | [6 empty] | 8500 | Power cord
192 | GSE | INFARED LAMP | BBR-BME-0908-AC-PHY-THE-10 |  | 5107 | [5 empty] | EDUMEDICS | [6 empty] | 1284.4 | Power cord
193 | CTH | Cath Lab | BBR-BME-0907-AC-CTH-CAR-01 | Axiom Artis, DFC Flat Panel | 35792 | 2007-09-25 | CMC | 2015-04-01 | 2016-03-31 | 2221602 | Siemens ltd | [6 empty] | 17299983 | Local Accessories. 1) Lead Approns (kiranMake) - 6no. 2) HP Laser Printer - 1no. 3)Stabilizer 150 KVA - 1no.SlNO-315001070074 4) UPS 8 KVA(15min) - 1no.Sl no-IV072501846 5) Lead Glass 100 X 80 cm - 1no. Lead Goggles (Kiran Make) - 6no. 7) Thyroid Shields (Kiran Make) - 6no. 8) Hemodynamic monitor-Drager infinity XL,Sl no-539867715 9)Pressure Injector-Slno-29365
194 | CTH | Pace maker single chamber | BBR-BME-0807-AC-CTH-CCE-01 | APC | MVBX7431 | 2007-08-13 |  |  |  |  | Emergent Meditech | [6 empty] | 67500
195 | CTH | Defibrillator | BBR-BME-0907-AC-CTH-CCE-02 | Heart Start XL | US00455951 | 2007-09-22 | CMC | 2015-04-01 | 2016-03-31 | 16124 | Philips Electronics | [6 empty] | 175000 | Power cable
196 | CTH | Syringe pumps | BBR-BME-0907-AC-CTH-CCE-03 | Agilia | 018090/19867693 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
197 | CTH | Syringe pumps | BBR-BME-0907-AC-CTH-CCE-04 | Agilia | 018090/19867694 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21966 | Power cable
198 | CTH | Syringe pumps | BBR-BME-0907-AC-CTH-CCE-05 | Agilia | 018090/19867695 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21967 | Power cable
199 | CTH | IABP | BBR-BME-0907-AC-CTH-CCE-06 | Datascope, Sys 98 XT | B72800-G9 | 2007-10-06 | LAMC | 2015-12-01 | 2016-11-30 | 23702 | Maquet Medical India Pvt Ltd | [6 empty] | 553500
200 | CTH | Pacemaker(Double chamber) | BBR-BME-0907-AC-CTH-CCE-07 | APC | K1927 | 2007-08-17 |  |  |  |  | Emergent Meditech | [5 empty] | WARRANTY COMPLETE IT IS UNDER BIOMEDICAL | 180000 | External cable-1,Strap-2noS,Temporary cardiac pacing modes&codes card.
201 | CTH | ACT | BBR-BME-0907-AC-CTH-CCE-09 | Helena Laboratories, ACT Mini | 640723303 | 2007-09-29 |  |  |  |  | BL Life Sciences | [6 empty] | 98800 | POWER CORD
202 | CTH | MobileOt light single Dome | BBR-BME-0907-AC-CTH-CCE-10 |  | nil | 2008-03-23 |  |  |  |  | Hospilite 5004 | [6 empty] | 18000 | 1) Mobile unit 2) Power supply Cord 3) Handle 4) Four O.T. lamp
203 | CTH | PACEMAKER (SINGLE CHAMBER) | BBR-BME-0810-AC-CTH-CCE-11 | APC | MVBX7429 | 2010-08-11 |  |  |  |  | EMERGENT Meditech | [6 empty] | 60000 | USER MANUAL,PACING CABLE
204 | CTH | PACEMAKER(SINGLE CHAMBER) | BBR-BME-1113-AC-CTH-CCE-12 | 5348 | PEP101069R | 2013-11-25 |  |  |  |  | MEDTRONICS | [6 empty] | 86803 | USER MANUAL,PACING CABLE
205 | CTH | PACEMAKER(Dual CHAMBER) | BBR-BME-1113-AC-CTH-CCE-13 | 5388 | PFG150498R | 2013-11-28 |  |  |  |  | MEDTRONICS | [6 empty] | 185910 | USER MANUAL,PACING CABLE
206 | CTH | ROTABLATOR | BBR-BME-0715-AC-CTH-CCE-14 | H802220200381 | RC400413 | 2015-07-08 | Warranty 1 yr |  |  |  | Boston Scientific India Pvt. Ltd. | [6 empty] | 2000000 | Gas Regulator,N2 cylinder,foot paddle
207 | LPT | Microscope | BBR-BME--AC-LPT-LAB-02 | CH20IBIMF | 6C05518 | [5 empty] | Olympus Opto Systems | [5 empty] | Note: Eqpt from SL. 1 to 8 ,&15 belongs to Aditya Hospital . | 29565 | 1) Power supply cord.
208 | LPT | Uriscan | BBR-BME-0806-AC-LPT-LAB-06 | SP4809A | UA- 6040140 SB0509000907 | [5 empty] | Merck Ltd | [5 empty] | Note: Eqpt from SL. 1 to 8 ,&15 belongs to Aditya Hospital . | 50000 | 1) AC/DC Adoptar with power supply cord. 2) Printer paper roll
209 | LPT | coagulometer | BBR-BME-0907-AC-LPT-LAB-08 | Hemostar XF | 233 | 2007-09-22 |  |  |  |  | Tulip Diagnostics Pvt Ltd | [5 empty] | under biomedical | 80000 | Power cord
210 | LPT | Elisa reader | BBR-BME-1007-AC-LPT-LAB-09 | Stat Fax 332 + | 3321074 | 2007-10-10 |  |  |  |  | Ark Diagnostics | [5 empty] | under biomedical | 102500 | powercord
211 | LPT | Lab Incubator | BBR-BME-0806-AC-LPT-LAB-12 | DINO 04 | 32/06-07 | [5 empty] | Digilab | [5 empty] | under biomedical | 50000 | 1) Power supply cord digital biological digilab
212 | LPT | centrifuge M/C | BBR-BME-0508-AC-LPT-LAB-13 | INLC3933 |  | 2008-05-26 |  |  |  |  | Remi Sales & Engg Ltd | [5 empty] | under biomedical | 5500 | POWER CORD
213 | LPT | SEMI AUTO ANALYSER | BBR-BME-1208-AC-LPT-LAB-14 | ERBA CHEM 5 PLUS V2 | 81114 | 2008-12-10 | CMC | 2015-06-01 | 2016-05-31 | 21417 | Transasia Bio-Medicals Ltd | [6 empty] | 155000 | POWER CORD,VARIABLE VOLUME PIPET-2NOS,REAGENT WORTH-Rs.5000/-
214 | LPT | CELL COUNTER | BBR-BME-0809-AC-LPT-LAB-16 | KX21 | B4961 | 2009-08-29 |  | 2015-06-01 | 2016-05-31 | 24214 | Transasia Bio-Medicals Ltd | [6 empty] | 415000 | Standard accesseries,Blood mixture with Rs50000/-reagent pack free.
215 | LPT | Lab Incubator | BBR-BME-0806-AC-LPT-LAB-18 | DINO 04 | 32/06-07 | [5 empty] | Digilab | [6 empty] | 8000 | 1) Power supply cord digital biological digilab
216 | LPT | Autoclave | BBR-BME—AC-LPT-LAB-22 |  |  | 2010-01-07 | [11 empty] | 5100 | With all accesseries
217 | LPT | Hot air oven | BBR-BME-0110-AC-LPT-LAB-23 |  |  | 2010-01-20 | [11 empty] | 10560 | With all accesseries
218 | LPT | Microscope | BBR-BME-0210-AC-LPT-LAB-26 | CX21I |  | 2011-05-11 |  |  |  |  | Shiv Scientific | [6 empty] | 56500 | Power supply cord.
219 | LPT | WATERBATH | BBR-BME—AC-LPT-LAB-27 |  |  | 2011-03-14 |  |  |  |  | UTKAL DRUGS & CHEMICALS | [6 empty] | 16312 | 1) Power supply cord.
220 | LPT | INCUBATOR | BBR-BME-0211-AC-LPT-LAB-28 |  |  | 2011-02-22 |  |  |  |  | SRI SAI SCIENTIFIC | [6 empty] | 30713 | 1) Power supply cord.
221 | LPT | centrifuge | BBR-BME—AC-LPT-LAB-35 |  |  | 2012-02-23 | [11 empty] | 25480 | Power supply cord.
222 | LPT | Blood Bank Refrigirator | BBR-BME-1112-AC-LPT-LAB-29 | PC-2001B |  | 2012-11-11 |  |  |  |  | Terumo penpol | [7 empty] | Power Cord
223 | LPT | Microscope | BBR-BME-0210-AC-LPT-LAB-26 | CX21I |  | 2013-03-04 |  |  |  |  | Shiv Scientific | [6 empty] | 47000 | Power supply cord.
224 | LPT | Turbidimetry | BBR-BME-1013-AC-LPT-LAB-30 |  | 101461 | 2013-11-12 | AMC Type (Lab/Comp) | 2015-09-25 | 2016-09-24 | 7980 | Care & Care | [6 empty] | 100000
225 | LPT | centrifuge M/C | BBR-BME-0714-AC-LPT-LAB-32 | R-8CBL |  | 2014-07-28 | Warranty upto 27/jul/15 |  |  |  | Remi Sales & Engg Ltd | [6 empty] | 47250 | Power cord
226 | LPT | Biosafety Cabinet | BBR-BME-0314-AC-LPT-LAB-31 | ACBS 1200A2 | ACBS 1200A2 | 2014-03-27 |  |  |  |  | Aeromech Equipments Pvt Ltd. | [6 empty] | 130000
227 | RAD | X-ray machine(500ma) | BBR-BME-0806-AC-RAD-RAD-01 | 500FC/MT M3 | 0607500255 2K606272 C06C043 | 2006-08-22 | AMC Type (Lab) | 2016-01-01 | 2016-12-31 | 10580 | Allengers Medical Systems Ltd. | [5 empty] | Old Eqpt from Aditya Hospital | 300000 | 1) Controller unit 2) Ext. Cord 3) Collimator unit 4) HT transformer 5) Tube stand 6) Cassette stand 7) Patient table
228 | RAD | Mobile x -Ray | BBR-BME-0907-RAD-RAD-03 | Multimobil 2.5 | 32289 | 2007-09-25 | CMC | 2015-04-01 | 2016-03-31 | 50356 | Siemens ltd | [6 empty] | 200000 | power cord
229 | RAD | X ray m/c driyer | BBR-BME--AC-RAD-RAD-04 | [14 empty] | 17472 | power cord
230 | RAD | CT SCAN SIX SLICE | BBR-BME--AC-RAD-RAD-05 | SOMATOM Emotion -6 | E6 / 27208 | 2010-08-12 | CMC | 2015-06-26 | 2016-03-31 | 2105128 | Siemens ltd | [6 empty] | 11200000 | Computer,pressure injector,Camera, Stabiliser & other acceseries list attached in file
231 | RAD | C R SYSTEM | BBR-BME-0811-AC-RAD-RAD-06 | Drypix-7000,Capsula XL-11 | 07241378 06724998 | 2011-08-20 | AMC | 2015-08-20 | 2016-08-19 | 52759 | Fuji Film India Pvt. Ltd.India Pvt ltd | [6 empty] | 1350000 | 1)CAPSULA XL-11,2)DRYPIX 7000,3)CASSETS-14*17(4nos),25*30cm(2nos),20*25cm(2nos), MONITORS-2NOS
232 | RAD | Mobile x -Ray | BBR-BME--AC-RAD-RAD-07 | Multimobil 2.5 | 33416 | 2011-09-16 | CMC | 2015-04-01 | 2016-03-31 | 38466 | Siemens ltd | [6 empty] | 215000 | power cord
233 | RAD | Ultrasound machine (Convex,Linear & Vascular probe) | BBR-BME-0211-AC-RAD-RAD-08 | HD-9 | B16511300001077 | 2011-12-15 | CMC | 2015-04-01 | 2016-03-31 | 189048 | Philips Electronics | [6 empty] | 1350000 | (Convex,Linear & Vascular probe)
234 | RAD | Beside ECho with ultrasound machine. | BBR-BME-0116-AC-RAD-RAD-09 | Logiq BT-14 | 465112WX1 | 2016-01-02 | warranty | 2016-01-02 | 2017-01-01 |  | GE | [6 empty] | 1600000 | Convex, Sector, Linear
235 | NIL | TMT | BBR-BME-1007-AC-NIL-CAR-01 | Indian GE Model | 60050701436 | 2007-10-15 | CMC | 2015-04-01 | 2016-03-31 | 47496 | Wipro GE | [6 empty] | 250000 | HFPC TMT(594XL),CAM-14,CAM-USBA/T
236 | NIL | Echo with Tee | BBR-BME-1107-AC-NIL-CAR-02 | Envisor C HD | CH45070585 | 2007-11-20 | CMC | 2015-04-01 | 2016-03-31 | 179345 | Philips Electronics | [6 empty] | 2000000 | S-8 PROBE,S4-2 PROBE,TEE PROBE, Colour Printer(HP)- 1no
237 | NIL | PFT | BBR-BME-0907-AC-NIL-CAR-03 | Helios Spirometer | HELS/770003-401 | 2007-09-20 |  |  |  |  | Recorders & medicare Systems | [6 empty] | 44000 | CPUintel,mouth piece,nose clip,usb cble,pc spiro hardware with bidirectional turban catridge
238 | NIL | ECG | BBR-BME-0907-AC-NIL-CAR-04 | Trim I - Page writer | US80715448 | 2007-09-23 | CMC | 2015-04-01 | 2016-03-31 | 19637 | Philips Electronics | [6 empty] | 50000 | 1) Lead electrodes and limb electrodes 2) Power supply cord 3) User guide manual 4) ECG paper roll
239 | NIL | Holter | BBR-BME-1007-AC-NIL-CAR-05 | Mars PC | 28776- USBLF | 2007-10-15 |  |  |  |  | Wipro GE | [6 empty] | 520000 | SEERMC-3nos,Scandisc-3nos,Omnidrive usable,Mars pc dongle,Seer light conect, HP laserjet1160,HP PC,HP CPU
240 | NIL | Defibrillator | BBR-BME-0907-AC-NIL-CAR-06 | Heart Start XL | US00455949 | 2007-09-22 | CMC | 2015-04-01 | 2016-03-31 | 16124 | Philips Electronics | [6 empty] | 175000 | POWERCABLE,External paddle
241 | NIL | ECHO M/C | BBR-BME-0907-AC-NIL-CAR-08 | VIVID S6 | 3089 VS6 | 2011-11-13 | CMC | 2015-04-01 | 2016-03-31 | 178110 | Wipro GE | [6 empty] | 1900000 | CARDIAC ADULT & PEDITRIC
242 | NIL | TMT | BBR-BME-0115-AC-NIL-CAR-09 | 594XL | 1121206481 | 2015-01-27 |  |  |  |  | Wipro GE | [6 empty] | 300000 | HFPC TMT(594XL),CAM-14,CAM-USBA/T
243 | ABU | Transport ventilator | BBR-BME-0907-AC-ABU-CCE-01 | Parapac 200D | 706261 | 2007-09-24 |  |  |  |  | Hansraj Nayyar Medical India | [6 empty] | 296400
244 | ABU | syringe pumps | BBR-BME-0907-AC-ABU-CCE-03 | Injectomat Agilia | 018090/19867696 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
245 | ABU | Patient monitorNIBP | BBR-BME-0810-AC-ABU-CCE-02 | Mec-1200 | CC-05113167 | 2010-08-26 |  |  |  |  | Mindray Medical India Pvt. Ltd. | [6 empty] | 66000 | ECG cable-three lead,SPO2 SENSOR,POWER CORD,NIBP cuff with hose pipe
246 | ABU | ECG Machine | BBR-BME-0912-AC-ABU-CCE-06 | CARDIOVIT-AT-2C | 2013262 | 2012-09-19 |  |  |  |  | Schiller Healthcare Pvt. Ltd. | [6 empty] | 92500 | With All acessories
247 | ABU | Defibrillator | BBR-BME-0912-AC-ABU-CCE-06 | Heart Start XL | US00595582 | 2012-09-28 |  |  |  |  | Philips Electronics | [6 empty] | 175000 | ECG cable,External paddle,power cable
248 | NSA | Pulse Oximeter | BBR-BME-0108-AC-NSA-CCE-01 | Biox 3800 | FBX071700025A | 2008-01-09 |  |  |  |  | GE Datex Ohmeda | [6 empty] | 50000 | Power cable,SPO2probe
249 | NSA | Pulse Oximeter | BBR-BME-0108-AC-NSA-CCE-02 | Biox 3800 | FBX070901395A | 2008-01-09 |  |  |  |  | GE Datex Ohmeda | [6 empty] | 50000 | Power cable,SPO2probe
250 | NSA | syringe pumps | BBR-BME-0907-AC-NSA-CCE-04 | Injectomat Agilia | 018090/19868053 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
251 | NSA | syringe pumps | BBR-BME-0907-AC-NSA-CCE-05 | Injectomat Agilia | 018090/19868055 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
252 | NSA | syringe pumps | BBR-BME-0907-AC-NSA-CCE-06 | Injectomat Agilia | 018090/19867727 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
253 | NSA | syringe pumps | BBR-BME-0907-AC-NSA-CCE-07 | Injectomat Agilia | 018090/19867708 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
254 | NSA | syringe pumps | BBR-BME-0907-AC-NSA-CCE-08 | Injectomat Agilia | 018090/19867726 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
255 | NSA | Defibrillator | BBR-BME-0907-AC-NSA-CCE-09 | Heart Start XL | US00455952 | 2007-09-22 | CMC | 2015-04-01 | 2016-03-31 | 16124 | Philips Electronics | [6 empty] | 175000 | ECG cable,External paddle,power cable
256 | NSA | Monitor(ECG,Spo2,NiBP | BBR-BME-1006-AC-NSA-CCE-10 | Radiant 3p | c | 2006-10-19 |  |  |  |  | clarity | [6 empty] | 70000 | 1) ECG electrode probe 2) SpO2 finger sensor 3) NIBP probe with adult cuff 4) Power supply cord
257 | NSA | SYRINGE PUMP | BBR-BME-0907-AC-NSA-CCE-11 | Injectomat Agilia | 018090/19867735 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
258 | NSA | monitors(ECG, SPO2, NIBP, TEMP | BBR-BME-0907-AC-NSA-CCE-12 | Mindray Mec 1000 | AQ12149516 | 2011-03-29 |  |  |  |  | Emergent Meditech | [6 empty] | 65000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
259 | NSA | monitors(ECG, SPO2, NIBP, TEMP | BBR-BME-0907-AC-NSA-CCE-13 | Mindray Mec 1000 | AQ12149518 | 2011-03-29 |  |  |  |  | Emergent Meditech | [6 empty] | 65000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
260 | NSA | Syringe pump | BBR-BME-0711-AC-NSA-CCE-14 | perfusion compact | 161534 | 2011-07-25 |  |  |  |  | B Brown(Biomed health care) | [6 empty] | 30170 | power cable
261 | NSA | Syringe pump | BBR-BME-0513-AC-NSA-CCE-15 | perfusion compact | 171355 | 2013-01-28 |  |  |  |  | B Brown(Biomed health care) | [6 empty] | 31500 | power cable
262 | NSA | BIPAP | BBR-BME-0714-AC-NSA-CCE-16 | Harmony | 6027662 | 2014-07-12 | warranty 3yrs |  |  |  | Philips Electronics | [6 empty] | 80000 | POWER CABLE WITH ADOPTER,HOSE PIPE,FULL FACE MASK,CARRYBAG
263 | CTD | monitors(ECG,SPO2,NIBP,TEMP) | BBR-BME-1107-AC-CTD-CCE-01 | Mindray Mec 2000 | CV78100005 | 2007-11-01 |  |  |  |  | Emergent Meditech | [6 empty] | 74450 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
264 | CTD | Patient Warmer | BBR-BME-0907-AC-CTD-CCE-02 | Bair Hugger, Sys 505 | 765 | 2007-09-26 |  |  |  |  | BL Life Sciences | [6 empty] | 74880 | Power cable,Warmer pipe
265 | CTD | syringe pumps | BBR-BME-0907-AC-CTD-CCE-03 | Agilia | 018090/1986048 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
266 | CTD | syringe pumps | BBR-BME-0907-AC-CTD-CCE-04 | Agilia | 018090/19867716 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 21965 | Power cable
267 | CTD | Ventillator | BBR-BME-0208-AC-CTD-CCE-8 | Engstrom carestation | CVCL01096 | 2008-02-28 |  |  |  |  | Wipro GE | [6 empty] | 687500 | reusable patient circuit,HMEF(filter)-50nos
268 | CTD | monitors(ECG,SPO2,NIBP,TEMP)Mec-1200 | BBR-BME-0208-AC-CTD-CCE-9 | mec1200 | cc09115046 | 2010-03-11 |  |  |  |  | Emergent Meditech | [6 empty] | 66000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
269 | CTD | monitors(ECG,SPO2,NIBP,TEMP)Mec-1200 | BBR-BME-0208-AC-CTD-CCE-10 | mec1200 | cc09115048 | 2010-03-11 |  |  |  |  | Emergent Meditech | [6 empty] | 66000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
270 | CTD | monitors(ECG, SPO2, NIBP, TEMP | BBR-BME-0208-AC-CTD-CCE-11 | Mindray Mec 1000 | AQ12149519 | 2011-03-29 |  |  |  |  | Emergent Meditech | [6 empty] | 65000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
271 | CTD | monitors(ECG, SPO2, NIBP, TEMP | BBR-BME-0208-AC-CTD-CCE-12 | Mindray Mec 1000 | AQ12149520 | 2011-03-29 |  |  |  |  | Emergent Meditech | [6 empty] | 65000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
272 | CTD | monitors(ECG, SPO2, NIBP,IBP TEMP | BBR-BME-0208-AC-CTD-CCE-13 | Goldway G 30 | CN12803516 | 2012-10-31 |  |  |  |  | Philips Electronics | [6 empty] | 85000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
273 | CTD | monitors(ECG, SPO2, NIBP,IBP TEMP | BBR-BME-0208-AC-CTD-CCE-14 | Goldway G 30 | CN12803517 | 31/10/2012 |  |  |  |  | Philips Electronics | [6 empty] | 85000 | Adult & pediatric BP cuff,NIBP cable,ECG cable,SPO2 probe,Temperature cable,Power cable
274 | CTD | Defibrillator with pacer | BBR-BME-0907-AC-ABU-CCE-05 | Heart Start XL | US00460141 | 2007-09-22 |  |  |  |  | Philips Electronics | [6 empty] | 250000 | ECG cable,External paddle,power cable
275 | BME | Infusion pump | BBR-BME-0907-AC-BME-CCE-09 | Optima-VS | 027290/19834726 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 36490 | Power cable
276 | BME | Infusion pump | BBR-BME-0907-AC-BME-CCE-10 | Optima-VS | 027290/19835001 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 36490 | Power cable
277 | BME | infusionpumps | BBR-BME-0907-AC-ICU-CCE-23 | Optima VS | 027290/19834725 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 36490 | Power cable
278 | BME | infusionpumps | BBR-BME-0907-AC-ICU-CCE-24 | Optima VS | 027290/19834927 | 2007-09-22 |  |  |  |  | Fresinius | [6 empty] | 36490 | Power cable