## Sheet1
1 | GPT | Vaccum Machine-1 | NGP-BME-1205-GC-GPT-CCE-01 | V-255 | 5026813 | 2006-11-29 | C | 2016-02-01 | 2017-03-31 | 27000 | INGER SOL RAND |  |  |  | WORKING CONDITION | 457173.2 | 1) 3 Ph Induction motor/A7MBPF0575 2) V-Belt-3 3) Pressure switch/630276 5) Pully
2 | GPT | Vaccum Machine-2 | NGP-BME-1205-GC-GPT-CCE-02 | V-255 | 6043373 | 2006-11-29 | C | 2016-02-01 | 2017-03-31 | 27000 | INGER SOL RAND |  |  |  | WORKING CONDITION | 457173.2 | 1) 3 Ph Induction motor/A7MBPF0563 2) V-Belt-3 3) Pressure switch/630285 5) Pully
3 | GPT | Compressor Machine-1 | NGP-BME-1205-GC-GPT-CCE-03 | TFT75B-9-51 | FCP-0108 | 2006-11-29 | C | 2016-02-01 | 2017-03-31 | 27000 | ANEST IWATA |  |  |  | WORKING CONDITION | 457173.2 | 1)Head/FB0183 2)3 Ph squirer cage moter/231390 3)Pressure switch 4)Fluid control system 5)V-belt 6)V-belt-2 7)Reciver tank
4 | GPT | Compressor Machine-2 | NGP-BME-1205-GC-GPT-CCE-04 | TFT75B-9-51 | FCP-0107 | 2006-11-29 | C | 2016-02-01 | 2017-03-31 | 27000 | ANEST IWATA |  |  |  | WORKING CONDITION | 457173.2 | 1)Head/FB0189 2)3 Ph squirer cage moter/204769 3)Pressure switch 4)Fluid control system 5)V-belt 6)V-belt-2 7)Reciver tank
5 | GPT | Dry air machine | NGP-BME-1205-GC-GPT-CCE-05 | SHD-35 | 3060859 | 2006-11-29 | C | 2016-02-01 | 2017-03-31 | 27000 | SUMMIT HYGRONIC |  |  |  | WORKING CONDITION | 457173.2 | 1) Power cord
6 | GPT | Accessories of central medical Gas plant system:- | x |  |  | 2006-11-29 | [8 empty] | WORKING CONDITION | 110012 | 01) Oxygen regulator (Single stage) 02) Oxygen flow meter full set 03) Oxygen "L" type adapters 04) Air adaptor 05) Vaccum adapters 06) Vaccum kit(600 ml bottle) 07) Hose clamps 08) Oxygen ventilator pipe (4 mtrs) 09) Air Ventilator(4mtr) 10) N2O adaptors 11) Oxygen self sealing valve 12) Air self sealing valve 13) N2O self sealing valve 14) Vaccume self sealing valve 15) Regulator Nut to self fit sealing valve 16) Teflon taps 17) Cylinder pressure adapter with guage
7 | CCE | Monitor | NAG-BME-0806-GC-ERC-CCE-01 | M-1000 | AQ5CB4596 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
8 | CCE | Monitor | NAG-BME-0806-GC-ICU-11 | M-1000 | AQ5CB4597 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
9 | CCE | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-71 | PERFUSOR COMPACT | 192213 | 2013-11-11 | W |  |  |  | BBRAUN |  |  |  | WORKING CONDITION | 31500 | 1) SYRINGE PUMP 2) MULTIPURPOSE CLAMP3) POWER CORD
10 | CCE | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-69 | PERFUSOR COMPACT | 192133 | 2013-11-11 | W |  |  |  | BBRAUN |  |  |  | WORKING CONDITION | 31500 | 1) SYRINGE PUMP 2) MULTIPURPOSE CLAMP3) POWER CORD
11 | CCE | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-74 | PERFUSOR COMPACT | 192207 | 2013-11-11 | W |  |  |  | BBRAUN |  |  |  | WORKING CONDITION | 31500 | 1) SYRINGE PUMP 2) MULTIPURPOSE CLAMP3) POWER CORD
12 | CCE | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-65 | PERFUSOR COMPACT | 192341 | 2013-11-11 | W |  |  |  | BBRAUN |  |  |  | WORKING CONDITION | 31500 | 1) SYRINGE PUMP 2) MULTIPURPOSE CLAMP3) POWER CORD
13 | CCE | Syringe Pump | NAG-BME-0906-GC-COT-CCE-07 | Pilot A2 | 19446927 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
14 | CCE | Ventilator | NAG-BME-1207-GC-ERC-CCE-05 | PARAPAC 200DEP | 603171 | 2007-12-02 | B |  |  |  | Hansraj |  |  |  | WORKING CONDITION | 320625 | 1)One patient hose with EP section 2)hose i/p 3)one patient valve 4)one mri compatible battry 5)one connector with filter 6)peep valve 7)one exhaust collector 8)user manual
15 | CCE | Defibrilator | NAG-BME-0806-GC-ERC-CCE-04 | HeartstartXL | US00595181 | 2012-03-26 | C | 2016-04-01 | 2017-03-31 | 11100 | Philips |  |  |  | WORKING CONDITION | 175000 | 1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2 7) SPO2 fingure sensor
16 | CCE | Defibrilator | NAG-BME-0806-GC-ERC-CCE-04 | HeartstartXL | US00448025 | 2006-08-31 | C | 2016-04-01 | 2017-03-31 | 20859 | Philips |  |  |  | WORKING CONDITION | 275000 | 1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2 7) SPO2 fingure sensor
17 | CCE | ECG MACHINE | NAG-BME-1207-GC-ERC-CCE-06 | CARDIAC9108 | DUTB3K2194 | 2014-01-01 | B |  |  |  | BPL | 3 | 2014-01-01 | 2017-01-01 | WORKING CONDITION | 94500 | ECG Cable,Power cord
18 | CCE | O.T.Light | NAG-BME-0906-GC-ERC-OTE-01 | {Jan 20} 24" | Not Metioned | 2006-09-13 | B |  |  |  | Surgident |  |  |  | WORKING CONDITION | 32000
19 | CCE | O T Table | NAG-BME-0906-GC-ERC-OTE-02 | XL-777 | Not mentioed | 2006-09-13 | B |  |  |  | Surgident |  |  |  | WORKING CONDITION | 105000 | 1)anesthetic screen 2)shoulder support with pad 3)arm board with pad 4)lateral support with pad 5)knee crutches goepel type 6)water proof rubber mattress 7)pelvis rest in 3 sizes 8)pelvic support(radio translucent) 9)ineer tight support (radio translucent
20 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-76 | MP20 | DE80180743 | 2014-01-07 | C | 2016-04-01 | 2017-03-31 | 16110 | philips medical india | 1 |  |  | WORKING CONDITION | 285000 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
21 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-77 | MP20 | DE80180749 | 2014-01-07 | C | 2016-04-01 | 2017-03-31 | 16110 | philips medical india | 1 |  |  | WORKING CONDITION | 285000 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
22 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-78 | MP20 | DE80180485 | 2014-01-07 | C | 2016-04-01 | 2017-03-31 | 16110 | philips medical india | 1 |  |  | WORKING CONDITION | 285000 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
23 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-80 | MP20 | DE48086314 | 2014-11-01 | C |  |  |  | philips medical india | 1 |  |  | WORKING CONDITION | 285000 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
24 | ICU | Monitor | NAG-BME-0106-GC-ICU-CCE-12 | GALAXY | G06G7377 | 2006-01-09 | B |  |  |  | L&T Ltd. | 1 |  |  | WORKING CONDITION | 133650
25 | ICU | Monitor | NAG-BME-0106-GC-GOT-CCE-03 | GALAXY | G06G7423 | 2006-01-09 | B |  |  |  | L&T Ltd. | 1 |  |  | WORKING CONDITION | 133650
26 | ICU | Monitor | NAG-BME-0106-GC-PIU-CCE-12 | GALAXY | G06G7382 | 2006-01-09 | B |  |  |  | L&T Ltd. |  |  |  | STANDBY | 133650 | 1) Galaxy unit-1 2)Fuse F 3.15A- 3)lable ECG electrode-12 4)Reusable Electrodes-5 5)disposable electrodes-5 6)NIBP hose-1 7)mainpower supply cord-2 8)dust cover-8 9)conducting jelly-1 10)adult cuff-1 11)child cu
27 | ICU | Monitor | NAG-BME-0806-GC-GOT-CCE-11 | M-9000 | W68H4023 / 06381712 | 2012-03-22 | B |  |  |  | Advance micronic System | 1 |  |  | WORKING CONDITION | 120000
28 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-06 | M-1000 | AQ5CB4600 | 2006-08-28 | B |  |  |  | Advance micronic System | 1 |  |  | WORKING CONDITION | 95000
29 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-02 | M-1000 | AQ5CB4584 | 2006-08-28 | B |  |  |  | Advance micronic System | 1 |  |  | WORKING CONDITION | 95000
30 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-06 | M-1000 | AQ1C163898 | 2012-03-22 | B |  |  |  | Advance micronic System | 1 |  |  | WORKING CONDITION | 75000
31 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-022 | M-1000 | AQ1C163930 | 2012-03-22 | B |  |  |  | Advance micronic System | 1 |  |  | WORKING CONDITION | 75000
32 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-60 | PERFUSOR COMPACT | 192223 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
33 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-61 | PERFUSOR COMPACT | 192201 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
34 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-62 | PERFUSOR COMPACT | 192224 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
35 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-63 | PERFUSOR COMPACT | 192346 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
36 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-64 | PERFUSOR COMPACT | 192196 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
37 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-66 | PERFUSOR COMPACT | 192276 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
38 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-70 | PERFUSOR COMPACT | 192305 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
39 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-67 | PERFUSOR COMPACT | 192281 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
40 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-68 | PERFUSOR COMPACT | 192331 | 2013-11-11 | W |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | WORKING CONDITION | 31500
41 | ICU | Syringe Pump | NAG-BME-0906-GC-CTU-CCE-14 | Pilot A2 | 19446986 | 2006-09-11 | B |  |  |  | Freshineous Kabi | 1 |  |  | WORKING CONDITION | 20720
42 | ICU | Syringe Pump | NAG-BME-0906-GC-CTH-CCE-04 | Pilot A2 | 19446934 | 11/09/2006 | B |  |  |  | Freshineous Kabi | 1 |  |  | WORKING CONDITION | 20720
43 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-16 | Pilot A2 | 19446944 | 2006-09-11 | B |  |  |  | Freshineous Kabi | 1 |  |  | WORKING CONDITION | 20720
44 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-21 | Pilot A2 | 19446914 | 2006-09-11 | B |  |  |  | Freshineous Kabi | 1 |  |  | WORKING CONDITION | 20720
45 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-36 | Pilot A2 | 19446932 | 2006-09-11 | B |  |  |  | Freshineous Kabi | 1 |  |  | WORKING CONDITION | 20720
46 | ICU | Ventilator | NAG-BME-0906-GC-CTU-CCE-16 | Servo-i | 4140 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquate | 1 |  |  | WORKING CONDITION | 607700
47 | ICU | Ventilator | NAG-BME-0906-GC-ICU-CCE-46 | Servo-S | 4141 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquet | 1 |  |  | WORKING CONDITION | 607700
48 | ICU | Ventilator | NAG-BME-0906-GC-ICU-CCE-44 | Servo-S | 4142 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquet | 1 |  |  | WORKING CONDITION | 607700
49 | ICU | Ventilator | NAG-BME-0906-GC-ICU-CCE-45 | Servo-S | 4144 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquet | 1 |  |  | WORKING CONDITION | 607700
50 | ICU | Ventilator | NAG-BME-0906-GC-ICU-CCE-47 | Servo-S | 4145 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquet | 1 |  |  | WORKING CONDITION | 607700
51 | ICU | Ventilator | NAG-BME-0906-GC-CTU-CCE-15 | Servo-i | 4146 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquate | 1 |  |  | WORKING CONDITION | 607700
52 | ICU | Vertilator | NAG-BME-1207-GC-ICU-CCE-56 | Servo S | 6475 | 2007-12-12 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquet | 1 |  |  | WORKING CONDITION | 542975
53 | ICU | Ventilator | NAG-BME-1207-GC-ICU-CCE-55 | Engstrom | CBCBL01095 | 2007-12-14 | B |  |  |  | Datex Ohmeda | 1 |  |  | WORKING CONDITION | 687500
54 | ICU | Defibrillator | NAG-BME-0806-GC-NIL-CCE-01 | HeartstartXL | US00444081 | 2006-08-31 | C | 2015-04-01 | 2016-03-31 | 15567 | Philips |  |  |  | WORKING CONDITION | 175000
55 | ICU | Defibrilator | NAG-BME-0806-GC-ICU-CCE-51 | HeartstartXL | US00444086 | 2006-08-31 | C | 2015-04-01 | 2016-03-31 | 15567 | Philips |  |  |  | WORKING CONDITION | 250000
56 | ICU | ECG Machine | NAG-BME-0806-GC-CTU-CAR-01 | CARDIAC 9108 | DUTAIE1204 | 2014-01-16 | C |  |  |  | BPL | 3 | 2014-01-16 | 16/1/17 | WORKING CONDITION | 94500
57 | ICU | Pacemaker | NAG-BME-1006-GC-ICU-CCE-13 | EV4543 | 3)MVBX7238 | 2006-10-25 | B |  |  |  | Advanced micronic devices ltd. | 1 |  |  | WORKING CONDITION | 64000
58 | ICU | BIPAP | NAG-BME-0606-GC-ICU-CCE-53 | silenzio Plus | 6310037 | 2006-06-10 | B |  |  |  | NIDEK Medical Ltd | 1 |  |  | WORKING CONDITION | 65000
59 | ICU | BIPAP | NAG-BME-0606-GC-ICU-CCE-54 | silenzio Plus | 6310038 | 2006-06-10 | B |  |  |  | NIDEK Medical Ltd | 1 |  |  | WORKING CONDITION | 65000
60 | ICU | VENtilator | SUR-BME-0408-CS-ICU-CCE- | SERVO-S | 10360 | (20/5/2009)/ 2/1/2017 | C |  |  |  | MAQUET
61 | NIL | TMT | NAG-BME-0906-GC-NIL-CAR-01 | TRADESTAR | 549 | 2015-04-03 | W |  |  |  | Nasan Medicals | 1 | 2015-04-03 | 2016-04-03 | NEW MACHINE | 157500 | "1)Treadmill test machine 2)Trolly-1 3)Personal computer-1 4)Printer-1 5)STWIN amplifier-1 6)Patient cable"
62 | NIL | PFT | NAG-BME-0516-GC-NIL-CAR-11 |  | HELS/850009/401 | (30/06/2008) /(26/12/2016) | B |  |  |  | RMS |  |  |  | CONDEMED |  | "1)Pulmonary function test kit 2)Spyrowin 3)Mouth Pieces-25 4)Blower "
63 | NIL | digital holter machine | NAG-BME-0213-GC-NIL-CAR-08 | TRACK-48 | BPEBA126256 | 2013-02-20 | B |  |  |  | BPL |  |  |  | WORKING CONDITION | 210000 | 1) digital holter machine, 2) lead wire -2 , 3) software cd & key- 1, 4) manual -2, 5) belt -1
64 | NIL | Uroflowmeter | NAG-BME-0907-GC-NIL-DIA-05 | Flowscan | NM | 2007-09-30 | B |  |  |  | origin Medisys |  |  |  | NOT IN USE | 45500 | 1)sensor load2)control Box wiyh digital display3)Dot Matrix printer4)Funnel5)Beaker
65 | NIL | body composition monitor | NAG-BME-0610-GC-NIL-DIA 06 | Innerscan (BC-601) | 1483 | 2010-06-09 | B |  |  |  | Tanita |  |  |  | DONATED MACHINE | 0 | 1) machine unit 2)memory card 64 mb 3)4 AA cells
66 | NIL | Defibrillator | NAG-BME-0806-GC-NIL-CCE-04 | HeartstartXL | M47358( USOO120767) | 2010-05-04 | C | 2015-04-01 | 2016-03-31 | 11113 | Philips |  |  |  | WORKING CONDITION | 83511 | "1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2"
67 | NIL | ECG Machine | NAG-BME-1111-GC-NIL-CAR-07 | 9108 | US60610611 | 2011-11-19 | B |  |  |  | BPL |  |  |  | WORKING CONDITION | 120000 | "1)Page Writer Trim-1 2)Clamp-4 3)Bulloon-6 4)Alligator Clip 4)Diagnostic Electrode 5)Power Cord-1 6)ECG Lead Cable-1 7)Battery-1 "
68 | NIL | EEG MACHINE | NAG-BME-0516-GC-NIL-CAR-09 | 24 BVP TRAVELLER | 1509002 | 2016-11-05 | W |  |  |  | RMS |  |  |  | WORKING CONDITION | 110000 | 1) machine unit
69 | NIL | EMG MACHINE | NAG-BME-0516-GC-NIL-CAR-10 | SOLUS 2C | 1604001 | 2016-11-05 | W |  |  |  | RMS |  |  |  | WORKING CONDITION | 225000 | 1) machine unit
70 | RAD | 40 K W HIGH FREQUENCY XRAY MACHINE | NAG-BME-0806-GC-RAD-RAD-01 | MARS-40 | 2K131040351 | 2013-11-13 | C | 2015-12-01 | 2015-11-30 | 57000 | Aallenger |  |  |  | WORKING CONDITION | 529238.28 | 1) X-rau tube/E-060003,C-050994 2) H.T. Transformer/031091 3) Collimotor/034092 4) Static Balancer/014/03-06 5) Column common/031524 6) control unit/ 03973 7) Kilnokop table/03851 8) Operating manual
71 | RAD | Mobile X-Ray 100mA | NAG-BME-0806-GC-RAD-RAD-02 | AE 100mA D.M. | 60102 | 2006-08-25 | B |  |  |  | ADONIS MEDICAL EQUIPMENT PRIVATE LIMITED |  |  |  | WORKING CONDITION | 115000 | 1)Mobile base generator handle 2)Column 4)Weight 4)Tube cariage, column cap, steel wire, pulley set 5)Tube head 6)Generator[with attached cable], hand switch, foot switch, poeration manual 7)Collimeter
72 | RAD | CT Scan | NAG-BME-0207-GC-RAD-RAD-03 | SOMATON SPIRIT | 31627 | 2007-02-24 | C | 2015-04-01 | 2016-03-31 | 1751235 | SIEMENS |  |  |  | WORKING CONDITION | 9073200 | List of assories of this equipment attached to this report please check it.
73 | RAD | ECHO Machine | NAG-BME-0306-GC-RAD-CAR-01 | SONOS 7500 | US50621803 | 2006-08-03 | C | 2015-04-01 | 2016-03-31 | 228233 | Philips |  |  |  | WORKING CONDITION | 2600000 | 1)Physio interface kit\77921-62480 2)Transiophegal ECG cable\77021-60010 3)Modem cable with CD\MT5634ZBA 4)Sonas -7500 5)VCR-Mitsubishi-MD3000 6)S8\02Q8FW 7)Linear 11-3L\02PFJZ 8)S3\02PFL4 9)S4\02PF64 10)C3540\02MGVP 11)TEE[omni]\02Q7QD 12)TEE proper care & handly CD 13)Mouth Piece 13)Probe Distal end protection cover 14)Disinfection basin[01110A]\US50621803 15)Foot switch\US5062180316)Costomer Procets floopy\M2424-12007 17)ECG patient cable 3lead & disposable electrode 18)ultrasound jelly 19)CD of transducer reference guide 20)Fujifilm video cassette 21)LVO & contrast CK 22)Mams cable 23)9pin-25pin adaptor24)9VDC adaptor 25)Probe Cover\M2421-66000 26)2.3GB sony mod\EDM-2300C/5.25MO 27)Linear probe LII-3 28)S8 probe 29)Sonas manual set 30)Medical US safety manual 31)sonas7500 quick card 32)VCR manual 33)Shared roles for system & data security
74 | RAD | Ultrasound Portable | NAG-BME-1109-GC-RAD-RAD-04 | Micromaxx | 03DKIy | 2009-11-02 | B |  |  |  | SonoSite |  |  |  | WORKING CONDITION | 1300000 | 1) Color Doppler ultrasound system 2) C6oe Tranducer 3) ICT Transducer 4) Sitelink 5) Dicom Bundle 6) Mini-Dock XC 7) Color power & Velocity color, PCPD,TDI 8) CW/PW/THI Bundle 9) Obs/Gyn Calc.10) Biopsy Guide starter kit for the ICT intracavity array transducer 11) Indian power cord 12) English user guide 14)English Control panel International
75 | RAD | ECHO Machine | VIJ-BME-1207-PC-RAD-RAD-05 | INVISOR | US30709816 | 04/05/2010 & 02/09/2013 | C | 2016-02-01 | 2017-03-31 | 196972.102 | Philips |  |  |  | WORKING CONDITION | 2189913 | 1)HIGHT DEFINATION INBUILD -1 2) CARD, VASC, GI INBUILD-1 3) ADULT & PEDIATRIC CARD XDCR BUN-1 4) CATRIGE CONNECTOR-1 5) STANDARD CONNECTOR-1 1) transducer C5-2 2) C8-4V ENDOVAGINAL TRANSDUCER 3) L12-3 TRANSDUCER
76 | RAD | CR SYSTEM | NAG-BME-1109-GC-RAD-RAD-06 | VITA SE | 130213555 | 16/5/2013 | C | 18/05/16 | 17/05/17 | 52500 | KODAK CARE STEAM |  |  |  | WORKING CONDITION | 525000 | 1) CR SYSTEM 2) DRY VEIW CAMERA 3) COMPUTER SYSTEM 4) CASSETTE -4
77 | RAD | 60 MA X-RAY MACHINE | NAG-BME-0513-GC-RAD-RAD-07 | MULTIMOBILE2.5 | 86200002 | 2013-07-11 | C | 2015-04-01 | 2016-03-31 | 37288 | SIEMENS |  |  |  | WORKING CONDITION | 215000
78 | RAD | ECHO Machine | NAG-BME--GC-RAD-RAD-08 | AFFINITY 50 |  | 15/2/2016 | W | 15/2/2016 | 15/2/2017 |  | Philips | 1 |  |  | WORKING CONDITION | 3250000
79 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-10 | M-1000 | AQ5CB4637 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
80 | ICU | Monitor | NAG-BME-0806-GC-ICU-10 | M-1000 | AQ5CB4559 | 2006-09-15 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
81 | ICU | Monitor | NAG-BME-0806-GC-PIU-CCE-28 | M-1000 | AQ6888621 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
82 | ICU | Monitor | NAG-BME-0806-GC-PIU-CCE-02 | Mec 2000 | CA-7A100126 | 2007-11-20 | B |  |  |  | Mindray |  |  |  | WORKING CONDITION | 72500 | ECG, SPO2, NIBP, Temp, RR
83 | ICU | Monitor | NAG-BME-0806-GC-CTH-CCE-12 | Mec 2000 | CA-7A100125 | 2007-11-20 | B |  |  |  | Mindray |  |  |  | WORKING CONDITION | 72500 | ECG, SPO2, NIBP, Temp, RR
84 | ICU | Monitor | NAG-BME-0806-GC-ERC-CCE-01 | M-1000 | AQ5CB4625 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
85 | ICU | Monitor | NAG-BME-0310-GC-PIU-CCE-29 | M6 | 258003236 | 2010-03-26 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 89960 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
86 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-05 | M-1000 | AQ5CB4542 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
87 | ICU | Syringe Pump | NAG-BME-0906-GC-CTU-CCE-07 | Pilot A2 | 19446967 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
88 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-43 | Pilot A2 | 19446975 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
89 | ICU | Defibrilator | NAG-BME-0806-GC-ICU-CCE-57 | HeartstartXL | US00444085 | 2006-08-31 | C | 2014-04-01 | 2015-03-31 | 20859 | Philips |  |  |  | WORKING CONDITION | 250000 | 1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2
90 | ICU | ECG Machine | NAG-BME-0806-GC-NIL-CAR-03 | CARDIAC9108 | DUTAB3K2175 | 2014-01-23 | W |  |  |  | BPL | 3 | 2014-01-23 | 2017-01-23 | WORKING CONDITION | 94500 | 1) ECG MACHINE 2) PATIENT CABLE 3) MANUAL 4) POWER CORD
91 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-03 | M-1000 | AQ5CB4615 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
92 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-07 | M-1000 | AQ5CB4460 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
93 | ICU | Syringe Pump | NAG-BME-0906-GC-NOT-CCE-02 | Pilot A2 | 19446963 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
94 | ICU | Syringe Pump | NAG-BME-1107-GC-CTH-CCE-14 | Injectomat Agilia | 19983329 | 2007-11-27 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 24000 | 1) Main unit 2) Power cord 3) user manual 4) Power cord
95 | ICU | Syringe Pump | NAG-BME-0906-GC-CTU-CCE-15 | Pilot A2 | 19446948 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
96 | ICU | Syringe Pump | NAG-BME-0906-GC-CTU-CCE-11 | Pilot A2 | 19446955 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
97 | ICU | Syringe Pump | NAG-BME-0906-GC-PIU-CCE-08 | Pilot A2 | 19446990 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
98 | ICU | Infusion Pump | NAG-BME-0906-GC-PIU-CCE-16 | Infusomat-P | 31980 | 2006-09-30 | B |  |  |  | B-Braun |  |  |  | WORKING CONDITION | 40000 | 1)Infusion Pump 2)Clamp 3)Drop Sensor 4)power Cord 5)Operating Instruction Manual 6)Quality Certificate
99 | ICU | Infusion Pump | NAG-BME-0906-GC-PIU-CCE-18 | Infusomat-P | 31979 | 2006-09-30 | B |  |  |  | B-Braun |  |  |  | WORKING CONDITION | 40000 | 1)Infusion Pump 2)Clamp 3)Drop Sensor 4)power Cord 5)Operating Instruction Manual 6)Quality Certificate
100 | ICU | Radiant Warmer | NAG-BME-0406-GC-PIU-CCE-20 | Fixed craddle | 683/06 | 2006-10-04 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 21000 | heater box,monitor tray,temperature controllerA-3327,IV Rod,lamp-60 watt,temperature sensor,acrylic baby bed matreess,side support,multipurpose brouse
101 | ICU | Radiant Warmer | NAG-BME-0406-GC-PIU-CCE-21 | Fixed craddle | 680/06 | 2006-10-04 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 21000 | heater box,monitor tray,temperature controllerA-3327,IV Rod,lamp-60 watt,temperature sensor,acrylic baby bed matreess,side support,multipurpose brouse
102 | ICU | Radiant Warmer | NAG-BME-0406-GC-PIU-CCE-22 | Fixed craddle | 681/06 | 2006-10-04 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 21000 | heater box,monitor tray,temperature controllerA-3327,IV Rod,lamp-60 watt,temperature sensor,acrylic baby bed matreess,side support,multipurpose brouse
103 | ICU | Phototherapy | NAG-BME-0406-GC-PIU-CCE-23 | DSPT unit | 684/06 | 2006-10-04 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 23000 | phototherapy box,8-ultraviolet tube,height adjustment stand,trolly,side support-4,baby bed acrylic,baby matresss
104 | ICU | Phototherapy | NAG-BME-0406-GC-PIU-CCE-24 | DSPT unit | 683/06 | 2006-10-04 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 23000 | phototherapy box,8-ultraviolet tube,height adjustment stand,trolly,side support-4,baby bed acrylic,baby matresss
105 | ICU | Phototherapy | NAG-BME-0406-GC-PIU-CCE-25 | SPT | 687/06 | 2006-10-04 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 10500 | phototherapy box,4-ultraviolet tube,height adjustment stand,trolly,side support-4,baby bed acrylic,baby matresss
106 | ICU | Phototherapy | NAG-BME-0406-GC-PIU-CCE-26 | SPT | 686/06 | 2006-10-04 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 10500 | phototherapy box,4-ultraviolet tube,height adjustment stand,trolly,side support-4,baby bed acrylic,baby matresss
107 | ICU | Phototherapy | NAG-BME-0406-GC-PIU-CCE-27 | SPT | 685/06 | 2006-10-04 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 10500 | phototherapy box,4-ultraviolet tube,height adjustment stand,trolly,side support-4,baby bed acrylic,baby matresss
108 | ICU | Ventilator | NAG-BME-0906-GC-PIU-CCE-14 | Servo-I | 24380 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquate |  |  |  | WORKING CONDITION | 800090 | 1)Base unit 2)Mobile card 3) Installation chart 4)Blue test tube/06487941 5) User manual 6) Interface unit/203115 7) Cleaning chart 8) Extra expiratory cassette/056848,056874,
109 | ICU | Ventilator | NAG-BME-0906-GC-PIU-CCE-15 | Servo-I | 24387 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquate |  |  |  | WORKING CONDITION | 800090 | 1)Base unit 2)Mobile card 3) Installation chart 4)Blue test tube/06487941 5) User manual 6) Interface unit/203115 7) Cleaning chart 8) Extra expiratory cassette/056848,056874,
110 | ICU | Bubble CPAP | NAG-BME-1015-GC-NICU-CCE-04 | MR850 | 1) 150209234497 2) B1409126 | 2015-03-10 | B |  |  |  | Maquate | 1 | 2015-03-10 | 2016-03-10 | WORKING CONDITION | 270000 | 1) Humidifier 2) blander 3) hose kit blender oxy & air high pressure
111 | GOT | Monitor | NAG-BME-0806-GC-GOT-CCE-09 | M-1000 | AQ5CB4596 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
112 | GOT | Video Endoscopy | NAG-BME-0306-GC-GSE-DIA-01 | 1) GIF-Q145, 2) CF-Q145, 3) BF-TE2, 4) CLK-4, 5) CV-145, 6) CLE-145, 7) LMD-1410 8) TJF-145 | 1) 2617386, 2) 2613311, 3) 2601331, 4) 7658721 5) 7635063 6) 7614006 7) 3020961 8) 2601216 | 2006-03-11 | A | 2015-12-01 | 2016-11-30 | 179421 | Olympus |  |  |  | WORKING CONDITION | 2092024.55 | "1) Gastrointestinal Videoscope, 2) Colonovideoscope, 3) Bronchofiberscope, 4) Coldlight supply, 5) Video System Ctr, 6) Halogen Light Source, 7) Sony 14"" LCD Monitor, 8) Duodenovideoscope"
113 | GOT | Surgical Diathermy | NAG-BME-1207-GC-GSE-OTE-01 | Me-Mb 2 | MEMB20000070828 | 2007-12-08 | B |  |  |  | Martin, Vishal Surgicals |  |  |  | WORKING CONDITION | 295680 | 1. PATIENT PAD 2. FOOT SWITCH
114 | GOT | leakage tester | NAG-BME-2912-GC-GSE-DIA-02 | MB-155(E) | GX9381 | 2009-12-29 | A |  |  |  | Olympus |  |  |  | WORKING CONDITION | 29672
115 | GOT | GI ENDOSCOPE | NAG-BME-0806-GC-GOT-CCE-10 | GIF-Q150 | 2206148 | 2013-06-05 | A |  |  |  | Olympus |  |  |  | WORKING CONDITION | 554976.45 | GASTROVIDEO SCOPE
116 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-07 | M-1000 | AQ5CB4586 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
117 | ICU | Dialysis machine | NAG-BME-1207-GC-NEF-THE-04 | Dialog plus | 31860 | 2007-12-15 | A | 2015-12-01 | 2016-11-30 | 24719 | B-Braun |  |  |  | WORKING CONDITION | 450562.5 | 1) Operator manual CD 2) Fuse links -2 3) Mount inst. 4) Amoured tube 5) Holder 6) Knob 7) Tube clamp-8 8) Treedgesknob 9) Dia connector set red 10) Dia connectro blue 11) locking washer -2 12) sample port-2 13) Pick up tube -3 14) spray holder 15) holder 1
118 | ICU | Dialysis machine | NAG-BME-1207-GC-NEF-THE-05 | Dialog plus | 31916 | 2007-12-15 | A | 2015-12-01 | 2016-11-30 | 24719 | B-Braun |  |  |  | WORKING CONDITION | 450562.5 | 1) Operator manual CD 2) Fuse links -2 3) Mount inst. 4) Amoured tube 5) Holder 6) Knob 7) Tube clamp-8 8) Treedgesknob 9) Dia connector set red 10) Dia connectro blue 11) locking washer -2 12) sample port-2 13) Pick up tube -3 14) spray holder 15) holder 1
119 | ICU | RO Plant | NAG-BME-1006-GC-NEF-THE-03 | 200 LPH | NOT MENTIONED | 2006-10-17 | B |  |  |  | Ion-Exchange |  |  |  | WORKING CONDITION | 172800 | Sand filter,Carbon filter,pump,softner,UV system.Dosing pump
120 | ICU | dialysis chair | NAG-BME-0806-GC-ICU-CCE-08 | NA | NA | 2013-03-07 | B |  |  |  | meditek |  |  |  | WORKING CONDITION | 97875 | 1) chair with one remote
121 | ICU | Dialysis machine | NAG-BME-0806-GC-ICU-CCE-09 | Dialog plus | 106341 | 14/3/13 | W |  |  |  | B-Braun | 3 | 14/3/13 | 14/3/16 | WORKING CONDITION | 545000 | machine-1, with standard accessories
122 | ICU | Dialysis machine | NAG-BME-1215-GC-ICU-CCE-10 | 5008s | 5VSAV655 | 31/12/15 | W |  |  |  | fresinius medical | 3 | 31/12/15 | 31/12/18 | WORKING CONDITION | 1120000 | machine-1, with standard accessories
123 | ICU | Dialysis machine | NAG-BME-1215-GC-ICU-CCE-11 | DIAMAX | 12C748 | 17/12/15 | W |  |  |  | NIPRO | 5 | 17/12/15 | 17/12/20 | WORKING CONDITION | 520000 | machine-1, with standard accessories
124 | ICU | Dialysis machine | NAG-BME-1215-GC-ICU-CCE-12 | DIAMAX | 12C756 | 17/12/15 | W |  |  |  | NIPRO | 5 | 17/12/15 | 17/12/20 | WORKING CONDITION | 520000 | machine-1, with standard accessories
125 | ICU | RO Plant | NAG-BME-1215-GC-ICU-CCE-13 | A-1000 | A786 | 2016-07-07 | W |  |  |  | atharva enterprises | 1 | 2016-07-07 | 2017-07-07 | WORKING CONDITION | 486666.67 | 1. ro plant -1, ss tank -2
126 | ICU | Dialysis chair | NAG-BME-1215-GC-ICU-CCE-14 | MEDITEK | NA | 2016-12-07 | W |  |  |  | SANA SALES | 1 | 2016-12-07 | 2017-12-07 | WORKING CONDITION | 97500 | 1. CHAIR-1
127 | ICU | Dialysis chair | NAG-BME-1215-GC-ICU-CCE-15 | MEDITEK | NA | 2016-12-07 | W |  |  |  | SANA SALES | 1 | 2016-12-07 | 2017-12-07 | WORKING CONDITION | 97500 | 1.CHAIR-1
128 | ICU | DIALYSER REPROCESSING UNIT | NAG-BME-1215-GC-ICU-CCE-16 | RENOTRON II | 31056 | 2016-12-09 | W |  |  |  | MINNTECH RENAL SYSTEM | 2 | 2016-12-03 | 2017-11-03 | WORKING CONDITION | 425000 | 1. UNIT-1 , MOTOR -1,
129 | ICU | Dialysis machine | NAG-BME-1116-GC-NEF-CCE-17 | 4008S | 5SXAJD68 | 2016-02-11 | W |  |  |  | fresinius medical | 5 | 2016-02-11 | 2021-01-11 | WORKING CONDITION | 520000
130 | ICU | Dialysis machine | NAG-BME-1116-GC-NEF-CCE-18 | 4008S | 5SXAJD67 | 2016-02-11 | W |  |  |  | fresinius medical | 5 | 2016-02-11 | 2021-01-11 | WORKING CONDITION | 520000
131 | ICU | Defibrillator | NAG-BME-1216-GC-NEF-CCE-19 | DFM100 | CN32607980 | 2016-06-12 | W |  |  |  | PHILIPS | 1 | 2016-06-12 | 2017-06-12 |  | 208400
132 | ICU | Defibrillator | NAG-BME-1216-GC-NEF-CCE-20 | DFM100 | CN32607973 | 2016-06-12 | W |  |  |  | PHILIPS | 1 | 2016-06-12 | 2017-06-12 |  | 208400
133 | COT | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-42 | Pilot A2 | 19446978 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
134 | GOT | Pulse oxymeter | NAG-BME-0707-GC-GOT-CCE-16 | 3800 | FBX07090072SA | 2007-07-05 | B |  |  |  | DETEX OHMEDA |  |  |  | WORKING CONDITION | 45454.55 | 1) Power cord 2) Oxytip finger sensor 3) User manual
135 | GOT | Colposcopy | NAG-BME-1016-GC-GOT-CCE-17 | HD INTTELIO | NA |  | W |  |  |  | borze india |  |  |  |  | 290000
136 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-30 | Pilot A2 | 19446980 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
137 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-38 | Pilot A2 | 19446988 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
138 | ICU | Pulse oxymeter | NAG-BME-0707-GC-GOT-CCE-17 | 3800 | FBX07090076SA | 2007-07-26 | B |  |  |  | DETEX OHMEDA |  |  |  | STANDBY | 45454.55 | 1) Power cord 2) Oxytip finger sensor 3) User manual
139 | ICU | Defibrilator | NAG-BME-0806-GC-ICU-CCE-52 | HeartstartXL | US00444082 | 2006-08-31 | C | 2014-04-01 | 2015-03-31 | 20859 | Philips |  |  |  | WORKING CONDITION | 250000 | 1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2
140 | ICU | ECG Machine | NAG-BME-0806-GC-ICU-CAR-01 | CARDIART 9108 | DUTA 1M 1363 | 2012-02-10 | W |  |  |  | BPL |  |  |  | WORKING CONDITION | 94500 | 1)Page Writer Trim-1 2)Clamp-4 3)Bulloon-6 4)Alligator Clip 4)Diagnostic Electrode 5)Power Cord-1 6)ECG Lead Cable-1 7)Battery-1
141 | NSS3 | FINGER TIP Pulse oxymeter | NAG-BME-0707-GC-3GW-CCE-18 | A4 | 111131400334 |  | B | [7 empty] | WORKING CONDITION | 4200 | 1) Power cord 2) Oxytip finger sensor 3) User manual
142 | GOT | Monitor | NAG-BME-1107-GC-CTH-CCE-20 | mx-600 | DE12503309 | 2014-03-29 | C |  |  |  | philips medical india | 1 |  |  | WORKING CONDITION | 615000 | ECG, SPO2, NIBP,TEMPERATURE PROBE, IBP CABLE, POWER CORED,AGM MODULE, BASIC MODULE,MONOITOR SCREEN,
143 | GOT | Monitor | NAG-BME-1107-GC-CTH-CCE-13 | Mec 2000 | CA-17A100114 | 2010-12-06 | B |  |  |  | Mindray |  |  |  | WORKING CONDITION | 72500 | ECG, SPO2, NIBP, Temp, RR, IBP & ETCO2
144 | GOT | Monitor | NAG-BME-0806-GC-CTH-CCE-11 | Mec 2000 | CA-7A100123 | 2007-11-20 | B |  |  |  | Mindray |  |  |  | WORKING CONDITION | 72500 | ECG, SPO2, NIBP, Temp, RR
145 | GOT | Monitor | NAG-BME-0806-GC-GOT-CCE-10 | M-1000 | AQ5CB4570 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
146 | GOT | Monitor | NAG-BME-0806-GC-GOT-CCE-11 | M-1000 | AQ5CB4480 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
147 | GOT | Monitor | NAG-BME-0806-GC-GOT-CCE-11 | M-1000 | AQ5CB4617 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
148 | GOT | Syringe Pump | NAG-BME-0906-GC-CTU-CCE-13 | Pilot A2 | 19446968 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
149 | icu | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-26 | Pilot A2 | 19446974 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
150 | GOT | Defibrilator | NAG-BME-0806-GC-GOT-CCE-04 | HeartstartXL | US00444079 | 2006-08-31 | C | 2014-04-01 | 2015-03-31 | 16251 | Philips |  |  |  | WORKING CONDITION | 175000 | 1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2