## Sheet1
151 | GOT | Surgical Diathermy | NAG-BNE-0311-GC-GOT-CCE-14 | FORCE FX C | FOC 65318A | 2011-03-15 | B |  |  |  | VALLEYLAB |  |  |  | WORKING CONDITION | 516375 | 1) monopolar foot switch - 1 2) Bipolar foot switch -1 3) adult rem pads disposible -05 4) Cord for patient plate 5) universal adapter -1 6) disposable pencil -05l
152 | GOT | Surgical Diathermy | NAG-BME-0207-GC-GOT-OTE-04 | Force 300+ | MIC-07-H34 | 2007-02-06 | B |  |  |  | Eclips |  |  |  | WORKING CONDITION | 85000 | 1) Monopolar foot switch 2) Bipolar foot switch 3) S.S. patient plate 4) Cord for patient plate 5) Monopolar chuuk handle 6) Reusable electrode set 7) Bipolar forcep with cord 8) Imp. Hand switch pencil
153 | GOT | Anesthesia Machine | NAG-BME-1006-GC-GOT-OTE-07 | AESTIVA 7100 | AMVK00381 | 2006-10-17 | C | 2015-04-01 | 2016-03-31 | 40593 | DATEX OHMEDA |  |  |  | WORKING CONDITION | 735000 | 1)vapouriser 2)hose-3 3)mount DSPL folding LH 4)localization reverse IS0 5)SFW inspiratory o2 6)astiva/5 7)silicon breathing 8)AC outlet 9)outlet oxyliary coormon 10)tube single for air 11)yokepin index for O2 12)yokepin index for NO2 13)arm short for bag 14)fitting 30mm 15)plastic how sensor
154 | GOT | Anesthesia Machine | NAG-BME-1006-GC-COT-OTE-04 | AESTIVA 7100 | AMVK00557 | 2011-11-14 | C | 2015-04-01 | 2016-03-31 | 40593 | DETEX OHMEDA |  |  |  | WORKING CONDITION | 735000 | 1)vapouriser 2)hose-3 3)mount DSPL folding LH 4)localization reverse IS0 5)SFW inspiratory o2 6)astiva/5 7)silicon breathing 8)AC outlet 9)outlet oxyliary coormon 10)tube single for air 11)yokepin index for O2 12)yokepin index for NO2 13)arm short for bag 14)fitting 30mm 15)plastic how sensor
155 | GOT | O.T. LIGHT | NAG-BME-0111-GC-GOT-OTE-22 | NA | Not mentioed | 2011-11-03 | B |  |  |  | HANULUX |  |  |  | WORKING CONDITION | 462763 | TWO DOME WITH STANDARD ACCESSORIES
156 | GOT | LED OT LIGHT | NAG-BME-0711-GC-GOT-OTE-30 | MAGNALLED SPHERE 700/700 | Not mentioed | 2013-08-07 | B |  |  |  | MAGNATEK |  |  |  | WORKING CONDITION | 581700 | 1) Double dome LED OT LIGHT 2) smps bord -2
157 | GOT | O T Table | NAG-BME-0906-GC-GOT-OTE-13 | XL-777 | Not mentioed | 2006-09-13 | B |  |  |  | Surgident |  |  |  | WORKING CONDITION | 105000 | 1)anesthetic screen 2)shoulder support with pad 3)arm board with pad 4)lateral support with pad 5)knee crutches goepel type 6)water proof rubber mattress 7)pelvis rest in 3 sizes 8)pelvic support(radio translucent) 9)ineer tight support (radio translucent
158 | GOT | O.T.Table | NAG-BME-0906-GC-GOT-OTE-01 | XL-2000 | Not mentioed | 2006-09-13 | B |  |  |  | Surgident |  |  |  | WORKING CONDITION | 65000 | OT TABLE WITH STANDARD ACCESSORIS
159 | GOT | C-ARM MACHINE | NAG-BME-1106-GC-GOT-OTE-03 | MULTIMOBIL 5D+03132 | 3132 | 2006-11-30 | C |  |  |  | SIEMENS |  |  |  | WORKING CONDITION | 1000000 | 1) C-Arm 2) 17' medical monitor,UPS monitor cover,cassette holder, sterile cloth, clips 3) Monitor Trolley 4) voltage stabilizer 5) VDU(monitor) 6) CPU
160 | GOT | Laproscopy | NAG-BME-1107-GC-GOT-OTE-06 | Karl storz | EC146448B,495NCS,IC643266-P,IC724043 & HC06358 | 2007-11-16 | B |  |  |  | Karl storz |  |  |  | WORKING CONDITION | 1842840 | 1) Hopkins ¦¦ telescope 0 degree 10 mm s.no- 957198 2) Hopkins ¦¦ telescope 30 degree 10mm s.no.-012016 3) Hopkins 4)Trocar 11 mm & 6 mm Fan Retractor 5)Forceps 6)Suction and irrigation tube 7)Monopolar cord length 8)Coagulation Electrode 9)Reduction sleeve 10)fiber optic cable 11)TRICAM II 12) TRICAM Camera Head 13)Endomat Set 14)Footswitch15)Applicator insert
161 | GOT | Table Top Steriliser | NAG-BME-0106-GC-GOT-SUP-01 | Electroquip | Size-10'X18' | 2006-01-09 | B |  |  |  | M.shah and co. |  |  |  | WORKING CONDITION | 53500 | 1) Door latch 2) Silicon gasket 3) Digital temperature indicator
162 | GOT | Lithoclast | NAG-BME-1007-GC-GOT-OTE-08 | Orilitho-Cal |  | 2007-10-29 | B |  |  |  | origin Medisys |  |  |  | WORKING CONDITION | 55500 | Control Module,oxygen connector tube with pressure regulator,Power cord,Supply tube,Foot switch with cable,Hand piece, Probe,Mouth Piece,End cap
163 | GOT | Tourniquet | NAG-BME-1006-GC-GOT-OTE-05 | IT-2001 | 62901 | 2006-10-24 | B |  |  |  | Arsh Interprises |  |  |  | WORKING CONDITION | 58000 | 1) control unit/415 2) cuff for child 3) cuff for long arm 4) cuff for long leg 5) cuff for standard 6) power cord
164 | GOT | Nerve stimulator | NAG-BME-0908-GC-GOT-OTE-09 | NSML-100 | 43 | 2008-09-09 | B |  |  |  | Hansraj Nayyar |  |  |  | WORKING CONDITION | 42199 | Interfacing cable for stimulator,Interface cable for Mapper, Interface cable for Locator, testing cable, ECG batteries electrode,9 V Adapter, testing cable for Locator, testing cable for stimulator,Manual , CD with operating manual
165 | GOT | Patient Warmer | NAG-BME-0106-GC-GOT-CCE-05 | 555 | 70754 | 2006-01-11 | B |  |  |  | Baigr Hugger |  |  |  | WORKING CONDITION | 80000 | Blanket,Power Cord
166 | GOT | Shaver system | NAG-BME-0209-GC-GOT-OTE-10 | stryker | 5100-1A | 2009-02-16 | B |  |  |  | Endolap Techniks |  |  |  | WORKING CONDITION | 350000 | 1)TPS Console 2) Formula Shaver Handpiece 3) TPS Bi-Directional Foot switch 4) 0375-544-000 4.0MM Aggressive plus cutter-3 5) 0375-951-012-5.5MM 12 flute Barrel 6) Operating manual 7) Power supply cable
167 | GOT | LED SIGHT SOURSE | NAG-BME-0906-GC-ICU-CCE-25 | L-180 | 71600637 | 2011-04-07 | B |  |  |  | OM SURGICAL |  |  |  | WORKING CONDITION | 90000 | LIGHT SOURSE, FIBER OPTIC CABLE
168 | GOT | ortho drill machine | NAG-BME-0711-GC-GOT-CCE-28 | 349-H4 | Not mentioed | 2011-10-07 | B |  |  |  | MANMAN |  |  |  | WORKING CONDITION | 83561.29 | manman driving motor unit-1, cannulated drill handpiece-1, reaming handpice-1, flexible shaft-1, flexible reamer-1, flexible reaamer shaft-2, data cable head-8, guide wire-3, medullary tube plastic-1, elen key-1
169 | GOT | LAPAROSCOPY SET | NAG-BME-0711-GC-GOT-OTE-31 |  | 1)9524N 2) 22201011U110 3) 22220055-3 4)20134001 5) NA 6) 33321MD ,33321ML 7) 34321MS 8) 26003AA 9) 33322CC 10 ) 26430506-1 11) 39501x 12) 33300 13) 33310c 14) 33122 15)30103MP | 2013-08-16 | B |  |  |  | KARL STORZ |  |  |  | WORKING CONDITION | 3253026 | 1) HD monitor 2) image 1 hub 3) image 1 H3-Z 4) Xenon nova 300 5) trolley 6) CLICK LINE FORCEPS - 2 7)SCISSORS 8) TELESCOPE10mm 9) cross olmi grassping forceps 10) electronic endoflator machine 11) telescope tray 12) outer tube insulated 13) forcept insert 14) plastic handle with ratchet 15) trocar ,size 11mm
170 | GOT | TURP SET | NAG-BME-1213-GC-GOT-OTE-32 | 26105BA,26050SL,27050BK,26050DH | NA | 2013-12-03 | B |  |  |  | Karl storz |  |  |  | WORKING CONDITION | 385350 | 1) HOPKINS II TELESCOPE30°,4mm 2) resectoscope sheath, 8mm 3) insert tube & vis. Obturator 4) working element set
171 | GOT | Radiant Warmer | NAG-BME-0406-GC-GOT-CCE-13 | Fixed craddle | 679/06 | 2006-04-10 | B |  |  |  | Manas Biomedical |  |  |  | WORKING CONDITION | 21000 | heater box,monitor tray,temperature controllerA-3327,IV Rod,lamp-60 watt,temperature sensor,acrylic baby bed matreess,side support,multipurpose brouse
172 | GOT | Tourniquet | NAG-BME-1006-GC-GOT-OTE-25 | 205 | NA | 2014-12-04 | W |  |  |  | SHREE SARASWATI SURGICAL | 1 | 2014-11-04 | 2015-11-04 | WORKING CONDITION | 25000 | 1) control unit/415 2) cuff for child 3) cuff for long arm 4) cuff for long leg 5) cuff for standard 6) power cord
173 | GOT | C-ARM MACHINE | NAG-BME-0816-GC-GOT-CCE-32 | MM5E | 31179 | 2016-07-11 | W |  |  |  | SIEMENS | 1 | 2016-11-07 | 2017-10-07 | WORKING CONDITION | 865000 | 1) C-Arm 2) 17' medical monitor,UPS monitor cover,cassette holder, sterile cloth, clips 3) Monitor Trolley 4) voltage stabilizer 5) VDU(monitor) 6) CPU
174 | GOT | Surgical Diathermy | NAG-BNE-0311-GC-GOT-CCE-14 | FORCE FX 8CS | S4J15357AX | 30/11/2016 | W |  |  |  | VALLEYLAB | 2 | 30/11/2016 | 29/11/2018 |  | 405000 | 1) monopolar foot switch - 1 2) Bipolar foot switch -1 3) adult rem pads disposible -05 4) Cord for patient plate 5) universal adapter -1 6) disposable pencil -05l
175 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-04 | M-1000 | AQ5CB4614 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
176 | ICU | Monitor | NAG-BME-0806-GC-GSE-CCE-01 | M-1000 | AQ5CB4638 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
177 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-60 | M-6 | 258007467 | 2012-01-20 | B |  |  |  | STAR MEDICAL SYSTEM |  |  |  | WORKING CONDITION | 125000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
178 | ICU | Monitor | NAG-BME-0806-GC-ICU-CCE-08 | M-1000 | AQ5CB4610 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
179 | ICU | Syringe Pump | NAG-BME-0906-GC-COT-CCE-03 | Pilot A2 | 19446954 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
180 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-33 | Pilot A2 | 19446951 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
181 | ICU | Infusion Pump | NAG-BME-1216-GC-NICU-CCE-34 | Infusomat-P | 109353 | 2016-02-12 | W |  |  |  | BBRAUN | 5 | 2016-02-12 | 2021-02-12 | WORKING CONDITION | 47250 | 1)Infusion Pump 2)Clamp 3)Drop Sensor 4)power Cord 5)Operating Instruction Manual 6)Quality Certificate
182 | ICU | Infusion Pump | NAG-BME-1216-GC-NICU-CCE-35 | Infusomat-P | 109346 | 2016-02-12 | W |  |  |  | BBRAUN | 5 | 2016-02-12 | 2021-02-12 | WORKING CONDITION | 47250 | 1)Infusion Pump 2)Clamp 3)Drop Sensor 4)power Cord 5)Operating Instruction Manual 6)Quality Certificate
183 | ICU | Infusion Pump | NAG-BME-1216-GC-NICU-CCE-36 | Infusomat-P | 109341 | 2016-02-12 | W |  |  |  | BBRAUN | 5 | 2016-02-12 | 2021-02-12 | WORKING CONDITION | 47250 | 1)Infusion Pump 2)Clamp 3)Drop Sensor 4)power Cord 5)Operating Instruction Manual 6)Quality Certificate
184 | ICU | Infusion Pump | NAG-BME-1216-GC-NICU-CCE-37 | Infusomat-P | 109345 | 2016-02-12 | W |  |  |  | BBRAUN | 5 | 2016-02-12 | 2021-02-12 | WORKING CONDITION | 47250 | 1)Infusion Pump 2)Clamp 3)Drop Sensor 4)power Cord 5)Operating Instruction Manual 6)Quality Certificate
185 | CTH | Monitor | NAG-BME-0106-GC-CTH-CCE-06 | ERTNS2P | G06G7376 | 2006-01-09 | B |  |  |  | L&T Ltd. |  |  |  | WORKING CONDITION | 133650 | 1) Galaxy unit-1 2)Fuse F 3.15A-2 3)lable ECG electrode-12 4)Reusable Electrodes-5 5)disposable electrodes-5 6)NIBP hose-1 7)mainpower supply cord-2 8)dust cover-8 9)conducting jelly-1 10)adult cuff-1 11)child cuff-1 12)n
186 | GOT | Syringe Pump | NAG-BME-0906-GC-CTU-CCE-06 | Pilot A2 | 19446976 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
187 | GOT | Syringe Pump | NAG-BME-0906-GC-GOT-CCE-20 | Pilot A2 | 19446961 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
188 | CTH | Cath Lab | NAG-BME-0906-GC-CTH-CAR-01 | AXIOM ARTIS FC | 10480 | 2006-09-16 | C | 2015-04-01 | 2016-03-31 | 2157771 | Siemens |  |  |  | WORKING CONDITION | 13374292 | 1) Three consol panel 2) UPS 3) Servo stabiliser 4) X-ray generator 5) C-arm 6) Consol unit 7) Patient table 8) cooling unit 9) Three display unit 10) manuals 11) pressure injector 12) All other accessories
189 | CTH | Defibrillator | NAG-BME-0806-GC-CTH-CCE-05 | HeartstartXL | US00444084 | 2006-08-31 | C | 2015-04-01 | 2016-03-31 | 11100 | Philips |  |  |  | WORKING CONDITION | 250000 | 1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2
190 | CTH | Anesthesia Machine | NAG-BME-1006-GC-GOT-OTE-11 | Hospitech Oracle 151000 | 151000 | 2006-10-26 | B |  |  |  | hospitech |  |  |  | WORKING CONDITION | 225000 | 1)Aesthesia machin with auto clave circle va absorber & ISO chlorin vaporise r 2)Aangle mount 3)Heid brink valve 4)Catheter mount 5)Spanner 6)Corrogated tube -4 7)Face mask-2 8)Rebrathing bay-2 9)J.R.ckt 10)Bain ckt 11)Bodak seal-8 12)Oxygen cannual 13
191 | CTH | Pacemaker | NAG-BME-0806-GC-CTH-CCE-08 | EV4543 | PFG030127P | 2006-08-28 | B |  |  |  | Advanced micronic devices ltd. |  |  |  | WORKING CONDITION | 182000 | 1)5388 Dual chember temporary pacemaker 2)Cable 5433V[white] 3)Cable 5433A[blue] 4)Battery 9V 2010alkaline battery 5)Meditronic battery
192 | CTH | Pacemaker | NAG-BME-1006-GC-CTH-CCE-07 | EV4543 | MVBX72238 | 2006-10-25 | B |  |  |  | Advanced micronic devices ltd. |  |  |  | WORKING CONDITION | 64000 | 1)pacemaker single chember-1 2)carrier bag-1 3)battery-1 4)extn. Cable-1
193 | CTH | A C T Machine | NAG-BME-1006-GC-CTH-OTE-01 | ACT PLUS INSTRUMENT OUS VERSION | ACT2000822 | 2006-10-16 | B |  |  |  | Arcom Medical Devices Pvt. Ltd. |  |  |  | WORKING CONDITION | 265000 | 1)Liqui Nox solution 2)Oral digital thermometer 3)Power cord 4)Operating manual 5)ACT plus machine 6)ACT catregess swap-50
194 | CTH | Intra Arotic Baloon Pump | VIJ-BME-0705-PC-CTU-CCE-39 | S-98 | S82795-G9 | 2010-05-02 | C |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 430000 | 1)5-lead fully shilded ECG patienttrunk cable-1 2)5-lead fully shielded leadwire set(50")-1 3)5-lead ESIS fully sheilded leadwire set(50")-1 4)cable external signal-2 5)cable 4 wire RJ"-1 6)manual fill kit-2 7)Manual operating instruction sys98 english-1
195 | CTH | Pacemaker | NAG-BME-1216-GC-CTH-CCE-07 | 5391 | 1525436 | 2016-06-12 | W |  |  |  | MEDTRONICS | 1 | 2016-06-12 | 2017-06-12 |  | 103000 | 1)pacemaker single chember-1 2)carrier bag-1 3)battery-1 4)extn. Cable-1
196 | NOT | Monitor | NAG-BME-1107-GC-GOT-CCE-06 | Mec 2000 | CA-7A100128 | 2007-11-20 | B |  |  |  | Mindray |  |  |  | WORKING CONDITION | 162500 | ECG, SPO2, NIBP, Temp, RR, IBP & ETCO2
197 | NOT | Syringe Pump | NAG-BME-0906-GC-GOT-CCE-08 | Pilot A2 | 19446943 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
198 | NOT | Surgical Diathermy | NAG-BME-0706-GC-NOT-OTE-01 | Force FX-8C | F4133956 | 2006-07-15 | B |  |  |  | HEALTHCARE PVT. LTD. |  |  |  | WORKING CONDITION | 335000 | 1)force FX-8C electrosurgical generator 2)bi-cooler cord 3)bi-cooler forcep 4)power supply cord 5)bi-cooler foot switch 6)polyhensive foot pen pad 7)disposable M/S pensil 8)monopolar foot switch 9)universal adapter
199 | NOT | Capnometer | NAG-BME-0307-GC-NOT-CCE-04 | capnocheck | AL05080008 | 2007-03-21 | B |  |  |  | Hansraj nayyar |  |  |  | WORKING CONDITION | 146500
200 | NOT | Neuno drill machine | NAG-BME-0612-GC-NOT-OTE-05 | MIDASREX |  | 2009-01-06 | B |  |  |  | MEDITRONIC MIDAS REX |  |  |  | WORKING CONDITION | 2292858 | main unit including all accessories
201 | NOT | Anesthesia Machine | NAG-BME-1006-GC-NOT-OTE-02 | AESTIVA 7100 | AMVK00380 | 2006-10-17 | C | 2015-04-01 | 2016-03-31 | 40593 | DETEX OHMEDA |  |  |  | WORKING CONDITION | 735000 | 1)vapouriser 2)hose-3 3)mount DSPL folding LH 4)localization reverse IS0 5)SFW inspiratory o2 6)astiva/5 7)silicon breathing 8)AC outlet 9)outlet oxyliary coormon 10)tube single for air 11)yokepin index for O2 12)yokepin index for NO2 13)arm short for bag
202 | NOT | LED O.T.Light | NAG-BME-0807-GC-NOT-OTE-04 | SPHERE 700/700 | 30115 | 28/1/15 | W | 2014-11-05 | 2015-11-05 |  | MAGNETEK |  |  |  | WORKING CONDITION | 581700 | 1) Dia twin dome with diachoric reflector
203 | NOT | O.T.Table | NAG-BME-1012-GC-NOT-OTE-11 | INSPIR | 1965 | 2012-10-22 | B |  |  |  | staan |  |  |  | WORKING CONDITION | 439500 | OT TABLE WITH STANDARD ACCESSORIS & TKR, THR ATTACHMENT
204 | COT | Monitor | NAG-BME-1206-GC-COT-CCE-01 | MP20 | DE62219507 | 2006-12-10 | C | 2015-04-01 | 2016-03-31 | 23075 | philips medical india | 1 |  |  | WORKING CONDITION | 260000 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
205 | COT | Monitor | NAG-BME-1206-GC-CTU-CCE-18 | MP20 | DE62219497 | 2006-12-10 | C | 2015-04-01 | 2016-03-31 | 23075 | philips medical india | 1 |  |  | WORKING CONDITION | 260000 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable
206 | COT | Monitor | NAG-BME-0806-GC-ICU-CCE-79 | MP20 | DE80180488 | 2014-01-07 | C |  |  |  | philips medical india | 1 | 2014-01-07 | 2015-01-07 | WORKING CONDITION | 285000 | 1) monitor -1 2) basic module -1 3) etco2 module -1 4) ecg cable-1 5) spo2 probe -1 6) nibp cuff -1 7) etco2 cable -1 8) power cord -1 9) battery -1
207 | COT | Monitor | NAG-BME-0806-GC-ICU-CCE-80 | MP20 | DE48086330 | 2014-11-01 | C | 2015-04-01 | 2016-03-31 | 16110 | philips medical india | 1 |  |  | WORKING CONDITION | 285000 | 1) monitor -1 2) basic module -1 3) etco2 module -1 4) ecg cable-1 5) spo2 probe -1 6) nibp cuff -1 7) etco2 cable -1 8) power cord -1 9) battery -1
208 | COT | Syringe Pump | NAG-BME-0806-GC-ICU-CCE-81 | Pilot A2 | 19446924 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
209 | CTH | Syringe Pump | NAG-BME-0906-GC-CTH-CCE-03 | Pilot A2 | 19446960 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
210 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-14 | Pilot A2 | 19446952 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
211 | GOT | Syringe Pump | NAG-BME-0906-GC-GOT-CCE-18 | Pilot A2 | 19446925 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
212 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-31 | Pilot A2 | 19446929 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
213 | ICU | Syringe Pump | NAG-BME-1107-GC-CTH-CCE-16 | Injectomat Agilia | 19983330 | 2007-11-27 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 24000 | 1) Main unit 2) Power cord 3) user manual 4) Power cord
214 | CTU | Pacemaker | NAG-BME-0806-GC-CTU-CCE-03 | 5388xk | PFG030126P | 2006-08-28 | B |  |  |  | Advanced micronic devices ltd. |  |  |  | WORKING CONDITION | 182000 | 1)5388 Dual chember temporary pacemaker 2)Cable 5433V[white] 3)Cable 5433A[blue] 4)Battery 9V 2010alkaline battery 5)Meditronic battery
215 | CTU | Intra Arotic Baloon Pump | NAG-BME-0906-GC-CTU-CCE-19 | S-98 | S82862-H9 | 2006-09-29 | C |  |  |  | Advance micronic System |  |  |  | WORKING CONDITION | 430000 | 1)5-lead fully shilded ECG patienttrunk cable-1 2)5-lead fully shielded leadwire set(50")-1 3)5-lead ESIS fully sheilded leadwire set(50")-1 4)cable external signal-2 5)cable 4 wire RJ"-1 6)manual fill kit-2 7)Manual operating instruction sys98 english-1
216 | CTU | Vertilator | NAG-BME-0312-GC-ICU-CCE-58 | Servo S | 21865 | 2012-03-09 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquet |  |  |  | WORKING CONDITION | 699999 | Mobile Cart, Support Arm, Air Filters
217 | CTU | Vertilator | NAG-BME-0312-GC-ICU-CCE-59 | Servo S | 21866 | 2012-03-09 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquet |  |  |  | WORKING CONDITION | 699999 | Mobile Cart, Support Arm, Air Filters
218 | CTU | Ventilator | NAG-BME-0906-GC-CTU-CCE-17 | Servo-i | 4143 | 2006-09-23 | C | 2015-04-01 | 2016-03-31 | 48660 | Maquate |  |  |  | WORKING CONDITION | 607700 | 1)Base unit 2)Mobile card 3) Installation chart 4)Blue test tube/06487941 5) User manual 6) Interface unit/203115 7) Cleaning chart 8) Extra expiratory cassette/056848,056874, 9) O2 cell/E407E 10) Test lung-190/6006832 11) support arm 177 12) 4 cable clip
219 | CTU | ECG Machine | NAG-BME-0312-GC-ICU-CCE-78 | CARDIART 9108 | DUTB2M1786 | 2014-01-23 | B |  |  |  | BPL |  |  |  | WORKING CONDITION | 94500 | 1) MACHINE 2) POWER CORD 3) PATIENT CABLE
220 | CTU | Defibrillator | NAG-BME-0806-GC-CTU-CCE-02 | HeartstartXL | US00444083 | 2006-08-31 | C | 2015-04-01 | 2016-03-31 | 20859 | Philips |  |  |  | WORKING CONDITION | 250000 | 1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2
221 | CTU | BIPAP | NAG-BME-0606-GC-CTU-CCE-20 | silenzio Plus | 6310036 | 2006-06-10 | B |  |  |  | NIDEK Medical Ltd |  |  |  | WORKING CONDITION | 65000 | Patient circuit,Mask,Connector,Circuit connecter
222 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-21 | PERFUSOR COMPACT | 227058 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
223 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-22 | PERFUSOR COMPACT | 227059 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
224 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-23 | PERFUSOR COMPACT | 227060 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
225 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-24 | PERFUSOR COMPACT | 227061 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
226 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-25 | PERFUSOR COMPACT | 227062 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
227 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-26 | PERFUSOR COMPACT | 227063 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
228 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-27 | PERFUSOR COMPACT | 227064 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
229 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-28 | PERFUSOR COMPACT | 227065 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
230 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-29 | PERFUSOR COMPACT | 227066 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
231 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-30 | PERFUSOR COMPACT | 227067 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
232 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-31 | PERFUSOR COMPACT | 227068 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
233 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-32 | PERFUSOR COMPACT | 227069 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
234 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-33 | PERFUSOR COMPACT | 227070 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
235 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-34 | PERFUSOR COMPACT | 227071 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
236 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-35 | PERFUSOR COMPACT | 227072 | 2016-06-08 | W |  |  |  | BBRAUN | 5 | 2016-06-08 | 2020-05-08 | WORKING CONDITION | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
237 | CTU | Patient Warmer | NAG-BME- 0816-GC-CTU-CCE-36 | WARM TOUCH | SP15110325 | 23/8/16 | W |  |  |  | COVIDIEN | 3 | 23/8/16 | 22/8/18 | WORKING CONDITION | 70000
238 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-37 | PERFUSOR COMPACT | 229868 | 2017-01-12 | W |  |  |  | BBRAUN | 5 | 2017-01-12 | 2022-01-12 |  | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
239 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-38 | PERFUSOR COMPACT | 229870 | 2017-01-04 | W |  |  |  | BBRAUN | 5 | 2017-01-04 | 2022-01-04 |  | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
240 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-39 | PERFUSOR COMPACT | 229867 | 2017-01-04 | W |  |  |  | BBRAUN | 5 | 2017-01-04 | 2022-01-04 |  | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
241 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-40 | PERFUSOR COMPACT | 229865 | 2017-01-05 | W |  |  |  | BBRAUN | 5 | 2017-01-05 | 2022-01-05 |  | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
242 | CTU | Syringe Pump | NAG-BME- 0816-GC-CTU-CCE-41 | PERFUSOR COMPACT | 229877 | 2017-01-03 | W |  |  |  | BBRAUN | 5 | 2017-01-03 | 2022-01-03 |  | 29505 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
243 | CTU | Monitor | NAG-BME- -GC-CTU-CCE-42 | MX-340 | DE54801875 | 2017-01-06 | W |  |  |  | PHILIPS | 1 | 2017-01-06 | 2018-01-05 |  | 286552 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
244 | CTU | Monitor | NAG-BME- 0816-GC-CTU-CCE-43 | MX-341 | DE54801876 | 2017-01-06 | W |  |  |  | PHILIPS | 1 | 2017-01-06 | 2018-01-05 |  | 286552 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
245 | CTU | Monitor | NAG-BME- 0816-GC-CTU-CCE-44 | MX-342 | DE54801877 | 2017-01-06 | W |  |  |  | PHILIPS | 1 | 2017-01-06 | 2018-01-05 |  | 286552 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
246 | CTU | Monitor | NAG-BME- 0816-GC-CTU-CCE-45 | MX-343 | DE54801878 | 2017-01-06 | W |  |  |  | PHILIPS | 1 | 2017-01-06 | 2018-01-05 |  | 286552 | 1) Intellivue MP20 anesthesia 2) Adult SPO2 sensor/0626G36232 3)mainstream CO2 sensor & airway adaptere/US61204774 4)reusable infant airway adapter/M2516A 5)reusable adult / pediatric airway adapter 6)interconnection tubing/M1599B 7)ECG safety trunk cable/M1530A 8)ECG safety cable lead set/M1631A 9)adult cuff/M1574A 10)temp probe/21075A 11)electrode/40493E 12)multi contact/8120-2961 13)power supply cord 14)rechargable lithium ion battery 15)philips DVD ROM
247 | CTU | VENtilator | SUR-BME-0408-CS-CTU-CCE-42 | SERVO-S | 10361 | (20/5/2009)/ 2/1/2017 | C |  |  |  | MAQUET
248 | CTU | Monitor | NAG-BME-0109-GC-CTU-CCE-21 | MP20 | BE72840428 | 2009-01-08 | C | 2015-04-01 | 2016-03-31 | 23075 | philips medical india | 1 |  |  | WORKING CONDITION | 350000 | Main unit, patient module,power cord,earthing cable, cable hanger,Cardiac output adapted cable, temperature probe,NIBP tubing,NIBP Cuff,ECG Cable, EtCO2 adaptor,SPO2 probe,Rechargable battery,Temperature probe,ETCO2 cable,Disposable electrode,Inline injected temperature probe,IBP Cable(without transducer)
249 | COT | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-15 | Pilot A2 | 19446973 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
250 | COT | Syringe Pump | NAG-BME-0906-GC-COT-CCE-04 | Pilot A2 | 19446953 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual