## Sheet1
251 | COT | Syringe Pump | NAG-BME-0906-GC-PIU-CCE-04 | Pilot A2 | 19446981 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
252 | COT | Defibrilator | NAG-BME-0806-GC-COT-CCE-02 | HeartstartXL | US00444080 | 2011-03-31 | C | 2015-04-01 | 2016-03-31 | 11113 | Philips |  |  |  | WORKING CONDITION | 175000 | 1)Heart Start XL 2)2-Paddles 3)2-Cables-2set 4)Test Load -2set 5)Graph Roll-2set 6)Battery-2
253 | COT | Surgical Diathermy | NAG-BME-0706-GC-COT-OTE-08 | Force FX-8C | F5G39900A | 2006-07-15 | B |  |  |  | HEALTHCARE PVT. LTD. |  |  |  | WORKING CONDITION | 335000 | 1)force FX-8C electrosurgical generator 2)bi-cooler cord 3)bi-cooler forcep 4)power supply cord 5)bi-cooler foot switch 6)polyhensive foot pen pad 7)disposable M/S pensil 8)monopolar foot switch 9)universal adapter
254 | COT | ANESTHESIA MACHINE | NAG-BME-0806-GC-COT-CCE-32 | ASPIRE VIEW 7900 | CBCBL01095 | 2013-07-12 | C | 2015-04-01 | 2016-03-31 | 40593 | WIPRO GE |  |  |  | WORKING CONDITION | 925000 | 1) aespire view trolley 2) snsr flow offset bcg 3) cylinder supply o2 pin index 4) absorbent canister w/ handle reusable 5) ez change module 6) hose assy n2o MK3 probe N & G 5 MT L ISO 7) 220-240 V WITH BS-546 5M, INDIA/ SOUTH AFRICA 8) CYLINDER SUPPLY N2O PIN INDEX 9) AGSS PASSIVE 30MM TAPER ISO MALE OUTLET CONN. 10) HANDLE RAIL SIDE FACTORY
255 | COT | Head Light Source | NAG-BME-1206-GC-COT-OTE-01 | MFIsolarc | 103970 | 2006-12-07 | B |  |  |  | Welch Allyn |  |  |  | WORKING CONDITION | 155000 | 1)light source 2)fibre optic cable 3)head gear 4)joystick 5)gown clips 6)operation manual 7)mains cord
256 | COT | OT Light | NAG-BME-0906-GC-COT-OTE-03 | HANAULUX | AR010074 | 2006-09-14 | B |  |  |  | Maquate |  |  |  | WORKING CONDITION | 878827 | 1)double dome 2)spring arm 3)auto clavable handle
257 | COT | Manman Drill | NAG-BME-0307-GC-COT-OTE-05 | Not mentioned | Not mentioed | 2007-03-28 | B |  |  |  | MANMAN |  |  |  | WORKING CONDITION | 43734 | 1) Motor with MCB 2) Stand 3) Stand base 4) Felxible shaft 5) Manman redo saw handpiece 6) Tool kit:- 1) spnner 2) oil bottle 3) blade-2 4) fuse 5) Dummy shaft 6) manual
258 | COT | Sternal Saw | NAG-BME-0906-GC-COT-OTE-06 | SARNS STERNAL SAW-II | 1735 | 2006-09-22 | B |  |  |  | Terumo Cardiovescular System |  |  |  | WORKING CONDITION | 205960 | 1)sternal saw motor-7084 2)sarnas sternal saw-II/5590 3)sternal saw foot control-7805 4)silicon syringe with lubricant 5)sternal blade-2 6)blue cable
259 | COT | ACT Machine | NAG-BME-1006-GC-COT-OTE-07 | ACT PLUS INSTRUMENT OUS VERSION | ACT2000818 | 2006-10-16 | B |  |  |  | Arcom Medical Devices Pvt. Ltd. |  |  |  | WORKING CONDITION | 265000 | 1)Liqui Nox solution 2)Oral digital thermometer 3)Power cord 4)Operating manual 5)ACT plus machine 6)ACT catregess swap-50
260 | COT | OT Table | NAG-BME-0806-GC-COT-OTE-02 | SS-1200 | Not mentioed | 2006-08-18 | B |  |  |  | COGNATE |  |  |  | WORKING CONDITION | 284800 | 1)L-shaped anasthetic frame 2)sholder suport with pad 3)s-s-top lateral support with pad 4)wrist strap 5)knee crutches goepsl type 6)water proof rubber mattress
261 | COT | Fluid Warmer | NAG-BME-0906-GC-COT-CCE-08 | HL-90 | S10000013 | 2006-09-26 | B |  |  |  | Hansraj |  |  |  | WORKING CONDITION | 85000 | 1)hotline blood & IV fluid warmer 2)operating manual 3)warming set
262 | COT | Heart Lung Machine | NAG-BME-0306-GC-COT-OTE-09 | HL-20 Classic | HCU 20-600100149 | 2006-03-10 | C | 2014-02-01 | 2015-01-31 | 317100 | Maquate |  |  |  | WORKING CONDITION | 3165900 | 1)heater cooler model HCU 20-600 2)medex transduser holder 3)temp. probe-adult 4)temp. probe-pediatric 5)cooling blanket-adult-pediatric 6)blanket connection kit 7)mast mounted spot light helogen lamp
263 | COT | Patient Warmer | NAG-BME-0106-GC-COT-CCE-09 | 555 | 70754 | 2006-01-11 | B |  |  |  | Baigr Hugger |  |  |  | WORKING CONDITION | 80000 | Blanket,Power Cord
264 | COT | Pacemaker | NAG-BME-1006-GC-CTOT-CCE-07 | EV4543 | MVBX72239 | 2006-10-25 | B |  |  |  | Advanced micronic devices ltd. |  |  |  | WORKING CONDITION | 64000 | 1)pacemaker single chember-1 2)carrier bag-1 3)battery-1 4)extn. Cable-1
265 | CSD | Vertical Steriliser | NAG-BME-0106-GC-CSD-SUP-02 | VHP Steriliser | NM | 2006-01-09 | B |  |  |  | Medicare Equipment |  |  |  | WORKING CONDITION | 40000
266 | CSD | ETO Gas Steriliser | NAG-BME-0606-GC-CSD-SUP-03 | 4.5CF | 39422 | 2006-06-11 | B |  |  |  | Pest Control (India) |  |  |  | WORKING CONDITION | 340000 | 1)fresh air filter 2)power cord 3)humidity bottle 4)s.s. trolly
267 | CSD | Horizontal steriliser | NAG-BME-0716-GC-CSD-SUP-04 | HHP Steriliser | 2016133 | 2016-07-14 | W |  |  |  | H.J. ENTERPRISES | 1 | 14/7/16 | 13/7/16 | WORKING CONDITION | 325000 | instrument trolly
268 | LPT | Cell Counter | NAG-BME-0806-GC-LPT-LAB-01 | Sysmex KX-21 | BO980 | 2006-08-21 | A | 2015-04-01 | 2016-03-31 | 6742 | Transasia |  |  |  |  | 375000 | 1)Operator manuals 2)Cubitainer spout kit 3)Float switch 4)tray 5)Tube polyurethane-4mm 6)Tube polyurethane-6mm 7)Mini pipette-10 8)Brush 9)Fuse-250v 10)Clamp LWS 11)Caution mark 12)Power cord 13)EDTA vials 14)Waste bottle 15)Paper rolls 16)Dust Cover 17)
269 | LPT | Semi Auto Analyzer | NAG-BME-0806-GC-LPT-LAB-04 | ECEM-5 PLUS V2 | 603113 | 2006-08-21 | A | 2015-04-01 | 2016-03-31 | 6742 | Transasia |  |  |  |  | 150000 | 1)Power cord 2)Printer paper rolls 3)Waste bottle assy 4)Dust cover 5)Allen key 6)Stand for waste bottle 7)Operator manual with programme sheet for ERBA test reagent 8)Test tube holder/cuvette adapter 9)Round glass microcuvette 10)Rectangular polystreame
270 | LPT | Centrifuge | NAG-BME-0408-GC-LPT-LAB-07 | R8C | 5183 | 2008-04-01 | B |  |  |  | Remi |  |  |  |  | 16734 | 1)Power2)swing out head
271 | LPT | Centrifuge | NAG-BME-1206-GC-LPT-LAB-08 | 854/8 | 5380 | 2006-12-08 | B |  |  |  | Remi |  |  |  |  | 4249 | 1)Power2)swing out head
272 | LPT | Fully Auto Analyzer | NAG-BME-0109-GC-LPT-LAB-09 | EM360 | 60121 | 2009-01-03 | A | 2015-04-01 | 2016-03-31 | 57000 | Transasia |  |  |  |  | 990000 | 1) main unit 2) PM Kit 3) Reagent 4) Computer with printer5) DI
273 | LPT | MINI VIDAS | NAG-BME-1612-GC-LPT-LAB-11 | MINIVIDA BLUE | IVD1210135 | 2012-02-16 | A |  |  |  | BIOMETRIEUX INDIA PVT LTD. |  |  |  |  | 605000 | WITH STANDARD ACCESDSORIES
274 | LPT | Centrifuge | NAG-BME-1206-GC-LPT-LAB-08 | labserveultima | kelc12294 | 2012-09-24 | B |  |  |  | FISHUR SCIENCE |  |  |  |  | 24800 | 1)Power2)swing out head
275 | LPT | Centrifuge | NAG-BME-1206-GC-LPT-LAB-12 | R8C | 2CFN-17830 | 29/6/16 | W |  |  |  | Remi | 29/6/16 | 28/6/17 |  |  | 25313.63 | 1)Power2)swing out head
276 | LPT | Coagulometer | NAG-BME-0906-GC-LPT-LAB-06 | costate-1 | CID0012E | 2012-10-10 | B |  |  |  | Tulip Diagnostics Pvt. Ltd |  |  |  |  | 38000 | 1) 2)printer paper 3)Dust cover 4)Power cord 5)user manual
277 | LPT | elisa reader | NAG-BME-0806-GC-LPT-LAB-03 | neo eldex | 4702 | 21/5/2013 | B |  |  |  | lilac medicare ( p) ltd. |  |  |  |  | 307933.5 | 1) elisa reader machine 2) microplate washer 3) power adapter 4) hand washer
278 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-39 | Pilot A2 | 19446942 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | WORKING CONDITION | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
279 | ICU | Pulse oxymeter | NAG-BME-0707-GC-5GW-CCE-19 | A4 | 111131400129 | 2007-07-26 | B |  |  |  | LOCAL |  |  |  | WORKING CONDITION | 4200 | 1) Power cord 2) Oxytip finger sensor 3) User manual
280 | ICU | suction machine | NAG-BME-0707-GC-5GW-CCE-20 | na |  |  | B |  |  |  | local |  |  |  |  | 9000
281 | PHY | Cervical lumbar traction | NAG-BME-0406-GC-PHY-CLT -05 | AT105 | PEPCO |  | B |  |  |  | Vinayak Medical Control |  |  |  | WORKING CONDITION |  | 1) Table 2) motor 3) main unit
282 | PHY | C.P.M.(Countinuous passive movement) | NAG-BME-0406-GC- PHY-CPM -06 | CP05 |  |  | B |  |  |  | Vinayak Medical Control |  |  |  | WORKING CONDITION |  | 1)Power cable 2) Main unit
283 | PHY | Tread mill | NAG-BME-0406-GC- PHY- TDM-07 | 1460RE |  |  | B |  |  |  | Vinayak Medical Control |  |  |  | WORKING CONDITION |  | 1)Power cable 2) Main unit
284 | PHY | Stepper | NAG-BME-0406-GC- PHY- STP-08 | Magical bodies |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
285 | PHY | Static Cycle | NAG-BME-0406-GC- PHY- STC-09 | Allegro |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
286 | PHY | Shoulder wheel | NAG-BME-0406-GC- PHY- SHW-010 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
287 | PHY | pronation Supination unit | NAG-BME-0406-GC- PHY- PSU-011 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
288 | PHY | Suspension bed | NAG-BME-0406-GC- PHY-SPB -012 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
289 | PHY | Re-duction Board-2 | NAG-BME-0406-GC- PHY- REB-013 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
290 | PHY | Weight belts-6 | NAG-BME-0406-GC- PHY- WEB-014 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
291 | PHY | Thera tube | NAG-BME-0406-GC- PHY- THT-015 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
292 | PHY | Wrist exerciser | NAG-BME-0406-GC- PHY- WRE-016 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
293 | PHY | Finger ladder | NAG-BME-0406-GC- PHY- FNL-017 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
294 | PHY | Shoulder pully | NAG-BME-0406-GC- PHY- SHP-018 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
295 | PHY | foot exerciser | NAG-BME-0406-GC- PHY- FOE-019 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
296 | PHY | Dumbells | NAG-BME-0406-GC- PHY-DUM -20 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
297 | PHY | gripper | NAG-BME-0406-GC- PHY-GRP -21 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
298 | PHY | Exerciser ball | NAG-BME-0406-GC- PHY-EXB -22 | NOT MENTIONED |  |  | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Main unit
299 | PHY | Wax bath machine | NAG-BME-0208-GC- PHY-WBM -23 | NOT MENTIONED | NM | 2008-02-04 | B |  |  |  | Vinayak Medical Control | [5 empty] | 1) Wax bath tube 2) Wax-3Kg 3) Power supply cord 4) Fuse-10A
300 | PHY | I.F.T.(Inter Ferential Therapy) | NAG-BME-0412-GC- PHY-IFT-25 | DIGI IFT=pro | 32012225 | 2012-04-18 | B |  |  |  | BMS SYSTEM |  |  |  | WORKING CONDITION | 30000 | 1)Power cable 2) Main unit
301 | PHY | SWD 300 | NAG-BME-0412-GC- PHY- SWD-26 | SWD 300 WATTS | 412481 | 2012-04-18 | B |  |  |  | BMS SYSTEM |  |  |  | WORKING CONDITION | 20000 | 1) power cable 2) main unit 3) Two electrode with cuff
302 | PHY | Ultra Sound | NAG-BME-0813-GC- PHY-USO-03 | PHYSIO SOUND PLUS | 4158 | 13/8/2013 | B |  |  |  | Vinayak Medical Control |  |  |  | WORKING CONDITION | 12500 | 1) Power cable 2) main unit 3) Tranduces
303 | PHY | Muscle Stimulator | NAG-BME-0813-GC- PHY- MUS-04 | PHYSIO STEAM-D | 4619 | 13/8/13 | B |  |  |  | Vinayak Medical Control |  |  |  | WORKING CONDITION | 9000 | 1) power cable 2) main unit 3) electrode-3
304 | PHY | T.E.N.S.(Transcutaneous Electrical Nerve Stimulator) | NAG-BME-0813-GC- PHY- TNS-02 | DIGI TENS PRO | 612103 | 13/8/2013 | B |  |  |  | Vinayak Medical Control |  | 363 |  | WORKING CONDITION | 16500 | 1) Power cable 2) 4-electrode cable
305 | LAB | BIOSAFTY CABINATE | NAG-BME-0716-GC- LAB- BMS-01
306 | LAB | SMALL AUTOCLAVE MACHINE | NAG-BME-1112-GC-LMB-SUP-03
307 | LAB | INCUBATOR | NAG-BME-1112-GC-LMB-INC-05 | 14 X 14 X14 | [6 empty] | QUASMO
308 | LAB | Centrifuge | NAG-BME-1206-GC-LPT-MIC-06 | 854/8 | 5380 | [5 empty] | remi |  |  |  |  | 4249
309 | LAB | BIOSAFTY CABINATE | NAG-BME-0716-GC- LAB- BMS-02 | WBSC40B2SS4 | NA | 2016-07-13 | W |  |  |  | whitenair technologies | 1 | 13/07/2016 | 2017-12-07 |  | 248236 | machine-1, with standard accessories
310 | LAB | LAB MICROSCOPE | NAG-BME-0716-GC- LAB- BMS-03 | MLX-U | 4B523580 | [5 empty] | olympus |  |  |  |  | 28000 | machine-1, with standard accessories
311 | CTU | Monitor | NAG-BME-0806-GC-CTU-CCE-14 | M-1000 | AQ5CB4635 | 2006-08-28 | B |  |  |  | Advance micronic System |  |  |  | STANDBY | 95000 | 1) Power cord 2) Batteries 3) ECG electrodes 4) 3 lead ECG cable 5) SPO2 ext. cable 6) finger sensor
312 | CTU | Monitor | NAG-BME-0106-GC-CTU-CCE-01 | GALAXY | G06G7378 | 2006-01-09 | B |  |  |  | L&T Ltd. | 1 |  |  | STANDBY | 133650
313 | CTU | Monitor | NAG-BME-0106-GC-ICU-CCE-11 | GALAXY | G06G7774 | 2006-01-09 | B |  |  |  | L&T Ltd. | 1 |  |  | STANDBY | 133650
314 | CTU | Monitor | NAG-BME-0806-GC-ICU-CCE-09 | M-6 | 258007427 | 2012-01-20 | B |  |  |  | STAR MEDICAL SYSTEM | 1 |  |  | STANDBY | 125000
315 | CTU | Monitor | NAG-BME-1107-GC-ICU-CCE-57 | Mec 2000 | CA-7A100129 | 2007-11-20 | B |  |  |  | Mindray |  |  |  | STANDBY | 162500 | ECG, SPO2, NIBP, Temp, RR, IBP & ETCO2
316 | CTU | Syringe Pump | NAG-BME-0906-GC-CTH-CCE-13 | Injectomat Agilia | 19983327 | 2007-11-27 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 24000 | 1) Main unit 2) Power cord 3) user manual 4) Power cord
317 | CTU | Syringe Pump | NAG-BME-0906-GC-CTU-CCE-12 | Pilot A2 | 19446984 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
318 | CTU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-25 | Pilot A2 | 19446958 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
319 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-27 | Pilot A2 | 19446947 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
320 | PIU | Syringe Pump | NAG-BME-0906-GC-PIU-CCE-11 | Pilot A2 | 19446935 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
321 | GOT | Syringe Pump | NAG-BME-0906-GC-GOT-CCE-07 | Pilot A2 | 19446913 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
322 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-72 | INJECTOMED | 192332 | 2013-11-11 | B |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | STANDBY | 31500 | 1) SYRINGE PUMP 2) MULTIPURPOSE CLAMP3) POWER CORD
323 | ICU | Syringe Pump | NAG-BME-1113-GC-ICU-CCE-73 | INJECTOMED | 192342 | 2013-11-11 | B |  |  |  | BBRAUN | 3 | 2013-11-11 | 2016-11-11 | STANDBY | 31500 | 1) SYRINGE PUMP 2) MULTIPURPOSE CLAMP3) POWER CORD
324 | ICU | ECG Machine | NAG-BME-1706-GC-ERC-CAR-03 | 8108R | BGTA8F3759 | 2009-06-25 | B |  |  |  | BPL |  |  |  | STANDBY | 58194 | ECG Cable,Power cord
325 | CTH | Syringe Pump | NAG-BME-1107-GC-CTH-CCE-20 | Injectomat Agilia | 19983328 | 2007-11-27 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 24000 | 1) Main unit 2) Power cord 3) user manual 4) Power cord
326 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-37 | Pilot A2 | 19446959 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
327 | GOT | Syringe Pump | GCHN_BM_FK_CTRECOVERY_Syringe Pump | Pilot A2 | 19446962 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
328 | CTH | Syringe Pump | NAG-BME-0906-GC-GOT-CCE-15 | Pilot A2 | 19446985 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
329 | CTH | Syringe Pump | NAG-BME-0906-GC-CTH-CCE-01 | Pilot A2 | 19446921 | 11/09/2006 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
330 | PIU | Syringe Pump | NAG-BME-0906-GC-PIU-CCE-13 | Pilot A2 | 19446911 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
331 | ICU | Syringe Pump | NAG-BME-0906-GC-ICU-CCE-32 | Pilot A2 | 19446949 | 2006-09-11 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 20720 | 1) Transfix set 2) Transport handle 3) Multi-purpose clamp 4) power supply cord 5) operating manual
332 | CTH | Syringe Pump | NAG-BME-1107-GC-CTH-CCE-17 | Injectomat Agilia | 19446972 | 2007-11-27 | B |  |  |  | Freshineous Kabi |  |  |  | STANDBY | 24000 | 1) Main unit 2) Power cord 3) user manual 4) Power cord
333 | PATHOLGY | ABG MACHINE | X | COBAS 121 | 15139 | 750000 | C |  |  |  | ROCH DIAGOSTIC
334 | PATHOLGY | ABG MACHINE | X | COBAS 122 | 15133 | 750000 | C |  |  |  | ROCH DIAGOSTIC