## Sheet1
Sr. No. | Dept | Equipment Name | Equip. ID (20 DIG CODE) | Equip. model | Serial Number | Date of Instal. | STATUS (A-C-B-W) | Contract From | Contract To | Contract Value | Company Name | Vendor | PMS done | PMS Due | Calibration done date | Calibration due date | Remarks | Eq. Cost (Rupees)Eq. Cost (Rupees) | Acesories
1 | EMR | Defibrillator | HYD-BME-1012-OP-EMR-CCE-01 | Heartstart XL | US00598904 | 2012-10-22 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-10-20 |  | 2014-10-20 |  | One year warranty from date of installation | 175000
2 | EMR | Monitor | HYD-BME-0512-OP-EMR-CCE-02 | M-1000 | AQ-23168933 | 2012-10-23 | Warranty | 2012-10-23 | 2015-10-22 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation | 51975
3 | EMR | ECG | HYD-BME-1012-OP-EMR-CCE-03 | Pagewriter T20 | CN61201663 | 2012-10-22 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-10-20 |  | 2014-10-20 |  | One year warranty from date of installation | 135000
4 | EMR | Syringe pump | HYD-BME-1012-OP-EMR-CCE-04 | Perfuser compact | 161658 | 2012-10-23 | Warranty | 2012-10-23 | 2015-10-22 |  | B Braun | B Braun | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation and 4th year AMC free | 30000
5 | EMR | Bipap | HYD-BME-0713-OP-EMR-CCE-05 | A-40 | V06727107F380 | 2013-07-05 | Warranty | 2013-07-05 | 2015-07-04 |  | Philips Electronics | Philips Electronics | 2014-10-20 |  | 2014-10-20 |  | Two years warranty from date of installation | 245000
6 | EMR | Syringe pump | HYD-BME-0713-BN-NSS-CCE-35 | Compact | 190601 | 2013-07-26 | warranty | 2013-07-26 | 2016-07-25 |  | B Braun | B Braun | 2014-10-20 |  | 2014-10-20 |  | Warranty 3 Years.Ivth Year AMC free | 30000
7 | EMR | Monitor | HYD-BME-0512-OP-EMR-CCE-07 | M-1000 | AQ-23168860 | 2012-10-23 | Warranty | 2012-10-23 | 2015-10-22 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation, Installed in ambulance Vechile No: AP09TA4098 | 51975
8 | EMR | Syringe pump |  | Compact | 190663 |  | warranty | 2013-07-26 | 2016-07-25 |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation and 4th year AMC free, Installed in ambulance Vechile No: AP09TA4099 | 30000
9 | EMR | Syringe pump |  | Compact | 171482 |  | warranty | 2013-07-26 | 2016-07-25 |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation and 4th year AMC free, Installed in ambulance Vechile No: AP09TA4100 | 30000
10 | EMR | Portable Ventilator
11 | EMR | Monitor | x | G 30 | CN12803524 | [5 empty] | Philips Electronics | Philips Electronics
12 | EMR | Defibrillator | x | DFM-100 | CN32600328 | [5 empty] | Philips Electronics | Philips Electronics
13 | RAD | CT scan | HYD-BME-0912-OP-RAD-RAD-01 | Somatom | 85666 | 2012-10-14 | CMC | 15/Oct/2015 | 2017-03-31 | 2034275 | Siemens ltd | Siemens ltd | 2014-09-15 |  | 2014-10-12 |  | One year warranty from date of installation | 13000000
14 | RAD | Ultrasound | HYD-BME-1112-OP-RAD-RAD-02 | IU22 | B05PQ3 | 2012-11-03 | CMC | 2015-04-01 | 2015-03-31 | 233101 | Philips Electronics | Philips Electronics | 2014-11-01 |  | 2014-11-01 |  | One year warranty from date of installation | 4200000
15 | RAD | Ultrasound | HYD-BME-1212-OP-RAD-RAD-03 | HD11XE | US51270097 | 2012-12-12 | CMC | 2015-04-01 | 2015-03-31 | 233101 | Philips Electronics | Philips Electronics | 2014-06-11 |  | 2014-06-11 |  | One year warranty from date of installation | 1800000
16 | RAD | Defibrillator | HYD-BME-0512-OP-RAD-CCE-01 | Heart start XL | US00598905 | 2012-05-17 | CMC | 2015-04-01 | 2015-03-31 | 9832 | Philips Electronics | Philips Electronics |  |  | 2014-01-01 |  | One year warranty from date of installation | 175000
17 | RAD | Mobile X-ray | HYD-BME-0512-OP-RAD-RAD-04 | M M.2.5 | 33640 | 2012-10-15 | CMC | 15/Oct/2015 | 2017-03-31 | 34650 | Siemens ltd | Siemens ltd | 2014-09-15 |  | 2014-10-12 |  | One year warranty from date of installation | 215000
18 | RAD | X-ray | HYD-BME-0612-OP-RAD-RAD-05 | Heliophosd-600 MA | 31544 | 2012-10-15 | CMC | 15/Oct/2015 | 2017-03-31 | 57750 | Siemens ltd | Siemens ltd | 2014-09-15 |  | 2014-10-12 |  | One year warranty from date of installation | 500000
19 | RAD | X-ray | HYD-BME-0612-OP-RAD-RAD-06 | LX-50 800 MA | 7747 | 2012-10-15 | CMC | 15/Oct/2015 | 2017-03-31 | 210000 | Siemens ltd | Siemens ltd | 2014-09-15 |  | 2014-10-12 |  | One year warranty from date of installation | 2885000
20 | RAD | Bone Mineral Densitometry system | HYD-BME-1210-BN-RAD-RAD-20 | Lunar DPX | 151420GA | 2010-12-08 | CMC | 2015-04-01 | 2015-03-31 | 117978 | Wipro GE | Wipro GE | 2014-10-12 |  | 2014-10-12 |  | Shifted from banjara | 1160000
21 | RAD | Monitor | HYD-BME-0512-OP-RAD-CCE-02 | M-1000 | AQ23168882 | 2012-11-21 | BME |  |  |  | Mediaid | Mediaid | 2014-01-01 |  | 2014-01-01 |  | Three year warranty from date of installtion | 51975
22 | RAD | CR System | HYD-BME-0612-OP-RAD-RAD-07 | CR35-X, Dry star AXYS | 9920, 5585, 5604 | 2012-06-18 | Warranty |  |  |  | Agfa (I) Pvt Ltd | Agfa (I) Pvt Ltd | 2014-11-12 |  | 2014-11-12 |  |  | 1
23 | NIL | PFT | HYD-BME-0712-OP-NIL-DIA-01 | Spiro doc | 222000559 | 2012-07-01 | BME |  |  |  | Promed systems | Promed systems | 2014-04-01 |  | 2014-01-01 |  | One year warranty from date of installtion | 101920
24 | NIL | ECG | HYD-BME-1012-OP-NIL-CCE-02 | Page writer T20 | CN61201666 | 2012-10-22 | BME |  | 0 |  | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-01-01 |  | One year warranty from date of installtion | 135000
25 | NIL | ECG | HYD-BME-1012-OP-NIL-CCE-03 | Page writer T20 | CN61201668 | 2012-10-22 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-01-01 |  | One year warranty from date of installtion | 135000
26 | NIL | ECG | HYD-BME-1012-OP-NIL-CCE-04 | Page writer T20 | CN61201665 | 2012-10-22 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-01-01 |  | One year warranty from date of installtion | 135000
27 | NIL | Defibrillator | PUN-BME-0101-LC-ICU-CCE-08 | Heart Start XL | US00455945 | 2001-01-01 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-09-06 |  | 2014-01-01 |  | Shifted from banjara | 175000
28 | NIL | Defibrillator | HYD-BME-1012-OP-NIL-CCE-05 | Heart start XL | US00598826 | 2012-10-22 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-09-06 |  | 2014-01-01 |  | One year warranty from date of installtion | 175000
29 | NIL | TMT |  | Cardiac science Quinton Q-stress | 11040081453, pa 200-1262 | 2010-07-30 | BME | [5 empty] | 2014-04-01 |  | 2014-01-01 |  | Condemened Shifted from banjara, | 1125001
30 | NIL | Holter | HYD-BME-1108-BN-NIL-CAR-09 | MGY(ECG lab holter system) | 0602228H7216 | 2008-11-26 | BME |  |  |  | Meigaoyi | Meigaoyi | 2014-04-01 |  | 2014-01-01 |  | Shifted from banjara | 780000
31 | NIL | Echo Machine | HYD-BME-0811-BN-NIL-CAR-10 | VIVID S6 | 3068VS6 (083038841134511) | 2011-08-01 | CMC | 2015-04-01 | 2016-03-31 | 176405 | Wipro GE | Wipro GE | 2014-04-01 |  | 2014-01-01 |  | Shifted from banjara | 1900000
32 | NIL | Echo Machine | HYD-BME-0710-BN-NIL-CAR-14 | IE33 Live 3D | 03B8VH | 2010-07-19 | CMC | 2015-04-01 | 2016-03-31 | 279478 | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-01-01 |  | Shifted from banjara | 4500000
33 | NIL | Monitor | HYD-BME-0512-OP-NIL-CCE-07 | M-1000 | AQ-23168856 | 2012-11-17 | Warranty |  |  |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 51975
34 | NIL | Monitor | HYD-BME-0512-OP-NIL-CCE-08 | M-1000 | AQ-23168944 | 2012-11-17 | Warranty |  |  |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 51975
35 | NIL | Infusion pump | HYD-BME-0413-OP-NIL-CCE-09 | Infusomat-P | 84707 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 45000
36 | NIL | Infusion pump | HYD-BME-0413-OP-NIL-CCE-10 | Infusomat-P | 69626 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 45000
37 | NIL | Tilt table | HYD-BME-0413-OP-NIL-CCE-11 | polyskop-II |  | 2013-07-29 | Warranty |  |  |  | Siemens ltd | Siemens ltd | 2014-04-01 |  | 2014-01-01 |  | Free of cost | 0
38 | NIL | ABP | HYD-BME-1013-OP-NIL-CAR-15 | BR-102 plus | 290.1276 | 2013-10-31 | Warranty |  |  |  | Schiller Healthcare Pvt. Ltd. | Schiller Healthcare Pvt. Ltd. | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 118000
39 | NIL | ABP | HYD-BME-1013-OP-NIL-CAR-16 | BR-102 plus | 290.1276 | 2013-10-31 | Warranty |  |  |  | Schiller Healthcare Pvt. Ltd. | Schiller Healthcare Pvt. Ltd. | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 118000
40 | NIL | Holter(12 channel) | HYD-BME-0813-OP-NIL-CAR-17 | DMS 300-4A |  | 2013-10-19 | Warranty |  |  |  | Gemini Medical Networks | Gemini Medical Networks | 2014-04-01 |  | 2014-01-01 |  | One year warranty from date of installtion | 145000
41 | NIL | Holter(12 channel) | HYD-BME-0813-OP-NIL-CAR-18 | DMS 300-4A |  | 2013-10-19 | Warranty |  |  |  | Gemini Medical Networks | Gemini Medical Networks | 2014-04-01 |  | 2014-01-01 |  | One year warranty from date of installtion | 145000
42 | NIL | Sleep Lab | HYD-BME-0914-OP-NIL-DIA-05 |  |  |  | Warranty |  |  |  | Resmed | Resmed | 2014-04-01 |  | 2014-01-01 |  | One year warranty from date of installtion | 1000000
43 | NIL | PFT(ultima) | HYD-BME-0210-BN-NIL-DIA-06 | Ultima PF | 222000559 | 2010-02-10 | BME |  |  |  |  | Biotronics | 2014-04-01 |  | 2014-01-01 |  | Donated by company | 5000000
44 | NIL | ECG | HYD-BME-1012-OP-NIL-CCE-12 | Page writer T20 | CN61201664 | 2012-10-22 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-01-01 |  |  | 135000
45 | NIL | Defibrillator | HYD-BME-0609-BN-NIL-CCE-06 | Heart Start XL | US00470120 | 2009-06-15 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-09-06 |  | 2014-01-01 |  |  | 275000
46 | NIL | TMT | HYD-BME-0615-BN-NIL-CCE-07 | CASE premium tm 2100 | Case:215161132SA, Treadmill-SJV15173436SA, Aqusition module:SK91501307PA | 21-05-2015 | Warranty | 21/05/2015 | 21/05/2017 |  | Wipro GE | Wipro GE |  |  |  |  | Two years warranty from the date of installation | 1110000
47 | NIL | Echo Machine |  | EPIQ 7C | US116B1141 | 28-04-16 | Warranty | 28-04-16 | 28-04-17 |  | Philips Electronics | Philips Electronics |  |  |  |  | One year warranty from date of installation | 4300000
48 | LAB | Centrifuge | HYD-BME-0101-BN-LPT-LAB-12 | R8C | IOLC8035 | 2001-01-01 | BME |  |  |  | Remi Sales & Engg Ltd | Remi Sales & Engg Ltd | 2014-04-01 |  | 2014-10-01 |  | Shifted from banjara | 16000
49 | LAB | Microscope | VIJ-BME-0104-PC-LAB-LAB-09 | CH20IBIMF | 616838 | 2004-01-01 | BME |  |  |  | Nikon | Nikon | 2014-07-12 |  | 2014-07-12 |  | Shifted from banjara | 32246
50 | LAB | Hemoatology Analyzer | HYD-BME-0101-OP-LAB-LAB-02 | Sysmex xt-2000i | 16137 | 2001-01-01 |  |  |  |  | Transasia Bio-Medicals Ltd | Transasia Bio-Medicals Ltd | 2014-07-12 |  | 2014-07-12 |  | Shifted from banjara | 375000
51 | LAB | Hemoatology Analyzer | HYD-BME-0101-BN-LPT-LAB-16 | Sysmex kx 21 | B0426 | 2001-01-01 | CMC | 2015-04-01 | 2016-03-31 | 51716 | Transasia Bio-Medicals Ltd | Transasia Bio-Medicals Ltd | 2014-07-12 |  | 2014-07-12 |  | Shifted from banjara | 375000
52 | LAB | Microscope | HYD-BME-1112-OP-LPT-LAB-03 | CH20I | 12G033 | 2012-11-12 | BME |  |  |  | Olympus Opto Systems | Olympus Opto Systems | 2014-07-12 |  | 2014-07-12 |  | One year warranty from date of installtion | 32246
53 | LAB | ESR analyzer | HYD-BME-1012-OP-LAB-LAB-04 |  | VS80344RR | 2012-10-11 |  |  |  |  | Transasia Bio-Medicals Ltd | Transasia Bio-Medicals Ltd | 2014-07-28 |  | 2014-07-28 |  | One year warranty from date of installtion | 375000
54 | LBC | Centrifuge | HYD-BME-1012-OP-LBC-LAB-01 | R-8C BL | HFLC-9430 | 2012-10-16 | BME |  |  |  | Remi Sales & Engg Ltd | Remi Sales & Engg Ltd | 2014-07-10 |  | 2014-10-01 |  | Present in sample room | 34382
55 | LBC | Centrifuge | HYD-BME-0107-SN-LBC-LAB-02 |  | DPLC2760 | 2007-06-01 | BME |  |  |  | Remi Sales & Engg Ltd | Remi Sales & Engg Ltd | 2014-07-10 |  | 2014-10-01 |  | Shifted from srinagar colony | 30382
56 | LBC | Centrifuge | HYD-BME-1012-OP-LBC-LAB-02 | R-8C BL | HFLC-9428 | 2012-10-16 | BME |  |  |  | Remi Sales & Engg Ltd | Remi Sales & Engg Ltd | 2014-07-10 |  | 2014-10-01 |  | 1 year warranty from date of installation | 34382
57 | LBC | Cooling centrifuge | HYD-BME-1110-BN-LBC-LAB-39 | NA | VCCJ-276 | 2010-11-08 | BME |  |  |  | Remi Sales & Engg Ltd | Remi Sales & Engg Ltd | 2014-07-10 |  | 2014-12-09 |  | Shifted from banjara | 100000
58 | LBC | Deep freezer | HYD-BME-1012-OP-LBC-LAB-03 | DF80U | 1209175 | 2012-10-03 | Warranty | 2012-10-03 | 2015-10-02 |  |  | Megana surgicals | 2014-07-10 |  | 2014-10-01 |  | Three years warranty from date of installation | 500000
59 | LBC | Deep freezer | HYD-BME-1012-OP-LBC-LAB-04 | DF40U | 1208261 | 2012-10-03 | Warranty | 2012-10-03 | 2015-10-02 |  |  | Megana surgicals | 2014-07-10 |  | 2014-10-01 |  | Three years warranty from date of installation | 325000
60 | LBC | Semi auto analyzer | HYD-BME-1012-OP-LBC-LAB-05 | RX Monza | 328-11-0469 | 2012-10-01 |  |  |  |  | Randox Laboratories India Pvt Ltd | Randox Laboratories India Pvt Ltd | 2014-07-10 |  | 2014-10-01 |  | Shifted to IP Banjara
61 | LBC | Fully auto analyzer | HYD-BME-1012-OP-LBC-LAB-06 | RX-Daytona |  | 2012-10-01 |  |  |  |  | Randox Laboratories India Pvt Ltd | Randox Laboratories India Pvt Ltd | 2014-07-10 |  | 2014-10-01 |  | Shifted to IP Banjara on 03/02/14 | 811607
62 | LBC | Fully auto analyzer | HYD-BME-1012-OP-LBC-LAB-07 | Unicel DXC 860i,4767 | 5626 | 2013-10-01 |  |  |  |  | Beckman Coulter India Pvt. Ltd. | Beckman Coulter India Pvt. Ltd. | 2014-07-10 |  | 2014-10-01 |  |  | 811607
63 | LBC | Immunoassay Analyzer | HYD-BME-1012-OP-LBC-LAB-08 | cobas e411 | 1253-24 | 2013-10-01 |  |  |  |  | Hitachi | Hitachi | 2014-07-10 |  | 2014-10-01 |  | Shifted to IP Banjara | 1000000
64 | LBC | Immunoassay Analyzer | HYD-BME-1012-OP-LBC-LAB-09 | Unicel DXI 600 | A45853-586 | 2013-10-01 |  |  |  |  | Beckman Coulter India Pvt. Ltd. | Beckman Coulter India Pvt. Ltd. | 2014-07-10 |  | 2014-10-01 |  |  | 8670606
65 | LBC | Immunoassay Analyzer | HYD-BME-1012-OP-LBC-LAB-10 | ACESS2 | 500453 | 2013-10-01 |  |  |  |  | Beckman Coulter India Pvt. Ltd. | Beckman Coulter India Pvt. Ltd. | 2014-07-10 |  | 2014-10-01 |  |  | 1000000
66 | LBC | Semi auto coagulometer | HYD-BME-0101-BN-LBC-LAB-27 | Sysmex CA50 | A4399 | 2001-01-01 |  |  |  |  | Transasia Bio-Medicals Ltd | Transasia Bio-Medicals Ltd | 2014-07-10 |  | 2014-10-01 |  |  | 525000
67 | LBC | Protine auto analyzer | HYD-BME-1012-OP-LBC-LAB-11 |  |  | 2013-10-01 | [5 empty] | Buinding | 2014-07-10 |  | 2014-09-30 |  | Shifted to IP Banjara
68 | LBC | Centrifuge | HYD-BME-1012-OP-LBC-LAB- | R-8C BL | HFLC-9427 | 2012-10-16 | BME |  |  |  | Remi Sales & Engg Ltd | Remi Sales & Engg Ltd | 2014-07-10 |  | 2014-10-01 |  |  | 34382
69 | LBC | Semi auto analyzer |  |  | 7201-0330 | [5 empty] | Randox Laboratories India Pvt Ltd | Randox Laboratories India Pvt Ltd
70 | LBC | Elico colorimeter |  | CL223 | 2223
71 | LBC | Water purifier |  |  | BM2HA8831K | [5 empty] | Millipur | Millipur
72 | LMB | Incubator | HYD-BME-1012-OP-LMB-LAB-01 | RIM-24DFSS | 11289 | 2012-10-25 | BME |  |  |  | Rotex | Rotex | 2014-09-07 |  | 2014-07-14 |  | One year warranty from date of installation | 37485
73 | LMB | Autoclave | HYD-BME-0712-OP-LMB-LAB-02 | Saavia | 10247 | 2012-10-25 | AMC | 2015-04-01 | 2016-03-31 | 7000 |  | Satya Medical Systems | 2014-09-07 |  | 2014-07-14 |  | One year warranty from date of installation | 115000
74 | LMB | Water bath | HYD-BME-1012-OP-LMB-LAB-03 | RSW-06D | 12253 | 2012-10-25 | BME |  |  |  | Rotex | Rotex | 2014-07-14 |  | 2014-07-14 |  | One year warranty from date of installation | 15173
75 | LMB | Rotetary shaker | HYD-BME-1012-OP-LMB-LAB-04 | RS-12R-DX | EFCM-732 | 2012-10-06 | BME |  |  |  | Remi Sales & Engg Ltd | Remi Sales & Engg Ltd | 2014-07-14 |  | 2014-07-14 |  | One year warranty from date of installation | 10112
76 | LMB | Hot air oven | HYD-BME-1012-OP-LMB-LAB-06 | rotex | 12209 | 2012-10-06 | BME |  |  |  |  | Lakshmi instruments | 2014-07-14 |  | 2014-07-14 |  | One year warranty from date of installation | 37485
77 | LMB | Elisa redear | HYD-BME-1012-OP-LMB-LAB-07 | Stat fax 332 plus | 1142 | 2012-10-06 | AMC | 2014-08-01 | 2015-07-31 |  | CPC Diagnistic | CPC Diagnistic | 2014-09-07 |  | 2014-07-14 |  | One year warranty from date of installation | 230000
78 | LMB | Microscope | PUN-BME-0001-LAB-LAB-23 | Eclipse E200 | 141937 | 2001-01-01 | BME |  |  |  | Nikon | Nikon | 2014-09-07 |  | 2014-11-27 |  |  | 100000
79 | LMB | Bio-safety cabinet |  |  | WAT/QCIL/ANT/1415/D001 | [5 empty] | Witener Technologies | Witener Technologies | 2014-07-10 |  | 2014-07-16
80 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-01 | Dialog+ EVA | 103737 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-04 |  | 2014-07-11 |  | 3year warranty from date of installation | 545000
81 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-02 | Dialog+ EVA | 103738 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-04 |  | 2014-07-11 |  | 3year warranty from date of installation | 545000
82 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-03 | Dialog+ EVA | 103824 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-04 |  | 2014-07-11 |  | 3year warranty from date of installation | 545000
83 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-04 | Dialog+ EVA | 103751 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-04 |  | 2014-07-11 |  | 3year warranty from date of installation | 545000
84 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-05 | Dialog+ EVA | 103753 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-04 |  | 2014-07-11 |  | 3year warranty from date of installation | 545000
85 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-06 | Dialog+ EVA | 103746 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-12 |  | 2014-07-11 |  | 3year warranty from date of installation | 545000
86 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-07 | Dialog+ EVA | 103822 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-12 |  | 2014-07-09 |  | 3year warranty from date of installation | 545000
87 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-08 | Dialog+ EVA | 103745 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-12 |  | 2014-07-09 |  | 3year warranty from date of installation | 545000
88 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-09 | Dialog+ EVA | 103668 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  | B Braun | B Braun | 2014-11-12 |  | 2014-07-09 |  | 3year warranty from date of installation | 545000
89 | DIA | Dialysis machine | HYD-BME-1112-OP-DIA-THE-10 | Dialog+ EVA | 103725 | 2012-11-26 | Warranty | 2012-11-26 | 2015-11-25 |  |  |  | 2014-11-12 |  | 2014-07-10 |  | 3year warranty from date of installation | 545000
90 | DIA | Dialysis machine | HYD-BME-0613-OP-DIA-THE-11 | 4008S | 2SXAF664 | 2013-06-06 | Warranty | 2013-06-06 | 2016-06-05 |  | Fresinius Medical Care (India) Pvt. Ltd | Fresinius Medical Care (India) Pvt. Ltd | 2014-07-10 |  | 2014-07-10 |  | Three year warranty from date of installation | 546000
91 | DIA | Dialysis machine | HYD-BME-0613-OP-DIA-THE-12 | 4008S | 2SXAF672 | 2013-06-06 | Warranty | 2013-06-06 | 2016-06-05 |  | Fresinius Medical Care (India) Pvt. Ltd | Fresinius Medical Care (India) Pvt. Ltd | 2014-07-10 |  | 2014-07-10 |  | Three year warranty from date of installation | 546000
92 | DIA | Dialysis machine | HYD-BME-0613-OP-DIA-THE-13 | 4008S | 2SXAF671 | 2013-06-06 | Warranty | 2013-06-06 | 2016-06-05 |  | Fresinius Medical Care (India) Pvt. Ltd | Fresinius Medical Care (India) Pvt. Ltd | 2014-07-10 |  | 2014-07-10 |  | Three year warranty from date of installation | 546000
93 | DIA | Dialysis machine | HYD-BME-0613-OP-DIA-THE-14 | 4008S | 2SXAF682 | 2013-06-06 | Warranty | 2013-06-06 | 2016-06-05 |  | Fresinius Medical Care (India) Pvt. Ltd | Fresinius Medical Care (India) Pvt. Ltd | 2014-07-10 |  | 2014-07-10 |  | Three year warranty from date of installation | 546000
94 | DIA | Dialysis machine | HYD-BME-0613-OP-DIA-THE-15 | 4008S | 2SXAF684 | 2013-06-06 | Warranty | 2013-06-06 | 2016-06-05 |  | Fresinius Medical Care (India) Pvt. Ltd | Fresinius Medical Care (India) Pvt. Ltd | 2014-07-11 |  | 2014-07-11 |  | Three year warranty from date of installation | 546000
95 | DIA | Monitor | HYD-BME-0113-OP-DIA-CCE-16 | M-1000 | AQ23168936 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-06-22 |  | 3year warranty from date of installation | 51975
96 | DIA | Monitor | HYD-BME-0113-OP-DIA-CCE-17 | M-1000 | AQ23168987 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | 3year warranty from date of installation | 51975
97 | DIA | Monitor | HYD-BME-0113-OP-DIA-CCE-18 | M-1000 | AQ23168893 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | 3year warranty from date of installation | 51975
98 | DIA | Monitor | HYD-BME-0113-OP-DIA-CCE-19 | M-1000 | AQ23168957 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | 3year warranty from date of installation | 51975
99 | DIA | Monitor | HYD-BME-0113-OP-DIA-CCE-20 | M-1000 | AQ23168923 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | 3year warranty from date of installation | 51975
100 | DIA | Monitor | HYD-BME-0113-OP-DIA-CCE-21 | M-1000 | AQ23169030 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | 3year warranty from date of installation | 51975
101 | DIA | Monitor | HYD-BME-0113-OP-DIA-CCE-22 | M-1000 | AQ23168951 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | 3year warranty from date of installation | 51975
102 | DIA | Defibrillator | HYD-BME-0113-OP-DIA-CCE-23 | Heartstart XL | US00598824 | 2013-01-07 | CMC | 2013-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-10-20 |  | 1 year warranty from date of installation | 175000
103 | DIA | Infusion pump | HYD-BME-0113-OP-DIA-CCE-24 | Infusomat-P | 59270 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | B Braun | B Braun | 2014-04-01 |  | 2014-10-20 |  | 3 years warranty from date of installation | 45000
104 | DIA | Syringe pump | HYD-BME-0113-OP-DIA-CCE-25 | Perfuser compact | 174718 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | B Braun | B Braun | 2014-04-01 |  | 2014-10-20 |  | 3 years warranty from date of installation | 30000
105 | DIA | Renatron-II Dialser Washer | HYD-BME- |  | 303074 |  | BME | [5 empty] | 2014-04-01 |  | 2014-10-20 |  |  | 300000
106 | DIA | Monitor | HYD-BME- | M-1000 | AQ23168993 | 2013-01-07 | Warranty | 2013-01-07 | 2016-01-06 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | 3 years warranty from date of installation | 51975
107 | NEU | Video EEG | HYD-BME-0113-OP-NEU-DIA-01 | Nicolet 32 | 3866 | 2013-01-04 | AMC | 2014-01-04 | 2016-01-03 | 1 | Alliance Biomedica Pvt. Ltd | Alliance Biomedica Pvt. Ltd | 2014-07-01 |  |  |  | One year warranty from date of installation.second and third year AMC free | 1109300
108 | NEU | EMG | HYD-BME-0113-OP-NEU-DIA-02 | Synergy EDX | IV122658M | 2013-01-04 | AMC | 2014-01-04 | 2016-01-03 | 1 | Alliance Biomedica Pvt. Ltd | Alliance Biomedica Pvt. Ltd | 2014-07-01 |  |  |  | One year warranty from date of installation.second and third year AMC free | 2717785
109 | NEU | Ultrasound | HYD-BME-0215-OP-NEU-RAD-03 | HD15 | US11520222 | 16/02/15 | Warranty |  |  |  | Philips Electronics | Philips Electronics |  |  |  |  | One year warranty from date of installation. | 2300000
110 | BSR | ECG | HYD-BME-1012-OP-BSR-CCE-01 | Page writer TC20 | CN612010662 | 2012-10-14 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-01-01 |  | one year warranty from date of installation | 135000
111 | GOT | Anaesthesia machine | HYD-BME-0213-OP-GOT-CCE-01 | Wato ex-20 | DW-23000820 | 2013-02-27 | Warranty |  |  |  | IKON Medical Systems | IKON Medical Systems |  |  |  |  | 3 years warranty , CMC charges 5% per year | 393750
112 | GOT | OT Table(neuro surgery ) | HYD-BME-0313-OP-GOT-OTE-06 | Neurostar 4S | 230213 | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 628067
113 | GOT | OT lights(LED) | HYD-BME-0313-OP-GOT-OTE-10 | Magnaled sleek (4+3) |  | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 387450
114 | GOT | Surgical diathermy | HYD-BME-0413-OP-GOT-OTE-17 | Force FX-8C | F2B69315AX | 2013-02-04 | BME |  |  |  | Asian bio-medical products | Asian bio-medical products |  |  |  |  | one year warranty from date of installation | 459500
115 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-21 | Perfuser compact | 174699 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
116 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-23 | Perfuser compact | 174687 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
117 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-24 | Perfuser compact | 174826 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
118 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-25 | Perfuser compact | 174624 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
119 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-26 | Perfuser compact | 174605 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
120 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-27 | Perfuser compact | 174620 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
121 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-28 | Perfuser compact | 174846 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
122 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-29 | Perfuser compact | 174693 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
123 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-30 | Perfuser compact | 174654 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
124 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-31 | Perfuser compact | 174840 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
125 | GOT | Infusion pump | HYD-BME-0413-OP-GOT-CCE-32 | Infusomat-P | 83958 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation | 45000
126 | GOT | Infusion pump | HYD-BME-0413-OP-GOT-CCE-33 | Infusomat-P | 83984 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation | 45000
127 | GOT | Infusion pump | HYD-BME-0413-OP-GOT-CCE-34 | Infusomat-P | 84672 | 2013-04-25 | Warranty |  |  |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation | 45000
128 | GOT | Monitor | HYD-BME-0413-OP-GOT-CCE-39 | MP20 | DE72868913 | 2013-04-15 | CMC | 2015-04-01 | 2016-03-31 | 14888 | Philips Electronics | Philips Electronics |  |  |  |  | one year warranty from date of installation | 265000
129 | GOT | C-ARM | HYD-BME-1112-OP-GOT-CCE-40 | Multimobile 5C-9" | 3997 | 2012-11-19 | CMC | 18/Nov/2015 | 2017-03-31 | 183514 | Siemens ltd | Siemens ltd |  |  |  |  | three year warranty from date of installation | 1370000
130 | GOT | Patient warmer | HYD-BME-0413-OP-GOT-SUP-41 | Equator level | 510004813 | 2013-04-15 | Warranty |  |  |  | Hansraj Nayyar Medical India | Hansraj Nayyar Medical India |  |  |  |  | one year warranty from date of installation | 94500
131 | GOT | Urology instruments | HYD-BME-0513-OP-GOT-SUR-44 |  |  | 2013-05-11 | Warranty |  |  |  | Karl Storz Laparoscopy | Karl Storz Laparoscopy |  |  |  |  | Three years warranty from date of installation(hand instruments like scissors | 708554
132 | GOT | Laproscopy Instruments | HYD-BME-0513-OP-GOT-SUR-45 |  |  | 2013-04-07 17:31 | Warranty |  |  |  | Karl Storz Laparoscopy | Karl Storz Laparoscopy |  |  |  |  | Three years warranty from date of installation(hand instruments like scissors | 1543248.73
133 | GOT | Microscope | HYD-BME-0813-OP-GOT-OTE-47 | Meditec AG | 6634142751 | 2013-08-21 | Warranty |  |  |  | Carl Zeiss | Carl Zeiss |  |  |  |  | Three years warranty from date of installation | 1923532
134 | GOT | High speed sterilizer | HYD-BME-0913-OP-GOT-OTE-48 | Statim 2000G4 | 310212F00001 | 2013-09-23 | Warranty |  |  |  |  | Bio tech vision care |  |  |  |  | One year warranty from date of installation | 335000
135 | GOT | Electro neuro stimulator | HYD-BME-0913-OP-GOT-OTE-49 | Plexygon-vygon | 1248PC040 | 2013-09-20 | Warranty |  |  |  |  | Quality medicare pvt ltd |  |  |  |  | Three year warranty from date of installation | 57750
136 | GOT | Telescope | HYD-BME-0913-OP-GOT-OTE-50 |  |  | 2013-10-08 | Warranty |  |  |  |  | Vishal Surgical Equipment Company |  |  |  |  | Three year warranty from date of installation(Shifted from Banjara) | 159600
137 | GOT | Harmonic scalpal(model:gen11) | HYD-BME-1013-OP-GOT-OTE-51 | GEN11 | 1111219467 | 2013-10-22 | Warranty |  |  |  |  | Surendra associates |  |  |  |  | Three year warranty from date of installation | 1150044
138 | GOT | Head Light Source | HYD-BME-0114-OP-GOT-OTE-52 | XSP-9300 | 1146 | 2014-01-11 | BME |  |  |  | BL Lifesciences | BL Lifesciences |  |  |  |  | Two year warranty from date of installation | 346500
139 | GOT | Operating Microscope(ent) | HYD-BME-013-OP-GOT-OTE-53 | OPMI sensera s7 | 6628185161 |  | Warranty |  |  |  | Karl Zeis | Karl Zeis
140 | GOT | Ent Endoscopes | HYD-BME-1213-OP-GOT-OTE-54 |  | cmera unit-706650-p,camera head-vw815032-h,led monitor-e31a10183,Xenon nova 300-vw0689734 | 2013-12-09 | Warranty |  |  |  | Karl Storz Laparoscopy | Karl Storz Laparoscopy |  |  |  |  | Two year warranty from date of installation | 193707
141 | GOT | OT Table(For ophthalmic ot ) | HYD-BME-0813-OP-GOT-OTE-55 | POT 360 |  | 26-08-13 | Warranty |  |  |  |  | Labmed |  |  |  |  | One year warrenty fromthedate of installation | 84000
142 | GOT | Surgical microscope (ophthalmic Surgery) | HYD-BME-0813-OP-GOT-OTE-56 | OPMI lumera 700 |  | 21-08-13 |  |  |  |  | Karl Zeis | Karl Zeis
143 | GOT | Arthoscopy shaver system | HYD-BME-1111-BN-GOT-OTE-65 |  |  | 15-03-2013 | Warranty |  |  |  | Smiths Equator | Smiths Equator | [5 empty] | 488000
144 | GOT | Monitor | HYD-BME-0714-OP-GOT-CCE-57 | MP 20 | DE80184732 |  | CMC | 2015-04-01 | 2016-03-31 | 14888 | Philips Electronics | Philips Electronics |  |  |  |  | one year warranty from date of installation | 285000
145 | GOT | Monitor | HYD-BME-0714-OP-GOT-CCE-59 | MP20 | DE80184733 |  | CMC | 2015-04-01 | 2016-03-31 | 14888 | Philips Electronics | Philips Electronics |  |  |  |  | one year warranty from date of installation | 285000
146 | GOT | Flash autoclave | HYD-BME-0912-OP-CSD-SUP-02 | Mediquip | 428 | 2013-05-18 | CMC | 2015-04-01 | 2016-03-31 | 9400 | Cistron systems | Cistron systems | [5 empty] | 115000
147 | GOT | Instrument washer | HYD-BME-0912-OP-CSD-SUP-03 | Mediquip | 147 | 2013-05-07 | Warranty |  |  |  | Cistron systems | Cistron systems | [5 empty] | 165000
148 | GOT | Lipo Suction |  |  | 6111209, BG-5662011, O5-114104 | [5 empty] | Byron | Byron
149 | GOT | Medtronic Debrider |  |  | 117450
150 | GOT | Patient warmer | HYD--BME-0515-OP-GOT-OTE-6 | Bair Hugger- 775 | 70734 | 30/05/15 | Warranty | 30/05/15 | 30/05/15 |  | BL Lifesciences | BL Lifesciences | [5 empty] | 75999
151 | GOT | OT Table(ENT) | HYD-BME-0313-OP-GOT-OTE-08 | Magnum multistar 4S | 260213 | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 435067
152 | GOT | OT lights(LED) | HYD-BME-0313-OP-GOT-OTE-11 | Magnaled sleek (4+3) |  | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 387450
153 | GOT | Anaesthesia machine | HYD-BME-0213-OP-GOT-CCE-02 | 9100 C | ME12040122 | 2013-01-04 | Warranty |  |  |  | Wipro GE | Wipro GE |  |  |  |  | 3 years warranty , CMC charges 5% per year | 450000
154 | GOT | Hysteroscope set | HYD-BME-0513-OP-GOT-SUR-43 |  | 1843840 | 2013-05-10 | Warranty |  |  |  |  | Vishal Surgical Equipment Company |  |  |  |  | Three year warranty for telescope and two years for instruments | 334848
155 | GOT | OT Table(Ophthalmic ) | HYD-BME-0313-OP-GOT-OTE-07 | Magnum multistar 3S | 220213 | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 363567
156 | GOT | OT lights(LED) | HYD-BME-0313-OP-GOT-OTE-12 | Magnaled sleek (4+3) |  | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 387450
157 | GOT | Anesthes | HYD-BME-0213-OP-GOT-CCE-04 | Aespire 7100 | AMX13100218WA | 2013-01-04 | BME |  |  |  | Wipro GE | Wipro GE |  |  |  |  | one year warranty from date of installation,2nd year AMC free | 750000
158 | GOT | Anaesthesia machine | HYD-BME-0213-OP-GOT-CCE-03 | 9101 C | ME12040125 | 2013-01-04 | BME |  |  |  | Wipro GE | Wipro GE |  |  |  |  | one year warranty from date of installation | 450000
159 | GOT | OT Table | HYD-BME-0313-OP-GOT-OTE-09 | Magnum multistar 3S |  | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 430567
160 | GOT | OT lights(LED) | HYD-BME-0313-OP-GOT-OTE-13 | Magnaled sleek (4+3) |  | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 387450
161 | GOT | Surgical diathermy | HYD-BME-0413-OP-GOT-OTE-18 | Force FX-8C | S2F05378AX | 2013-02-04 | BME |  |  |  | Asian bio-medical products | Asian Bio-Medicals |  |  |  |  | one year warranty from date of installation | 459500
162 | GOT | Mannman drill | HYD-BME-0413-OP-GOT-OTE-19 |  |  | 2013-04-28 | BME |  |  |  | Balamuragan Associates | Balamuragan Associates |  |  |  |  | Two year warranty from date of installation | 427049
163 | GOT | Syringe pump | HYD-BME-0413-OP-GOT-CCE-22 | Perfuser compact | 174703 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | B Braun | B Braun |  |  |  |  | 3 years warranty from date of installation and 4th year AMC free | 30000
164 | GOT | Monitor | HYD-BME-0413-OP-GOT-CCE-38 | MP 20 | DE72868914 | 2013-04-15 | CMC | 2015-04-01 | 2016-03-31 | 14888 | Philips Electronics | Philips Electronics |  |  |  |  | one year warranty from date of installation | 265000
165 | GOT | Laproscopy | HYD-BME-0513-OP-GOT-OTE-42 |  |  | 2013-05-17 | Warranty | 2013-05-17 | 2016-05-16 |  |  | Plus Health care Solutions |  |  |  |  | 3 years warranty from date of installation | 2198569.79
166 | GOT | Tourniquet system | HYD-BME-0202-BN-GOT-OTE-40 |  | 1198 | 2002-02-20 | BME
167 | GOT | OT Table(Genral surgery &urology) | HYD-BME-0313-OP-GOT-OTE-05 | Magnum multistar 3S | 500213 | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 430567
168 | GOT | OT lights(LED) | HYD-BME-0313-OP-GOT-OTE-14 | Magnaled sleek (4+3) |  | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 387450
169 | GOT | Surgical diathermy | HYD-BME-0413-OP-GOT-OTE-16 | Force FX-8C | S2F05379AX | 2013-02-04 | BME |  |  |  | Asian bio-medical products | Asian Bio-Medicals |  |  |  |  | one year warranty from date of installation | 459500
170 | GOT | Monitor | HYD-BME-0714-OP-GOT-CCE-58 | MP20 | DE80184727 |  | Warranty |  |  |  | Philips Electronics | Philips Electronics |  |  |  |  | one year warranty from date of installation | 285000
171 | GOT | Anaesthesia Machine | HYD-BME-0202-BN-GOT-OTE-04 |  | CAAE00662 | 2002-02-19 | BME
172 | GOT | Operating Microscope | PUN-BME-0001-LC-GOT-OTE-15 |  | 356 |  | BME
173 | GOT | OT lights(LED) | HYD-BME-0313-OP-GOT-OTE-15 | Magnaled sleek (4+3) |  | 2013-03-05 | BME |  |  |  | Magnatek Enterprises | Magnatek Enterprises |  |  |  |  | one year warranty from date of installation | 387450
174 | GOT | Monitor | HYD-BME-0413-OP-GOT-CCE-35 | Goldway G30 | CN12803522 | 2013-04-15 | Warranty | 2013-04-15 | 2016-04-15 |  | Philips Electronics | Philips Electronics |  |  |  |  | one year warranty from date of installation | 85000
175 | GOT | OT table | HYD-BME-0813-OP-GOT-OTE-46 | Recycling type(POT 360) |  | 2013-08-26 | Warranty | 2013-08-26 | 2016-08-26 |  |  | Labmed |  |  |  |  | Three years warranty from date of installation | 84000
176 | GOT | Bypolar Coagulator |  |  | 271130214
177 | GOT | Anaesthesia Machine |  |  | CAAE00655
178 | GOT | Phaco |  |  | 201480058 | [5 empty] | Sovereigen
179 | GOT | Ultrasound cleaner |  |  | 2K120800
180 | GAS | Endowasher | HYD-BME-0413-OP-GAS-SUP-01 | Qubey-t | 12QT0013 | 2013-05-31 | BME |  |  |  | Mitra Industries Pvt. Ltd. | Mitra Industries Pvt. Ltd. | 2014-07-01 |  | 2014-07-01 |  | One year warranty from date of installation | 350000
181 | GAS | Endoscopy | HYD-BME-0912-OP-GAS-THE-02 | CV-150 | 7247352 | 2013-05-27 | AMC | 2015-06-01 | 2016-05-31 | 95725 | Olympus Opto Systems | Olympus Opto Systems | 2014-07-01 |  | 2014-07-01 |  | One year warranty from date of installation | 2322810
182 | GAS | Defibrillator | HYD-BME-1012-OP-GAS-CCE-03 | Heartstart XL | US00598949 | 2012-10-22 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-10-20 |  | One year warranty from date of installation | 175000
183 | GAS | Monitor | HYD-BME-0512-OP-GAS-CCE-04 | M-1000 | AQ-23168846 | 2012-11-17 | Warranty | 2012-11-17 | 2015-11-16 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 51975
184 | GAS | Monitor | HYD-BME-0512-OP-GAS-CCE-05 | M-1000 | AQ-23168854 | 2012-11-17 | Warranty | 2012-11-17 | 2015-11-16 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 51975
185 | GAS | Monitor | HYD-BME-0512-OP-GAS-CCE-06 | M-1000 | AQ-23168945 | 2012-11-17 | Warranty | 2012-11-17 | 2015-11-16 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 51975
186 | GAS | Monitor | HYD-BME-0512-OP-NIL-CCE-07 | M-1000 | AQ-23168850 | 2012-11-17 | Warranty | 2012-11-17 | 2015-11-16 |  | Mediaid | Mediaid | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 51975
187 | ENT | Nasal Endoscope | HYD-BME-0101-BN-ENT-OTE-01 | Xenon nova | BH 10895 | 2001-01-01 | BME |  |  |  | Karl Storz Laparoscopy | Karl Storz Laparoscopy | 2014-10-10 |  | 2013-12-05 |  | Shifted from banjara | 500000
188 | ENT | Laryngoscope | HYD-BME-0101-BN-ENT-OTE-02 | Xenon nova | SN94834 | 2001-01-01 | BME |  |  |  | Karl Storz Laparoscopy | Karl Storz Laparoscopy | 2014-11-11 |  | 2013-12-05 |  | Shifted from banjara | 300000
189 | ENT | Hearing Assistment System | HYD-BME-0208-BN-ENT-OTE-03 | GSI Audera | AT080416 | 2008-02-21 | BME |  |  |  | Alliance Biomedica Pvt. Ltd | Alliance Biomedica Pvt. Ltd | 2013-12-05 |  | 2013-12-05 |  | Shifted from banjara | 1051814
190 | ENT | Surgical Microscope | HYD-BME-0208-BN-ENT-OTE-04 | OPTO SM 1H | SN124 | 2008-02-20 | BME |  |  |  |  | Optical Systems | 2014-11-28 |  | 2013-12-05 |  | Shifted from banjara | 119600
191 | ENT | Light source |  | Xenon nova 300 |  |  | BME |  |  |  | Karl Storz Laparoscopy | Karl Storz Laparoscopy | 2014-12-03 |  | 2013-12-05 |  | Shifted from banjara | 304500
192 | ENT | Head Light Source |  |  | 47227 |  | BME |  |  |  | Welchallyn | Welchallyn | 2014-11-28 |  | 2013-12-05
193 | ENT | Head Light Source |  |  | 74182 | [5 empty] | Welchallyn | Welchallyn | 2014-12-03 |  | 2013-12-05
194 | ENT | Head Light Source |  |  | 75200 | [5 empty] | Welchallyn | Welchallyn | 2014-11-28 |  | 2013-12-05
195 | ENT | Impedence Audio Meter |  | MI34 | 6815760 | [7 empty] | 2014-11-09 |  | 2013-12-05
196 | ENT | Audiometery |  | audiostar pro | GS0059201 | [7 empty] | 2014-11-15 |  | 2013-12-05 |  | recently installed
197 | OPH | Refraction Unit | HYD-BME-1212-OP-OPH-DIA-01 | PO-EU | 1051212 | 2012-12-31 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 110500
198 | OPH | Refraction Unit | HYD-BME-1212-OP-OPH-DIA-02 | PO-EU | 1031212 | 2012-12-31 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 110500
199 | OPH | Refraction Unit | HYD-BME-1212-OP-OPH-DIA-03 | PO-EU | 1041212 | 2012-12-31 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 110500
200 | OPH | Refraction Unit | HYD-BME-0807-SN-OPH-DIA-02 |  | NA | 2007-08-31 | Biomedical |  |  |  | Appasamy Associates | Appasamy Associates | 2014-03-25 |  | 2014-03-25 |  | Shifted from (Srinagar colony) | 70720
201 | OPH | Tonometer | HYD-BME-1212-OP-OPH-DIA-04 | CT-80 | 1575105 | 2012-12-12 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 375000
202 | OPH | Autokereto refaractometer | HYD-BME-1212-OP-OPH-DIA-05 | KR-8900 | 4369453 | 2012-12-12 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 350000
203 | OPH | Lensometer | HYD-BME-1212-OP-OPH-DIA-06 | CL-100 | 298531 | 2012-12-12 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 105000
204 | OPH | Autorefractometer | HYD-BME-1212-OP-OPH-DIA-07 | RM/KR-8900 | 4267050 | 2012-12-12 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 290000
205 | OPH | Opthalmoscope(Welchallyn) | HYD-BME-0912-OP-OPH-DIA-08 |  | NA | 2012-10-23 | Biomedical |  |  |  |  | Sree Solutions | 2014-06-12 |  | 2014-06-12 |  | One year warranty from date of installation | 12600
206 | OPH | Opthalmoscope(Welchallyn) | HYD-BME-0912-OP-OPH-DIA-09 |  | NA | 2012-10-23 | Biomedical |  |  |  |  | Sree Solutions | 2014-06-12 |  | 2014-06-12 |  | One year warranty from date of installation | 12600
207 | OPH | Opthalmoscope(Welchallyn) | HYD-BME-0912-OP-OPH-DIA-10 |  | NA | 2012-10-23 | Biomedical |  |  |  |  | Sree Solutions | 2014-06-12 |  | 2014-06-12 |  | Shifted from srinagar colony | 12600
208 | OPH | Opthalmoscope(Welchallyn) | HYD-BME-0912-OP-OPH-DIA-11 |  | NA | 2012-10-23 | Biomedical |  |  |  |  | Sree Solutions | 2014-06-12 |  | 2014-06-12 |  | Shifted from srinagar colony | 12600
209 | OPH | Retinoscope | HYD-BME-0912-OP-OPH-DIA-12 |  | NA | 2012-10-23 | Biomedical |  |  |  |  | Sree Solutions | 2014-06-12 |  | 2014-06-12 |  | One year warranty from date of installation | 13912
210 | OPH | Retinoscope | HYD-BME-0912-OP-OPH-DIA-13 |  | NA | 2012-10-23 | Biomedical |  |  |  |  | Sree Solutions | 2014-06-12 |  | 2014-06-12 |  | One year warranty from date of installation | 13912
211 | OPH | Slit lamp(Topcon) | HYD-BME-1212-OP-OPH-DIA-14 | SL-2G | 2801013 | 2012-12-31 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | Shifted from srinagar colony | 205000
212 | OPH | Slit lamp(Topcon) | HYD-BME-1212-OP-OPH-DIA-15 | SL-2G | 2801207 | 2012-12-31 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 205000
213 | OPH | Slit lamp(Topcon) | HYD-BME-0807-SN-OPH-DIA-01 | SL-2G,DS-STD | 3070623 | 2002-08-13 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 450000
214 | OPH | Slit lamp(Topcon) | HYD-BME-1212-OP-OPH-DIA-17 | SL-2G | 2801031 | 2012-12-31 | Biomedical |  |  |  | Mehra Eyetech Pvt. Ltd. | Mehra Eyetech Pvt. Ltd. | 2014-05-16 |  | 2014-05-16 |  | One year warranty from date of installation | 205000
215 | OPH | Indirect opthalmoscope | HYD-BME-1212-OP-OPH-DIA-18 | NA | NA | 2012-11-22 | Biomedical |  |  |  |  | Sree Solutions | 2014-06-12 |  | 2014-06-12 |  | Shifted from (Srinagar colony) | 12000
216 | OPH | A-scan | HYD-BME-0813-OP-OPH-DIA-19 | 300 A+ | 0350-0713-1687 | 2013-08-28 | Biomedical |  |  |  |  | Suraj hitech(P) ltd | 2014-06-12 |  | 2014-06-12 |  | One year warranty from date of installation | 245000
217 | OPH | Keratometer | HYD-BME-0813-OP-OPH-DIA-20 | KM6 | 1201120597 | 2013-07-25 | Biomedical |  |  |  | Appasamy Associates | Appasamy Associates | 2014-03-25 |  | 2014-03-25 |  | One year warranty from date of installation | 26757
218 | OPH | Applanation Tonometer | HYD-BME-0813-OP-OPH-DIA-21 | INAMI |  | 2013-07-25 | Biomedical |  |  |  | Appasamy Associates | Appasamy Associates | 2014-03-25 |  | 2014-03-25 |  | One year warranty from date of installation | 105000
219 | OPH | Wild field 90D | HYD-BME-0813-OP-OPH-DIA-22 | Volk lens | BC09042, BC09189, AH051760 | 2013-07-25 | Biomedical |  |  |  | Appasamy Associates | Appasamy Associates | 2014-03-25 |  | 2014-03-25 |  | One year warranty from date of installation | 29400
220 | OPH | Gonio 4 mirror Volk lens | HYD-BME-0813-OP-OPH-DIA-23 | Volk lens | AI010630 | 2013-07-25 | Biomedical |  |  |  | Appasamy Associates | Appasamy Associates | 2014-03-25 |  | 2014-03-25 |  | One year warranty from date of installation | 24150
221 | OPH | Tono/Pachymeter | HYD-BME-0813-OP-OPH-DIA-24 | NT-530P | 331581 | 2013-08-25 | Warranty | 2013-08-25 | 2015-08-24 |  |  | KLB instruments | 2014-07-08 |  | 2014-07-08 |  | Two years warranty from date of installation | 600000
222 | OPH | Fundus Camera | HYD-BME-1213-OP-OPH-DIA-25 | Visucam 500 | 2004066 | 2013-10-12 | Warranty | 2013-10-12 | 2016-10-11 |  | Carl Zeiss | Carl Zeiss | 2014-07-08 |  | 2014-07-08 |  | Three years warrenty from the date of installation | 1562500
223 | OPH | Visual field recording instrument | HYD-BME-1213-OP-OPH-DIA-26 | humphrey |  | 2013-10-12 | Warranty | 2013-10-12 | 2016-10-11 |  | Carl Zeiss | Carl Zeiss | 2014-07-08 |  | 2014-07-08 |  | Three years warrenty from the date of installation
224 | OPH | Visulas yag3 ophthalmic laser | HYD-BME-0813-OP-OPH-DIA-27 | Visulas yag3 |  | 2013-09-12 | Warranty | 2013-09-12 | 2016-10-11 |  | Carl Zeiss | Carl Zeiss | 2014-07-08 |  | 2014-07-08 |  | Three years warrenty from the date of installation | 1116500
225 | OBG | Fetal Doppler | HYD-BME-1015-OP—OBG-Dia-06 |  | DQTB5J15690 | [7 empty] | 2014-09-10 |  |  |  | recently installed
226 | OBG | Digital Video Colposcope | HYD-BME-1011-BN-OBG-CCE-05 | DVC 8000 | CM103AAAL0016 | 2011-10-11 | Biomedical |  |  |  |  | Maxcare Medical Systems | 2014-09-10 |  |  |  | AMC @Rs 15000/-,and if any instrument less than 5000worth damage company will replace it free of cost. | 199500
227 | OBG | Fetal Doppler | HYD-BME-1015-OP—OBG-Dia-07 |  | DQTB5J15691 | [7 empty] | 2014-09-10 |  |  |  | RECENTLY INSTALLED
228 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-01 | M-1000 | AQ-23168962 | 2013-05-25 | Warranty | 2013-05-25 | 2016-05-24 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years from date of installation | 51975
229 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-02 | M-1000 | AQ-23169008 | 2013-05-25 | Warranty | 2013-05-25 | 2016-05-24 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years from date of installation | 51975
230 | ICU | Portable Ultrasound | HYD-BME-0111-BN-GOT-DIA-02 | M-Turbo | 03KYV4 | 2011-01-29 |  |  |  |  | Sonosite | Sonosite | 2014-10-20 |  | 2014-10-20 |  | Shifted from banjara | 1260000
231 | ICU | Defibrillator | HYD-BME-0413-OP-GOT-CCE-20 | Heartstart XL | US00598825 | 2013-04-25 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics |  |  |  |  | One year warranty from date of installation | 175000
232 | ICU | Monitor | HYD-BME-0413-OP-GOT-CCE-36 | Goldway G30 | CN12803523 | 2013-04-15 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-10-20 |  | 2014-10-20 |  | one year warranty from date of installation | 85000
233 | ICU | Monitor | HYD-BME-0413-OP-GOT-CCE-37 | Goldway G30 | CN12803521 | 2013-04-15 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-10-20 |  | 2014-10-20 |  | one year warranty from date of installation | 85000
234 | CAR | ECG Machine | HYD-BME-1013-OP-CAR-THE-01 | TC20 | CNN1303787 |  | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-04-01 |  | 2014-01-01 |  |  | 135000
235 | CAR | Defibrillator | HYD-BME-0906-BN-CAR-CCE-02 | XL | US00445903 | 2006-09-21 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics |  |  | 2014-01-01 |  |  | 175000
236 | PED | Pulse Oxymeter | HYD-BME-0114-OP-PED-CCE-01 | CMS5000 | AW1307200193 | 2014-02-18 | BME |  |  |  |  | Contech | 2014-08-19 |  |  |  | One year warranty from date of installtion | 35000
237 | ICU | Ventillator | HYD-BME-0213-OP-ICU-CCE-01 | Servo-S | 25561 | 2013-02-04 | BME |  |  |  | Maquet | Maquet | 2014-06-02 |  | 2014-06-02 |  | One year warranty from date of installation | 699999
238 | ICU | Ventillator | HYD-BME-0213-OP-ICU-CCE-02 | Servo-S | 25562 | 2013-02-04 | BME |  |  |  | Maquet | Maquet | 2014-06-02 |  | 2014-06-02 |  | One year warranty from date of installation | 699999
239 | ICU | Defibrillator | HYD-BME-0413-OP-ICU-CCE-03 | Heartstart XL | US00598906 | 2013-04-25 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-01-01 |  | 2014-01-01 |  | One year warranty from date of installation | 175000
240 | ICU | Infusion pump | HYD-BME-0413-OP-ICU-CCE-04 | Infusomat-P | 83956 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 45000
241 | ICU | Infusion pump | HYD-BME-0413-OP-ICU-CCE-05 | Infusomat-P | 83980 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 45000
242 | ICU | Infusion pump | HYD-BME-0413-OP-ICU-CCE-06 | Infusomat-P | 83999 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 45000
243 | ICU | Infusion pump | HYD-BME-0413-OP-ICU-CCE-07 | Infusomat-P | 84704 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 45000
244 | ICU | Infusion pump | HYD-BME-0413-OP-ICU-CCE-08 | Infusomat-P | 84697 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | B Braun | B Braun | 2014-04-01 |  | 2014-01-01 |  | Three years warranty from date of installation | 45000
245 | ICU | Syringe pump | HYD-BME-0413-OP-ICU-CCE-09 | Perfuser compact | 171328 | 2013-04-25 | Warranty | 2013-04-25 | 2017-04-24 |  | B Braun | B Braun | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation and 4th year AMC free | 30000
246 | ICU | Syringe pump | HYD-BME-0413-OP-ICU-CCE-10 | Perfuser compact | 171699 | 2013-04-25 | Warranty | 2013-04-25 | 2017-04-24 |  | B Braun | B Braun | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation and 4th year AMC free | 30000
247 | ICU | Syringe pump | HYD-BME-0413-OP-ICU-CCE-11 | Perfuser compact | 171664 | 2013-04-25 | Warranty | 2013-04-25 | 2017-04-24 |  | B Braun | B Braun | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation and 4th year AMC free | 30000
248 | ICU | Syringe pump | HYD-BME-0413-OP-ICU-CCE-12 | Perfuser compact | 171734 | 2013-04-25 | Warranty | 2013-04-25 | 2017-04-24 |  | B Braun | B Braun | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation and 4th year AMC free | 30000
249 | ICU | Syringe pump | HYD-BME-0413-OP-ICU-CCE-13 | Perfuser compact | 171753 | 2013-04-25 | Warranty | 2013-04-25 | 2017-04-24 |  | B Braun | B Braun | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation and 4th year AMC free | 30000
250 | ICU | Syringe pump | HYD-BME-0413-OP-ICU-CCE-14 | Perfuser compact | 171568 | 2013-04-25 | Warranty | 2013-04-25 | 2017-04-24 |  | B Braun | B Braun | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation and 4th year AMC free | 30000
251 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-15 | Goldway G30 | CN12803519 | 2013-04-15 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-10-18 |  | 2014-10-18 |  | one year warranty from date of installation | 85000
252 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-16 | Goldway G30 | CN12803520 | 2013-04-15 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-10-18 |  | 2014-10-18 |  | one year warranty from date of installation | 85000
253 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-17 | M-1000 | AQ-23168940 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation | 51975
254 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-18 | M-1000 | AQ-23168870 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation | 51975
255 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-19 | M-1000 | AQ-23168931 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation | 51975
256 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-20 | M-1000 | AQ-23168932 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation | 51975
257 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-21 | M-1000 | AQ-23168944 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation | 51975
258 | ICU | Monitor | HYD-BME-0413-OP-ICU-CCE-22 | M-1000 | AQ-23168871 | 2013-04-25 | Warranty | 2013-04-25 | 2016-04-24 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation | 51975
259 | ICU | ECG Machine | HYD-BME-0413-OP-ICU-CCE-23 | Page writer TC20 | CN61201661 | 2013-04-25 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-01-01 |  | 2014-01-01 |  | One year warranty from date of installation | 135000
260 | ICU | Patient warmer | HYD-BME-0413-OP-ICU-SUP-24 | Equator level | 510004806 | 2013-04-15 | BME |  |  |  | Hansraj Nayyar Medical India | Hansraj Nayyar Medical India | 2014-08-20 |  | 2014-08-20 |  | One year warranty from date of installation | 94500
261 | ICU | Blood warmer | HYD-BME-0413-OP-ICU-SUP-25 | ET-TF-11 | 110302963 | 2013-04-15 | BME |  |  |  |  | Star Medical | 2014-08-20 |  | 2014-08-20 |  | One year warranty from date of installation | 29925
262 | ICU | Blood warmer | HYD-BME-0413-OP-ICU-SUP-26 | ET-TF-11 | 110302964 | 2013-04-15 | BME |  |  |  |  | Star Medical | 2014-08-20 |  | 2014-08-20 |  | One year warranty from date of installation | 29925
263 | WLC | X-Ray | HYD-BME-0612-OP-WLC-RAD-01 | Heliophosd-600 MA | 31511 | 2012-10-15 | CMC | 15/Oct/2015 | 2017-03-31 | 360577 | Siemens ltd | Siemens ltd | 2014-09-15 |  | 2014-10-12 |  | One year warranty from date of installation | 500000
264 | WLC | ECG | HYD-BME-1012-OP-WLC-CCE-02 | Pagewriter T20 | CN61201667 | 2012-10-22 | BME |  |  |  | Philips Electronics | Philips Electronics | 2014-10-20 |  | 2014-10-20 |  | Oneyear warranty from date of installation | 135000
265 | WLC | Defibrillator | HYD-BME-1012-OP-WLC-CCE-04 | Heartstart XL | US00598907 | 2012-10-22 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-09-06 |  | 2014-01-01 |  | One year warranty from date of installation2 nd year CMC free | 175000
266 | WLC | Mammography | HYD-BME-0412-OP-WLC-RAD-05 | 3000 Nova | 8656 | 2012-10-15 | CMC | 15/Oct/2015 | 2017-03-31 | 360577 | Siemens ltd | Siemens ltd | 2014-09-15 |  | 2014-10-12 |  | One year warranty from date of installation | 1333333
267 | WLC | Ultra sound (Colour doppler) | HYD-BME-0210-BN-RAD-RAD-17 | SSA660 Xario | 15BO9X6168 | 2010-03-02 | CMC | 2015-04-01 | 2016-03-31 | 196350 | Toshiba Medical Systems | Toshiba Medical Systems | 2014-09-15 |  | 2014-10-12 |  | Shifted from banjara | 1800000
268 | WLC | Portable echo | HYD-BME-0112-BN-NIL-CAR-20 | CX 50 | SGN1100368 | 2012-01-10 | CMC | 2014-09-24 | 2015-09-23 | 758391 | Philips Electronics | Philips Electronics | 2014-09-15 |  | 2014-10-12 |  | Echo machine CX 50, Probe S5-1 & TEE probe X7-2T | 2600000
269 | WLC | TMT | HYD-BME-1012-OP-WLC-CAR-08 | TM2100 | SJV13261267SA | 2013-09-28 | Warranty |  |  |  | Wipro GE | Wipro GE | 2014-10-20 |  | 2014-10-20 |  | Two years warranty from date of installation | 1080000
270 | WLC | CR system | HYD-BME--OP-WLC- | DX-M | 108315170/200 |  | Warranty |  |  |  | Agfa (I) Pvt Ltd | Agfa (I) Pvt Ltd | [5 empty] | 1
271 | WLC | TMT | HYD-BME--0515-OP-WLC-CAR-10 | Cardiovit CS-20 | L-14D009 | 2015-05-28 | Warranty | 2015-05-28 | 2017-05-27 |  | Wipro GE | Wipro GE |  |  |  |  | Two years warranty from date of installation | 221450
272 | CSD | Rectangular sterlizer | HYD-BME-0912-OP-CSD-SUP-01 | Mediquip | 570 | 2013-03-23 | AMC | 2015-04-01 | 2016-03-31 | 15458 | Cistron systems | Cistron systems | 2014-09-07 |  | 2014-09-07 |  | One year warranty from date of installation | 1285000
273 | CSD | Cyclindrical sterlizer | VIJ-BME-0508-CSD-SUP-02 |  |  | 2008-05-01 | AMC | 2015-04-01 | 2016-03-31 | 14000 |  | Satya Medical Systems | 2014-09-07 |  | 2014-09-07 |  | Shifted from corporate(asset of vijayawada) | 300000
274 | NSS | Monitor | HYD-BME-0413-OP-NSS-CCE-01 | M-1000 | AQ-23168958 | 2013-04-25 | Warranty | 2013-04-25 | 4/243/2016 |  | Mediaid | Mediaid | 2014-10-20 |  | 2014-10-20 |  | Three years warranty from date of installation | 51975
275 | NSS | Defibrillator | HYD-BME-1012-OP-NSS-CCE-02 | Heartstart XL | US00598903 | 2012-10-22 | CMC | 2015-04-01 | 2016-03-31 | 9832 | Philips Electronics | Philips Electronics | 2014-10-20 |  | 2014-10-20 |  | One year warranty from date of installtion | 175000
276 | URO | Uroflowmeter | HYD-BME-1212-OP-URO-DIA-01 | NA | UF416 | 2012-12-08 | BME |  |  |  |  | Status medical system | 2014-10-12 |  | 2014-10-12 |  | one year warranty from date of installation | 44000
277 | DEN | Dental Chair | HYD-BME-0612-OP-DEN-DIA-01 | C-13E | 81-06-12-04 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-06-10 |  | 2014-06-10 |  | One year warranty from date of installation | 278873
278 | DEN | Dental Chair | HYD-BME-0612-OP-DEN-DIA-02 | C-13E | 82-06-12-04 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-06-10 |  | 2014-06-10 |  | One year warranty from date of installation | 278873
279 | DEN | Dental Chair | HYD-BME-0612-OP-DEN-DIA-03 | C-13E | 83-06-12-04 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-06-10 |  | 2014-06-10 |  | One year warranty from date of installation | 278873
280 | DEN | Dental x-ray | HYD-BME-0612-OP-DEN-DIA-05 | Bluex | 2706TQ1115 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-08-10 |  | 2014-08-10 |  | One year warranty from date of installation | 295496
281 | DEN | Dental x-ray | HYD-BME-0612-OP-DEN-DIA-06 | Bluex | 2706TQ1068 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-08-10 |  | 2014-08-10 |  | One year warranty from date of installation | 295496
282 | DEN | Intra oral camera | HYD-BME-0612-OP-DEN-DIA-07 | Clear cam-2 | 0117/2010 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-08-10 |  | 2014-08-10 |  | One year warranty from date of installation | 24750
283 | DEN | Intra oral camera | HYD-BME-0612-OP-DEN-DIA-08 | Clear cam-2 | 0234/2012 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-08-10 |  | 2014-08-10 |  | One year warranty from date of installation | 24750
284 | DEN | Intra oral camera | HYD-BME-0612-OP-DEN-DIA-10 | Clear cam-2 | 0271/2012 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-08-10 |  | 2014-08-10 |  | One year warranty from date of installation | 24750
285 | DEN | Surgical cautrey | HYD-BME-0612-OP-DEN-DIA-12 | C-112 | 22 | 2013-02-08 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-08-10 |  | 2014-08-10 |  | One year warranty from date of installation | 35119
286 | DEN | Polishing lathe | HYD-BME-0612-OP-DEN-DIA-13 |  | NA | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-08-10 |  | 2014-08-10 |  | One year warranty from date of installation | 7963
287 | DEN | Vibrator | HYD-BME-0612-OP-DEN-DIA-14 | C:H | 168/04/10 | 2012-09-27 | BME |  |  |  | Confident Dental Equipmemts Corp. | Confident Dental Equipmemts Corp. | 2014-08-10 |  | 2014-08-10 |  | One year warranty from date of installation | 5519
288 | PHY | Electrical stimulator | HYD-BME-0811-BN-PHY-THE-01 | Indostim-DT | 10512800511 | 2009-08-19 | Biomedical |  |  |  |  | HMS Medical Systems | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara | 10031
289 | PHY | Electrical stimulator | HYD-BME-0811-BN-PHY-THE-02 |  |  | 2009-08-19 | Biomedical |  |  |  |  | S.I equipments | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara
290 | PHY | IFT/Ultrasound | HYD-BME-0811-BN-PHY-THE-03 | Indostim-DT | 110244110 | 2009-08-19 | Biomedical |  |  |  | Sonomed | Sonomed | 2014-06-01 |  | 2014-02-01 |  | Shifted back to anjara | 10031
291 | PHY | IFT | HYD-BME-0811-OP-PHY-THE-04 | Kodytron | IT-454 | 2009-08-19 | Biomedical |  |  |  |  | Kody medical electronics | 2014-06-01 |  | 2014-02-01 |  | Shifted back to anjara | 10031
292 | PHY | Transcutaneous electrical nerve stimulator | HYD-BME-0811-OP-PHY-THE-05 | Indotens | 1109330811 | 2009-08-19 | Biomedical |  |  |  | Sayani surgicals | Sayani surgicals | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara | 2822
293 | PHY | Hydrocollator | HYD-BME-0811-OP-PHY-THE-06 |  |  |  | Biomedical | [5 empty] | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara
294 | PHY | Ankle exerciser | HYD-BME-0811-OP-PHY-THE-07 |  |  |  | Biomedical | [5 empty] | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara
295 | PHY | Rotary wrist machine | HYD-BME-0811-OP-PHY-THE-08 |  |  |  | Biomedical | [5 empty] | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara
296 | PHY | Parallel bar | HYD-BME-0811-OP-PHY-THE-09 |  |  |  | Biomedical | [5 empty] | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara
297 | PHY | Pully | HYD-BME-0811-OP-PHY-THE-10 |  |  |  | Biomedical | [5 empty] | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara
298 | PHY | Bicycle | HYD-BME-0101-BN-PHY-THE-17 |  |  |  | Biomedical | [5 empty] | 2014-06-01 |  | 2014-02-01 |  | Shifted from banjara
299 | PHY | Wax Bath | HYD-BME-0811-BN-PHY-THE-18 |  |  |  | Biomedical |  |  |  |  | Sayani surgicals | 2014-06-01 |  | 2014-02-01
300 | DER | Acupluse 40 A | HYD-BME-1212-OP-DER-THE-01 | Surgi touch | 105 | 2012-12-11 | CMC | 2015-04-01 | 31/03/2016 | 224720 | Lumenis | Lumenis | 2014-01-04 |  | 2014-01-04 |  | One year warranty from date of installation | 4288000
301 | DER | Diode laser | HYD-BME-1212-OP-DER-THE-02 | Diode sheer ET | T6620 | 2012-12-11 | CMC | 2015-04-01 | 31/03/2016 | 224720 | Lumenis | Lumenis | 2014-01-04 |  | 2014-01-04 |  | One year warranty from date of installation | 1876000
302 | DER | Whole body UV theraphy unit | HYD-BME-0113-OP-DER-THE-03 | surya 240NB |  | 2013-01-03 | BME |  |  |  | V-Care Agencies | V-Care Agencies | 2014-01-03 |  | 2014-01-03 |  | One year warranty from date of installation | 495301
303 | DER | Radio frequency | HYD-BME-0413-OP-DER-THE-04 |  | 3670132184 | 2013-04-25 | BME |  |  |  | V-Care Agencies | V-Care Agencies | 2014-04-25 |  | 2014-04-25 |  | One year warranty from date of installation | 255837
304 | DER | Smoke evaquator | HYD-BME-0413-OP-DER-THE-05 | CC-100 | 250882 | 2013-02-04 | BME |  |  |  | V-Care Agencies | V-Care Agencies | 2014-02-04 |  | 2014-02-04 |  | One year warranty from date of installation | 96322
305 | DER | Cosmo chair | HYD-BME-1413-OP-DER-THE-06 | NA | 20121101-375 | 2013-02-04 | BME |  |  |  | V-Care Agencies | V-Care Agencies | 2014-02-04 |  | 2014-02-04 |  | One year warranty from date of installation | 61296
306 | DER | Cosmo chair | HYD-BME-1413-OP-DER-THE-07 | NA | 20121101-385 | 2013-02-04 | BME |  |  |  | V-Care Agencies | V-Care Agencies | 2014-02-04 |  | 2014-02-04 |  | One year warranty from date of installation | 61296
307 | DER | Centrifuge | HYD-BME- |  | DPLC-2760
308 |  | Air compressor 1 | HYD-BME-1012-OP-GP-CCE-01 | 5T2NLM(T30) | N12030079 | 2012-10-02 | BME/ GP |  |  |  | Ingersoll Rand industrial technologies | Ingersoll Rand industrial technologies | 2014-10-02 |  | 2014-03-01 |  | 6 month warrenty from date of installation
309 |  | Air compressor 2 | HYD-BME-1012-OP-GP-CCE-02 | 5T2NLM(T30) | N12030082 | 2012-10-02 | BME/ GP |  |  |  | Ingersoll Rand industrial technologies | Ingersoll Rand industrial technologies | 2014-10-02 |  | 2014-03-01 |  | 6 month warrenty from date of installation
310 |  | Air Dryer | HYD-BME-1012-OP-GP-CCE-03 | DRYSPELL |  | 2012-10-02 | BME/ GP |  |  |  | Trident | Trident | 2014-10-02 |  | 2014-03-01
311 |  | Vaccum pump 1 | HYD-BME-1012-OP-GP-CCE-04 | 7V | 1255909 | 2012-10-02 | BME/ GP |  |  |  |  | Ingersoll Rand industrial technologies | 2014-10-02 |  | 2014-03-01 |  | 6 month warrenty from date of installation
312 |  | Vaccum pump 2 | HYD-BME-0213-OP-GP-CCE-05 | 7V | 1255908 | 2013-02-01 | BME/ GP |  |  |  |  | Ingersoll Rand industrial technologies | 2014-10-02 |  | 2014-03-01 |  | 6 month warrenty from date of installation
313 |  | Oxygen automatic control panel | HYD-BME-0313-OP-GP-CCE-06 |  |  | 2013-03-01 | BME/ GP | [5 empty] | 2014-10-02 |  | 2014-03-01
314 |  | N2O control panel | HYD-BME-0213-OP-GP-CCE-07 |  |  | 2013-02-01 | BME/ GP | [5 empty] | 2014-10-02 |  | 2014-03-01
315 | VAS | Vascular Assit | HYD-BME-0112-BN-VAS-DIA-01 | VAS7 | A214X0100245-11 | 2012-01-24 | BME |  |  |  | ArjoHunleigh | ArjoHunleigh |  |  |  |  | Dept.Dr.PC Gupta. 3 years warranty,CMC @ 45,000Dept.Dr.PC Gupta. 3 years warranty,CMC @ 45,000 | 750000
316 | LBC | ABG | HYD-BME-1012-OP-LBC-LAB-01 | ABL80 | 306277 | 2013-10-01 |  |  |  |  | Radiometer | Radiometer India |  |  |  |  | Rental
317 | LBC | Coagulometer | HYD-BME-1012-OP-LBC-LAB-02 | STA compact | AA36020124 | 2012-10-16 | [5 empty] | Sugoy diagnostics |  |  |  |  | Rental | 525000
318 | LBC | Immunoassay Analyzer | HYD-BME-0407-BN-LBC-LAB-21 | elecsys2010 | 1972-8 | 2007-04-19 |  |  |  |  | Roche | Roche |  |  |  |  | Reagent Rental(shifted from banjara) | 1000000
319 |  | Blood Grouping | [8 empty] | Galileo | Galileo
320 | LMB | Immunodiagnostic system | HYD-BME-1012-OP-LMB-LAB-05 | Vitros ECI | 3000-2298-,J12090 | 2012-10-06 | [10 empty] | One year warranty from date of installation
321 |  | Infusion pump |  | Infusomat-P | 97671 | [5 empty] | B Braun | B Braun
322 |  | SYringe pump |  | Perfuser compact | 204343 | [5 empty] | B Braun | B Braun
324 | LMB | Eliza reader | HYD-BME-1216-BN-LMB | Stat fax-4200 | 2160 | 24.12.2016 | Warranty |  |  |  | CPC Diagnostics pvt. Ltd | CPC Diagnostics pvt. Ltd |  |  |  |  | 3 years from date of installation | 220000
325 | LMB | eliza washer | HYD-BME-1216-BN-LMB | Stat fax-2600 | 9597 | 24.12.2016 | Warranty |  |  |  | CPC Diagnostics pvt. Ltd | CPC Diagnostics pvt. Ltd |  |  |  |  | 3years from date of installation | 200000
326 | DIA | Dialysis machine | HYD-BME-0914-BN-NEF-THE-40 | Diamax | 14J9433E | 2015-06-10 | Warranty |  |  |  | Nipro | [5 empty] | EQUIPMENT FROM IP
327 | DIA | Dialysis machine | HYD-BME-0914-BN-NEF-THE-36 | Diamax | 14J9353E | 2015-06-10 | Warranty |  |  |  | Nipro | [5 empty] | EQUIPMENT FROM IP
328 | DIA | Dialysis machine | HYD-BME-0914-BN-NEF-THE-37 | Diamax | 14J9335E | 2015-06-10 | Warranty |  |  |  | Nipro | [5 empty] | EQUIPMENT FROM IP
329 | DIA | Dialysis machine | HYD-BME-1110-BN-NET-THE-18 | 4008S | 0VCATC04 | 2010-11-16 |  |  |  |  | Fresenius medical care | [5 empty] | EQUIPMENT FROM IP
330 | DIA | Dialysis machine |  | 4008S | [6 empty] | Fresenius medical care | [5 empty] | EQUIPMENT FROM IP
331 | GOT | Ultrasound Machine |  | Sonosite-edge | 0458QN | 2016-10-21 | Warranty |  |  |  | fujifilm | [5 empty] | 5 year warrenty from date of installation | 1575000
332 | GOT | Tourniquet system |  | 80S4000 | 401610190027 | 2017-01-04 | Warranty |  |  |  | Zimmer | [5 empty] | 1year warrenty from date of installation] | 4,51,500
333 | GOT | ENT console | HYD-BME-1116-BN-GOT | IPC | WENTC80096 | 2016-01-11 | Warranty |  |  |  | Metronics | SS associates |  |  |  |  | One year warranty from date of installation | 1995555
334 | GOT | Ortho Drll | HYD-BME-1016-BN-GOT- | System 6 | 1615815693 | 17/10/2016 | Warranty |  |  |  | Stryker | Mark Life science |  |  |  |  | Two year warranty from date of installation | 1227745
335 | ENT | Autoscope | HYD-BME-1016-BN-ENT | 25282-C.3.5 |  | 25/10/2016 | Warranty |  |  |  | Welchallyn | [5 empty] | One year warranty from date of installation | 64500
336 | ENT | Autoscope | HYD-BME-1016-BN-ENT | 25282-C.3.5 |  | 25/10/2016 | Warranty |  |  |  | Welchallyn | [5 empty] | One year warranty from date of installation
337 | ENT | Autoscope | HYD-BME-1016-BN-ENT | 25282-C.3.5 |  | 25/10/2016 | Warranty |  |  |  | Welchallyn | [5 empty] | One year warranty from date of installation
338 | ENT | Procedure Head light | HYD-BME-1016-BN-ENT | solid state |  | 25/10/2016 | Warranty |  |  |  | welchallyn | [5 empty] | One year warranty from date of installation | 168000
339 | ENT | Procedure Head light | HYD-BME-1016-BN-ENT | solid state |  | 25/10/2016 | Warranty |  |  |  | welchallyn | [5 empty] | One year warranty from date of installation
340 | ENT | Procedure Head light | HYD-BME-1016-BN-ENT | solid state |  | 25/10/2016 | Warranty |  |  |  | welchallyn | [5 empty] | One year warranty from date of installation
341 | DIA | Bicarb mixture | HYD-BME-1116-BN-DIA- | FM2750G | 57 | 30/11/2016 | Warranty |  |  |  | EL-OS | EL-OS |  |  |  |  | One year warranty from date of installation | 46500