## Sheet1
SNO | DEPARTMENT | EQUIPMENT NAME | NEW ID | MODEL | SERIAL NO | Date of Install | CONTRACT TYPE | CONTRACT FROM | CONTRACT TO | CONTRACT VALUE | MANUFACTURER | VENDOR | PM FROM | PM TO | CALIBRATION FROM | CALIBRATION TO | Remarks | Cost | Accessories | PO NO | PO DATE | LOCATION
1 | CAS | MULTIPARA MONITOR | OHKT/CAS/MM/1001 | 24C | 4006A92687 | 2010-04-01 | AMC | 2016-04-01 | 2017-03-31 |  | Hewlett packard |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
2 | CAS | MULTIPARA MONITOR | OHKT/CAS/MM/1012 | 24C | 3919A55105 | 2011-04-01 | AMC | 2016-04-01 | 2017-03-31 |  | Hewlett packard |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
3 | CAS | MULTIPARA MONITOR | OHKT/CAS/MM-1002 | 90309 | 309-001100 | 2012-04-01 | AMC |  |  |  | SPACELABS MEDICAL |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
4 | CAS | MULTIPARA MONITOR | OHKT/CAS/MM-1003 | 90309 | 309-012776 | 2010-04-01 | AMC |  |  |  | SPACELABS MEDICAL |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
5 | CAS | MULTIPARA MONITOR | OHKT/CAS/MM-1004 | 90309 | 309-004251 | 2013-04-01 | AMC | 2016-04-01 | 2017-03-31 |  | SPACELABS MEDICAL |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
6 | CAS | MULTIPARA MONITOR | OHKT/CAS/MM-1055 | EFFICIA CM10 | CN50504697 | 2014-04-01 | NEW |  |  |  | Philips Electronics |  | 2016-12-13 | 2017-06-12 | NEW | NEW | [5 empty] | GROUND FLOOR
7 | CAS | MULTIPARA MONITOR | OHKT/CAS/MM-1056 | EFFICIA CM10 | CN54504718 | 2009-04-01 | NEW |  |  |  | Philips Electronics |  | 2016-12-13 | 2017-06-12 | NEW | NEW | [5 empty] | GROUND FLOOR
8 | CAS | MULTIPARA MONITOR | OHKT/CAS/MM-1057 | EFFICIA CM10 | CN54504780 | 2010-04-01 | NEW |  |  |  | Philips Electronics |  | 2016-12-13 | 2017-06-12 | NEW | NEW | [5 empty] | GROUND FLOOR
9 | CAS | DEFIBRILLATOR | OHKT/CAS/DF-1001 | CODEMASTER M17228 | US00107586 | 2016-04-01 | AMC | 2016-04-01 | 2017-03-31 |  | Hewlett packard |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
10 | CAS | FETAL DOPPLER | OHKT/CAS/FD-1001 | 230 | M02C150501841 | 2015-04-01 | NEW |  |  |  | NIDEK MEDICAL |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
11 | CAS | NEBULIZER | OHKT/CAS/NE-1001 | INNOSPIRE ESSENCE | EU0784636 | 2011-04-01 | NO |  |  |  | Philips Electronics |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
12 | CAS | ECG MACHINE | OHKT/CAS/EM-1004 | PAGE WRITER TC-20 | CNO1045918 | 2012-04-01 | NO |  |  |  | Philips Electronics |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
13 | CAS | GLUCOMETER | OHKT/CAS/GM-1001 | - | 1070L6400257 - | 2009-04-01 | NO | [5 empty] | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
14 | CAS | WEIGHING MACHINE | OHKT/CAS/WM-1001 |  |  | 2013-04-01 | NO |  |  |  | GRAVIS |  | 2017-04-18 | 2017-10-17 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
15 | POW | SYRINGE PUMP | OHKT/POW/SP-1006 | IAVC P1000 | 1001-14949 | 2012-04-01 | AMC |  |  |  | ALARIS |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | 3RD FlOOR
16 | CAS | VEIN DETECTOR | OHKT/CAS/VN-1001 | - | VGA170145 | 2011-04-01 | NEW |  |  |  | TULIP GROUP |  | 2016-12-06 | 2017-06-05 | NEW | NEW | [5 empty] | GROUND FLOOR
17 | CAS | PYROGUN THERMOMETER | OHKT/CAS/PT-1001 |  | 201606017008 | 2010-04-01 | NEW |  |  |  | TULIP GROUP |  | 2016-12-06 | 2017-06-05 | NEW | NEW | [5 empty] | GROUND FLOOR
18 | CAS | DIGITAL THERMOMETER | OHKT/CAS/DTM-1001 |  |  | 2015-04-01 | [6 empty] | 2016-12-06 | 2017-06-05 | [7 empty] | GROUND FLOOR
19 | CAS | PULSE OXIMETER | OHKT/CAS/FP-1004 | MD300C26 | 133294700832 | 2016-04-01 | NO |  |  |  | NECPATH |  | 2016-12-06 | 2017-06-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
20 | RAD | FILM PRINTER | OHKT/RAD/FP-1001 | DRYPIX 7000 | 6139790 | 2014-04-01 | CMC |  |  |  | FUJIFILM |  | 2017-01-06 | 2017-07-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
21 | RAD | CR SYSTEM | OHKT/RAD/CR-1001 | CAPSULA-X | 97227072 | 2013-04-01 | CMC |  |  |  | FUJIFILM |  | 2017-01-06 | 2017-07-05 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
22 | RAD | MOBILE X-RAY | OHKT/RAD/XR-1002 | ALLENGERS 100 CBM | 2K100310169-X | 2012-04-01 | CMC |  |  |  | ALLENGERS |  | 2017-01-02 | 2017-07-01 | 2016-07-01 | 2017-06-30 | [5 empty] | GROUND FLOOR
23 | RAD | CT SCAN | OHKT/RAD/CT-1001 | HIGH SPEED FXI | 537000 | 2011-04-01 | CMC | 2016-09-01 | 2017-08-31 | 1368000 | GE |  | 2017-04-04 | 2017-08-03 | 2016-07-01 | 2017-06-30 | [5 empty] | GROUND FLOOR
24 | RAD | X-RAY MACHINE | OHKT/RAD/XR-1001 | ALLENGERS 325 | 2K100330171-X | 2009-04-01 | CMC |  |  |  | ALLENGERS |  | 2017-01-02 | 2017-07-01 | 2016-07-01 | 2017-06-30 | [5 empty] | GROUND FLOOR
25 | DIG | ULTRASOUND MACHINE | OHKT/DIA/US-1001 | HD11 | USD1078624 | 2010-04-01 | CMC |  |  |  | Philips Electronics |  | 2017-01-09 | 2017-07-08 | 2016-06-23 | 2017-06-22 | [5 empty] | GROUND FLOOR
26 | OPD | WEIGHING MACHINE | OHKT/OP1/WM-1002 |  | _ | 2012-04-01 | NO |  |  |  | KAUPS |  | 2016-12-06 | 2017-06-05 | [7 empty] | GROUND FLOOR
27 | OPD | WEIGHING MACHINE | OHKT/OP2/WM-1003 |  | _ | 2013-04-01 | NO |  |  |  | KOHINOOR |  | 2016-12-06 | 2017-06-05 | [7 empty] | GROUND FLOOR