## Sheet1
SNO | DEPARTMENT | EQUIPMENT NAME | NEW ID | MODEL | SERIAL NO | Date of Install | CONTRACT TYPE | CONTRACT FROM | CONTRACT TO | CONTRACT VALUE | MANUFACTURER | VENDOR | PM FROM | PM TO | CALIBRATION FROM | CALIBRATION TO | Remarks | Cost | Accessories | PO NO | PO DATE | LOCATION
1 | MIC | ABG | DH/MICU/ABG/01 | ABL80FLEX | 307173 | 2009-01-01 | NO |  |  |  | RADIO METER |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
2 | MIC | Bipap Machine | DH/MICU/BPAP/1 | Sleep Cube | KS000838 | 2009-01-01 | NO |  |  |  | Devilbliss |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
3 | MIC | BP Apparatus | DH/MICU/BPA/07 | Deluxe | NA | 2009-01-01 | NO |  |  |  | Diamond |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
4 | MIC | BP Apparatus | DH/MICU/BPA/08 | Deluxe | NA | 2009-01-01 | NO |  |  |  | Diamond |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
5 | MIC | ECG Machine | DH/MICU/ECG/02 | AT-2 | 025 -14112 | 2009-01-01 | NO |  |  |  | Schiller |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
6 | MIC | Multipara Monitor | DH/MICU/MON/07 | MEC 1000 | AQ-1B163216 | 2009-01-01 | NO |  |  |  | MINDRAY |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
7 | MIC | Multipara Monitor | DH/MICU/MON/08 | MEC 1000 | AQ-1B163217 | 2009-01-01 | NO |  |  |  | MINDRAY |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
8 | MIC | Multipara Monitor | DH/MICU/MON/09 | MEC 1000 | AQ-36191423 | 2009-01-01 | NO |  |  |  | MINDRAY |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
9 | MIC | Multipara Monitor | DH/MICU/MON/10 | MEC 1000 | AQ-36191424 | 2009-01-01 | NO |  |  |  | MINDRAY |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
10 | MIC | Multipara Monitor | DH/MICU/MON/11 | MEC 1000 | AQ-36191421 | 2009-01-01 | NO |  |  |  | MINDRAY |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
11 | MIC | Multipara Monitor | DH/MICU/MON/12 | MEC 1000 | AQ-36191422 | 2009-01-01 | NO |  |  |  | MINDRAY |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
12 | MIC | Multipara Monitor | DH/MICU/MON/13 | MEC 1000 | AQ-15154730 | 2009-01-01 | NO |  |  |  | MINDRAY |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
13 | MIC | Multipara Monitor | DH/MICU/MON/12 | MEC 1000 | AQ-15154736 | 2009-01-01 | NO |  |  |  | MINDRAY |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
14 | MIC | Nebulizer | DH/MICU/NEB/02 | NA | NA | 2009-01-01 | NO |  |  |  | AEROMAC |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
15 | MIC | Nebulizer | DH/MICU/NEB/03 | NA | NA | 2009-01-01 | NO |  |  |  | AEROMAC |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
16 | MIC | Spot Light | DH/OP/SPOT/02 | NA | NA | 2009-01-01 | NO |  |  |  | NA |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
17 | MIC | Syringe pump | DH/MICU/SYP/01 | TERUMAX | TX01140661 | 2009-01-01 | NO |  |  |  | AKAS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
18 | MIC | Syringe pump | DH/MICU/SYP/02 | TERUMAX | TX01140653 | 2009-01-01 | NO |  |  |  | AKAS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
19 | MIC | Syringe pump | DH/MICU/SYP/03 | TERUMAX | TX01140649 | 2009-01-01 | NO |  |  |  | AKAS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
20 | MIC | Syringe pump | DH/MICU/SYP/04 | TERUMAX | TX01140701 | 2009-01-01 | NO |  |  |  | AKAS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
21 | MIC | Syringe pump | DH/MICU/SYP/05 | TERUMAX | TX01140702 | 2009-01-01 | NO |  |  |  | AKAS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
22 | MIC | Syringe pump | DH/MICU/SYP/06 | TERUMAX | TX01140703 | 2009-01-01 | NO |  |  |  | AKAS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
23 | MIC | Syringe pump | DH/MICU/SYP/07 | TERUMAX | TX01140704 | 2009-01-01 | NO |  |  |  | AKAS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
24 | MIC | Syringe pump | DH/MICU/SYP/08 | Akas SYRUPUMP | H02123207 | 2009-01-01 | NO |  |  |  | Akas |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
25 | MIC | Syringe pump | DH/MICU/SYP/09 | IVACP3000 | 3001-16361 | 2009-01-01 | NO |  |  |  | ALARIS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
26 | MIC | Ultrasound | DH/MICU/ULT/01 | Envisor C | US60506471 | 2009-01-01 | NO |  |  |  | Phillips |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
27 | MIC | Ventilator | DH/MICU/VENT/06 | 900C | 161942 | 2009-01-01 | NO |  |  |  | SIEMENS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
28 | MIC | Ventilator | DH/MICU/VENT/07 | 900C | 171028 | 2009-01-01 | NO |  |  |  | SIEMENS |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
29 | MIC | Ventilator | DH/MICU/VENT/08 | 7200 | 9043702 | 2009-01-01 | NO |  |  |  | PB |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018
30 | MIC | Weighing machine | DH/micu/WM/13 | NA | NA | 2009-01-01 | NO |  |  |  | NA |  | 21-04-2017 | 20-10-2017 | 16-04-2017 | 15-04-2018