## Sheet1
Sr. No. | Dept | Equipment Name | Equip. ID (20 DIG CODE) | Equip. model | Serial Number | Date of Instal. | STATUS (A-C-B-W) | Contract From | Contract To | Contract Value | Company Name | Vendor | PMS done | PMS Due | Calibration done date | Calibration due date | Remarks | Eq. Cost (Rupees)Eq. Cost (Rupees) | Acesories
1 | ER | Monitor | VIZ-BME-0905-VR-ERC-CCE-03 | M1000 | AQ59B3001 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
2 | ER | Monitor | VIZ-BME-0905-VR-ERC-CCE-04 | M1000 | AQ59B3008 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
3 | ER | Syringe pump | VIZ-BME-1006-VR-ERC-CCE-09 | PilotEA2 | 19322992 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
4 | ER | Syringe pump | VIZ-BME-1006-VR-ERC-CCE-10 | PilotEA2 | 19323017 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
5 | ER | Defibrillator | VIZ-BME-0306-VR-ERC-CCE-11 | Heartstart XL | US00440356 | 2006-03-29 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 175000
6 | ER | Defibrillator with pacer | VIZ-BME-0107-VR-ERC-CCE-12 | Heartstart XL | US00448026 | 2007-01-16 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 225000
7 | ER | Monitor | VIZ-BME-0308-VR-ERC-CCE-13 | MEC2000 | CV-82100404 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
8 | ER | Monitor | VIZ-BME-0308-VR-ERC-CCE-14 | MEC2000 | CV-82100405 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
9 | ER | Monitor | VIZ-BME-0308-VR-ERC-CCE-15 | MEC2000 | CV-82100406 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
10 | ER | Syringe pump | VIZ-BME-1006-VR-ERC-CCE-17 | PilotEA2 | 19323060 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
11 | ER | Syringe pump | VIZ-BME-1006-VR-ERC-CCE-18 | PilotEA2 | 19323022 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
12 | ER | Syringe pump | VIZ-BME-0811-VR-ERC-CCE-24 | Perfusor compact | 161493 | 2011-08-31 | A |  |  |  | B Braun | [6 empty] | 29000
13 | ER | Syringe pump | VIZ-BME-0811-VR-ERC-CCE-25 | Perfusor compact | 161514 | 2011-08-31 | A |  |  |  | B Braun | [6 empty] | 29000
14 | ER | Syringe pump | VIZ-BME-0811-VR-ERC-CCE-26 | Perfusor compact | 161517 | 2011-08-31 | A |  |  |  | B Braun | [6 empty] | 29000
15 | ER | Syringe pump | VIZ-BME-0811-VR-ERC-CCE-27 | Perfusor compact | 161527 | 2011-08-31 | A |  |  |  | B Braun | [6 empty] | 29000
16 | ER | Syringe pump | VIZ-BME-0811-VR-ERC-CCE-28 | Perfusor compact | 161529 | 2011-08-31 | A |  |  |  | B Braun | [6 empty] | 29000
17 | ER | Syringe pump | VIZ-BME-0811-VR-ERC-CCE-29 | Perfusor compact | 161891 | 2011-08-31 | A |  |  |  | B Braun | [6 empty] | 29000
18 | ER | Syringe pump | VIZ-BME-0811-VR-ERC-CCE-30 | Perfusor compact | 161887 | 2011-08-31 | A |  |  |  | B Braun | [6 empty] | 29000
19 | ER | ECG machine | VIZ-BME-1014-VR-ERC-CCE-31 | TC 20 | CN91405720 | 2014-10-27 | C | 2016-04-01 | 2017-03-31 | 7961 | Philips | [6 empty] | 130328
20 | ER | Monitor | VIZ-BME-0211-VR-AMC-CCE-24 | MEC2000 | CV08104196 | 2011-04-03 | B |  |  |  | Mindray | [5 empty] | Transferred from AMCU | 95000
21 | ER | Syringe pump | VIZ-BME-0316-VR-ERC-CCE-32 | Perfusor compact | 224893 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
22 | ER | Syringe pump | VIZ-BME-0316-VR-ERC-CCE-33 | Perfusor compact | 224895 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
23 | ER | Syringe pump | VIZ-BME-0316-VR-ERC-CCE-34 | Perfusor compact | 224896 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
24 | ER | Syringe pump | VIZ-BME-0316-VR-ERC-CCE-35 | Perfusor compact | 224897 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
25 | ER | Syringe pump | VIZ-BME-0316-VR-ERC-CCE-36 | Perfusor compact | 224898 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
26 | ER | Ultrasound | VIZ-BME-0416-VR-ERC-RAD-01 | Edge | 043KRM | 2016-04-21 | W |  | 2021-04-20 |  | Sonosite | [5 empty] | invoice No. 110125 Dt.1-4-16 | 1725000
27 | ER | Monitor | VIZ-BME-0416-VR-ERC-CCE-37 | G30 | CN44002087 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 60117
28 | ER | Monitor | VIZ-BME-0416-VR-ERC-CCE-38 | MX430 | DE54800829 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
29 | RAD | 128 Slice CT Scan | VIZ-BME-0414-VR-RAD-RAD-12 | Perspective | 77178 | 2014-05-16 | W |  | 2017-05-15 |  | Siemens | [6 empty] | 34600000
30 | RAD | Mobile X Ray machine | VIZ-BME-0100-VR-RAD-RAD-04 | Genius60mA | CG-0454 | 2000-01-13 | C | 2016-04-01 | 2017-03-31 | 22473 | Wipro GE | [6 empty] | 200000
31 | RAD | Mobile X Ray machine | VIZ-BME-0199-VR-RAD-RAD-05 | AMS-100 CBM | O603100090 | 1999-01-10 | C |  |  |  | Allengers | [5 empty] | Condemned | 200000
32 | RAD | Ultrasound machine | VIZ-BME-0505-VR-RAD-RAD-07 | Envisor C | USNO507539 | 2005-05-12 | C | 2016-04-01 | 2017-03-31 | 250270 | Philips | [5 empty] | Still under use | 1600000
33 | RAD | Ultrasound machine | VIZ-BME-0409-VR-RAD-RAD-08 | HD11XE | US30975561 | 2009-04-25 | C | 2016-04-01 | 2017-03-31 | 156472 | Philips | [6 empty] | 2150000
34 | RAD | Computed Radiography System | VIZ-BME-0509-VR-RAD-RAD-09 | CR-IR 357 FUJI film FCR CAPSULA - Camera : Drypix 7000 | 196125296, Camera S No. 87038442, Bar code reader No. NOKFKW | 2009-06-30 | A | 2016-02-15 | 2017-02-14 | 62975 | FUJI | [6 empty] | 1500000
35 | RAD | X Ray machine | VIZ-BME-1010-VR-RAD-RAD-10 | HF Advantage | Console: S1-0937-192, Control panel: C00178, Tube unit: U9K859, Insert: 9K0580 | 2010-10-02 | C | 2016-04-01 | 2017-03-31 | 91064 | GE | [6 empty] | 650000
36 | RAD | AED Defibrillator | VIZ-BME-0511-VR-RAD-CCE-01 | AED PRO | AA10D017312 | 2011-05-19 | W |  | 2016-05-18 |  | Zoll | [6 empty] | 140400
37 | RAD | AED Defibrillator | VIZ-BME-0511-VR-RAD-CCE-02 | AED PRO | AA10D017305 | 2011-05-19 | W |  | 2016-05-18 |  | Zoll | [6 empty] | 140400
38 | RAD | Mobile X Ray machine | VIZ-BME-0312-VR-RAD-RAD-11 | Multimobil 10 | 31033 | 2012-03-27 | C | 2016-04-01 | 2017-03-31 | 43300 | Siemens | [6 empty] | 435000
39 | RAD | Ultrasound machine | VIZ-BME-0516-VR-RAD-RAD-12 | Epiq 5G | US416C1004 | 2016-05-19 | W |  | 5-18-17 |  | Philips | [6 empty] | 4506600
40 | NIL | ECG machine | VIZ-BME-0199-VR-NIL-CAR-01 | Pagewriter100 | CNC4229199 | 1999-01-06 | C |  |  |  | Philips | [6 empty] | 50000
41 | NIL | Echo machine | VIZ-BME-0708-VR-NIL-CAR-03 | HD11XE | US00874587 | 2008-07-11 | C | 2016-04-01 | 2017-03-31 | 181944 | Philips | [6 empty] | 2500000
42 | NIL | Echo machine | VIZ-BME-0603-VR-NIL-CAR-04 | Envisor | US20300432 | 2003-06-17 | C | 2016-04-01 | 2017-03-31 | 250273 | Philips | [6 empty] | 1400000
43 | NIL | ECG machine | VIZ-BME-0906-VR-NIL-CAR-06 | Trim I | USDO508509 | 2006-09-23 | C | 2016-04-01 | 2017-03-31 | 7961 | Philips | [6 empty] | 50000
44 | NIL | Defibrillator | VIZ-BME-0908-VR-NIL-CCE-01 | Heartstart XL | US00461560 | 2008-09-04 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 250000
45 | NIL | TMT Machine | VIJ-BME-0908-PC-NIL-CAR-01 | Cardiosoft 900-Xl | 101059173, 90102078 | 2008-09-15 | C | 2016-04-01 | 2017-03-31 | 49940 | Wipro GE | [6 empty] | 250000
46 | NIL | PFT machine | VIZ-BME-0410-VR-NIL-DIA-03 | Masterscope |  | 2010-07-04 |  |  |  |  | Jaeger | [6 empty] | 239200
47 | NIL | ECG machine | VIZ-BME-0511-VR-NIL-CAR-07 | MAC1200 | 550056463 | 2011-10-02 | C | 2016-04-01 | 2017-03-31 | 23892 | Wipro GE | [6 empty] | 100000
48 | NIL | TMT Machine | VIZ-BME-0711-VR-NIL-CAR-08 | Case P2, Tread mill : TM2100 | SH711226930SA -console, SBC11208227SA- Tread mill | 2011-07-05 | C | 2016-04-01 | 2017-03-31 | 49940 | Wipro GE | [6 empty] | 1200000
49 | NIL | ECG machine | VIZ-BME-0711-VR-NIL-CAR-09 | MAC1200 | 550056000 | 2011-07-05 | C | 2016-04-01 | 2017-03-31 | 23892 | Wipro GE | [6 empty] | 100000
50 | NIL | EEG Machine | VIZ-BME-0212-VR-NIL-DIA-03 | NP-2400 Neuropage | NP1790112-EB24 | 2012-02-21 | B |  | 2015-02-20 |  | Medicaid system | [6 empty] | 116025
51 | NIL | EMG Machine | VIZ-BME-0212-VR-NIL-DIA-04 | Neurostim NS2 | NS1370212I | 2012-02-21 | B |  | 2015-02-20 |  | Medicaid system | [6 empty] | 386750
52 | NIL | Echo machine | VIZ-BME-1012-VR-NIL-CAR-10 | HD11XE | US91270432 | 2012-10-29 | C | 2016-04-01 | 2017-03-31 | 121117 | Philips | [6 empty] | 1500000
53 | NIL | Holter analyser | VIZ-BME-0814-VR-NIL-CAR-11 | Mars ,Recorder:Seer 12 | SA214311925 | 2014-08-25 | W |  | 2017-08-24 |  | GE | [6 empty] | 871500
54 | NIL | Portable EEG | VIZ-BME-1114-VR-NIL-DIA-05 | NMX32 | MX1014159 | 2014-11-05 | W |  | 2015-11-04 |  | Medicaid system | [6 empty] | 195000
55 | NIL | Echo machine | VIZ-BME-0516-VR-NIL-CAR-12 | Epiq 7C | US416B1491 | 2016-05-19 | W |  | 2017-05-18 |  | Philips | [6 empty] | 4613900
56 | LAB | Incubator | VIZ-BME-0399-VR-LAB-LAB-03 | 2230 | 8856 | 2000-03-26 | B |  |  |  | Matri | [6 empty] | 30000
57 | LAB | Microscope | VIZ-BME-0500-VR-LAB-LAB-10 | CH20i | 2E12424 | 2000-05-15 | B |  |  |  | Olympus | [6 empty] | 120000
58 | LAB | Water bath | VIZ-BME-0604-VR-LAB-LAB-12 |  | 2K4-011-048 | 2004-06-15 | B |  |  |  | Kumar | [6 empty] | 7500
59 | LAB | Blood cell counter | VIZ-BME-0205-VR-LAB-LAB-14 | Sysmex | A9742 | 2005-02-15 | A |  |  |  | Transasia | [6 empty] | 375000
60 | LAB | QBC Analyser | VIZ-BME-0306-VR-LAB-LAB-15 | NA | AOLC344 | 2006-03-13 | B |  |  |  | Lilac | [6 empty] | 150000
61 | LAB | Auto Analyzer | VIZ-BME-0306-VR-LAB-LAB-16 | Daytona | 5826-0905 | 2006-03-16 | C |  |  |  | Randox | [6 empty] | 720000
62 | LAB | Coagulometer | VIZ-BME-0606-VR-LAB-LAB-18 | Hemostar XF | AA000134 | 2006-06-26 | B |  |  |  | Tulip | [6 empty] | 100000
63 | LAB | Microscope | VIZ-BME-0506-VR-LAB-LAB-19 | 101-B | LM-52-1703 | 2006-05-09 | B |  |  |  | Lawrance&Mayo | [6 empty] | 100000
64 | LAB | Hot air oven | VIZ-BME-0308-VR-LAB-LAB-20 | KOA-3/KOS-3 |  | 2008-03-26 | B |  |  |  | KEMI | [6 empty] | 12000
65 | LAB | Laminar flow work station | VIZ-BME-0208-VR-LAB-LAB-22 | Vertical |  | 2008-02-21 | B |  |  |  | Toshiba | [6 empty] | 61600
66 | LAB | Binocular microscope | VIZ-BME-0208-VR-LAB-LAB-23 | CH20i |  | 2008-02-21 | B |  |  |  | Olympus | [6 empty] | 38200
67 | LAB | Centrifuge | VIZ-BME-0208-VR-LAB-LAB-24 | R8C |  | 2008-02-21 | B |  |  |  | Remi | [6 empty] | 18000
68 | LAB | Blood cell counter | VIZ-BME-0208-VR-LAB-LAB-25 |  |  | 2008-02-21 | A |  |  |  | Yorco | [6 empty] | 1600
69 | LAB | Bacteria Incubator | VIZ-BME-0208-VR-LAB-LAB-26 | 24"x24"x24" |  | 2008-02-21 | B |  |  |  | Biotechnic | [6 empty] | 38000
70 | LAB | Hot air oven | VIZ-BME-0208-VR-LAB-LAB-27 | 45"x45"x45" |  | 2008-02-21 | B |  |  |  | Biotechnic | [6 empty] | 13500
71 | LAB | Autoclave | VIZ-BME-0208-VR-LAB-LAB-28 | 18'x24' |  | 2008-02-21 | B |  |  |  | Biotechnic | [6 empty] | 69000
72 | LAB | Analytical balance | VIZ-BME-0208-VR-LAB-LAB-29 | CTG 302 |  | 2008-02-21 | B |  |  |  | Citizen | [6 empty] | 18000
73 | LAB | Automatic Tissue processor | VIZ-BME-0208-VR-LAB-LAB-31 | 101 |  | 2008-02-21 | B |  |  |  | Yorco | [6 empty] | 88500
74 | LAB | Rotary microtome | VIZ-BME-0208-VR-LAB-LAB-32 | NA |  | 2008-02-21 | B |  |  |  | Seven star | [6 empty] | 37000
75 | LAB | Tissue flotation bath | VIZ-BME-0208-VR-LAB-LAB-33 | NA |  | 2008-02-21 | B |  |  |  | Seven star | [6 empty] | 6500
76 | LAB | Semi Auto Analyzer | VIZ-BME-0208-VR-LAB-LAB-34 | Microlab 300LX | 8 5065 | 2008-02-01 | A |  |  |  | Merck | [6 empty] | 189280
77 | LAB | Microscope | VIZ-BME-0208-VR-LAB-LAB-35 | Eclipse-E 200 | 141976 | 2008-02-07 | B |  |  |  | Nickon | [6 empty] | 100000
78 | LAB | Semi Auto Analyzer | VIZ-BME-1208-VR-LAB-LAB-36 | Photometer 5010V5+ | 8680 | 2008-12-27 | A |  |  |  | REILE | [6 empty] | 190000
79 | LAB | Centrifuge | VIZ-BME-0410-VR-LAB-LAB-37 | R8CBL | CDLC363 | 2010-04-26 | B |  |  |  | REMI | [6 empty] | 35000
80 | LAB | Microscope | VIZ-BME-0509-VK-LAB-LAB-12 | Eclipse E200 | 145373 | 2008-02-10 | B |  |  |  | Nikon | [6 empty] | 110000
81 | LAB | Autoclave | VIZ-BME-0210-VR-LAB-LAB-38 | 2 Bin |  | 2010-02-26 | B | [10 empty] | 10000
82 | LAB | Incubator | VIZ-BME-1010-VR-LAB-LAB-39 | M1401 | 10032394 | 2010-10-22 | B |  |  |  | Brownie | [6 empty] | 20000
83 | LAB | Centrifuge | VIZ-BME-0511-VR-LAB-LAB-41 | R8CBL | DEL-0-4531 | 2011-05-18 | B |  |  |  | REMI | [6 empty] | 35440
84 | LAB | Rotary shaker | VIZ-BME-0313-VR-LAB-LAB-42 | RS12R | EFCM-750 | 2013-03-21 | B |  |  |  | RemI | [6 empty] | 6921
85 | LAB | Semi Auto Analyzer | VIZ-BME-0313-VR-LAB-LAB-43 | SF3300 | 6443 | 2013-03-29 | A |  |  |  | CPC | [6 empty] | 180000
86 | LAB | Centrifuge | VIZ-BME-0413-VR-LAB-LAB-44 | R8CBL | BGLC-2815 | 2013-04-11 | B |  |  |  | REMI | [6 empty] | 34000
87 | LAB | Centrifuge | VIZ-BME-0513-VR-LAB-LAB-45 | R8CBL | BGLC2121 | 2013-05-03 | B |  |  |  | REMI | [6 empty] | 35748
88 | LAB | Bactalert | VIZ-BME-0613-VR-LAB-LAB-46 | Bact Alert 3D 240 | 2081R9196 | 2013-06-04 | B | 2016-06-17 | 2017-06-16 | 61237 | Bio Merieux | [6 empty] | 1118250
89 | LAB | Centrifuge | VIZ-BME-1215-VR-LAB-LAB-47 | RM12C BL | ZVDN/0939 | 12-24-15 | W |  |  |  | REMI | [6 empty] | 47165
90 | LAB | Vortex mixer | VIZ-BME-1215-VR-LAB-LAB-48 | CM/101 | ZVCY/6156 | 12-24-15 | W |  |  |  | REMI | [6 empty] | 7704
91 | LAB | Electronic weighing scale | VIZ-BME-0116-VR-LAB-LAB-49 |  |  | 1-19-16 | W |  | 1-18-17 |  | Icon | [6 empty] | 9000
92 | LAB | QBC microscope with Centrifuge | VIZ-BME-0416-VR-LAB-LAB-50 | LX400eFL | 160287666 | 4-26-16 | W |  | 4-25-17 |  | Labomed | [6 empty] | 160030
93 | LAB | Elisa reader and Washer | VIZ-BME-0416-VR-LAB-LAB-51 |  | Reader: 160332, Washer: 131215 | 2016-04-05 | W |  | 2018-03-05 |  | Transasia | [6 empty] | 250000
94 | LAB | ESR Analyser | VIZ-BME-0416-VR-LAB-LAB-52 | VESmatic20 | 2319 | 2016-04-05 | W |  | 2018-03-05 |  | Transasia | [6 empty] | 140000
95 | NEF | Syringe pump | VIZ-BME-1006-VR-NEF-CCE-02 | PilotEA2 | 19323043 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
96 | NEF | Monitor | VIZ-BME-0308-VR-NEF-CCE-04 | MEC2000 | CV-82100397 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
97 | NEF | Monitor | VIZ-BME-0905-VR-NEF-CCE-05 | M1000 | AQ59B2999 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
98 | NEF | Defibrillator | VIZ-BME-0403-VR-NEF-CCE-06 | DF2509/R | ABMD4L1802 | 2003-04-14 | B |  |  |  | BPL | [6 empty] | 140000
99 | NEF | Dialysis machine | VIZ-BME-0208-VR-NEF-THE-07 | Dialog + | 33576 | 2008-02-04 | A | 2015-06-05 | 2016-06-04 | 18876 | B Braun | [6 empty] | 588000
100 | NEF | Dialysis machine | VIZ-BME-1008-VR-NEF-THE-08 | Arrt Plus | 8VRA0265 | 2008-10-16 | A | 2016-04-02 | 2017-04-01 | 19800 | Fresenius | [6 empty] | 556875
101 | NEF | Syringe pump | VIZ-BME-0910-VR-NEF-CCE-07 | Agelia | 21002958 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
102 | NEF | Dialysis machine | VIZ-BME-0411-VR-NEF-THE-10 | Dialog + | 46345 | 2011-04-18 | A | 2015-06-05 | 2016-06-04 | 18876 | B Braun | [6 empty] | 550000
103 | NEF | Dialysis machine | VIZ-BME-0411-VR-NEF-THE-11 | Dialog + | 46394 | 2011-04-18 | A | 2015-06-05 | 2016-06-04 | 18876 | B Braun | [6 empty] | 550000
104 | NEF | Dialyser reprocessor | VIZ-BME-1111-VR-NEF-THE-12 | Renatron II | 30111 | 2011-11-30 | B |  | 2013-11-29 |  | Minitech corporation | [6 empty] | 446250
105 | NEF | Dialysis machine | VIZ-BME-0612-VR-NEF-THE-14 | Dialog + | 103460 | 2012-06-08 | W | 2015-06-05 | 2016-06-04 | 18876 | B Braun | [6 empty] | 519047
106 | NEF | CRRT | VIZ-BME-1212-VR-AMC-THE-01 | PrismaFlex | PA9010 | 2012-12-19 | W |  |  |  | GAMBRO | [6 empty] | 898800
107 | NEF | Dialysis machine | VIZ-BME-1013-VR-NEF-THE-16 | 4008SV10 | 3SXAM398 | 2013-10-12 | A |  | 2016-10-11 |  | Fresenius | [6 empty] | 546000
108 | NEF | Dialysis machine | VIZ-BME-1013-VR-NEF-THE-17 | 4008SV10 | 3SXAM399 | 2013-10-12 | A |  | 2016-10-11 |  | Fresenius | [6 empty] | 546000
109 | NEF | Dialysis machine | VIZ-BME-1013-VR-NEF-THE-18 | 4008SV10 | 35XAP407 | 2013-12-06 | A |  | 2016-12-05 |  | Fresenius | [6 empty] | 546000
110 | NEF | Syringe pump | VIZ-BME-0811-VR-NEF-CCE-08 | Perfusor compact | 161913 | 2011-08-31 | B |  |  |  | Braun | [6 empty] | 29000
111 | NEF | Dialysis machine | VIZ-BME-1008-VK-NEF-THE-01 | 4008ARRT | 8VCALC85 | 2008-10-25 | A | 2016-04-02 | 2017-04-01 | 19800 | Fresenius | [6 empty] | 556875
112 | NEF | Dialysis machine | VIZ-BME-0614-VR-NEF-THE-19 | 4008SV10 | 4SXAY200 | 2014-06-20 | W |  |  |  | Fresenius | [6 empty] | 546000
113 | NEF | Dialysis machine | VIZ-BME-0614-VR-NEF-THE-20 | 4008SV10 | 4SXAY201 | 2014-06-20 | W |  | 2017-04-21 |  | Fresenius | [6 empty] | 546000
114 | NEF | Multipara monitor | VIZ-BME-0714-VR-NEF-CCE-09 | G30 | CN32712630 | 2014-07-28 | W |  | 2016-07-27 |  | Philips | [6 empty] | 75000
115 | NEF | Monitor | VIZ-BME-1000-VR-GOT-CCE-01 | V24 | 3939A63618 | 2000-10-03 | B |  |  |  | Philips | [5 empty] | Redeployed from GOT 1 | 297500
116 | NEF | Monitor | VIZ-BME-1006-VR-GOT-CCE-06 | V26E | 4335A31360 | 2006-10-05 | B |  |  |  | Philips | [5 empty] | Redeployed from GOT 1 | 300000
117 | NEF | Monitor | VIZ-BME-1008-VK-NEF-CCE-02 | MEC1000 | AQ88115445 | [5 empty] | Mindray | [6 empty] | 65000
118 | NEF | Syringe pump | VIZ-BME-0316-VR-NEF-CCE-10 | Perfusor compact | 224877 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
119 | NEF | Syringe pump | VIZ-BME-0316-VR-NEF-CCE-11 | Perfusor compact | 224878 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
120 | NEF | Syringe pump | VIZ-BME-0316-VR-NEF-CCE-12 | Perfusor compact | 224879 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
121 | NEF | Syringe pump | VIZ-BME-0316-VR-NEF-CCE-13 | Perfusor compact | 224880 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
122 | NEF | Monitor | VIZ-BME-0416-VR-NEF-CCE-14 | MX430 | DE54800824 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
123 | NEF | Monitor | VIZ-BME-0416-VR-NEF-CCE-15 | MX430 | DE54800825 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
124 | NEF | Defibrillator | VIZ-BME-0416-VR-NEF-CCE-16 | EfficaDFM100 | CN32604936 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 184974
125 | GOT | Syringe pump | VIZ-BME-1006-VR-GOT-CCE-02 | PilotEA2 | 19323004 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
126 | GOT | Monitor | VIZ-BME-0306-VR-GOT-CCE-03 | Galaxy | G05G7156, Monitor No. MJ15HHBY9001743 | 2006-03-20 | B |  |  |  | L&T | [6 empty] | 133650
127 | GOT | Monitor | VIZ-BME-1006-VR-GOT-CCE-04 | MP 20 Intellivue | DE62219505 | 2006-10-30 | C | 2016-04-01 | 2017-03-31 | 16806 | Philips | [6 empty] | 260000
128 | GOT | Infant warmer with Phototherapy | VIZ-BME-0407-VR-GOT-CCE-05 | NICE2007SEFL | 704003 | 2007-04-30 | B |  |  |  | Nice Neotech | [6 empty] | 40000
129 | GOT | OT light | VIZ-BME-0904-VR-GOT-OTE-01 | 3000 | AR010004, AR001514 | 2004-09-15 | B |  |  |  | Hanaulux | [6 empty] | 500000
130 | GOT | OT Table | VIZ-BME-1205-VR-GOT-OTE-02 | Hydraulic |  | 2005-12-17 | B |  |  |  | Surgident | [6 empty] | 220000
131 | GOT | Diathermy | VIZ-BME-0506-VR-GOT-OTE-03 | Digital 400 | E0552338 | 2006-05-20 | B |  |  |  | L&T | [6 empty] | 93132
132 | GOT | OT light | VIZ-BME-0406-VR-GOT-OTE-04 | Floor mounting |  | 2006-04-07 | B |  |  |  | Hospitalight | [6 empty] | 15000
133 | GOT | Diathermy | VIZ-BME-1106-VR-GOT-OTE-05 | Elsy360M-10 | ASG-M0609090 | 2006-11-11 | B |  |  |  | Allan | [6 empty] | 115000
134 | GOT | Boyles apparatus | VIZ-BME-0507-VR-GOT-OTE-08 | Pedius C | N-07-2709 | 2007-05-29 | B |  |  |  | Usha Drager | [6 empty] | 60000
135 | GOT | OT Table | VIZ-BME-1205-VR-GOT-OTE-11 | Electrically operated |  | 2005-12-17 | B |  |  |  | Surgident | [6 empty] | 220000
136 | GOT | C Arm | VIZ-BME-1207-VR-GOT-OTE-13 | Multimobil 5C | 3353 | 2007-12-12 | C | 2016-04-01 | 2017-03-31 | 173019 | Siemens | [6 empty] | 1200000
137 | GOT | Nerve Stimulator | VIZ-BME-0607-VR-GOT-OTE-15 | NSML 100 | NSML-1004/07-08/019A | 2007-06-12 | B |  |  |  | Fisher&Paykel | [6 empty] | 100000
138 | GOT | Autoclave | VIZ-BME-0308-VR-GOT-SUP-01 | Life + |  | 2008-03-03 | B |  |  |  | Siva Medicals | [6 empty] | 25000
139 | GOT | Head light system | VIZ-BME-0309-VR-GOT-OTE-19 | Solarc light |  | 2009-10-03 | B |  |  |  | WelchAllyn | [6 empty] | 176000
140 | GOT | Xomed 2 pump drill | VIZ-BME-0709-VR-GOT-OTE-20 | XPS 3000 |  | 2009-08-07 | B |  |  |  | Medtronics | [6 empty] | 839010
141 | GOT | Micro motor | VIZ-BME-0709-VR-GOT-OTE-21 | Marathon - 3 | 803815 | 2009-07-21 | B |  |  |  | NSK | [6 empty] | 11850
142 | GOT | Endoscope | VIZ-BME-0709-VR-GOT-OTE-22 |  |  | 2009-05-09 | B |  |  |  | KARL STORZ | [6 empty] | 631290
143 | GOT | Ultrasonic cleaner | VIZ-BME-0610-VR-GOT-SUP-02 | Turbo M |  | 2010-06-25 | [11 empty] | 71226
144 | GOT | Xenon light source | VIZ-BME-0709-VR-GOT-OTE-24 | 1091449 |  | 2010-11-17 | B |  |  |  | Nanoray | [6 empty] | 45000
145 | GOT | Syringe pump | VIZ-BME-0910-VR-GOT-CCE-07 | Agelia | 21003107 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
146 | GOT | Uretero Fibroscope | BBR-BME-0809-AC-GOT-URO-02/3 |  | 8703.524, | 2009-03-11 | B |  |  |  | Richard Wolf | [6 empty] | 210000
147 | GOT | PCNL, Universal Nephroscope 24 Fr., with 4 Fr instrument channel and Fiber high connector- S No. 8965.401, Sheath 24 Fr. S No.8965.041, Hollow Obturator S No. 8965.141, Telescope, teletor (9-27 Fr) S No. 8955.27 | BBR-BME-0809-AC-GOT-URO-04 |  | Nephroscope: 8965.401, Obturator: 8965.141, Telescope: 8955.27 | 2009-03-11 | B |  |  |  | Richard Wolf | [6 empty] | 273145
148 | GOT | Systo Urethro scope | BBR-BME-0809-AC-GOT-URO-05 |  | 8642.403 | 2009-03-11 | B |  |  |  | Richard wolf | [6 empty] | 184704
149 | GOT | Biopsy forceps, Rigid 5Fr, Alegator forceps rigid 5Fr. , Biopsy forceps 4 Fr. Length 600mm,Stone grasping forceps, spare stone grasper | BBR-BME-0809-AC-GOT-URO-06 |  |  | 2009-03-11 | B |  |  |  | Frontline Electromedical Ltd., | [6 empty] | 125507
150 | GOT | Laparoscope equipment with instruments | BBR-BME-0809-AC-GOT-URO-08 |  | Electronic endoflator: FA19906B, Telecam SLII: FA663220P, Xenon light source: GA0654533, Endomat LC: FA01152, | 2009-08-12 | B |  |  |  | Karl Storz | [6 empty] | 2700960
151 | GOT | Uroflometric system | BBR-BME-0809-AC-GOT-URO-09 | Urocap III | UCE08121941 | 2009-09-29 | B |  |  |  | Universal biomedics | [6 empty] | 208000
152 | GOT | Lithoclast | BBR-BME-0809-AC-GOT-URO-10 | Swiss lithoclast 2 | BG00378 | 2009-09-16 | B |  |  |  | CO-EMS Electro medical systems | [6 empty] | 1011528
153 | GOT | Syringe pump | VIZ-BME-0910-VR-GOT-CCE-08 | Agelia | 21002949 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
154 | GOT | Syringe pump | VIZ-BME-0910-VR-GOT-CCE-09 | Agelia | 21005821 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
155 | GOT | Syringe pump | VIZ-BME-0811-VR-GOT-CCE-10 | Perfusor compact | 161849 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
156 | GOT | Foetal doppler | VIZ-BME-0412-VR-GOT-OTE-25 |  |  | 2012-04-04 | B |  |  |  | W-line | [6 empty] | 6200
157 | GOT | Anaesthesia work station | VIZ-BME-0812-VR-GOT-OTE-26 | Aespire 7100 | AMX12290278WA | 2012-08-21 | C | 2016-04-01 | 2017-03-31 | 31353 | GE | [6 empty] | 750000
158 | GOT | BIS Monitor | VIZ-BME-0313-VR-GOT-OTE-28 |  | BX42549 | 2013-03-18 | B |  |  |  | Vista | [6 empty] | 385000
159 | GOT | Monitor | VIZ-BME-0213-VR-GOT-CCE-11 | MP 20 Intellivue | DE72873472 | 2013-02-01 | C | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 260000
160 | GOT | Monitor | VIZ-BME-0213-VR-GOT-CCE-12 | MP 20 Intellivue | DE72873458 | 2013-02-01 | C | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 260000
161 | GOT | LED OT Light | VIZ-BME-1113-VR-GOT-OTE-30 | Magnaled 4+3 |  | 2013-10-04 | B |  |  |  | Magnatek | [6 empty] | 439750
162 | GOT | Anaesthesia work station | VIZ-BME-0814-VR-GOT-OTE-31 | Fabious Plus | ASFD- 0061 | 2014-08-02 | W |  | 2015-08-01 |  | Drager | [6 empty] | 820000
163 | GOT | Laproscope machine | VIZ-BME-0814-VR-GOT-OTE-32 |  | Camera: 14E024994, Xenon light source: 13G037694, Camera head: 14D028864, AP coupler: 14O65920003, Fiber optic cable: 106983, Monitor: VEH263CO129, Monitor stand: 130618 | 2014-08-23 | W |  | 2017-08-22 |  | Stryker | [6 empty] | 1475304
164 | GOT | Harmonic scalpel | VIZ-BME-0814-VR-GOT-OTE-33 |  | EES Generator: 1111408131, Foot ewitch: 267177, Enseal adaptor: Output verification key: GEN11VK1, Harmonic adaptor: HGA11 | 2014-09-16 | W |  | 2017-09-15 |  | Ethicon | [6 empty] | 730800
165 | GOT | Infusion pump | VIZ-BME-1114-VR-GOT-CCE-14 | Infusomat | 98240 | 2014-11-19 | W |  | 2017-11-18 |  | Braun | [6 empty] | 48000
166 | GOT | Infusion pump | VIZ-BME-1114-VR-GOT-CCE-15 | Infusomat | 98246 | 2014-11-19 | W |  | 2017-11-18 |  | Braun | [6 empty] | 48000
167 | GOT | Laser resectoscope | VIZ-BME-0613-VR-GOT-OTE-35 |  |  | 2013-07-02 | B | 2015-09-16 | 2016-09-15 | 17100 | Olympus | [6 empty] | 892500
168 | GOT | Uretero renoscope | VIZ-BME-0613-VR-GOT-OTE-36 |  |  | 2013-07-02 | B | 2015-09-16 | 2016-09-15 | 17100 | Olympus | [6 empty] | 420000
169 | GOT | Anaesthesia work station | VIZ-BME-1114-VR-GOT-OTE-37 | Fabious Plus | ASFD- 0071 | 2014-11-03 | W |  | 2015-02-11 |  | Drager | [5 empty] | invoice No.CHN/EQP/10/14/0002 | 820000
170 | GOT | Monitor | VIZ-BME-0115-VR-GOT-CCE-16 | MX 600 | DE47934455 | 2015-01-05 | W | 2016-04-01 | 2017-03-31 | 16806 | Philips | [6 empty] | 615000
171 | GOT | Diathermy | VIZ-BME-1214-VR-GOT-OTE-38 | MEMB3 |  | 2014-11-29 | W |  | 2015-11-28 |  | Martin | [5 empty] | invoice No. C/14-15/472 Dt. 25-12-14 | 388500
172 | GOT | Ortho drill | VIZ-BME-1214-VR-GOT-OTE-39 | [7 empty] | Manman
173 | GOT | URF | VIZ-BME-0115-VR-GOT-OTE-40 |  | 500307642 | [5 empty] | Richard Wolf | [5 empty] | Invoice No. R-1076 Dt. 19-12-14 | 185000
174 | GOT | Fluid Warmer | VIZ-BME-VK-NOT-CCE-03 | Ranger | 33643 | [11 empty] | Transferred from Un it 2
175 | GOT | Head light system | VIZ-BME-0415-VR-GOT-OTE-41 | 9300XSP | XSPT/723 |  |  |  | 14-4-15 |  | Luxtec | [5 empty] | invoice No.51-HB-14-3005 dt. 31-3-15 | 346000
176 | GOT | Patient warmer | VIZ-BME-0515-VR-GOT-OTE-43 | BH775 | 70721 | 2015-05-04 | W |  | 2016-04-04 |  | Bair hugger | [5 empty] | SI/HB/1516/0096 Dt. 11-4-15 | 75999
177 | GOT | Torniquet | VIZ-BME-0515-VR-GOT-OTE-44 | MDE | LD-DM-144 | 2015-05-25 | W |  | 2016-05-24 |  | Pitkar | [6 empty] | 150255
178 | GOT | 20 Watts Holmium Laser | VIZ-BME-0715-VR-GOT-OTE-45 | P20 | 544 | 2015-07-13 | W |  | 2016-07-12 |  | Lumenis | [6 empty] | 1800000
179 | GOT | OT light | VIZ-BME-1215-VR-GOT-OTE-46 | E91+E91 |  | 2015-12-02 | W |  | 2018-12-19 |  | Martin | [6 empty] | 650000
180 | GOT | Syringe pump | VIZ-BME-0910-VR-GOT-CCE-17 | Agilia | 21002955 | 2010-09-23 |  |  |  |  | Fresenius | [6 empty] | 28500
181 | GOT | Syringe pump | VIZ-BME-0316-VR-GOT-CCE-18 | Perfusor compact | 224873 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
182 | GOT | Syringe pump | VIZ-BME-0316-VR-GOT-CCE-19 | Perfusor compact | 224874 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
183 | GOT | Syringe pump | VIZ-BME-0316-VR-GOT-CCE-20 | Perfusor compact | 224875 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
184 | GOT | Syringe pump | VIZ-BME-0316-VR-GOT-CCE-21 | Perfusor compact | 224876 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
185 | GOT | Defibrillator | VIZ-BME-0416-VR-GOT-CCE-22 | EfficaDFM100 | CN32604937 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 184974
186 | GOT | Battery operated Ortho drill | VIZ-BME-0516-VR-GOT-OTE-47 |  | Motor:012689, Battery: 19206, Battery charger: 014540, Trauma recon system: 60973, TROS Clamping range: 100783, Key: MA1077, Sterile cover: 1000031, AO/ASIF Quick coupling: 7343, Sagittal attachment long: 5126, Modular: 102009, K Wire attachment: 6673 | 2016-05-05 | W |  | 2018-05-04 |  | Johnson &Johnson | [5 empty] | invoice No. 6621032593 Dt.27-4-16 | 904000
187 | GOT | Syringe pump | VIZ-BME-0316-VR-GOT-CCE-23 | Perfusor compact | 224900 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
188 | GOT | Syringe pump | VIZ-BME-0316-VR-GOT-CCE-24 | Perfusor compact | 224901 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
189 | GOT | Flash autoclave | VIZ-BME-0616-VR-GOT-OTE-48 | SA260MAR | 16030420/003 | 2016-06-14 |  |  | 2018-06-13 |  | Apex | [6 empty] | 260000
190 | NOT | Syringe pump | VIZ-BME-1006-VR-NOT-CCE-02 | PilotEA2 | 19323026 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
191 | NOT | Anaesthesia machine | VIZ-BME-0406-VR-NOT-OTE-03 | Aestiva 5 | AMVK00177 | 2006-04-13 | B | 2016-04-01 | 2017-03-31 | 43698 | Datex Ohmeda | [6 empty] | 725000
192 | NOT | Operating microscope | VIZ-BME-0506-VR-NOT-OTE-05 | SOM 62 | 12797 | 2006-05-09 | B |  |  |  | Kaps | [6 empty] | 1005048
193 | NOT | Diathermy | VIZ-BME-0403-VR-NOT-OTE-07 | Force FX | F2C21450A | 2003-04-28 | B |  |  |  | Valley lab | [6 empty] | 350000
194 | NOT | Micro drill | VIZ-BME-1203-VR-NOT-OTE-09 |  | 45130 | 2003-12-12 | B |  |  |  | NSK | [6 empty] | 18000
195 | NOT | OT Table | VIZ-BME-1008-VK-NOT-OTE-06 | Cognate | 401341 | 2008-10-25 | B |  |  |  | SISCO | [5 empty] | Transferred from unit 2 | 401341
196 | COT | Monitor | VIZ-BME-1000-VR-COT-CCE-04 | MP20 | DE62219489 | 2006-10-30 | C | 2016-04-01 | 2017-03-31 | 15638 | Philips | [6 empty] | 350000
197 | COT | Diathermy | VIZ-BME-0200-VR-COT-OTE-03 | ForceFX | F7J4379A | 2000-02-23 | B |  |  |  | Valleylab | [6 empty] | 335000
198 | COT | OT Light | VIZ-BME-0200-VR-COT-OTE-04 | 2003-2005 | 00000240, 657, 398 | 2000-02-23 | B |  |  |  | Hanaulux | [6 empty] | 800000
199 | COT | Sternum cutting saw | VIZ-BME-0200-VR-COT-OTE-05 |  | E1000, Foot switch: 278 | 2000-02-23 | A | 2016-06-01 | 2017-05-31 | 13225 | Manman | [6 empty] | 90000
200 | COT | Heart Lung pump | VIZ-BME-1201-VR-COT-OTE-06 | 8000 | 14788 | 2001-12-17 |  |  |  |  | Sarns | [6 empty] | 800000
201 | COT | Sternum cutting saw | VIZ-BME-0209-VR-COT-OTE-08 |  | B288 Foot switch: D375 | 2009-02-02 |  |  |  |  | Manman | [6 empty] | 51000
202 | COT | Head light Source | VIZ-BME-1006-VR-COT-OTE-09 | Xenon Nova 175 | EC0629732 | 2006-10-23 | B |  |  |  | Karlstorz | [6 empty] | 300000
203 | COT | Heart Lung Machine | VIZ-BME-0806-VR-COT-OTE-11 | 8000 | Pump Nos. 10083, 10082, 10085, 10157 | 2006-08-07 | A | 2016-01-01 | 2016-12-31 | 45800 | Sarns | [6 empty] | 2000000
204 | COT | Head light Source | VIZ-BME-1006-VR-COT-OTE-13 | Xenon Nova 175 | GD0622912 | 2006-10-23 | B |  |  |  | Karlstorz | [6 empty] | 300000
205 | COT | Diathermy | VIZ-BME-0806-VR-COT-OTE-14 | Force FX8C | F6B45209A | 2006-11-08 | B |  |  |  | Valleylab | [6 empty] | 335000
206 | COT | Heart lung machine | VIZ-BME-0308-VR-COT-OTE-15 | Century TM | CBP1583, 1557, 1558, 1556, Base:CCB429, Monit | 2008-03-19 |  |  |  |  | COBE | [6 empty] | 642656
207 | COT | OT Table | VIZ-BME-1208-VR-COT-OTE-16 | ET19CA |  | 2008-12-03 | B |  |  |  | Meridian | [6 empty] | 236000
208 | COT | OT Light | VIZ-BME-0506-VR-COT-OTE-17 | 3000 | ARO10005, ARO10006, AR001247 | 2006-05-15 | B |  |  |  | Hanaulux | [6 empty] | 800000
209 | COT | Flash Autoclave | VIZ-BME-0909-VR-COT-SUP-01 | NOVA 3 | 151826 | 2009-11-02 | A |  |  |  | Tuttnaur | [6 empty] | 276000
210 | COT | Ultrasonic cleaner | VIZ-BME-1207-VR-COT-SUP-02 | Turbo M |  | 2007-02-14 | B |  |  |  | Sidilu | [6 empty] | 100000
211 | COT | Anaesthesia work station | VIZ-BME-0309-VR-COT-OTE-18 | Aestiva 5 7900 | AMRN00346 | 2009-02-04 | B | 2016-04-01 | 2017-03-31 | 43698 | GE | [6 empty] | 950000
212 | COT | Multipara monitor | VIZ-BME-0200-VR-COT-CCE-07 | MEC1000 | AQ 88115453 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
213 | COT | Haemotherm | VIZ-BME-0806-VR-COT-OTE-19 | 400M | 8548509M |  | B |  |  |  | CSZ (Cincinnati Sub Zero) | [6 empty] | 200000
214 | COT | Xenon light source | VIZ-BME-0810-VR-COT-OTE-20 | 300 W |  | 2010-08-14 | B |  |  |  | New Ray | [6 empty] | 45000
215 | COT | Diathermy | VIZ-BME-0511-VR-COT-OTE-21 | Force FX | POC65438A | 2011-11-05 | B |  |  |  | Valleylab | [6 empty] | 459500
216 | COT | Defibrillator with pacer | VIZ-BME-0811-VR-COT-CCE-08 | Heartstart XL | US00593497 | 2011-08-09 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 350000
217 | COT | OT Table | VIZ-BME-1111-VR-COT-OTE-22 | 8000 | IIT-025 | 2011-11-09 | B |  |  |  | Eiffel | [6 empty] | 550000
218 | COT | Heart Lung machine with 5 pumps | VIZ-BME-1211-VR-COT-OTE-23 | 8000 | Pumps: 20362, 20363, 20364, 20354, 20360.,Mounting arm: 1300, Arterial monitor: 4127, Volume tracking: 4042, Level sensor pads: 120998, Air oxygen blender: 65804, TCM: 4590 | 2011-12-07 | A | 2015-12-01 | 2016-11-30 | 83757 | TERUMO SARNS | [6 empty] | 5500000
219 | COT | Multipara monitor | VIZ-BME-0512-VR-COT-CCE-09 | Mp 60 | mONITOR: de84319523, Server 1: DU03797439, Server 2: DE83747689, Module rack: DE502B2200, Gas module: ASDB0172 | 2012-05-19 |  | 2016-04-01 | 2017-03-31 | 42752 | Philips | [6 empty] | 725000
220 | COT | anaesthesia work station | VIZ-BME-0909-VK-GOT-OTE-01 | Aestiva 5 7900 | AMVM00346 | 2008-09-27 | C | 2016-04-01 | 2017-03-31 | 43698 | GE | [6 empty] | 710000
221 | COT | Defibrillator | VIZ-BME-0213-VR-COT-CCE-10 | Heartstart XL+ | USD1203705 | 2013-02-01 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 250000
222 | COT | Head light with light source | VIZ-BME-0313-VR-COT-OTE-24 |  | XSPT0910 | 2013-03-29 | W |  | 2015-03-28 |  | Luxtec | [6 empty] | 325500
223 | COT | Head light with light source | VIZ-BME-1113-VR-COT-OTE-25 |  | XS9PT0893 | 2013-11-17 | W |  | 2015-11-16 |  | Luxtec | [6 empty] | 325501
224 | COT | ACT Machine | VIZ-BME-0314-VR-COT-OTE-26 | Actalyke Mini II | 641401704 | 2014-03-20 | W |  | 2015-03-19 |  | Heina Laboratories | [6 empty] | 157500
225 | COT | Intubation Bronchoscope | VIZ-BME-0113-VR-COT-OTE-27 | LF DP | 2225344 Light source: WA91502A | 2013-01-31 | B |  |  |  | Olympus | [6 empty] | 553997
226 | COT | Sternum cutting saw | VIZ-BME-0714-VR-COT-OTE-28 | 5590 | 2575 | 2014-07-22 | W | 2015-12-01 | 2016-11-30 | 7443 | Sarns | [6 empty] | 450000
227 | COT | Haemotherm machine | VIZ-BME-1211-VR-COT-OTE-29 | TCM II | 4590 | 2011-12-07
228 | COT | Heart lung pump module | VIZ-BME-0415-VR-COT-OTE-30 | 8000 | 5047 |  | W |  |  |  | Sarns | [5 empty] | invoice No. IN 10/14-4-2015 | 280000
229 | COT | OT light | VIZ-BME-0406-VR-GOT-OTE-17 | Floor mounting |  | 2006-04-07 | B |  |  |  | Hospitalight | [5 empty] | Transferred from GOT | 15000
230 | COT | Diathermy | VIZ-BME-0116-VR-COT-OTE-31 | D Force FX 8CS | S5B16886AX | 2016-01-11 | W |  | 2018-01-10 |  | Valleylab | [6 empty] | 410000
231 | COT | Heart lung pump module | VIZ-BME-0316-VR-COT-OTE-32 | 8000 | 391 |  | W |  |  |  | Sarns | [5 empty] | Transferred from CARE Banjara | 0
232 | COT | Monitor | VIZ-BME-0416-VR-COT-CCE-11 | MX550 | DE35144038 | 2016-04-30 | W |  |  |  | Philips | [6 empty] | 670532
233 | COT | Echo machine | VIZ-BME-0516-VR-COT-CCE-12 | Epiq 7C | US516B0491 | 2016-03-06 | W |  | 2017-02-06 |  | Philips | [6 empty] | 4300000
234 | SIU | Monitor | VIZ-BME-0905-VR-SIU-CCE-01 | M1000 | AQ59B3034 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
235 | SIU | Monitor | VIZ-BME-0905-VR-SIU-CCE-04 | M1000 | AQ59B2995 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
236 | SIU | Syringe pump | VIZ-BME-1206-VR-SIU-CCE-09 | PilotA2 | 19323021 | 2006-12-22 | B |  |  |  | Fresenius | [6 empty] | 27500
237 | SIU | Syringe pump | VIZ-BME-1206-VR-SIU-CCE-10 | PilotA2 | 19322996 | 2006-12-22 | B |  |  |  | Fresenius | [6 empty] | 27500
238 | SIU | Monitor | VIZ-BME-0308-VR-SIU-CCE-11 | MEC 2000 | CV-82100399 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
239 | SIU | Monitor | VIZ-BME-0808-VR-SIU-CCE-12 | MEC 1000 | AQ88115440 | 2008-08-25 | B |  |  |  | Mindray | [6 empty] | 66500
240 | SIU | Syringe pump | VIZ-BME-1206-VR-SIU-CCE-14 | PilotA2 | 19323061 | 2006-12-22 | B |  |  |  | Fresenius | [6 empty] | 27500
241 | SIU | Patient Warmer | VIZ-BME-0306-VR-SIU-CCE-15 | 505 | 65699 | 2006-03-21 | B |  |  |  | Bair hugger | [6 empty] | 90000
242 | SIU | Syringe pump | VIZ-BME-0811-VR-SIU-CCE-18 | Perfusor compact | 161731 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
243 | SIU | Syringe pump | VIZ-BME-0811-VR-SIU-CCE-19 | Perfusor compact | 161744 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
244 | SIU | Monitor | VIZ-BME-0214-VR-SIU-CCE-20 | MP20 | DE80180513 | 2014-02-13 | W | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 285000
245 | SIU | Ventilator | VIZ-BME-0714-VR-SIU-CCE-21 | Servo s | 30516 | 2014-07-08 | W |  | 2016-07-07 |  | Maquet | [6 empty] | 666667
246 | SIU | Monitor | VIZ-BME-0406-VR-CTU-CCE-46 | M1000 | AQ59B3035 | 2006-04-20 | B |  |  |  | Mediaid | [5 empty] | Transferred from CTICU | 75000
247 | SIU | Syringe pump | VIZ-BME-1014-VR-SIU-CCE-22 | Perfusor compact | 209021 | 2014-10-21 |  |  | 20-10-17 |  | B Braun | [6 empty] | 31000
248 | SIU | Syringe pump | VIZ-BME-1014-VR-SIU-CCE-23 | Perfusor compact | 209023 | 2014-10-21 |  |  | 20-10-17 |  | B Braun | [6 empty] | 31000
249 | SIU | Monitor | VIZ-BME-0905-VR-AMC-CCE-02 | M1000 | AQ59B3022 | 2005-09-12 | B |  |  |  | Mediaid | [5 empty] | Transferred from AMCU | 90000
250 | SIU | Defibrillator | VIZ-BME-0306-VR-ICU-CCE-51 | Heartstart XL | US00440357 | 2006-03-29 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [5 empty] | Transferred from ICCU | 250000
251 | SIU | Syringe pump | VIZ-BME-0316-VR-SIU-CCE-24 | Perfusor compact | 224881 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
252 | SIU | Syringe pump | VIZ-BME-0316-VR-SIU-CCE-25 | Perfusor compact | 224882 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
253 | SIU | Monitor | VIZ-BME-0416-VR-SIU-CCE-26 | MX430 | DE54800791 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
254 | CTU | ECG machine | VIZ-BME-0306-VR-CTU-CAR-01 | Trim I | USDO508507 | 2006-03-29 | C | 2016-04-01 | 2017-03-31 | 7961 | Philips | [6 empty] | 50000
255 | CTU | Defibrillator | VIZ-BME-0908-VR-CTU-CCE-06 | Heartstart XL | US00461559 | 2008-09-04 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 250000
256 | CTU | Monitor | VIZ-BME-0808-VR-CTU-CCE-12 | MEC1000 | AQ88115435 | 2008-08-25 | B |  |  |  | Mindray | [6 empty] | 66500
257 | CTU | Monitor | VIZ-BME-0808-VR-CTU-CCE-13 | MEC1000 | AQ88115438 | 2008-08-25 | B |  |  |  | Mindray | [6 empty] | 66500
258 | CTU | IABP | VIZ-BME-1101-VR-CTU-CCE-15 | S97 | S75229-L6 | 2001-11-29 | A | 2016-06-18 | 2017-06-17 | 46415 | Datascope | [5 empty] | Condemned | 553500
259 | CTU | Syringe pump | VIZ-BME-1006-VR-CTU-CCE-16 | PilotEA2 | 19323046 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
260 | CTU | Syringe pump | VIZ-BME-1006-VR-CTU-CCE-18 | PilotEA2 | 19323054 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
261 | CTU | Syringe pump | VIZ-BME-1006-VR-CTU-CCE-19 | PilotEA2 | 19323038 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
262 | CTU | Syringe pump | VIZ-BME-1006-VR-CTU-CCE-20 | PilotEA2 | 19323003 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
263 | CTU | Syringe pump | VIZ-BME-1006-VR-CTU-CCE-23 | PilotEA2 | 19323035 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
264 | CTU | Syringe pump | VIZ-BME-1006-VR-CTU-CCE-29 | PilotEA2 | 19323002 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
265 | CTU | Syringe pump | VIZ-BME-1006-VR-CTU-CCE-30 | PilotEA2 | 19323025 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
266 | CTU | Patient Warmer | VIZ-BME-0306-VR-CTU-CCE-33 | 505 | 65696 | 2006-03-21 | B |  |  |  | Bair hugger | [6 empty] | 90000
267 | CTU | Patient Warmer | VIZ-BME-0506-VR-CTU-CCE-34 | 505 | 69667 | 2006-05-04 | B |  |  |  | Bair hugger | [6 empty] | 90000
268 | CTU | Ventilator | VIZ-BME-0406-VR-CTU-CCE-35 | Servo i | 21780 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 816184
269 | CTU | Ventilator | VIZ-BME-0406-VR-CTU-CCE-36 | Servo i | 21781 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 816184
270 | CTU | Ventilator | VIZ-BME-0406-VR-CTU-CCE-37 | Servo s | 3417 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 639134
271 | CTU | Ventilator | VIZ-BME-0406-VR-CTU-CCE-38 | Servo s | 3418 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 639134
272 | CTU | Monitor | VIZ-BME-1207-VR-CTU-CCE-39 | Mec2000 | CV-7B100785 | 2007-12-27 | B |  |  |  | Mindray | [6 empty] | 87500
273 | CTU | Monitor | VIZ-BME-1207-VR-CTU-CCE-40 | Mec2000 | CV-7B100189 | 2007-12-27 | B |  |  |  | Mindray | [6 empty] | 87500
274 | CTU | Monitor | VIZ-BME-0308-VR-CTU-CCE-41 | MEC2000 | CV-82100415 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 162500
275 | CTU | Monitor | VIZ-BME-0308-VR-CTU-CCE-42 | MEC2000 | CV-82100416 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 162500
276 | CTU | Monitor | VIZ-BME-0308-VR-CTU-CCE-43 | MEC2000 | CV-82100417 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 162500
277 | CTU | Ventilator | VIZ-BME-0406-VR-CTU-CCE-44 | Servo s | 3413 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 639134
278 | CTU | Monitor | VIZ-BME-0406-VR-CTU-CCE-45 | M1000 | AQ59B3029 | 2006-04-20 | B |  |  |  | Mediaid | [6 empty] | 75000
279 | CTU | Syringe pump | VIZ-BME-1006-VR-CTU-CCE-49 | PilotEA2 | 19323049 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
280 | CTU | Pacemaker | VIZ-BME-0200-VR-CTU-CCE-50 | 5348 | PEP011793P | 2000-02-23 | B |  |  |  | Medtronics | [6 empty] | 90000
281 | CTU | Syringe pump | SUR-BME-0408-CS-MIU-CCE-01 | Agelia | 20015817 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
282 | CTU | Syringe pump | SUR-BME-0408-CS-CTH-CCE-06 | Agelia | 20015922 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
283 | CTU | Syringe pump | SUR-BME-0408-CS-PCH-CCE-04 | Agelia | 20015954 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
284 | CTU | Syringe pump | SUR-BME-0408-CS-CTH-CCE-05 | Agelia | 20015821 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
285 | CTU | Syringe pump | SUR-BME-0408-CS-MIU-CCE-15 | Agelia | 20015867 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
286 | CTU | Syringe pump | SUR-BME-0408-CS-MIU-CCE-16 | Agelia | 20015920 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
287 | CTU | Syringe pump | SUR-BME-0408-CS-MIU-CCE-05 | Agelia | 20015961 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
288 | CTU | Syringe pump | SUR-BME-0408-CS-MIU-CCE-14 | Agelia | 20015933 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
289 | CTU | Syringe pump | SUR-BME-0408-CS-CTH-CCE-07 | Agelia | 20015844 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
290 | CTU | Syringe pump | SUR-BME-0408-CS-MIU-CCE-13 | Agelia | 20015964 | 2009-06-06 | B |  |  |  | Fresenius Vial | [6 empty] | 26000
291 | CTU | Syringe pump | VIZ-BME-0910-VR-CTU-CCE-51 | Agelia | 21002947 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
292 | CTU | Syringe pump | VIZ-BME-0910-VR-CTU-CCE-52 | Agelia | 21003105 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
293 | CTU | Syringe pump | VIZ-BME-0910-VR-CTU-CCE-53 | Agelia | 21003106 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
294 | CTU | Syringe pump | VIZ-BME-0910-VR-CTU-CCE-54 | Agelia | 21003108 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
295 | CTU | Syringe pump | VIZ-BME-0811-VR-CTU-CCE-55 | Perfusor compact | 161788 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
296 | CTU | Syringe pump | VIZ-BME-0811-VR-CTU-CCE-56 | Perfusor compact | 161796 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
297 | CTU | Syringe pump | VIZ-BME-0811-VR-CTU-CCE-57 | Perfusor compact | 161800 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
298 | CTU | Syringe pump | VIZ-BME-0811-VR-CTU-CCE-58 | Perfusor compact | 161808 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
299 | CTU | Syringe pump | VIZ-BME-0811-VR-CTU-CCE-59 | Perfusor compact | 161812 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
300 | CTU | Syringe pump | VIZ-BME-0811-VR-CTU-CCE-60 | Perfusor compact | 161888 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
301 | CTU | Syringe pump | VIZ-BME-0811-VR-CTU-CCE-61 | Perfusor compact | 161928 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
302 | CTU | ECG Machine | VIZ-BME-0213-VR-CTU-CCE-62 | Pagewriter TC 20 | CNN1202112 | 2013-02-01 |  |  |  |  | Philips | [6 empty] | 135000
303 | CTU | Infant warmer | VIZ BME-0613-VR-CTU-THE-01 |  | 12311002223 | 2013-06-18 | B |  |  |  | Neo Tech | [6 empty] | 54000
304 | CTU | Syringe pump | VIZ-BME-0811-VR-CTU-CCE-62 | Perfusor compact | 161902 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
305 | CTU | Multipara monitor | VIZ-BME-0714-VR-CTU-CCE-63 | MP20 | DE80184472 | 2014-07-28 | W | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 185000
306 | CTU | Syringe pump | VIZ-BME-1014-VR-CTU-CCE-64 | Perfusor compact | 209024 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
307 | CTU | Syringe pump | VIZ-BME-1014-VR-CTU-CCE-65 | Perfusor compact | 209026 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
308 | CTU | Syringe pump | VIZ-BME-1014-VR-CTU-CCE-66 | Perfusor compact | 209027 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
309 | CTU | Syringe pump | VIZ-BME-1014-VR-CTU-CCE-67 | Perfusor compact | 209028 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
310 | CTU | Syringe pump | VIZ-BME-1014-VR-CTU-CCE-68 | Perfusor compact | 209029 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
311 | CTU | Multipara monitor | VIZ-BME-0714-VR-CTU-CCE-69 | MP20 | DE80184474 | 2014-07-28 | W |  | 2015-07-27 |  | Philips | [6 empty] | 185000
312 | CTU | Syringe pump | VIZ-BME-1014-VR-CTU-CCE-70 | Perfusor compact | 209038 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
313 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-71 | Perfusor compact | 225093 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
314 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-72 | Perfusor compact | 225094 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
315 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-73 | Perfusor compact | 225095 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
316 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-74 | Perfusor compact | 225096 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
317 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-75 | Perfusor compact | 225097 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
318 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-76 | Perfusor compact | 225098 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
319 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-77 | Perfusor compact | 225099 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
320 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-78 | Perfusor compact | 225100 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
321 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-79 | Perfusor compact | 225101 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
322 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-80 | Perfusor compact | 225102 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
323 | CTU | Syringe pump | VIZ-BME-0316-VR-CTU-CCE-81 | Perfusor compact | 225104 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
324 | CTU | Syringe pump | VIZ-BME-1014-VR-CTU-CCE-82 | Perfusor compact | 209003 | 2016-03-13 | W |  | 2017-03-12 |  | B Braun | [6 empty] | 28100
325 | CTU | Monitor | VIZ-BME-0416-VR-CTU-CCE-83 | MX430 | DE54800830 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
326 | CTU | Monitor | VIZ-BME-0416-VR-CTU-CCE-84 | MX430 | DE54800831 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
327 | CTU | Monitor | VIZ-BME-0416-VR-CTU-CCE-85 | MX430 | DE54800832 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
328 | CTU | Monitor | VIZ-BME-0416-VR-CTU-CCE-86 | MX430 | DE54800826 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
329 | NIU | Monitor | VIZ-BME-1008-VR-NIU-CCE-02 | M1000 | AQ6888415 | 2008-10-09 | B |  |  |  | Mediaid | [6 empty] | 75000
330 | NIU | Monitor | VIZ-BME-1008-VR-NIU-CCE-03 | M1000 | AQ59B3027 | 2008-10-09 | B |  |  |  | Mediaid | [6 empty] | 75000
331 | NIU | Defibrillator | VIZ-BME-0403-VR-NIU-CCE-04 | DF2509/R | ABMC3A1148 | 2003-04-14 | B |  |  |  | BPL | [6 empty] | 140000
332 | NIU | Monitor | VIZ-BME-0905-VR-NIU-CCE-08 | M1000 | AQ59B3030 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 75000
333 | NIU | Ventilator | VIZ-BME-0406-VR-NIU-CCE-13 | Servo s | 3419 | 2006-04-20 | B |  |  |  | Maquet | [6 empty] | 639134
334 | NIU | Syringe pump | VIZ-BME-1006-VR-NIU-CCE-15 | PilotEA2 | 19323030 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
335 | NIU | Syringe pump | VIZ-BME-0910-VR-NIU-CCE-17 | Agelia | 21002950 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
336 | NIU | Syringe pump | VIZ-BME-0910-VR-NIU-CCE-18 | Agelia | 21002951 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
337 | NIU | Syringe pump | VIZ-BME-0910-VR-NIU-CCE-19 | Agelia | 21002952 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
338 | NIU | Syringe pump | VIZ-BME-0811-VR-NIU-CCE-20 | Perfusor compact | 161745 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
339 | NIU | Syringe pump | VIZ-BME-0811-VR-NIU-CCE-21 | Perfusor compact | 161753 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
340 | NIU | Syringe pump | VIZ-BME-0811-VR-NIU-CCE-22 | Perfusor compact | 161785 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
341 | NIU | Syringe pump | VIZ-BME-0811-VR-NIU-CCE-23 | Perfusor compact | 161787 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
342 | NIU | Ventilator | VIZ-BME-0714-VR-NIU-CCE-24 | Servo s | 30517 | 2014-07-08 | W |  | 2016-07-07 |  | Maquet | [6 empty] | 666667
343 | NIU | Monitor | VIZ-BME-0714-VR-GOT-CCE-13 | G30 | CN32712632 | 2014-07-28 | W |  | 2016-07-27 |  | Philips | [5 empty] | Redeployed from GOT 1 | 75000
344 | NIU | Defibrillator | VIZ-BME-0416-VR-NIU-CCE-25 | EfficaDFM100 | CN32604933 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 184974
345 | NIU | Syringe pump | VIZ-BME-0416-VR-NIU-CCE-26 | Perfusor compact | 224905 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
346 | NIU | Syringe pump | VIZ-BME-0416-VR-NIU-CCE-27 | Perfusor compact | 224906 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
347 | ICU | Pacemaker | VIZ-BME-0800-VR-ICU-CCE-01 | 5348 | PEP011792P | 2000-08-01 | B |  |  |  | Medtronics | [6 empty] | 70060
348 | ICU | Ventilator | VIZ-BME-0406-VR-ICU-CCE-02 | Servo s | 3415 | 2006-04-20 | B |  |  |  | Maquet | [6 empty] | 559134
349 | ICU | Monitor | VIZ-BME-0308-VR-ICU-CCE-16 | MEC2000 | CV-82100401 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
350 | ICU | Monitor | VIZ-BME-0308-VR-ICU-CCE-17 | MEC2000 | CV-82100403 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
351 | ICU | Monitor | VIZ-BME-0308-VR-ICU-CCE-18 | MEC2000 | CV-82100423 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
352 | ICU | Defibrillator with pacer | VIZ-BME-0704-VR-ICU-CCE-21 | Heartstart XL | US00120832 | 2004-07-01 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 175000
353 | ICU | Monitor | VIZ-BME-0505-VR-ICU-CCE-22 | M1000 | AQ59B2988 | 2005-05-04 | B |  |  |  | Mediaid | [6 empty] | 90000
354 | ICU | Monitor | VIZ-BME-0905-VR-ICU-CCE-25 | M1000 | AQ59B2994 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
355 | ICU | Monitor | VIZ-BME-0905-VR-ICU-CCE-26 | M1000 | AQ59B2997 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
356 | ICU | Monitor | VIZ-BME-0905-VR-ICU-CCE-28 | M1000 | AQ59B3025 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
357 | ICU | Ventilator | VIZ-BME-0406-VR-ICU-CCE-45 | Servo s | 3414 | 2006-04-20 | B |  |  |  | Maquet | [6 empty] | 559134
358 | ICU | Monitor | VIZ-BME-0306-VR-ICU-CCE-47 | Galaxy | G05G7159 | 2006-03-20 | A |  |  |  | L&T | [6 empty] | 133650
359 | ICU | Monitor | VIZ-BME-0306-VR-ICU-CCE-48 | Galaxy | G05G7158 | 2006-03-20 | B |  |  |  | L&T | [6 empty] | 133650
360 | ICU | Monitor | VIZ-BME-0306-VR-ICU-CCE-49 | Galaxy | G05G7165 | 2006-03-20 | B |  |  |  | L&T | [6 empty] | 133650
361 | ICU | Defibrillator with pacer | VIZ-BME-0306-VR-ICU-CCE-50 | Heartstart XL | US00440361 | 2006-03-29 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 250000
362 | ICU | Defibrillator | VIZ-BME-0306-VR-ICU-CCE-52 | Heartstart XL | US00440358 | 2006-03-29 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 250000
363 | ICU | Ventilator | VIZ-BME-0406-VR-ICU-CCE-53 | Servo i | 21778 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 736184
364 | ICU | Monitor | VIZ-BME-0505-VR-ICU-CCE-54 | M1000 | AQ59B3031 | 2005-05-04 | B |  |  |  | Mediaid | [6 empty] | 90000
365 | ICU | Syringe pump | VIZ-BME-0910-VR-ICU-CCE-55 | Agelia | 21002953 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
366 | ICU | Syringe pump | VIZ-BME-0910-VR-ICU-CCE-56 | Agelia | 21002954 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
367 | ICU | Syringe pump | VIZ-BME-0910-VR-ICU-CCE-57 | Agelia | 21002956 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
368 | ICU | Syringe pump | VIZ-BME-0910-VR-ICU-CCE-58 | Agelia | 21002957 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
369 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-59 | Perfusor compact | 161656 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
370 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-60 | Perfusor compact | 161675 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
371 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-61 | Perfusor compact | 161685 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
372 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-62 | Perfusor compact | 161697 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
373 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-63 | Perfusor compact | 161698 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
374 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-64 | Perfusor compact | 161705 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
375 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-65 | Perfusor compact | 161706 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
376 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-66 | Perfusor compact | 161708 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
377 | ICU | Syringe pump | VIZ-BME-0811-VR-ICU-CCE-67 | Perfusor compact | 161711 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
378 | ICU | IABP | VIZ-BME-0911-VR-ICU-CCE-68 | CS100 | SA196037H1 | 2011-09-16 | A | 2015-09-16 | 2016-09-15 | 45600 | Datascope | [6 empty] | 1716000
379 | ICU | Monitor | VIZ-BME-0312-VR-ICU-CCE-69 | MEC2000 | CV-IB107234 | 1912-03-13 | W |  |  |  | Mindray | [6 empty] | 195000
380 | ICU | Monitor | VIZ-BME-1000-VR-ICU-CCE-03 | V24 | 3939A59823 | 2000-10-03 | B |  |  |  | Philips | [6 empty] | 297500
381 | ICU | Temporary Pace maker | VIZ-BME-0312-VR-ICU-CCE-70 | Dual chamber 5388X | PFG154848R | 2012-11-14 | W |  |  |  | Medtronics | [6 empty] | 185000
382 | ICU | ECG Machine | VIZ-BME-0213-VR-ICU-CCE-71 | Pagewriter TC 20 | CNN1202113 | 2013-02-01 |  |  |  |  | Philips | [6 empty] | 135000
383 | ICU | Defibrillator | VIZ-BME-0213-VR-ICU-CCE-72 | Heartstart XL+ | USD1203704 | 2013-02-01 | W | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 250000
384 | ICU | Multipara monitor | VIZ-BME-0714-VR-ICU-CCE-73 | MP 20 | DE80184473 | 2014-07-28 | W | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 181500
385 | ICU | Multipara monitor | VIZ-BME-0714-VR-ICU-CCE-74 | MP 20 | DE80184456 | 2014-07-28 | W | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 181500
386 | ICU | Syringe pump | VIZ-BME-1014-VR-ICU-CCE-75 | Perfusor compact | 208998 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
387 | ICU | Syringe pump | VIZ-BME-1014-VR-ICU-CCE-76 | Perfusor compact | 208999 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
388 | ICU | Syringe pump | VIZ-BME-1014-VR-ICU-CCE-77 | Perfusor compact | 209045 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
389 | ICU | Syringe pump | VIZ-BME-1014-VR-ICU-CCE-78 | Perfusor compact | 209046 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
390 | ICU | Syringe pump | VIZ-BME-1014-VR-ICU-CCE-79 | Perfusor compact | 209047 | 2014-10-21 | W |  | 2017-10-20 |  | B Braun | [6 empty] | 31000
391 | ICU | Monitor | VIZ-BME-0714-VR-ICU-CCE-80 | G30 | CN32712631 | 2014-07-14 | W |  | 2016-07-13 |  | Philips | [6 empty] | 78000
392 | ICU | Syringe pump | VIZ-BME-0316-VR-ICU-CCE-81 | Perfusor compact | 224899 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
393 | ICU | Syringe pump | VIZ-BME-0316-VR-ICU-CCE-82 | Perfusor compact | 224801 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
394 | ICU | Syringe pump | VIZ-BME-0316-VR-ICU-CCE-83 | Perfusor compact | 224805 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
395 | ICU | Syringe pump | VIZ-BME-0316-VR-ICU-CCE-84 | Perfusor compact | 224808 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
396 | ICU | Syringe pump | VIZ-BME-0316-VR-ICU-CCE-85 | Perfusor compact | 224910 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
397 | ICU | Syringe pump | VIZ-BME-0316-VR-ICU-CCE-86 | Perfusor compact | 224812 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
398 | ICU | Syringe pump | VIZ-BME-0316-VR-ICU-CCE-87 | Perfusor compact | 224813 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
399 | ICU | Syringe pump | VIZ-BME-0316-VR-ICU-CCE-88 | Perfusor compact | 224818 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
400 | ICU | Syringe pump | VIZ-BME-1014-VR-ICU-CCE-89 | Perfusor compact | 209018 | 2014-03-13 | W |  | 2017-03-12 |  | B Braun | [6 empty] | 28100
401 | ICU | Syringe pump | VIZ-BME-1014-VR-ICU-CCE-90 | Perfusor compact | 209059 | 2014-03-13 | W |  | 2017-03-12 |  | B Braun | [6 empty] | 28100
402 | ICU | Monitor | VIZ-BME-0416-VR-ICU-CCE-91 | MX430 | DE54800833 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
403 | ICU | Monitor | VIZ-BME-0416-VR-ICU-CCE-92 | MX430 | DE54800835 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
404 | AMC | Defibrillator | VIZ-BME-0306-VR-AMC-CCE-14 | Heartstart XL | US00440360 | 2006-03-29 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 22755
405 | AMC | Ventilator | VIZ-BME-0406-VR-AMC-CCE-15 | Servo i | 21779 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 816184
406 | AMC | Ventilator | VIZ-BME-0406-VR-AMC-CCE-16 | Servo s | 3412 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 639134
407 | AMC | Ventilator | VIZ-BME-0406-VR-AMC-CCE-17 | Servo s | 3416 | 2006-04-20 | C |  |  |  | Maquet | [6 empty] | 639134
408 | AMC | Syringe pump | VIZ-BME-0910-VR-AMC-CCE-20 | Agelia | 21003109 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
409 | AMC | Syringe pump | VIZ-BME-0910-VR-AMC-CCE-21 | Agelia | 21003110 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
410 | AMC | Syringe pump | VIZ-BME-0910-VR-AMC-CCE-22 | Agelia | 21003111 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
411 | AMC | Syringe pump | VIZ-BME-0910-VR-AMC-CCE-23 | Agelia | 21003112 | 2010-09-23 | B |  |  |  | Fresenius Vial | [6 empty] | 28500
412 | AMC | Infusion pump | VIZ-BME-0211-VR-AMC-CCE-25 | Infusomat P | 58335 | 1911-02-14 | B |  |  |  | Braun | [6 empty] | 46800
413 | AMC | Infusion pump | VIZ-BME-0211-VR-AMC-CCE-26 | Infusomat P | 59227 | 1911-02-14 | B |  |  |  | Braun | [6 empty] | 46800
414 | AMC | Syringe pump | VIZ-BME-0811-VR-AMC-CCE-27 | Perfusor compact | 161531 | 2011-08-31 | B |  |  |  | Braun | [6 empty] | 29000
415 | AMC | Syringe pump | VIZ-BME-0811-VR-AMC-CCE-28 | Perfusor compact | 161536 | 2011-08-31 | B |  |  |  | Braun | [6 empty] | 29000
416 | AMC | Syringe pump | VIZ-BME-0811-VR-AMC-CCE-29 | Perfusor compact | 161545 | 2011-08-31 | B |  |  |  | Braun | [6 empty] | 29000
417 | AMC | Syringe pump | VIZ-BME-0811-VR-AMC-CCE-30 | Perfusor compact | 161571 | 2011-08-31 | B |  |  |  | Braun | [6 empty] | 29000
418 | AMC | Syringe pump | VIZ-BME-0811-VR-AMC-CCE-31 | Perfusor compact | 161605 | 2011-08-31 | B |  |  |  | Braun | [6 empty] | 29000
419 | AMC | Syringe pump | VIZ-BME-0811-VR-AMC-CCE-32 | Perfusor compact | 161628 | 2011-08-31 | B |  |  |  | Braun | [6 empty] | 29000
420 | AMC | Syringe pump | VIZ-BME-0811-VR-AMC-CCE-33 | Perfusor compact | 161629 | 2011-08-31 | B |  |  |  | Braun | [6 empty] | 29000
421 | AMC | BiPAP machine | VIZ-BME-0212-VR-AMC-CCE-34 | Synchrony | 6018421 | 2012-02-26 | B |  |  |  | Philips Respironics | [6 empty] | 165000
422 | AMC | BiPAP machine | VIZ-BME-0212-VR-AMC-CCE-35 | Synchrony | 6018395 | 2012-02-26 | B |  |  |  | Philips Respironics | [6 empty] | 165000
423 | AMC | BiPAP machine | VIZ-BME-0212-VR-AMC-CCE-36 | Pro | PO5005852-7905 | 2012-02-26 | B |  |  |  | Philips Respironics | [6 empty] | 68000
424 | AMC | Ventilator | VIZ-BME-0212-VR-AMC-CCE-37 | Servo s | 21867 | 2012-03-01 | B |  |  |  | Maquet | [6 empty] | 700000
425 | AMC | Ventilator | VIZ-BME-0212-VR-AMC-CCE-38 | Servo s | 21868 | 2012-01-03 | B |  |  |  | Maquet | [6 empty] | 700000
426 | AMC | Defibrillator with pacer | VIZ-BME-0812-VR-AMC-CCE-39 | Heartstart XL | US00599409 | 2012-08-21 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 250000
427 | AMC | SCD | VIZ-BME-1212-VR-AMC-THE-02 | Kendal SCD 700 | V1225625SX | 2012-12-31 | B |  |  |  | Covidien | [6 empty] | 151515
428 | AMC | SCD | VIZ-BME-1212-VR-AMC-THE-03 | Kendal SCD 700 | V1225629SX | 2012-12-31 | B |  |  |  | Covidien | [6 empty] | 151515
429 | AMC | Multipara monitor | VIZ-BME-0213-VR-AMC-CCE-41 | G30 | CN12805564 | 2013-02-01 | W |  |  |  | Philips | [6 empty] | 85000
430 | AMC | Multipara monitor | VIZ-BME-0213-VR-AMC-CCE-42 | G30 | CN12805563 | 2013-02-01 | W |  |  |  | Philips | [6 empty] | 85000
431 | AMC | Ventilator | VIZ-BME-0413-VR-AMC-CCE-43 | Servo s | 26939 | 2013-04-16 | W |  |  |  | Maquet | [6 empty] | 700000
432 | AMC | Ventilator | VIZ-BME-0413-VR-AMC-CCE-44 | Servo s | 26940 | 2013-04-16 | W |  |  |  | Maquet | [6 empty] | 700000
433 | AMC | Multipara monitor | VIZ-BME-0214-VR-AMC-CCE-47 | MP 20 | DE80180496 | 2014-02-13 | W | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 285000
434 | AMC | Multipara monitor | VIZ-BME-0714-VR-AMC-CCE-48 | MP 20 | DE80184442 | 2014-07-28 | W | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 181500
435 | AMC | Multipara monitor | VIZ-BME-0714-VR-AMC-CCE-49 | MP 20 | DE80184462 | 2014-07-28 | W | 2016-04-01 | 2017-03-31 | 10910 | Philips | [6 empty] | 181500
436 | AMC | Syringe pump | VIZ-BME1014-VR-AMC-CCE-50 | Perfusor compact | 209010 | 2014-10-21 |  |  | 20-10-17 |  | Braun | [6 empty] | 31000
437 | AMC | Syringe pump | VIZ-BME1014-VR-AMC-CCE-51 | Perfusor compact | 209054 | 2014-10-21 |  |  | 20-10-17 |  | Braun | [6 empty] | 31000
438 | AMC | Syringe pump | VIZ-BME1014-VR-AMC-CCE-52 | Perfusor compact | 209060 | 2014-10-21 |  |  | 20-10-17 |  | Braun | [6 empty] | 31000
439 | AMC | Monitor | VIZ-BME-1008-VK-SIU-CCE-09 | MEC1000 | AQ88115456 | 2008-10-04 | B |  |  |  | Mindray | [5 empty] | Transferred from Unit II | 66000
440 | AMC | Syringe pump | VIZ-BME-0316-VR-AMC-CCE-53 | Perfusor compact | 224887 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
441 | AMC | Syringe pump | VIZ-BME-0316-VR-AMC-CCE-54 | Perfusor compact | 224888 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
442 | AMC | Syringe pump | VIZ-BME-0316-VR-AMC-CCE-55 | Perfusor compact | 224891 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
443 | AMC | Syringe pump | VIZ-BME-0316-VR-AMC-CCE-56 | Perfusor compact | 224892 | 2016-03-13 | W |  | 2021-03-12 |  | Braun | [6 empty] | 28100
444 | AMC | Feeding pump | VIZ-BME-0616-VR-AMC-CCE-57 | Kangaroo e pump | C15141255 | 2016-06-25 | W |  | 2017-06-24 |  | Covidien | [6 empty] | 78800
445 | AMC | Feeding pump | VIZ-BME-0616-VR-AMC-CCE-58 | Kangaroo e pump | C15141268 | 2016-06-25 | W |  | 2017-06-24 |  | Covidien | [6 empty] | 78800
446 | NSS | ECG machine | VIZ-BME-0199-VR-NSS-CAR-01 | Trim I | USD0508508 | 2006-01-06 | C | 2016-04-01 | 2017-03-31 | 7961 | Philips | [6 empty] | 50000
447 | NSS | ECG machine | VIZ-BME-1008-VR-NSS-CAR-02 | Mac 400 | SCT08171418PA | 2008-10-25 | B |  |  |  | Marquette | [6 empty] | 45000
448 | NSS | Defibrillator | VIZ-BME-0407-VR-NSS-CCE-04 | DF2509R | BYMC7C2364 | 2007-04-21 | B |  |  |  | BPL | [6 empty] | 175000
449 | NSS | Syringe pump | VIZ-BME-1006-VR-NSS-CCE-05 | Pilot A2 | 19323055 | 2006-10-02 | B |  |  |  | Fresenius | [6 empty] | 22750
450 | NSS | Defibrillator | VIZ-BME-0407-VR-NSS-CCE-07 | DF2509R | BYMC7C2369 | 2007-04-21 | B |  |  |  | BPL | [6 empty] | 175000
451 | NSS | Syringe pump | VIZ-BME-1006-VR-NSS-CCE-09 | PilotEA2 | 19323012 | 2006-10-02 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
452 | NSS | Defibrillator | VIZ-BME-0407-VR-NSS-CCE-11 | DF2509R | BYMC7C2367 | 2007-04-21 | B |  |  |  | BPL | [6 empty] | 175000
453 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-13 | Perfusor compact | 161865 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
454 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-14 | Perfusor compact | 161867 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
455 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-15 | Perfusor compact | 161875 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
456 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-16 | Perfusor compact | 161878 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
457 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-17 | Perfusor compact | 161923 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
458 | NSS | Pulseoximeter | VIZ-BME-0606-VR-NSS-CCE-02 | Oxypleth | 7723129 | 2006-06-16 | B |  |  |  | Respironics | [6 empty] | 50000
459 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-18 | Perfusor compact | 161883 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
460 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-19 | Perfusor compact | 161889 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
461 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-20 | Perfusor compact | 161920 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
462 | NSS | Syringe pump | VIZ-BME-0811-VR-NSS-CCE-21 | Perfusor compact | 161879 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
463 | NSS | Syringe pump | VIZ-BME-1014-VR-NSS-CCE-22 | Perfusor compact | 209013 | 2014-10-21 |  |  |  |  | B Braun | [6 empty] | 31000
464 | NSS | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-17 | Injectomat Agilia | 20347441 | 2008-12-27 | B |  |  |  | Fresenius | [5 empty] | Redeployed from Unit 2 | 23500
465 | NSS | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-13 | Injectomat Agilia | 20316007 | 2008-12-27 | B |  |  |  | Fresenius | [5 empty] | Redeployed from Unit 2 | 23500
466 | NSS | Defibrillator | VIZ-BME-0908-VK-NEF-CCE-04 | Heartstart XL | US00466965 | 2008-09-25 | C |  |  |  | Philips | [5 empty] | Redeployed from Unit 2 | 175000
467 | NSS | Syringe pump | VIZ-BME-0316-VR-NSS-CCE-23 | Perfusor compact | 224883 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
468 | NSS | Syringe pump | VIZ-BME-0316-VR-NSS-CCE-24 | Perfusor compact | 224884 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
469 | NSS | Syringe pump | VIZ-BME-0316-VR-NSS-CCE-25 | Perfusor compact | 224885 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
470 | NSS | Syringe pump | VIZ-BME-0316-VR-NSS-CCE-26 | Perfusor compact | 224886 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
471 | NSS | Defibrillator | VIZ-BME-0416-VR-NSS-CCE-27 | Effica DF100 | CN32604935 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 184974
472 | NSS | Defibrillator | VIZ-BME-0416-VR-NSS-CCE-28 | Effica DF100 | CN32604934 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 184974
473 | GSE | Pulseoximeter | VIZ-BME-0706-VR-GSE-CCE-01 | Samiksh+ | 5213 | 2006-07-13 | B |  |  |  | Schiller | [6 empty] | 51750
474 | GSE | Video Endoscopy System | VIZ-BME-0406-VR-GSE-DIA-01 | Evis Exera | 1512690 2617245 2613265 2601126 7534711 7513720 | 2006-04-18 | A | 2015-12-01 | 2016-11-30 | 151999 | Olympus | [5 empty] | Replaced the monitor on 21-2-15(details in the accessories column) | 2200000
475 | GSE | Electrosurgical unit for endoscopy | VIZ-BME-0609-VR-GSE-OTE-01 | VIO 200S | ESU S No. 11303503, APC S No. 11303580 | 2009-05-21 | B |  |  |  | ERBE Electromedizin | [6 empty] | 704000
476 | GSE | Non Video Bronchoscope | VIZ-BME-0714-VR-GSE-DIA-02 | BF TypeTE2OES | 2403733 | 2014-07-15 | W | 2016-07-15 | 2017-07-14 | 29095 | Olympus | [6 empty] | 537041
477 | GSE | Endowasher | VIZ-BME-1014-VR-GSE-OTE-02 |  | 1408003 | 30-10-14 | W | 2016-04-01 | 2017-03-31 | 22900 | J Mitra | [6 empty] | 350000
478 | GSE | Video Endoscope system | VIZ-BME-0416-VR-GSE-DIA-03 | CV-190(PAL,220-2) | 7618745 | 2016-11-04 | W |  | 2017-04-10 |  | Olympus | [6 empty] | 8500000
479 | GSE |  |  | GIF-HQ190 | 2611554
480 | GSE |  |  | CF-HQ190L | 2514000
481 | GSE |  |  | TJF-Q180 | 2618326
482 | GSE |  |  | CVL-190100-240V | 7666125
483 | GSE |  |  | MAJ-1430 | 7519447
484 | GSE |  |  | 0EV262H | 7534712
485 | GSE |  |  | VCR | 7527956
486 | GSE |  |  | OFP-2 | 21603980
487 | GSE | Monitor | VIZ-BME-0416-VR-GSE-CCE-02 | G30 | CN44002088 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 60117
488 | PHY | PFT machine | VIZ-BME-0599-VR-PHY-DIA-01 | Spirolab II | A23/050.0980 | 2006-05-15 | B |  |  |  | MIR | [6 empty] | 200000
489 | PHY | Short wave diathermy | VIZ-BME-0599-VR-PHY-THE-01 | T 184 |  | 2006-05-15 | B |  |  |  | Electrocare
490 | PHY | Traction with table | VIZ-BME-0599-VR-PHY-THE-02 |  | 1984 - A | 2006-05-15 | B
491 | PHY | Ultrasound Therapy | VIZ-BME-0599-VR-PHY-THE-03 |  | TU1 799 | 2006-05-15 | B |  |  |  | Electroson
492 | PHY | Interferential Therapy | VIZ-BME-0599-VR-PHY-THE-04 |  | 1044 | 2006-05-15 | B
493 | PHY | Muscle stimulator | VIZ-BME-0599-VR-PHY-THE-05 |  | TD 19 | 2006-05-15 | B |  |  |  | Technomed electronics
494 | PHY | TE Nerve Stimulator (pocket, Dual Channel) | VIZ-BME-0599-VR-PHY-THE-07 | 10SPKIMS |  | 2009-09-12 | B |  |  |  | Indian Medical Systems | [6 empty] | 1538
495 | PHY | Stimulator 201 | VIZ-BME-0599-VR-PHY-THE-08 | Digistimems |  | 2009-12-09 | B |  |  |  | Sita Surgicals | [6 empty] | 21692
496 | LAB | Fully automatic biochemistry analyser | VIZ-BME-0610-VR-LAB-LAB-40 | Vitros 250 | R2500135 | 2010-06-30 | C |  |  |  | Johnson& Johnson
497 | LAB | Cardiac meter | X | Cobas h 232 | KSO205613 | 2008-02-02 | C |  |  |  | Roche
498 | LAB | Fully auto biochemistry analyser | X | RX DAYTONA | 5826-0905 | 2011-04-14 | C |  |  |  | Randox | [5 empty] | Returned back to the company after expiry of agreement
499 | LAB | Blood cell counter | X | XT-1800I | 18698 | 2011-10-20 | C |  |  |  | Transasia
500 | LAB | ABG/Electrolyte analyser | X | ABL800 | 1902-754R2116N0002 | 2011-05-25 | C |  |  |  | Radiometer
501 | LAB | Immunoassay system | X | COBAS e 411 | 1166-16 |  | C |  |  |  | Roche
502 | LAB | Coagulo meter | X | COSTAT 1 | C1BK027E | [5 empty] | Tulip
503 | LAB | PT Analyser | x | ACL Elite pro | 15063010 | [5 empty] | Instrument labs
504 | LAB | ABG/Electrolyte analyser | x | Cobas 121 | 15182 | [5 empty] | Roche
505 |  | Monitor | x | MX430 | DE54800825 | 2016-04-30 | W |  | 2017-04-29 |  | Phipips | [6 empty] | 161853
506 |  | Defibrillator | x | EfficaDFM100 | CN32604938 | 2016-04-30 | W |  | 2017-04-29 |  | Phipips | [6 empty] | 184974
507 |  | Syringe pump | x | Perfusor compact | 224900 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
508 |  | Syringe pump | x |  | 224901 | 2016-03-13 | W |  | 2021-03-12 | [8 empty] | 28100
509 |  | Syringe pump | x |  | 224902 | 2016-03-13 | W |  | 2021-03-12 | [8 empty] | 28100
510 |  | Syringe pump | x |  | 224907 | 2016-03-13 | W |  | 2021-03-12 | [8 empty] | 28100
511 |  | Syringe pump | x | Perfusor compact | 224908 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
512 |  | Syringe pump | x |  | 224911 | 2016-03-13 | W |  | 2021-03-12 | [8 empty] | 28100
513 |  | Syringe pump | x |  | 224912 | 2016-03-13 | W |  | 2021-03-12 | [8 empty] | 28100
514 | CSD | Autoclave | VIZ-BME-0908-VR-CSD-SUP-03 | HE105 |  | 2008-09-06 | B |  |  |  | Hoslab | [6 empty] | 340000
515 | CSD | Thermograph | VIZ-BME-0908-VR-CSD-SUP-05 | CR2010 | 107180911 | 2009-11-11 | B |  |  |  | g - Tek | [6 empty] | 16400
516 | CSD | Thermograph | VIZ-BME-0908-VR-CSD-SUP-06 | CR2010 |  | 2009-11-11 | B |  |  |  | g - Tek | [6 empty] | 16400
517 | CSD | ETO sterillizer | VIJ-BME-0708-PC-CSD-SUP-07 |  |  | 2008-07-02 | A | 2015-07-31 | 2016-07-30 | 27360 | Pest Control(India)Pvt,Ltd | [6 empty] | 759375
518 | CSD | Autoclave | VIZ-BME-0311-VR-CSD-SUP-08 | DDSS304 |  | 2011-10-03 | B |  |  |  | Samarth | [6 empty] | 800000
519 | CSD | Autoclave | VIZ-BME-0511-VR-CSD-SUP-09 | DDSS304 |  | 2011-09-15 | B |  |  |  | Samarth | [6 empty] | 800000
520 | CSD | ETO Gas detector | VIZ-BME-0611-VR-CSD-SUP-10 |  |  | 2011-06-30 | B |  |  |  | Ambetronics | [6 empty] | 39645
521 | CSD | Ultrasonic cleaner | VIZ-BME-0613-VR-CSD-SUP-11 | 530x330x150 mm, 200 Ltrs. | 8RE/13-14 | 2013-06-13 | B |  |  |  | SIDILU | [6 empty] | 66723
522 | CTH | Pacemaker | VIZ-BME-0307-VR-CTH-CCE-01 | 5388 single chamber | PEP008914P | 2007-03-20 | B |  |  |  | Medtronics | [6 empty] | 182000
523 | CTH | Pacemaker | VIZ-BME-1199-VR-CTH-CCE-02 | 5348 Single chamber | PEP010010P | 1999-11-03 | B |  |  |  | Medtronics | [6 empty] | 70060
524 | CTH | Pacemaker | VIZ-BME-0200-VR-CTH-CCE-04 | 5348 Single chamber | PEP011791P | 2000-02-23 | B |  |  |  | Medtronics | [6 empty] | 70060
525 | CTH | Defibrillator | VIZ-BME-0306-VR-CTH-CCE-05 | Heartstart XL | US00440359 | 2006-03-29 | C | 2016-04-01 | 2017-03-31 | 16635 | Philips | [6 empty] | 175000
526 | CTH | Pulseoxy meter | VIZ-BME-0609-VR-CTH-CCE-06 | VS 800 | BY8A107919 | 2009-06-18 |  |  |  |  | Mindray | [6 empty] | 38000
527 | CTH | Cath lab | VIZ-BME-1102-VR-CTH-CAR-01 | Innova2100 |  | 2010-07-16 | C | 2016-04-01 | 2017-03-31 | 2338116 | Wipro GE | [6 empty] | 26000000
528 |  |  |  | 5126671-2 | 588331BU9
529 |  |  |  | 2320221-3 | 588050BU5
530 |  |  |  | 2335129-8 | 58803BU7
531 |  |  |  | 2335139-8 | 10C2M0107
532 |  |  |  | 5127984 | XA23608-4A
533 |  |  |  | 2216450 | 149076GI2
534 |  |  |  | 2216500-2 | 89263CX8
535 |  |  |  | 5115497-3 | 813486-0010
536 |  |  |  | 5341164 | OP-0369
537 |  |  |  | 5314431-10 | 588975BU3
538 |  |  |  | 5420083 | 410110078
539
540
541
542
543
544
545 |  |  |  | 5314326-2 | C2C018607V
546 |  |  |  | 5340581-3 | D10138003
547 |  |  |  | 5328059-3 | T10138003
548 |  |  |  | 2390482-8 | M10138001
549 |  |  |  | 5257417-4 | 102301041
550 |  |  |  | 5159509-2 | W10138002
551 |  |  |  | Mac lab | SG410170263GA
552 |  |  |  |  | TTDI0213033SA
553 |  |  |  |  | RST10089521GA
554 |  |  |  |  | RTWI0244338GA
555 |  |  |  | Mark5 Provis | H:32894, S: 108252 | [5 empty] | Medrad
556 | CTH | FFR | VIZ-BME-0612-VR-CTH-CAR-04 |  | 3391 | 2012-07-05 | B |  |  |  | St. Jude | [6 empty] | 1134000
557 | CTH | IABP | VIZ-BME-0714-VR-CTH-CCE-07 | CS300 | SI240578A4 | 2014-07-07 | W | 2016-07-07 | 2017-07-06 | 139080 | Maquet | [6 empty] | 2300000
558 | PCW | Monitor | VIZ-BME-0308-VR-PCW-CCE-01 | MEC2000 | CV-82100400 | 2008-03-25 | B |  |  |  | Mindray | [6 empty] | 72500
559 | PCW | Monitor | VIZ-BME-1008-VR-PCW-CCE-04 | MEC1000 | AQ88115454 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 72500
560 | PCW | Monitor | VIZ-BME-0905-VR-PCW-CCE-05 | M1000 | AQ59B2990 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
561 | PCW | Monitor | VIZ-BME-0905-VR-PCW-CCE-06 | M1000 | AQ59B2991 | 2005-09-12 | B |  |  |  | Mediaid | [6 empty] | 90000
562 | PCW | Syringe pump | VIZ-BME-1006-VR-PCW-CCE-07 | PilotEA2 | 19323047 | 2006-02-10 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
563 | PCW | Syringe pump | VIZ-BME-1006-VR-PCW-CCE-09 | PilotEA2 | 19323016 | 2006-02-10 | B |  |  |  | Fresenius Vial | [6 empty] | 22755
564 | PCW | Defibrillator | VIZ-BME-0306-VR-PCW-CCE-10 | DF250919 | BYMC7C2361 | 2006-03-29 | B |  |  |  | BPL | [6 empty] | 140000
565 | PCW | ACT machine | VIZ-BME-0508-VR-PCW-OTE-01 | 65755000 | 640727716 | 2008-02-05 | B |  |  |  | Helina labs | [6 empty] | 98800
566 | PCW | Syringe pump | VIZ-BME-0811-VR-PCW-CCE-11 | Perfusor compact | 161716 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
567 | PCW | Syringe pump | VIZ-BME-0811-VR-PCW-CCE-12 | Perfusor compact | 161910 | 2011-08-31 | B |  |  |  | B Braun | [6 empty] | 29000
568 | PCW | Monitor | VIZ-BME-0905-VR-PCW-CCE-02 | MEC1000 | AQ59B3023 | 2005-09-12 | B |  |  |  | Mindray | [6 empty] | 90000
569 | PCW | Defibrillator | VIZ-BME-1014-VR-PCW-CCE-13 | Efficia DFM100 | CN32600366 | 2014-11-03 | W |  | 2015-11-02 |  | Philips | [6 empty] | 249670
570 | PCW | Syringe pump | VIZ-BME-1014-VR-PCW-CCE-14 | Perfusor compact | 209038 | 2014-10-21 | W |  |  |  | B Braun | [6 empty] | 31000
571 | PCW | Syringe pump | VIZ-BME-0316-VR-PCW-CCE-15 | Perfusor compact | 224904 | 2016-03-13 | W |  | 2021-03-12 |  | B Braun | [6 empty] | 28100
572 | PCW | Monitor | VIZ-BME-0416-VR-PCW-CCE-16 | MX430 | DE54800827 | 2016-04-30 | W |  | 2017-04-29 |  | Philips | [6 empty] | 161853
573 | GSP | Oil free Air compressor | VIZ-BME-0206-VR-GSP-SUP-01 | TFT 150 | 12615 | 2006-02-10 | A | 2016-04-15 | 2017-04-14 | 26650 | Anest Iwata | [6 empty] | 432000
574 | GSP | Oil free Air compressor | VIZ-BME-0206-VR-GSP-SUP-02 | TFT 150 | A-142010 | 2006-02-10 | A | 2016-04-15 | 2017-04-14 | 26650 | Anest Iwata | [6 empty] | 432000
575 | GSP | Vacuum pump | VIZ-BME-0206-VR-GSP-SUP-05 | 15V | 5033805 | 2006-02-10 | A |  |  |  | Ingersol rand | [6 empty] | 250000
576 | GSP | Vacuum pump | VIZ-BME-0206-VR-GSP-SUP-06 | 15V | 5033817 | 2006-02-10 | A |  |  |  | Ingersol rand | [6 empty] | 250000
577 | GSP | Air drier | VIZ-BME-0111-VR-GSP-SUP-07 |  | 13178 | 2011-01-10 | B |  |  |  | GEM | [6 empty] | 25000
578 | GSP | Air drier | VIZ-BME-1112-VR-GSP-SUP-08 |  |  | 2012-11-05 | B |  |  |  | Nucon KSI | [6 empty] | 150453
579 | GSP | Air drier | VIZ-BME-1112-VR-GSP-SUP-09 |  |  | 2012-11-05 | B |  |  |  | Nucon KSI | [6 empty] | 150453
580 | GSP | Mini oil free compressor | VIZ-BME-0813-VR-GSP-SUP-10 | 0.5 HP | TFSOSC-7-2E | 2013-08-10 | B |  |  |  | Anest Iwata | [6 empty] | 42000