## Sheet1
Sr. No. | Dept | Equipment Name | Equip. ID (20 DIG CODE) | Equip. model | Serial Number | Date of Instal. | STATUS (A-C-B-W) | Contract From | Contract To | Contract Value | Company Name | Vendor | PMS done | PMS Due | Calibration done date | Calibration due date | Remarks | Eq. Cost (Rupees)Eq. Cost (Rupees) | Acesories
1 | ER | Defibrillator | VIZ-BME-0908-VK-ERC-CCE-01 | Heartstart XL | US00465951 | 2008-09-25 | C | 2016-04-01 | 2017-03-31 | 27246 | Philips | [6 empty] | 175000
2 | ER | Monitor | VIZ-BME-1008-VK-ERC-CCE-02 | MEC 1000 | AQ88115434 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
3 | ER | Monitor | VIZ-BME-1008-VK-ERC-CCE-03 | MEC 1000 | AQ88115443 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
4 | ER | Monitor | VIZ-BME-1008-VK-ERC-CCE-04 | MEC 1000 | AQ88115444 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
5 | ER | Monitor | VIZ-BME-1008-VK-ERC-CCE-05 | MEC 1000 | AQ88115455 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
6 | ER | Monitor | VIZ-BME-1008-VK-ERC-CCE-06 | MEC 1000 | AQ88115460 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
7 | ER | Pulseoxy meter | VIZ-BME-0109-VK-ERC-CCE-07 | VS-8000 | B1-8A107917 | 2009-11-01 | B |  |  |  | Emergent | [6 empty] | 38000
8 | ER | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-08 |  | 20347430 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
9 | ER | Monitor | VIZ-BME-1008-VK-ERC-CCE-09 | MEC1000 | AQ88115449 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
10 | ER | Monitor | VIZ-BME-1008-VK-ERC-CCE-10 | M1000 | AQ88115441 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
11 | ER | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-12 | Injectomat Agilia | 20316054 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
12 | ER | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-13 | Injectomat Agilia | 20316007 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
13 | ER | Ventilator | VIZ-BME-1008-VK-ERC-CCE-16 | Servo s | 8688 | 2008-12-27 | CMC |  |  | 48090 | Marquet | [6 empty] | 555000
14 | ER | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-17 | Injectomat Agilia | 20347441 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
15 | ER | Infusion pump | VIZ-BME-0109-VK-ERC-CCE-18 | Infomat P | 49327 | 2009-01-21 | B |  |  |  | Braun | [6 empty] | 44000
16 | ER | OT Table | VIZ-BME-1008-VK-ERC-OTE-01 | Cognate | NA | 2008-10-18 | B |  |  |  | SISCO | [6 empty] | 15000
17 | ER | Boyles apparatus | VIZ-BME-1108-VK-ERC-OTE-02 | Supreme | NA | 2008-11-19 | B |  |  |  | Cistron | [6 empty] | 70720
18 | ER | Defibrillator | VIZ-BME-0611-VK-ERC-CCE-19 | ZOLL | AA10D017303 | 2011-05-18 | W |  | 2016-05-17 |  | visakha helth care | [6 empty] | 140400
19 | ER | Transport Ventilator | VIZ-BME-0406-VR-NIU-CCE-06 | Parapac200D | 603019 | 2006-04-21 | B |  |  |  | Smiths | [6 empty] | 325625
20 | ER | ECG Machine | VIZ-BME-0513-VK-ERC-CCE-20 | Cardiart 9108 | DUTB3C1913 | 2013-05-23 | B |  |  |  | BPL | [6 empty] | 84000
21 | ER | Syringe pump | VIZ-BME-0316-VK-ERC-CCE-21 | Perfusor compact | 224798 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
22 | ER | Syringe pump | VIZ-BME-0316-VK-ERC-CCE-22 | Perfusor compact | 224799 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
23 | ER | Syringe pump | VIZ-BME-0316-VK-ERC-CCE-23 | Perfusor compact | 224800 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
24 | RAD | 200 mA X Ray machine | VIZ-BME-1207-VK-RAD-RAD-01 | Multipos 15 | 33671 | 2007-12-12 | C | 2016-04-01 | 2017-03-31 | 81421 | Siemens | [6 empty] | 650000
25 | RAD | Mobile X Ray machine | VIZ-BME-1207-VK-RAD-RAD-02 | 7 | 32637 | 2007-12-14 | C | 2016-04-01 | 2017-03-31 | 55366 | Siemens | [6 empty] | 200000
26 | RAD | Automatic Film processor | VIZ-BME-1008-VK-RAD-RAD-03 |  | 8372714 | 2008-10-20 | A | 11-23-15 | 11-22-16 | 23940 | Promax | [6 empty] | 180000
27 | RAD | CR System | VIZ-BME-0313-VK-RAD-RAD-04 | CR35X | 8708 | 2013-03-20 | W |  | 2016-03-19 |  | Agfa | [6 empty] | 1000000
28 | RAD | Spiral CT Scan | VIZ-BME-0706-VR-RAD-RAD-01 | Emotion 6 | 44052, Gantry: 2067 | 2006-07-09 | C | 2016-04-01 | 2017-03-31 | 2214650 | Siemens | [6 empty] | 10825000
29 | NIL | Ultrasound machine | VIZ-BME-1008-VK-NIL-CAR-01 | Envisor CHD | CI40080446 | 2008-10-10 | C | 2016-04-01 | 2017-03-31 | 145556 | Philips | [6 empty] | 2043524
30 | LAB | ABG machine | VIZ-BME-0907-VK-LAB-LAB-01 | Compact III | 2769 | 2007-09-18 | B |  |  |  | AVL | [6 empty] | 376000
31 | LAB | Semi auto analyser | VIZ-BME-0608-VK-LAB-LAB-02 | 3000 Evolution | 34264 | 2008-06-10 | A |  |  |  | Tulip diagnostics | [6 empty] | 130000
32 | LAB | Microscope | VIZ-BME-1008-VK-LAB-LAB-03 | CH20i | 8J14712 | 2008-10-11 | B |  |  |  | Olympus | [6 empty] | 31850
33 | LAB | Analytical balance | VIZ-BME-1108-VK-LAB-LAB-04 | 202 | 423 | 2008-11-22 | B |  |  |  | Citizen
34 | LAB | QBC Analyser | VIZ-BME-1208-VK-LAB-LAB-05 |  |  | 2008-12-04 | B |  |  |  | Sri Venkateswara agencies | [6 empty] | 250000
35 | LAB | Electrolyte analyser | VIZ-BME-0907-VK-LAB-LAB-06 | 9180 | 14972 | 2007-09-18 | B |  |  |  | AVL | [6 empty] | 180000
36 | LAB | Cell counter | VIZ-BME-1008-VK-LAB-LAB-07 | Sysmax KX-21 | B3675 | 2008-10-20 | A |  |  |  | Transasia | [6 empty] | 360000
37 | LAB | Hot air Oven | VIZ-BME-0708-VK-LAB-LAB-08 |  | Q-5247 | 2008-07-10 | B |  |  |  | KEMI | [6 empty] | 24500
38 | LAB | Incubator | VIZ-BME-0708-VK-LAB-LAB-09 |  |  | 2008-10-07 | B |  |  |  | KEMI | [6 empty] | 25500
39 | LAB | Coagulation Analyzer | VIZ-BME-0209-VK-LAB-LAB-10 | CL Analyser | 393 | 2009-02-13 | B |  |  |  | Instrumentation Laboratories | [6 empty] | 90000
40 | LAB | Centrifuge | VIZ-BME-0209-VK-LAB-LAB-11 |  | 86/1386 | 2008-10-22 | B |  |  |  | Denley | [6 empty] | 5000
41 | LAB | Centrifuge | VIZ-BME-0311-VK-LAB-LAB-13 | R8C BL | CE-LC-2933 | 2011-03-03 | B |  |  |  | LOTUS | [6 empty] | 35970
42 | LAB | PT Analyser | VIZ-BME-0112-VK-LAB-LAB-14 | COASTAT-1 | CICS003F | 2012-01-30 | B |  |  |  | Tulip diagnostics | [6 empty] | 89250
43 | LAB | Semi auto analyser | VIZ-BME-0313-VK-LAB-LAB-15 | SF3300 | 6445 | 2013-03-22 | A |  |  |  | CPC | [6 empty] | 180000
44 | LAB | Specific protein analyser | VIZ-BME-0615-VK-LAB-LAB-16 | Mispa-i2 | 21141620314 | 2015-06-19 | A |  |  |  | Agappe | [6 empty] | 189000
45 | NEF | Monitor | VIZ-BME-1008-VK-NEF-CCE-03 | MEC1000 | AQ88115452 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
46 | NEF | Dialysis machine | VIZ-BME-1008-VK-NEF-THE-02 | Dialog + | 32800 | 2008-02-02 | A |  |  |  | Braun | [5 empty] | / | 683438
47 | GOT | Defibrillator | VIZ-BME-0908-VK-GOT-CCE-01 | Heartstart XL | US00465948 | 2008-09-25 | C | 2016-04-01 | 2017-03-31 | 27246 | Philips | [6 empty] | 175000
48 | GOT | Monitor | VIZ-BME-0908-VK-GOT-CCE-02 | MP 20 | DE72839171 | 2008-09-25 | C | 2016-04-01 | 2017-03-31 | 18922 | Philips | [6 empty] | 260000
49 | GOT | Surgical Diathermy | VIZ-BME-1008-VK-GOT-OTE-02 |  | MEMB2M0000081245 | 2008-12-27 | B |  |  |  | Martin | [6 empty] | 339075
50 | GOT | OT Table | VIZ-BME-1008-VK-GOT-OTE-04 | Cognate |  | 2008-10-18 | B |  |  |  | SISCO | [6 empty] | 250000
51 | GOT | OT Light | VIZ-BME-0208-VK-GOT-OTE-05 | Floor mounting |  | 2008-02-11 | B |  |  |  | Hospilite | [6 empty] | 16000
52 | GOT | Suction apparatus | VIZ-BME-1008-VK-GOT-OTE-06 | Lipo | LC0803009 | 2008-11-15 | B |  |  |  | Venky | [6 empty] | 35000
53 | GOT | Anaesthesia machine | VIZ-BME-0406-VR-GOT-OTE-10 | Aestiva 5 | AMVK00198 | 2006-04-13 | C | 2016-04-01 | 2017-03-31 | 43698 | GE | [6 empty] | 725000
54 | GOT | Cobolator | VIZ-BME-0615-VK-GOT-OTE-07 | RF8000E | C2OM0001CF | 2015-06-19 | W |  | 2018-06-18 |  | Ortho care | [6 empty] | 630000
55 | GOT | OT Light | VIZ-BME-0712-VR-GOT-OTE-27 | Magnaled |  | 2012-07-12 | B |  |  |  | Magnatek | [5 empty] | Transferred from unit 1 | 387450
56 | GOT | Video laryngoscope | VIZ-BME-1014-VK-GOT-OTE-08 |  |  | 2014-06-10 | [11 empty] | 155400
57 | GOT | Syringe pump | VIZ-BME-0316-VK-GOT-CCE-03 | Perfusor compact | 224809 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
58 | GOT | Syringe pump | VIZ-BME-0316-VK-GOT-CCE-04 | Perfusor compact | 224810 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
59 | GOT | Skin graft mesher | VIZ-BME-0416-VK-GOT-OTE-09 |  |  | 2016-04-12 | W |  | 2017-04-11 |  | Apex | [6 empty] | 140815
60 | GOT | Dermatome | VIZ-BME-0416-VK-GOT-OTE-10 |  | TCM 3000 BL S No. 2009U1502R, Motor S No. 515M1504R, Hand piece S No. 6967H14055, Foot switch S No. 1383F1501R | 2016-04-12 | W |  | 2017-04-11 |  | Apex | [6 empty] | 552380
61 | GOT | Vacuum assisted wound closure | VIZ-BME-0416-VK-GOT-OTE-11 | Catalyst | 17 | 2016-04-12 | W |  | 2017-04-11 |  | Apex | [6 empty] | 42215
62 | GOT | Lipo suction | VIZ-BME-0416-VK-GOT-OTE-12 |  | U50018042 | 2016-04-19 |  |  |  |  | Atmos Record | [6 empty] | 320000
63 | GOT | Ultrasonic cleaner | VIZ-BME-0416-VK-GOT-OTE-13 | TurboMOT | SRE/t5-l6 | 4-27-16 |  |  |  |  | Sidilu | [5 empty] | ivoice No. 179 dt.29-2-16
64 | GOT | Laparoscope | VIZ-BME-0616-VK-GOT-OTE-14 |  | Three chip full camera head S No. ,AIDA mini, documentation system for digital storage of still images and video sequences S No. OT1416, Video editor, Cold light fountain LED 175 S No. PT9420, Monitor stand, 26' Full HD monitor S No. L51D10163 , Image link module S No. OT745366 P, Image connect module S No. OT745590 P, | 2016-06-20 |  |  |  |  | Storz | [6 empty] | 3600000
1 | NOT | Monitor | VIZ-BME-0908-VK-NOT-CCE-01 | MP 20 | DE72838571 | 2008-09-25 | C | 2016-04-01 | 2017-03-31 | 18922 | Philips | [6 empty] | 260000
2 | NOT | High Speed drill | VIZ-BME-0209-VK-NOT-OTE-01 | EHSSYTUS | FM08310062 | 2009-02-12 | B |  |  |  | Medtronics | [6 empty] | 1057760
3 | NOT | C Arm | VIZ-BME-0206-VK-NOT-OTE-02 | BV Libra | AN09055004992 | 2006-02-23 | C | 2016-04-01 | 2017-03-31 | 174361 | Philips | [6 empty] | 1770000
4 | NOT | Head light source | VIZ-BME-1008-VK-NOT-OTE-03 |  | 107367 | 2008-10-02 | B |  |  |  | Welchallyn | [6 empty] | 200000
5 | NOT | Anaesthesia machine | VIZ-BME-0908-VK-NOT-OTE-04 | Aestiva 5 | AMVM00347 | 2008-09-27 | C | 2016-04-01 | 2017-03-31 | 43698 | GE | [6 empty] | 710000
6 | NOT | Surgical Diathermy | VIZ-BME-1008-VK-NOT-OTE-05 |  | MEMB2M0000081243 | 2008-10-22 | B |  |  |  | Martin | [6 empty] | 339075
7 | NOT | OT Light | VIZ-BME-1008-VK-NOT-OTE-07 |  |  | 2008-10-25 | B |  |  |  | Maquet | [6 empty] | 754000
8 | NOT | Suction apparatus | VIZ-BME-1008-VK-NOT-OTE-08 | VPP-TWR | 810026 | 2008-11-15 | B |  |  |  | Venky | [6 empty] | 13000
9 | NOT | Pulse lavage system | VIZ-BME-1008-VK-NOT-OTE-09 | PL202 |  | 2009-08-04 | B |  |  |  | Mektronic engg. Co., | [6 empty] | 35000
10 | NOT | Xenon light source | VIZ-BME-1009-VK-NOT-OTE-10 | 350/250 | 90860 | 2009-10-22 | B |  |  |  | Nanorey medical technologies | [6 empty] | 103000
11 | NOT | Lithoclast | VIZ-BME-1009-VK-NOT-OTE-11 |  | CCU404/S | 2009-03-11 | B |  |  |  | statusmedicalequipment | [6 empty] | 550000
12 | NOT | Fluid warmer | VIZ-BME-1108-VK-NOT-CCE-02 | 245 | 33642 | 2008-11-29 | B | [10 empty] | 83200
13 | NOT | Fluid warmer | VIZ-BME-1108-VK-NOT-CCE-03 | 245 | 33643 | 2008-11-29 | B | [10 empty] | 83200
14 | NOT | Patient warmer | VIZ-BME-1108-VK-NOT-CCE-04 | BH505 | 82029 | 2008-11-29 | B |  |  |  | Bairhugger | [6 empty] | 74880
15 | NOT | microdril | VIZ-BME-1009-VK-NOT-OTE-12 |  | 19585 | 2009-10-08 | B |  |  |  | agape enterpriser | [6 empty] | 16650
16 | NOT | Micro drill | VIZ-BME-1111-VK-NOT-OTE-13 |  | Motor: B41131,Hand piece: OBB22462,Foot switch:11030029 | 2011-11-10 | B |  |  |  | NSK | [6 empty] | 11900
17 | NOT | High Speed drill motor | VIZ-BME-0910-VK-NOT-OTE-14 | EM 100-A | 10D0054 | 2010-09-20 | B |  |  |  | Medtronics | [6 empty] | 174881
18 | NOT | Cranitome cutter | VIZ-BME-04002-VR-NOT-OTE-08 | NA |  | 2002-04-20 |  |  |  |  | Manman | [6 empty] | 200000
19 | NOT | ICP MONITOR | VIZ-BME-0912-VK-NOT-OTE-16 | 82-6635 | LE11222 | 2012-07-09 | B |  |  |  | Medical bionic | [6 empty] | 242000
20 | NOT | Surgical operating Microscope | VIZ-BME-0912-VK-NOT-OTE-17 | OPMI VARIO 700 | 6636141814 | 2012-09-13 | B |  |  |  | CARL Zeiss INDIA | [6 empty] | 5180000
21 | NOT | Neuro Endoscope | VIZ-BME-1206-VR-NOT-OTE-02 | 20213020 | LE625684-P | 2006-12-04 | B |  |  |  | Karlstorz | [6 empty] | 301500
22 | NOT | Pneumatic drill | VIZ-BME-0506-VR-NOT-OTE-04 |  |  | 2006-05-30 | B |  |  |  | Synthes | [6 empty] | 800000
23 | NOT | Spine endoscope | VIZ-BME-1106-VR-NOT-OTE-06 | Telecom SL2 |  | 2006-11-03 | B |  |  |  | Karlstorz
24 | NOT | Craniotomy Perforator | VIZ-BME-0402-VR-NOT-OTE-08 |  |  | 2002-04-01 | A |  |  |  | M2Engg. | [6 empty] | 45000
25 | NOT | Torniquet | VIZ-BME-0907-VR-GOT-OTE-16 | ATS1200 | 1207EABJ | 2007-09-24 | B |  |  |  | Zimmer | [6 empty] | 400000
26 | NOT | Peripheral Nerve stimulator and locator | VIZ-BME-0507-VR-GOT-OTE-07 | NS272AUU | 60524000754 | 2007-05-14 | B |  |  |  | Fisher&Paykel | [6 empty] | 50000
27 | NOT | OT Table (Neuro) | VIZ-BME-0515-VR-GOT-OTE-42 | RC 40L | 000139001F | 2015-05-04 | W |  | 2018-05-03 |  | Schmitz | [5 empty] | Transferred from Unit 1 | 2200000
28 | NOT | Syringe pump | VIZ-BME-0316-VK-NOT-CCE-05 | Perfusor compact | 224811 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
29 | OOT | Monitor | VIZ-BME-0908-VK-OOT-CCE-01 | MP 20 | DE72838559 | 2008-09-25 | C | 2016-04-01 | 2017-03-31 | 18922 | Philips | [6 empty] | 260000
30 | OOT | OT Light | VIZ-BME-1008-VK-OOT-OTE-01 |  |  | 2008-10-13 | B |  |  |  | Maquet | [6 empty] | 754000
31 | OOT | OT Table | VIZ-BME-1008-VK-OOT-OTE-02 | Cognate | 419250 | 2008-10-25 | B |  |  |  | SISCO | [6 empty] | 419295
32 | OOT | Anaesthesia machine | VIZ-BME-0908-VK-OOT-OTE-04 | Aestiva 5 | AMVM00348 | 2008-09-27 | C | 2016-04-01 | 2017-03-31 | 43698 | GE | [6 empty] | 710000
33 | OOT | OT Light | VIZ-BME-0208-VK-OOT-OTE-05 | Floor mounting |  | 2008-02-11 | B |  |  |  | Siva Medicals | [6 empty] | 16000
34 | OOT | Suction apparatus | VIZ-BME-1008-VK-OOT-OTE-06 | VPP-TWR | 810027 | 2008-11-15 | B |  |  |  | Venky | [6 empty] | 13000
35 | OOT | Diathermy | VIZ-BME-1008-VK-OOT-OTE-07 | Shelya LX | L209H05H | 2009-09-18 | B |  |  |  | Healthways surgicals | [6 empty] | 83200
36 | OOT | Syringe pumps | VIZ-BME-1008-VK-OOT-CCE-02 | Injectomat Agilia | 20347898 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
37 | OOT | Battery operated Power drill | VIZ-BME-0413-VK-OOT-OTE-08 |  |  | 2013-04-24 | B |  |  |  | Synthes | [6 empty] | 773809
38 | OOT | TOGA Helmet system | VIZ-BME-0215-VK-OOT-OTE-09 |  | 14307 | 2015-02-18 |  |  |  |  | Stryker | [5 empty] | invoice No.IOS-SAL 1636 Dt. 6-2-15 | 236939
39 | OOT | RF Wand system (Quantum II controller) | VIZ-BME-0416-VK-OOT-OTE-10 | H4500 | QR0Q0001NO | 4-21-16 | W | 4-20-19 | [9 empty] | 600000
40 | SIU | Defibrillator | VIZ-BME-0908-VK-SIU-CCE-01 | Heartstart XL | US00465950 | 2008-09-25 | C | 2016-04-01 | 2017-03-31 | 27246 | Philips | [6 empty] | 175000
41 | SIU | Monitor | VIZ-BME-1008-VK-SIU-CCE-02 | MEC1000 | AQ881154436 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
42 | SIU | Monitor | VIZ-BME-1008-VK-SIU-CCE-03 | MEC2000 | CV 82100418 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 85000
43 | SIU | Monitor | VIZ-BME-1008-VK-SIU-CCE-05 | MEC1000 | AQ88115446 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
44 | SIU | Pulseoximeter | VIZ-BME-1108-VK-SIU-CCE-07 | Fingertip | 8451430242 | 2008-11-07 | B |  |  |  | Nider | [6 empty] | 4500
45 | SIU | Ventilator | VIZ-BME-1008-VK-SIU-CCE-08 | Servo s | 8686 | 2008-10-13 | C |  |  |  | Maquet | [6 empty] | 555000
46 | SIU | Monitor | VIZ-BME-1008-VK-SIU-CCE-10 | MEC2000 | CV 88100839 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 85000
47 | SIU | Syringe pump | VIZ-BME-1008-VK-SIU-CCE-12 | Injectomat Agilia | 20347903 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
48 | SIU | Syringe pump | VIZ-BME-1008-VK-SIU-CCE-14 | Injectomat Agilia | 20347896 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
49 | SIU | Infusion pump | VIZ-BME-0109-VK-SIU-CCE-16 | Infusomat P | 49221 | 2009-01-21 | B |  |  |  | Braun | [6 empty] | 44000
50 | SIU | Syringe pump | VIZ-BME-0316-VK-SIU-CCE-17 | Perfusor compact | 224793 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
51 | NSU | Monitor | VIZ-BME-1008-VK-NSU-CCE-01 | MEC1000 | AQ88115462 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
52 | NSU | Monitor | VIZ-BME-1008-VK-NSU-CCE-02 | MEC1000 | AQ88115458 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
53 | NSU | Monitor | VIZ-BME-1008-VK-NSU-CCE-03 | MEC2000 | CV-88100859 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 160000
54 | NSU | Monitor | VIZ-BME-1008-VK-NSU-CCE-04 | MEC2000 | CV-88100858 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 160000
55 | NSU | Monitor | VIZ-BME-1008-VK-NSU-CCE-05 | MEC2000 | CV-88100841 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 85000
56 | NSU | Syringe pump | VIZ-BME-1008-VK-NSU-CCE-06 | Injectomat Agilia | 20347428 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
57 | NSU | Infusion pump | VIZ-BME-0109-VK-NSU-CCE-11 | Infomat | 49271 | 2009-01-21 | B |  |  |  | B Braun | [6 empty] | 44000
58 | NSU | Syringe pump | VIZ-BME-0316-VK-NSU-CCE-12 | Perfusor compact | 224819 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
59 | NSU | Syringe pump | VIZ-BME-0316-VK-NSU-CCE-13 | Perfusor compact | 224820 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
60 | NSU | Syringe pump | VIZ-BME-0316-VK-NSU-CCE-14 | Perfusor compact | 224821 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
61 | NSU | Monitor | VIZ-BME-0516-VK-NSU-CCE-15 | MX430 | DE54800801 | 2016-05-07 | W |  | 2017-05-06 |  | Philips | [6 empty] | 161853
62 | AMC | ECG machine | VIZ-BME-0109-VK-AMC-CCE-35 | Cardiat 6208 | ALLG0080 | 2008-11-25 | B |  |  |  | BPL | [6 empty] | 44000
63 | AMC | Defibrillator | VIZ-BME-0908-VK-AMC-CCE-01 | Heartstart XL | US00465949 | 2008-09-25 | C | 2016-04-01 | 2017-03-31 | 27246 | Philips | [6 empty] | 175000
64 | AMC | Defibrillator with pacer | VIZ-BME-0908-VK-AMC-CCE-02 | Heartstart XL with Pacer | US00465952 | 2008-09-25 | C | 2016-04-01 | 2017-03-31 | 27246 | Philips | [6 empty] | 250000
65 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-04 | Agilia | 20316009 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
66 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-06 | Agilia | 20316011 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
67 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-07 | Agilia | 20316055 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
68 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-08 | MEC1000 | AQ88115433 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
69 | AMC | Pulseoximeter | VIZ-BME-1108-VK-AMC-CCE-10 | Fingertip | 8211430154 | 2008-11-07 | B |  |  |  | Nidek | [6 empty] | 4500
70 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-11 | MEC1000 | AQ88115439 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
71 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-12 | MEC1000 | AQ88115447 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
72 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-14 | MEC2000 | CV-82100398 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 85000
73 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-15 | MEC1000 | AQ88115459 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
74 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-16 | M2000 | CV-82100396 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 85000
75 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-17 | MEC1000 | AQ88115451 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
76 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-19 | Injectomat Agilia | 20347892 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
77 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-20 | Injectomat Agilia | 20347444 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
78 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-21 | MEC1000 | AQ88115461 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
79 | AMC | Ventilator | VIZ-BME-1008-VK-AMC-CCE-23 | Servo s | 8685 | 2008-10-13 | C |  |  |  | Maquet | [6 empty] | 550000
80 | AMC | Ventilator | VIZ-BME-1008-VK-AMC-CCE-24 | Servo s | 8687 | 2008-10-13 | C |  |  |  | Maquet | [6 empty] | 550000
81 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-25 | Injectomat Agilia | 20347449 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
82 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-27 | Injectomat Agilia | 20347900 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
83 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-28 | Injectomat Agilia | 20347901 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
84 | AMC | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-29 | Injectomat Agilia | 20347427 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
85 | AMC | Infusion pump | VIZ-BME-0109-VK-AMC-CCE-31 | Infusomat | 49260 | 2009-01-21 | B |  |  |  | Braun | [6 empty] | 44000
86 | AMC | Infusion pump | VIZ-BME-0109-VK-AMC-CCE-32 | Infusomat | 49251 | 2009-01-21 | B |  |  |  | Braun | [6 empty] | 44000
87 | AMC | Monitor | VIZ-BME-1008-VK-AMC-CCE-33 | MEC2000 | CV-88100402 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 85000
88 | AMC | Bipap machine | VIZ-BME-0109-VK-AMC-CCE-34 | Floton | S0801167 | 2009-01-13 | B |  |  |  | Nidek | [6 empty] | 80000
89 | AMC | Ventilators | VIZ-BME-0109-VK-AMC-CCE-36 | Engstrom | CBCM01400 | 2008-09-27 | C |  |  |  | GE | [6 empty] | 577439
90 | AMC | Patient warmer | VIZ-BME-1108-VK-AMC-CCE-37 | BH505 | 82036 | 2008-11-29 | B |  |  |  | BL Life sciences | [6 empty] | 74880
91 | AMC | Syringe pumps | VIZ-BME-1008-VK-AMC-CCE-38 | Injectomat Agilia | 20347425 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
92 | AMC | Syringe pumps | VIZ-BME-1008-VK-AMC-CCE-40 | Injectomat Agilia | 20347447 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
93 | AMC | Syringe pumps | VIZ-BME-1008-VK-AMC-CCE-41 | Injectomat Agilia | 20347439 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
94 | AMC | Suction apparatus | VIZ-BME-1108-VK-AMC-SUP-01 | VPPTWR | 810025 | 2008-11-15 | B |  |  |  | Venky | [6 empty] | 13000
95 | AMC | SCD | VIZ-BME-1212-VR-AMC-THE-01 | Kendal SCD 700 | V1225632SX | 2012-12-31 | B |  |  |  | Covidien | [6 empty] | 151515
96 | AMC | Bi PAP machine | VIZ-BME-0212-VK-AMC-CCE-42 | Synchrony | 6018393 | 2012-02-26 | B |  |  |  | Philips | [6 empty] | 165000
97 | AMC | Syringe pump | VIZ-BME-0316-VK-AMC-CCE-43 | Perfusor compact | 224814 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
98 | AMC | Syringe pump | VIZ-BME-0316-VK-AMC-CCE-44 | Perfusor compact | 224815 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
99 | AMC | Syringe pump | VIZ-BME-0316-VK-AMC-CCE-45 | Perfusor compact | 224816 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
100 | AMC | Syringe pump | VIZ-BME-0316-VK-AMC-CCE-46 | Perfusor compact | 224817 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
101 | AMC | Monitor | VIZ-BME-0516-VK-AMC-CCE-47 | MX430 | DE54800797 | 2016-05-07 | W |  | 2017-05-06 |  | Philips | [6 empty] | 161853
102 | AMC | Monitor | VIZ-BME-0516-VK-AMC-CCE-48 | MX430 | DE54800798 | 2016-05-07 | W |  | 2017-05-06 |  | Philips | [6 empty] | 161853
103 | AMC | Monitor | VIZ-BME-0516-VK-AMC-CCE-49 | MX430 | DE54800799 | 2016-05-07 | W |  | 2017-05-06 |  | Philips | [6 empty] | 161853
104 | AMC | Monitor | VIZ-BME-0516-VK-AMC-CCE-50 | MX430 | DE54800800 | 2016-05-07 | W |  | 2017-05-06 |  | Philips | [6 empty] | 161853
105 | AMC | Ultrasound machine | VIZ-BME-0612-VR-AMC-CCE-40 | Micromax | WKOCDF | 2012-06-29 | W |  | 2017-06-28 |  | Sonosite | [5 empty] | transferred from unit 1 | 1032000
106 | NSS | Pulseoximeter | VIZ-BME-0109-VK-NSS -CCE-02 | VS 800 | BY-8AK107924 | 2009-01-11 | B | [10 empty] | 38000
107 | NSS | Defibrillator with pacer | VIZ-BME-0908-VK-NSS -CCE-03 | Heart start XL | US00467008 | 2008-09-25 | A |  |  |  | Philips | [6 empty] | 250000
108 | NSS | Syringe pump | VIZ-BME-1208-VK-NSS -CCE-04 | Injectomatmat Agilia | 20347440 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
109 | NSS | Syringe pump | VIZ-BME-1208-VK-NSS -CCE-01 | Injectomatmat Agilia | 20347432 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
110 | NSS | Suction apparatus | VIZ-BME-1008-VK-NSS-OTE-01 | VPP-TWR | 809014 | 2008-11-15 | B |  |  |  | Venky | [6 empty] | 13000
111 | NSS | Suction apparatus | VIZ-BME-1008-VK-NSS-OTE-02 | VPP-TWR | 810022 | 2008-11-15 | B |  |  |  | Venky | [6 empty] | 13000
112 | NSS | Syringe pumps | VIZ-BME-1208-VK-NSS -CCE-05 | Injectomat Agilia | 20347894 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
113 | NSS | Syringe pumps | VIZ-BME-1208-VK-NSS -CCE-06 | Injectomat Agilia | 20347434 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
114 | NSS | Suction apparatus | VIZ-BME-0215-VK-NSS-OTE-03 |  | 150116061 | 2015-02-19 | W |  |  |  | Venky | [5 empty] | Invoic: 490 dt.18-2-15 | 12000
115 | NSS | Syringe pump | VIZ-BME-0316-VK-NSS-CCE-07 | Perfusor compact | 224802 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
116 | NSS | Syringe pump | VIZ-BME-0316-VK-NSS-CCE-08 | Perfusor compact | 224803 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
117 | NSS | Syringe pump | VIZ-BME-0316-VK-NSS-CCE-09 | Perfusor compact | 224806 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
118 | NSS | Syringe pump | VIZ-BME-0316-VK-NSS-CCE-10 | Perfusor compact | 224807 | 2016-03-21 | W |  | 2021-03-20 |  | Braun | [6 empty] | 21800
119 | NSS | Monitor | VIZ-BME-0516-VK-NSS-CCE-11 | MX430 | DE54800801 | 2016-05-07 | W |  | 2017-05-06 |  | Philips | [6 empty] | 161853
120 | OOT | Uroflo meter | VIZ-BME-1008-VK-OOT-OTE-01 | uromp2000-E | puds | 2009-03-11 | B |  |  |  | status medical equipment | [6 empty] | 30000
121 | OOT | Cysto scope | VIZ-BME-1008-VK-OOT-OTE-02 |  | 2900961 |  | B |  |  |  | J.mitra | [6 empty] | 550000
122 | OOT | Lithotripsy | VIZ-BME-0612-VK-OOT-THE-01 | E3000 SW-6E-3000 | 510524 / 0510526 | 2012-06-16 | B |  |  |  | Medix Medical Systems (Medispec Ltd.,) | [6 empty] | 2578125
123 |  | ABG and Electrolyte analyser | X | ABS80 | 1902-754R1205N0009 | [5 empty] | Radiometer
124 |  | Fully auto biochemistry analyser | X | Vitros 250 | 25015361 | [5 empty] | Johnson and Johnson
125 |  | 5 part Cell counter | X | XS800i | 62231-RR | 2015-10-26 |  |  |  |  | Transasia
126 | OOT | C Arm | VIZ-BME-0908-VK-OOT-OTE-03 | Sirimobil compact | 01047S07 | 2008-09-09 | C |  |  |  | Siemens | [6 empty] | 850000
127 | OOT | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-26 | Injectomat Agilia | 20347904 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
128 | OOT | Monitor | VIZ-BME-1008-VK-AMC-CCE-09 | MEC2000 | CV-88100857 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 160000
129 | OOT | Monitor | VIZ-BME-1008-VK-AMC-CCE-18 | MEC2000 | CV88100840 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 85000
130 | OOT | OT Light | VIZ-BME-1008-VK-GOT-OTE-03 |  |  | 2008-10-18 | B |  |  |  | Brandon | [6 empty] | 250000
131 | OOT | Monitor | VIZ-BME-1008-VK-SIU-CCE-04 | MEC1000 | AQ88115442 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
132 | OOT | Monitor | VIZ-BME-1008-VK-SIU-CCE-06 | MEC1000 | AQ88115457 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
133 | OOT | Syringe pump | VIZ-BME-1008-VK-NSU-CCE-10 | Injectomat Agilia | 20347429 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
134 | OOT | Syringe pump | VIZ-BME-1008-VK-NSU-CCE-07 | Injectomat Agilia | 20347423 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
135 | OOT | Syringe pump | VIZ-BME-1008-VK-NSU-CCE-08 | Injectomat Agilia | 20347446 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
136 | OOT | Monitor | VIZ-BME-1008-VK-AMC-CCE-13 | MEC1000 | AQ88115448 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
137 | OOT | Monitor | VIZ-BME-1008-VK-AMC-CCE-22 | MEC1000 | AQ88115463 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
138 | OOT | Syringe pump | VIZ-BME-1008-VK-NEF-CCE-01 | Injectomat Agilia | 20347422 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
139 | OOT | Syringe pumps | VIZ-BME-0908-VK-NEF-CCE-05 | Injectomat Agilia | 20347442 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
140 | OOT | Syringe pump | VIZ-BME-1008-VK-SIU-CCE-11 | Injectomat Agilia | 20347891 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
141 | OOT | Syringe pump | VIZ-BME-1208-VK-GOT-CCE-03 | Injectomat Agilia | 20347424 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
142 | OOT | Syringe pump | VIZ-BME-1208-VK-GOT-CCE-04 | Injectomat Agilia | 20347902 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
143 | OOT | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-14 | Injectomat Agilia | 20316002 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
144 | OOT | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-15 | Injectomat Agilia | 20316004 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
145 | OOT | Syringe pump | VIZ-BME-1208-VK-ERC-CCE-11 | Injectomat Agilia | 20316005 | 2008-12-27 | B |  |  |  | Fresenius | [6 empty] | 23500
146 | OOT | Syringe pumps | VIZ-BME-1008-VK-OOT-CCE-03 | Injectomat Agilia | 20347433 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
147 | OOT | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-30 | Injectomat Agilia | 20347448 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
148 | OOT | Syringe pumps | VIZ-BME-1008-VK-AMC-CCE-39 | Injectomat Agilia | 20347437 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
149 | OOT | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-03 | Agilia | 20316038 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
150 | OOT | Syringe pump | VIZ-BME-1008-VK-AMC-CCE-05 | Agilia | 20316001 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
151 | OOT | Syringe pump | VIZ-BME-1008-VK-SIU-CCE-15 | Injectomat Agilia | 20347897 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
152 | OOT | Syringe pump | VIZ-BME-1008-VK-SIU-CCE-13 | Injectomat Agilia | 20347438 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
153 | OOT | Syringe pump | VIZ-BME-1008-VK-NSU-CCE-09 | Injectomat Agilia | 20347431 | 2008-10-04 | B |  |  |  | Fresenius | [6 empty] | 23500
154 | ERC | ECG Machine | VIZ-BME-1108-VK-ERC-CAR-01 | Cardiat 6208 | AIIG0024 | 2008-11-25 | B |  |  |  | BPL | [5 empty] | Purchased BPL 1908 model ECG machine with S No.DUTB3C1913 (ER) under buy back agreement | 44000
155 | AMC | Multipara monitors | VK-BME-BME-01 | MEC1000 | AQ88115437 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
156 | AMC | Multipara monitors | VK-BME-BME-02 | MEC1000 | AQ88115450 | 2008-10-04 | B |  |  |  | Mindray | [6 empty] | 66000
157 | AMC | ECG Recorder | VIZ-BME-1008-VK-AMC-CAR-01 | BLT-1203B | 12031653 | 2008-10-30 | B |  |  |  | Emergent | [6 empty] | 38000
158 | ENT | ENT OPD treatment unit | VIZ-BME-1208-VK-ENT-DIA-01 | Compact III | 1253 | 2008-12-24 | Biomedical |  |  |  | Vansari | [6 empty] | 60000
159 | CSD | Steam Steriliser | VIZ-BME-0908-VK-CSD-SUP-01 | HE105 |  | 2008-09-01 | B |  |  |  | Hoslab | [6 empty] | 340000
160 | CSD | Flash Autoclave | VIZ-BME-0109-VK-CSD-SUP-02 | 2540 Nova 3 | 2710145 | 2009-01-02 | B |  |  |  | Tuttnaur | [6 empty] | 261000
161 | CSD | Autoclave | VIZ-BME-0100-VR-CSD-SUP-01 | Horizontal | 327 | 2000-01-23 | B |  |  |  | Mediquip | [6 empty] | 545000
162 | GPT | Gas plant | VIZ-BME-1008-VK-GPT-SUP-01 | Oil free | 8030121 | 2008-02-10 | A |  |  |  | Ingersoll rand | [6 empty] | 268935
163 | GPT | Gas plant | VIZ-BME-1008-VK-GPT-SUP-02 | Oil free | 8030122 | 2008-02-10 | A |  |  |  | Ingersoll rand | [6 empty] | 268935
164 | GPT | Gas plant | VIZ-BME-1008-VK-GPT-SUP-05 | V10 | 8054322 | 2008-02-10 | A |  |  |  | Ingersoll rand | [6 empty] | 121000
165 | GPT | Gas plant | VIZ-BME-1008-VK-GPT-SUP-06 | V10 | 8054265 | 2008-02-10 | A |  |  |  | Ingersoll rand | [6 empty] | 121000
166 | GPT | Gas plant | VIZ-BME-1008-VK-GPT-SUP-03 | SP 125 | 496893 | 2008-02-10 | B |  |  |  | Emerson | [6 empty] | 103966
167 | GPT | Gas plant | VIZ-BME-1008-VK-GPT-SUP-04 | SP 125 | 471595 | 2008-02-10 | B |  |  |  | Emerson | [6 empty] | 103966