## Sheet1
Sr. No. | Dept | Equipment Name | Equip. ID (20 DIG CODE) | Equip. model | Serial Number | Date of Instal. | STATUS (A-C-B-W) | Contract From | Contract To | Contract Value | Company Name | Vendor | PMS done | PMS Due | Calibration done date | Calibration due date | Remarks | Eq. Cost (Rupees)Eq. Cost (Rupees) | Acesories
1 | ERC | ECG Machine | VIZ-BME-1214-VN-ER C-CCE-01 | Cardiocare 2000 | EN0800249 | 2012-09-20 |  |  |  |  | Bionet | [5 empty] | Purchased from Prasanti Hospital | 73500
2 | ERC | Monitor | VIZ-BME-1214-VN-ERC-CCE-02 | Sure Signs VM6 | US12564977 | 2012-09-10 |  |  |  | 6810 | Philips | [6 empty] | 115500
3 | ERC | Monitor | VIZ-BME-1214-VN-ERC-CCE-03 | Sure Signs VM6 | US12564979 | 2012-09-10 |  |  |  | 6810 | Philips | [6 empty] | 115500
4 | ERC | Multipara monitor | VIZ-BME-0715-VN-ERC-CCE-04 | MP20 | DE48089877 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 185000
5 | ERC | Defibrillator | VIZ-BME-0715-VN-ERC-CCE-05 | Efficia | CN32602654 | 2015-11-01 |  |  |  |  | Philips | [6 empty] | 235000
6 | ERC | Syringe Pumps | VIZ-BME-1214-VN-ERC-CCE-06 | Graseby 2000 | 121100101 | [5 empty] | Smith medical | [6 empty] | 33600
7 | ERC | Syringe Pumps | VIZ-BME-1214-VN-ERC-CCE-07 | Injectomat Agilia | 21634907 | [5 empty] | Fresenius | [6 empty] | 43470
8 | ERC | Syringe Pumps | VIZ-BME-1214-VN-ERC-CCE-08 | Graseby 2000 | 1211001240 | [5 empty] | Smith medical | [6 empty] | 33600
9 | RAD | Ultrasound | VIZ-BME-1214-VN-RAD-RAD-01 | AcusonX300 | 343415 | 2012-09-21 | C | 2016-04-01 | 2017-03-31 | 136942 | Siemens | [5 empty] | Purchased from Prasanti Hospital | 1465000
10 | RAD | Mobile X ray machine | VIZ-BME-1214-VN-RAD-RAD-02 | Multimobil 2.5 | 34063 | 2012-09-18 | C | 2016-04-01 | 2017-03-31 | 39296 | siemens | [5 empty] | Purchased from Prasanti Hospital | 268637
11 | RAD | 630 mA X ray machine | VIZ-BME-1115-VN-RAD-RAD-03 | Mars-50 | Allpose table S No 2K15070240-DAT, Vertical bucky S No. 2K15070137DVBS, Generator S No. 2K141250556 X/HF, Column S No. 2K15050223/DFC | [5 empty] | Allengers | [6 empty] | 1175000
12 | RAD | CR System | VIZ-BME-1115-VN-RAD-RAD-04 | CR 15 X - 5151/ 300 | 90048 | 2015-11-19 | W |  |  |  | Agfa | [6 empty] | 1000000
13 | LAB | ABG Machine (Point of care model) | VIZ-BME-1214-VN-LAB-LAB-01 | Epoc Host | 1102A90 | 2013-10-02 |  |  |  |  | EPOC | [5 empty] | Purchased from Prasanti Hospital | 320250
14 | LAB | Blood cell counter | VIZ-BME-1214-VN-LAB-LAB-02 | BC3000Plus | RJ24111213 | 2012-07-31 |  |  |  |  | Agappe | [5 empty] | Purchased from Prasanti Hospital | 341250
15 | LAB | Microscope | VIZ-BME-1214-VN-LAB-LAB-03 | MLX | 12H850 | 2012-08-27 |  |  |  |  | Magnus | [5 empty] | Purchased from Prasanti Hospital | 26500
16 | LAB | Centrifuge | VIZ-BME-1214-VN-LAB-LAB-04 |  |  | 2012-08-27 |  |  |  |  | EURO | [5 empty] | Purchased from Prasanti Hospital | 14000
17 | LAB | Semi auto Biochemistry Analyser | VIZ-BME-1214-VN-LAB-LAB-05 | Stat Fax-3300 | 3300-5977 | 2012-08-27 |  | 2016-03-14 | 2017-03-13 | 20610 | CPC | [5 empty] | Purchased from Prasanti Hospital | 210000
18 | LAB | INCUBATOR | VIZ-BME-0516-VN-LAB-LAB-06 | TI 500 | SM-1028 | [5 empty] | ICON BIOSYSTEMS | [6 empty] | 99500
19 | LAB | Centrifuge | VIZ-BME-0516-VN-LAB-LAB-07 | R8CBL | ZBEN-12416 | 2015-05-05 |  |  |  |  | REMI | [6 empty] | 43488
20 | LAB | Cell counter | VIZ-BME-1008-VK-LAB-LAB-07 | Sysmax KX-21 | B3675 | 2008-10-20 |  | 2016-07-15 | 2017-07-14 | 27600 | Transasia | [5 empty] | Transferred from unit II | 360000
21 | NEF | Haemo dialysis machine | VIZ-BME-1214-VN-NEF-THE-01 | Dialog+ | 201425 | 2014-01-24 |  |  |  |  | B Braun | [5 empty] | Purchased from Prasanti Hospital | 630000
22 | NEF | Dialysis machine | VIZ-BME-0612-VR-NEF-THE-13 | Dialog + | 103435 | 2012-06-08 | W |  | 2015-06-07 |  | B Braun | [5 empty] | Transferred from Unit 1 | 519047
23 | NEF | Dialyser reprocessor | VIZ-BME-0516-VN-NEF-THE-02 |  |  |  | W |  |  |  | SANDOR MEDICAIDS PVT LTD | [6 empty] | 425000
24 | NEF | Haemo dialysis machine | VIZ-BME-0516-VN-NEF-THE-03 | 4008'S | 5SXAEB39 | 2015-08-07 | W |  |  |  | FRESENIUS | [6 empty] | 560000
25 | NEF | Haemo dialysis machine | VIZ-BME-0516-VN-NEF-THE-04 | 4008'S | 5SXAEB17 | 2015-08-07 | W |  |  |  | FRESENIUS | [6 empty] | 560000
26 | NEF | Haemo dialysis machine | VIZ-BME-0516-VN-NEF-THE-05 | 4008'S | 5SXAEB43 | 2015-08-07 | W |  |  |  | FRESENIUS | [6 empty] | 560000
27 | NEF | Haemo dialysis machine | VIZ-BME-0516-VN-NEF-THE-06 | 4008'S | 5SXAEB47 | 2015-08-07 | W |  |  |  | FRESENIUS | [6 empty] | 560000
28 | NEF | Monitor | VIZ-BME-1214-VN-NEF-CCE-01 | Sure Signs VM6 | US12564984 |  |  |  |  | 6810 | Philips | [6 empty] | 115500
29 | NEF | Monitor | VIZ-BME-1214-VN-NEF-CCE-02 | Sure Signs VM6 | US12564978 |  |  |  |  | 6810 | Philips | [6 empty] | 115500
30 | GOT | CTG machine | VIZ-BME-0515-VN-GOT-OTE-02 | WL15000 | L8ME322015020038 | 2015-05-07 | W |  | 2016-06-05 |  | Borze | [5 empty] | Probes PO No. 237150000091 Dt. 6-5-15 Cost: 40000 | 135000
31 | GOT | OT Light | VIZ-BME-1014-VR-GOT-OTE-34 | Magnaled Sleek 4+3 |  | 2014-10-28 | B |  |  |  | Magnatek | [5 empty] | Redeployed from Unit 1 | 435750
32 | GOT | Harmonic scalpel | VIZ-BME-0915-VN-GOT-OTE-03 | GEN 11 | 1111514118 | 2015-10-10 | W |  | 2018-10-09 |  | Ethicon Endosurgery | [6 empty] | 1150044
33 | GOT | OT table | VIZ-BME-0412-VN-GOT-OTE-04 | [13 empty] | Purchased from Prasanti hospital
34 | GOT | Patient warmer | VIZ-BME-0415-VN-GOT-OTE-05 |  |  | 2015-04-25 | [11 empty] | 72380
35 | GOT | Diathermy | VIZ-BME-0412-VN-GOT-OTE-06 | [7 empty] | Shalya | [5 empty] | Purchased from Prasanti hospital | 90000
36 | GOT | Ultrasonic cleaner | VIZ-BME-0416-VN-GOT-OTE-07 | Turbo U | sre 15-16 | 2016-04-04 |  |  |  |  | Sidilu | [6 empty] | 66722
37 | GOT | Torniquet | VIZ-BME-0416-VN-GOT-OTE-08 | IT 2003 | LD-DM 152 | 2016-04-10 |  |  |  |  | Pitkar | [6 empty] | 150255
38 | GOT | Fluid warmer | VIZ-BME-0416-VN-GOT-OTE-09 | ET-TF-11 | 110302266 | 2016-04-21 |  |  |  |  | Contech | [6 empty] | 49613
39 | GOT | Anaesthesia work station | VIZ-BME-0616-VN-GOT-OTE-10 | CARE STATION 650 | SM716150011WA | 2016-06-13 | W |  |  |  | GE | [6 empty] | 1289999
40 | GOT | FLASH AUTIO CLAVE | VIZ-BME-0616-VN-GOT-OTE-11 | AS 260MAR | 16030420002 | 2016-06-15 | W |  |  |  | S V SURGICAL | [6 empty] | 260000
41 | GOT | Defibrillator | VIZ-BME-0715-VN-GOT-CCE-01 | Efficia | CN32602655 | [5 empty] | Philips | [6 empty] | 235000
42 | GOT | Syringe Pumps | VIZ-BME-0412-VN-GOT-CCE-02 | Graseby 2000 | 121100431 | [5 empty] | Smith medical | [6 empty] | 33600
43 | GOT | Syringe Pumps | VIZ-BME-0412-VN-GOT-CCE-03 | Graseby 2000 | 121100297 | [5 empty] | Smith medical | [6 empty] | 33600
44 | GOT | Syringe Pumps | VIZ-BME-0412-VN-GOT-CCE-04 | Graseby 2000 | 121100406 | [5 empty] | Smith medical | [6 empty] | 33600
45 | GOT | Syringe Pumps | VIZ-BME-0412-VN-GOT-CCE-05 | Graseby 2000 | 121100321 | [5 empty] | Smith medical | [6 empty] | 33600
46 | GOT | Syringe Pumps | VIZ-BME-0412-VN-GOT-CCE-06 | Injectomat Agilia | 21634877 | [5 empty] | Fresenius | [6 empty] | 43470
47 | GOT | Infant Warmer with photo therapy | VIZ-BME-0412-VN-GOT-CCE-07 | Lullaby | SF812371461PA | [5 empty] | GE | [6 empty] | 142500
48 | GOT | OT Light | VIZ-BME-1216-VN-GOT-OTE-12 | TRU700/700 |  |  |  |  | 2016-12-23 |  | Magnatek | [6 empty] | 435750
49 | GOT | Laparoscope | VIZ-BME-0616-VN-GOT-OTE-13 | HD Spies |  |  |  |  | 2016-06-16 |  | Karl Storz | [6 empty] | 3225964
50 | OOT | OT table | VIZ-BME-0515-VN-OOT-OTE-01 | PSI Legend | 2726-04-2015 | 2015-05-08 | W |  | 2017-05-07 |  | Palakkad | [6 empty] | 530000
51 | OOT | OT Light | VIZ-BME-1215-VN-OOT-OTE-02 | Marled E91+E91 |  | 2015-12-22 | W |  | 2018-12-21 |  | Martin | [6 empty] | 650000
52 | OOT | Anaesthesia work station | VIZ-BME-1214-VN-OOT-OTE-03 | Aespire | APHRO1278 | 2012-09-21 |  |  |  | 39635 | GE | [6 empty] | 1085000
53 | OOT | Diathermy | VIZ-BME-0415-VN-OOT-OTE-04 | Force FX8C | S3L11267AX | 24-4-15 | W |  | 23-4-16 |  | Valleylab | [6 empty] | 410000
54 | OOT | Multipara monitor | VIZ-BME-0715-VN-OOT-CCE-01 | MX550 | DE35125575 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 615000
55 | OOT | C arm | VIZ-BME-0216-VN-OOT-OTE-05 | Brivo | C arm: B2515186, X ray generator: 130895HL6, Image intensifier: 130893HL1, Beam limiting device: 130894HL9, C arm Intertek: 130892HL3 | 2016-02-01 | W |  | 2017-01-31 |  | GE | [6 empty] | 2650000
56 | GOT | Gynaec OT table | VIZ-BME-0709-VR-GOT-OTE-23 | [13 empty] | Transferred from unit 1
57 | SIU | Multipara monitor | VIZ-BME-0715-VN-SIU-CCE-01 | MP20 | DE48089854 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 185000
58 | SIU | Multipara monitor | VIZ-BME-0715-VN-SIU-CCE-02 | MP20 | DE48089838 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 185000
59 | SIU | Multipara monitor | VIZ-BME-0715-VN-SIU-CCE-03 | MP20 | DE48089853 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 165000
60 | SIU | Multipara monitor | VIZ-BME-0715-VN-SIU-CCE-04 | MP20 | DE48089869 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 165000
61 | SIU | Multipara monitor | VIZ-BME-0715-VN-SIU-CCE-05 | MP20 | DE48089862 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 285000
62 | SIU | Defibrillator | VIZ-BME-0715-VN-SIU-CCE-06 | Heartstart XL | CN32602653 | 2015-11-01 |  |  |  |  | Philips | [6 empty] | 235000
63 | SIU | ECG Machine | VIZ-BME-0715-VN-SIU-CCE-07 | TC20 | CN51507164 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 145000
64 | SIU | Ventilator | VIZ-BME-1214-VN-SIU-CCE-08 | Servo s | 70403 | [5 empty] | Maquet | [6 empty] | 1155000
65 | SIU | Ventilator | VIZ-BME-1214-VN-SIU-CCE-09 | 300A | 17457 | [5 empty] | siemens | [6 empty] | 300000
66 | SIU | ECG Machine | VIZ-BME-0715-VN-SIU-CCE-10 | TC20 | CN51507164 | [5 empty] | Philips | [6 empty] | 145000
67 | SIU | Syringe Pumps | VIZ-BME-1214-VN-SIU-CCE-11 | Injectomat Agilia | 21634036 | [5 empty] | Fresenius | [6 empty] | 43470
68 | SIU | Syringe Pumps | VIZ-BME-1214-VN-SIU-CCE-12 | Injectomat Agilia | 21634049 | [5 empty] | Fresenius | [6 empty] | 43470
69 | SIU | Syringe Pumps | VIZ-BME-1214-VN-SIU-CCE-13 | Injectomat Agilia | 21634894 | [5 empty] | Fresenius | [6 empty] | 43470
70 | SIU | Syringe Pumps | VIZ-BME-1214-VN-SIU-CCE-14 | Injectomat Agilia | 21634903 | [5 empty] | Fresenius | [6 empty] | 43470
71 | SIU | V PAP | VIZ-BME-1214-VN-SIU-CCE-15 | S9 | 2211951129 | [5 empty] | Resmed | [6 empty] | 78750
72 | SIU | Monitor | VIZ-BME-1214-VN-SIU-CCE-16 | Sure Signs VM8 | US12563979 |  |  |  |  | 15169 | Philips | [6 empty] | 257250
73 |  | Monitor | VIZ-BME-1214-VN- - - | Sure Signs VM6 | US12564983 | 2012-09-10 |  |  |  | 6810 | Philips | [5 empty] | Purchased from Prasanti Hospital | 115500
74 |  | Monitor | VIZ-BME-1214-VN- - - | Sure Signs VM6 | US12564984 | 2012-09-10 |  |  |  | 6810 | Philips | [5 empty] | Purchased from Prasanti Hospital | 115500
75 |  | Phototherepary | VIZ-BME-1214-VN- - - |  |  | 2012-09-20 |  |  |  |  | mihironics | [5 empty] | Purchased from Prasanti Hospital | 32000
76 |  | Phototherepary | VIZ-BME-1214-VN- - - |  |  | 2012-09-20 |  |  |  |  | mihironics | [5 empty] | Purchased from Prasanti Hospital | 32000
77 |  | Phototherepary | VIZ-BME-1214-VN- - - |  |  | 2012-09-20 |  |  |  |  | mihironics | [5 empty] | Purchased from Prasanti Hospital | 32000
78 |  | Phototherepary | VIZ-BME-1214-VN- - - |  |  | 2012-09-20 |  |  |  |  | mihironics | [5 empty] | Purchased from Prasanti Hospital | 32000
79 |  | Phototherepary | VIZ-BME-1214-VN- - - |  |  | 2012-09-20 |  |  |  |  | mihironics | [5 empty] | Purchased from Prasanti Hospital | 32000
80 |  | Phototherepary | VIZ-BME-1214-VN- - - |  |  | 2012-09-20 |  |  |  |  | mihironics | [5 empty] | Purchased from Prasanti Hospital | 32000
81 |  | Physiotherapy System | VIZ-BME-1214-VN- - - |  |  | 2012-09-07 |  |  |  |  | Technovate electronics | [5 empty] | Purchased from Prasanti Hospital | 89775
82 |  | Pulse Oxy Meters | VIZ-BME-1214-VN- - - | N 595 | G06820779 | 2012-08-30 |  |  |  |  | Nellcor | [5 empty] | Purchased from Prasanti Hospital | 84596
83 |  | Pulse Oxy Meters | VIZ-BME-1214-VN- - - | N 595 | G01849998 | 2012-08-30 |  |  |  |  | Nellcor | [5 empty] | Purchased from Prasanti Hospital | 84596
84 |  | Pulse Oxy Meters | VIZ-BME-1214-VN- - - | N 595 | G02820603 | 2012-08-30 |  |  |  |  | Nellcor | [5 empty] | Purchased from Prasanti Hospital | 84596
85 |  | Infant Warmer with photo therapy | VIZ-BME-1214-VN- - - | Lullaby | SF812361434PA | 2014-01-04 |  |  |  |  | GE | [5 empty] | Purchased from Prasanti Hospital | 142500
86 |  | Infant Warmer with photo therapy | VIZ-BME-1214-VN- - - | Lullaby | SF812371462PA | 2014-01-04 |  |  |  |  | GE | [5 empty] | Purchased from Prasanti Hospital | 142500
87 |  | Infant Warmer with photo therapy | VIZ-BME-1214-VN- - - | Lullaby | SF812371472PA | 2014-01-04 |  |  |  |  | GE | [5 empty] | Purchased from Prasanti Hospital | 142500
88 |  | Infant Warmer with photo therapy | x | Lullaby | SF812371459PA | 2014-01-04 |  |  |  |  | GE | [6 empty] | 142500
89 |  | Infant Warmer with photo therapy | VIZ-BME-1214-VN- - - | Lullaby | SF812371464PA | 2014-01-04 |  |  |  |  | GE | [5 empty] | Purchased from Prasanti Hospital | 142500
90 |  | Multipara monitor | VIZ-BME-0715-VN- - - | MP20 | DE48089864 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 165000
91 |  | Multipara monitor | VIZ-BME-0715-VN- - - | MP20 | DE48089830 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 165000
92 |  | Multipara monitor | VIZ-BME-0715-VN- - - | MP20 | DE48089856 | 2015-07-12 |  |  |  |  | Philips | [6 empty] | 165000
93 | CSD | Autoclave | VIZ-BME-1214-Vn-CSD-SUP-01 |  |  | 2012-10-12 |  |  |  |  | Cistron | [6 empty] | 300000
94 | GSP | Air compressor | VIZ-BME-0215-Vn-GSP-SUP-01 | 5T2NLM | NAR10127952 | [5 empty] | Ingersol rand
95 | GSP | Drier | VIZ-BME-0215-Vn-GSP-SUP-02 | D72IN-A | NAR10218150 | [5 empty] | Ingersol rand
96 | GSP | Air compressor | VIZ-BME-0215-Vn-GSP-SUP-03 | 5T2NLM | NAR10127951 | [5 empty] | Ingersol rand
97 | GSP | Drier | VIZ-BME-0215-Vn-GSP-SUP-04 | D72IN-A | NAR10218139 | [5 empty] | Ingersol rand
98 | GSP | Vacuum pump | VIZ-BME-0215-Vn-GSP-SUP-05 | V255 | NAR10217068 | [5 empty] | Ingersol rand
99 | GSP | Vacuum pump | VIZ-BME-0812-Vn-GSP-SUP-06 | V355 | 13 06 2012 | [5 empty] | Comptech